## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.85792 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.6236 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85792 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85792 |  | 0.85792 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.91084 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.559 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91084 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91084 |  | 0.91084 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.76577 | Accu | B8090087 | Accu B8090087: 40 µl | 1.5148 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76577 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86929 | 0.097181 | 0.87076 | 0.16326 | 0.12103
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.80956 | Accu | B8090087 | Accu B8090087: 25 µl | 0.89926 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80956 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86929 | 0.097181 | 0.87076 | 0.16326 | 0.12103
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.93197 | Accu | B8090087 | Accu B8090087: 25 µl | 0.93136 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93197 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86929 | 0.097181 | 0.87076 | 0.16326 | 0.12103
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-09-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.96988 | Accu | B8090087 | Accu B8090087: 25 µl | 0.90732 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96988 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86929 | 0.097181 | 0.87076 | 0.16326 | 0.12103
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0199 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.6236 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0199 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98461 | 0.049892 | 0.98461 | 0.070558 | 0.052304
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.94933 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.559 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94933 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98461 | 0.049892 | 0.98461 | 0.070558 | 0.052304
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.82779 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.94227 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82779 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.85437 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.93168 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.796 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85437 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.74082 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.7526 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74082 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.65615 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.5134 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65615 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.74149 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.95619 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74149 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.82672 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.512 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82672 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.8381 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.945 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8381 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.77381 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.512 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77381 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.70159 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.945 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70159 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77343 | 0.06849 | 0.77381 | 0.086972 | 0.064471
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.80634 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.9347 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80634 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7844 | 0.13454 | 0.77035 | 0.19556 | 0.14497
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.73436 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 4.0171 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73436 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7844 | 0.13454 | 0.77035 | 0.19556 | 0.14497
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.95802 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.9624 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95802 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7844 | 0.13454 | 0.77035 | 0.19556 | 0.14497
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.63888 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 3.9444 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63888 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7844 | 0.13454 | 0.77035 | 0.19556 | 0.14497
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.60721 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.4888 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.904 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60721 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.74696 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.94918 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74696 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.74014 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.95793 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74014 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.74074 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.78 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.80026 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.512 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80026 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.66799 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.512 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66799 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.77513 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.78 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77513 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.85291 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85291 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.71958 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.945 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71958 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73843 | 0.067428 | 0.74044 | 0.055556 | 0.041183
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.67931 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 4.0335 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67931 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81804 | 0.096687 | 0.84833 | 0.12914 | 0.095729
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.82764 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.9815 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82764 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81804 | 0.096687 | 0.84833 | 0.12914 | 0.095729
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.8962 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.975 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8962 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81804 | 0.096687 | 0.84833 | 0.12914 | 0.095729
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.86903 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 2.0022 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86903 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81804 | 0.096687 | 0.84833 | 0.12914 | 0.095729
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 7.5 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.75333 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75333 |  | 0.75333 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.76267 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 7.5 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 5.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76267 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72467 | 0.05374 | 0.72467 | 0.076 | 0.056338
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.68667 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 15 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 10.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68667 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72467 | 0.05374 | 0.72467 | 0.076 | 0.056338
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.90333 | Restek | A088363 | Restek A088363: 20 µl | 3 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90333 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90333 |  | 0.90333 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.82333 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 3 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82333 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87167 | 0.068354 | 0.87167 | 0.096667 | 0.071658
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 15 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 13.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87167 | 0.068354 | 0.87167 | 0.096667 | 0.071658
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.864 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 7.5 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 6.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.864 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.747 | 0.16546 | 0.747 | 0.234 | 0.17346
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.63 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 3 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.747 | 0.16546 | 0.747 | 0.234 | 0.17346
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.51867 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 7.5 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 3.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51867 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.51867 |  | 0.51867 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.79333 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 3 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79333 |  | 0.79333 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.94933 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.559 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94933 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94933 |  | 0.94933 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.91774 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.62 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91774 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91774 |  | 0.91774 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.92258 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.55 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92258 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92258 |  | 0.92258 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.87903 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.62 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87903 |  | 0.87903 | 0 | 0
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-02-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.53604 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.4085 | 4-CHLOROPHENYL_PHENYL_ETHER | E | 0.34 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53604 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.82882 | Supelco | LB50016 | Supelco LB50016: 40 µl | 2.1597 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82882 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.0409 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.345 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0409 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.0141 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.351 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0141 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.93802 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.3433 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93802 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.76739 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.3292 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76739 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.83701 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.3381 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83701 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85175 | 0.1718 | 0.83701 | 0.24667 | 0.18285
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-03-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.86783 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.97255 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.844 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86783 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85537 | 0.031513 | 0.85656 | 0.048142 | 0.035687
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.89105 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.459 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89105 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85537 | 0.031513 | 0.85656 | 0.048142 | 0.035687
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-08-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.84529 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.90501 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.765 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84529 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85537 | 0.031513 | 0.85656 | 0.048142 | 0.035687
4-CHLOROPHENYL PHENYL ETHER | 1383 | 34641GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.8173 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.91521 | 4-CHLOROPHENYL_PHENYL_ETHER | . | 0.34 | 0.748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8173 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85537 | 0.031513 | 0.85656 | 0.048142 | 0.035687