## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.29484 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.005 | 4-NITROPHENOL | . | 0.52 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29484 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.29484 |  | 0.29484 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-04-07 | 2009-01-01 | 2009-09-30 | ug/L | 0.8534 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.90696 | 4-NITROPHENOL | E | 0.51 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8534 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.53898 | 0.27438 | 0.41551 | 0.50537 | 0.37463
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-09-01 | 2009-01-01 | 2009-09-30 | ug/L | 0.34803 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.83902 | 4-NITROPHENOL | E | 0.51 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34803 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.53898 | 0.27438 | 0.41551 | 0.50537 | 0.37463
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.41551 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.355 | 4-NITROPHENOL | . | 0.51 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41551 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 0.53898 | 0.27438 | 0.41551 | 0.50537 | 0.37463
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.42857 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 3.01 | 4-NITROPHENOL | . | 0.52 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42857 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.42857 |  | 0.42857 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.70432 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.204 | 4-NITROPHENOL | . | 0.52 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70432 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.70432 |  | 0.70432 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.592 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.5 | 4-NITROPHENOL | . | 0.52 | 0.888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.592 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.482 | 0.15556 | 0.482 | 0.22 | 0.16308
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.372 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.5 | 4-NITROPHENOL | . | 0.52 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.372 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.482 | 0.15556 | 0.482 | 0.22 | 0.16308
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-03-10 | 2009-01-01 | 2009-09-30 | ug/L | 0.42245 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.92793 | 4-NITROPHENOL | E | 0.51 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42245 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45876 | 0.090765 | 0.469 | 0.14646 | 0.10857
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-04-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.51556 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.3713 | 4-NITROPHENOL | . | 0.51 | 0.707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51556 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.45876 | 0.090765 | 0.469 | 0.14646 | 0.10857
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-08-25 | 2009-01-01 | 2009-09-30 | ug/L | 0.34862 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.85767 | 4-NITROPHENOL | E | 0.51 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34862 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45876 | 0.090765 | 0.469 | 0.14646 | 0.10857
4-NITROPHENOL | 1383 | 34646GCM56 | 2009-09-21 | 2009-01-01 | 2009-09-30 | ug/L | 0.54842 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.8406 | 4-NITROPHENOL | E | 0.51 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54842 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.45876 | 0.090765 | 0.469 | 0.14646 | 0.10857
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.57571 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.202 | 4-NITROPHENOL | . | 0.52 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57571 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.57571 |  | 0.57571 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.624 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.75 | 4-NITROPHENOL | . | 0.52 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.624 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.60333 | 0.029227 | 0.60333 | 0.041333 | 0.03064
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.58267 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.5 | 4-NITROPHENOL | E | 0.52 | 4.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58267 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.60333 | 0.029227 | 0.60333 | 0.041333 | 0.03064
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.55652 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.504 | 4-NITROPHENOL | . | 0.52 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55652 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.55652 |  | 0.55652 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.49736 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.1079 | 4-NITROPHENOL | . | 0.51 | 0.551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49736 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.52286 | 0.05259 | 0.52248 | 0.084429 | 0.062586
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.54761 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.0829 | 4-NITROPHENOL | . | 0.51 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54761 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.52286 | 0.05259 | 0.52248 | 0.084429 | 0.062586
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.58254 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 2.1973 | 4-NITROPHENOL | E | 0.51 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58254 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.52286 | 0.05259 | 0.52248 | 0.084429 | 0.062586
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.46393 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.1036 | 4-NITROPHENOL | . | 0.52 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46393 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.52286 | 0.05259 | 0.52248 | 0.084429 | 0.062586
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.41467 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1.5 | 4-NITROPHENOL | . | 0.52 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41467 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.41467 |  | 0.41467 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.47074 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 3.76 | 4-NITROPHENOL | . | 0.52 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47074 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.4375 | 0.047015 | 0.4375 | 0.066489 | 0.049288
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.40426 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 7.52 | 4-NITROPHENOL | E | 0.52 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40426 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.4375 | 0.047015 | 0.4375 | 0.066489 | 0.049288
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.432 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 3.75 | 4-NITROPHENOL | . | 0.52 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.432 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.432 |  | 0.432 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.73138 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1.504 | 4-NITROPHENOL | . | 0.52 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73138 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.73138 |  | 0.73138 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.54551 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.5728 | 4-NITROPHENOL | . | 0.52 | 0.858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54551 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.64502 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.9223 | 4-NITROPHENOL | . | 0.52 | 2.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64502 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.45754 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.97259 | 4-NITROPHENOL | . | 0.52 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45754 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.70083 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.5696 | 4-NITROPHENOL | E | 0.52 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70083 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.57576 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.96 | 4-NITROPHENOL | . | 0.52 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57576 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.44242 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.99 | 4-NITROPHENOL | . | 0.52 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44242 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.32525 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.99 | 4-NITROPHENOL | E | 0.52 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32525 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.10606 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.584 | 4-NITROPHENOL | E | 0.52 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10606 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.59798 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.99 | 4-NITROPHENOL | . | 0.52 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59798 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.48849 | 0.18318 | 0.54551 | 0.15556 | 0.11531
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.57447 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.76 | 4-NITROPHENOL | . | 0.52 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57447 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.57447 |  | 0.57447 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.56146 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.01 | 4-NITROPHENOL | . | 0.52 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56146 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.56146 |  | 0.56146 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.46922 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.202 | 4-NITROPHENOL | E | 0.52 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46922 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.46922 |  | 0.46922 | 0 | 0
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.39745 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.1663 | 4-NITROPHENOL | . | 0.51 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39745 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.54511 | 0.18218 | 0.51249 | 0.30057 | 0.22281
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.3922 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.1168 | 4-NITROPHENOL | E | 0.51 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3922 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54511 | 0.18218 | 0.51249 | 0.30057 | 0.22281
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.76327 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.1228 | 4-NITROPHENOL | . | 0.51 | 0.857 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76327 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.54511 | 0.18218 | 0.51249 | 0.30057 | 0.22281
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.62752 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.1672 | 4-NITROPHENOL | . | 0.52 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62752 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.54511 | 0.18218 | 0.51249 | 0.30057 | 0.22281
4-NITROPHENOL | 1383 | 34646GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.6809 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.97224 | 4-NITROPHENOL | . | 0.52 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6809 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.61827 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.5754 | 4-NITROPHENOL | . | 0.52 | 0.974 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61827 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.3268 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.9779 | 4-NITROPHENOL | E | 0.52 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3268 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.67104 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.991 | 4-NITROPHENOL | . | 0.52 | 0.665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67104 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.39051 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.991 | 4-NITROPHENOL | . | 0.52 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39051 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.333 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.964 | 4-NITROPHENOL | . | 0.52 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.333 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.34372 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.5856 | 4-NITROPHENOL | . | 0.52 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34372 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.48335 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.991 | 4-NITROPHENOL | . | 0.52 | 0.479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48335 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.48095 | 0.15475 | 0.43693 | 0.3063 | 0.22706
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-02-11 | 2006-04-01 | 2008-12-31 | ug/L | 0.54561 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7925 | 4-NITROPHENOL | E | 0.51 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54561 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-05-08 | 2006-04-01 | 2008-12-31 | ug/L | 0.73029 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.739 | 4-NITROPHENOL | E | 0.51 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73029 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-05-08 | 2006-04-01 | 2008-12-31 | ug/L | 0.56226 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7679 | 4-NITROPHENOL | E | 0.51 | 0.994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56226 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-06-09 | 2006-04-01 | 2008-12-31 | ug/L | 0.72057 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.7756 | 4-NITROPHENOL | E | 0.51 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72057 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-07-14 | 2006-04-01 | 2008-12-31 | ug/L | 0.54602 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.727 | 4-NITROPHENOL | E | 0.51 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54602 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-08-19 | 2006-04-01 | 2008-12-31 | ug/L | 0.71042 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7173 | 4-NITROPHENOL | E | 0.51 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71042 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939
4-NITROPHENOL | 1383 | 34646GCM56 | 2008-09-21 | 2006-04-01 | 2008-12-31 | ug/L | 0.65242 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.7167 | 4-NITROPHENOL | . | 0.51 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65242 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 0.63823 | 0.085165 | 0.65242 | 0.17455 | 0.12939