## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2 | ACENAPHTHENE | . | 0.28 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0688 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.8 | ACENAPHTHENE | . | 0.28 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0687 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0687 |  | 1.0687 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.73316 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.514 | ACENAPHTHENE | . | 0.28 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73316 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.64168 | 0.12937 | 0.64168 | 0.18296 | 0.13563
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.5502 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.514 | ACENAPHTHENE | . | 0.28 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5502 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.64168 | 0.12937 | 0.64168 | 0.18296 | 0.13563
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.93125 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.8 | ACENAPHTHENE | . | 0.28 | 0.745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86813 | 0.089272 | 0.86813 | 0.12625 | 0.093588
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.805 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2 | ACENAPHTHENE | . | 0.28 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.805 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86813 | 0.089272 | 0.86813 | 0.12625 | 0.093588
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.66789 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.46864 | ACENAPHTHENE | . | 0.28 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66789 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.79418 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.46337 | ACENAPHTHENE | . | 0.28 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.77155 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.8664 | ACENAPHTHENE | . | 0.28 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77155 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.67625 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.75268 | ACENAPHTHENE | . | 0.28 | 0.509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67625 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.71915 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.47556 | ACENAPHTHENE | . | 0.28 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71915 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.83378 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.752 | ACENAPHTHENE | . | 0.28 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83378 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.78723 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.47 | ACENAPHTHENE | . | 0.28 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78723 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.7633 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.752 | ACENAPHTHENE | . | 0.28 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7633 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.74043 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.47 | ACENAPHTHENE | . | 0.28 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74043 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75042 | 0.055023 | 0.7633 | 0.068088 | 0.050473
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8175 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.8 | ACENAPHTHENE | . | 0.28 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8175 |  | 0.8175 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.715 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.8 | ACENAPHTHENE | . | 0.28 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.715 |  | 0.715 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.98153 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.79 | ACENAPHTHENE | . | 0.28 | 3.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98153 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97757 | 0.0055972 | 0.97757 | 0.0079156 | 0.0058677
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97361 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.58 | ACENAPHTHENE | . | 0.28 | 7.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97361 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97757 | 0.0055972 | 0.97757 | 0.0079156 | 0.0058677
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.78496 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.516 | ACENAPHTHENE | . | 0.28 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78496 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78496 |  | 0.78496 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.54715 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.74202 | ACENAPHTHENE | . | 0.28 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54715 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.69544 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.47308 | ACENAPHTHENE | . | 0.28 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69544 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.71003 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.47745 | ACENAPHTHENE | . | 0.28 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71003 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.72718 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.884 | ACENAPHTHENE | . | 0.28 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72718 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.78689 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.7536 | ACENAPHTHENE | . | 0.28 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78689 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.66348 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.7536 | ACENAPHTHENE | . | 0.28 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66348 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72187 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.884 | ACENAPHTHENE | . | 0.28 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72187 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.79618 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.471 | ACENAPHTHENE | . | 0.28 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79618 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.67516 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.471 | ACENAPHTHENE | . | 0.28 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67516 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.70913 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.471 | ACENAPHTHENE | . | 0.28 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70913 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70325 | 0.069466 | 0.70958 | 0.052017 | 0.03856
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.95816 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 2.0143 | ACENAPHTHENE | . | 0.28 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95816 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81555 | 0.22306 | 0.8879 | 0.31363 | 0.23249
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.49983 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 3.021 | ACENAPHTHENE | E | 0.28 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49983 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.81555 | 0.22306 | 0.8879 | 0.31363 | 0.23249
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.98657 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8853 | ACENAPHTHENE | . | 0.28 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98657 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81555 | 0.22306 | 0.8879 | 0.31363 | 0.23249
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.81763 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8713 | ACENAPHTHENE | . | 0.28 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81763 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81555 | 0.22306 | 0.8879 | 0.31363 | 0.23249
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77939 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.785 | ACENAPHTHENE | . | 0.28 | 2.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77939 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77939 |  | 0.77939 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-03-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.85377 | Restek | A062189 | Restek A062189: 25 µl | 2.0146 | ACENAPHTHENE | E | 0.28 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85377 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82971 | 0.080253 | 0.85199 | 0.094869 | 0.070325
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-08-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.90051 | Restek | A062189 | Restek A062189: 25 µl | 1.8989 | ACENAPHTHENE | . | 0.28 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90051 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82971 | 0.080253 | 0.85199 | 0.094869 | 0.070325
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.8502 | Restek | A062189 | Restek A062189: 40 µl | 3.0581 | ACENAPHTHENE | . | 0.28 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8502 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82971 | 0.080253 | 0.85199 | 0.094869 | 0.070325
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-09-22 | 2006-04-01 | 2009-09-30 | ug/L | 0.71434 | Restek | A062189 | Restek A062189: 25 µl | 1.9319 | ACENAPHTHENE | . | 0.28 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71434 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82971 | 0.080253 | 0.85199 | 0.094869 | 0.070325
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.81902 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.514 | ACENAPHTHENE | . | 0.28 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81902 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87517 | 0.079398 | 0.87517 | 0.11229 | 0.083236
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93131 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.57 | ACENAPHTHENE | . | 0.28 | 7.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93131 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87517 | 0.079398 | 0.87517 | 0.11229 | 0.083236
ACENAPHTHENE | 1383 | 34205GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.781 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.79 | ACENAPHTHENE | . | 0.28 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.781 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73021 | 0.07183 | 0.73021 | 0.10158 | 0.075303
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.67942 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.516 | ACENAPHTHENE | . | 0.28 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67942 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73021 | 0.07183 | 0.73021 | 0.10158 | 0.075303
ACENAPHTHENE | 1383 | 34205GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.965 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2 | ACENAPHTHENE | . | 0.28 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.965 |  | 0.965 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.9175 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.8 | ACENAPHTHENE | . | 0.28 | 0.734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9175 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9175 |  | 0.9175 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.80464 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.2328 | ACENAPHTHENE | . | 0.28 | 0.992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80464 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78738 | 0.033612 | 0.80318 | 0.035999 | 0.026686
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.80613 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.62149 | ACENAPHTHENE | . | 0.28 | 0.501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80613 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78738 | 0.033612 | 0.80318 | 0.035999 | 0.026686
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.73704 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.62683 | ACENAPHTHENE | . | 0.28 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73704 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78738 | 0.033612 | 0.80318 | 0.035999 | 0.026686
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.80173 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.2598 | ACENAPHTHENE | . | 0.28 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80173 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78738 | 0.033612 | 0.80318 | 0.035999 | 0.026686
ACENAPHTHENE | 1383 | 34205GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.94055 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.785 | ACENAPHTHENE | . | 0.28 | 3.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94055 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94055 |  | 0.94055 | 0 | 0
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-02-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.55393 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.6899 | ACENAPHTHENE | E | 0.28 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55393 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.83404 | Supelco | LB50016 | Supelco LB50016: 40 µl | 4.1245 | ACENAPHTHENE | . | 0.28 | 3.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83404 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.95382 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5686 | ACENAPHTHENE | . | 0.28 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95382 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.9767 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5801 | ACENAPHTHENE | . | 0.28 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9767 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.86539 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5653 | ACENAPHTHENE | . | 0.28 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86539 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.70122 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5384 | ACENAPHTHENE | . | 0.28 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70122 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.76308 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.5554 | ACENAPHTHENE | . | 0.28 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76308 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80688 | 0.14813 | 0.83404 | 0.2526 | 0.18725
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.69427 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.61072 | ACENAPHTHENE | . | 0.28 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69427 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75148 | 0.076355 | 0.72841 | 0.11486 | 0.085141
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.76255 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.2261 | ACENAPHTHENE | . | 0.28 | 0.935 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76255 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75148 | 0.076355 | 0.72841 | 0.11486 | 0.085141
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.69385 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.62262 | ACENAPHTHENE | . | 0.28 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69385 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75148 | 0.076355 | 0.72841 | 0.11486 | 0.085141
ACENAPHTHENE | 1383 | 34205GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.85527 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.63021 | ACENAPHTHENE | . | 0.28 | 0.539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85527 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75148 | 0.076355 | 0.72841 | 0.11486 | 0.085141