## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2 | BENZO[B]FLUORANTHENE | E | 0.3 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1375 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.8 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 1.1375 |  | 1.1375 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.73133 | Accu | B8090087 | Accu B8090087: 40 µl | 3.3911 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73133 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85111 | 0.08176 | 0.88114 | 0.10276 | 0.076172
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.89415 | Accu | B8090087 | Accu B8090087: 25 µl | 2.0131 | BENZO[B]FLUORANTHENE | . | 0.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89415 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85111 | 0.08176 | 0.88114 | 0.10276 | 0.076172
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.86813 | Accu | B8090087 | Accu B8090087: 25 µl | 2.085 | BENZO[B]FLUORANTHENE | . | 0.4 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86813 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85111 | 0.08176 | 0.88114 | 0.10276 | 0.076172
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-09-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.91082 | Accu | B8090087 | Accu B8090087: 25 µl | 2.0311 | BENZO[B]FLUORANTHENE | . | 0.4 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91082 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85111 | 0.08176 | 0.88114 | 0.10276 | 0.076172
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.67857 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.008 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.684 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67857 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.59524 | 0.11785 | 0.59524 | 0.16667 | 0.12355
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.5119 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.008 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5119 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.59524 | 0.11785 | 0.59524 | 0.16667 | 0.12355
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.98875 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.8 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98875 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.91437 | 0.10518 | 0.91437 | 0.14875 | 0.11027
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2 | BENZO[B]FLUORANTHENE | E | 0.3 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.91437 | 0.10518 | 0.91437 | 0.14875 | 0.11027
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.78501 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.656 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78501 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74121 | 0.10649 | 0.75021 | 0.15984 | 0.11849
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.71541 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 3.4386 | BENZO[B]FLUORANTHENE | . | 0.3 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71541 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74121 | 0.10649 | 0.75021 | 0.15984 | 0.11849
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.85726 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.6798 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85726 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74121 | 0.10649 | 0.75021 | 0.15984 | 0.11849
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.60717 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 3.3763 | BENZO[B]FLUORANTHENE | . | 0.3 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60717 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74121 | 0.10649 | 0.75021 | 0.15984 | 0.11849
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8975 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.8 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.8975 |  | 0.8975 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.695 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.8 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.695 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 0.695 |  | 0.695 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.932 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.5 | BENZO[B]FLUORANTHENE | E | 0.3 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.932 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.91 | 0.031113 | 0.91 | 0.044 | 0.032617
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.888 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5 | BENZO[B]FLUORANTHENE | E | 0.3 | 4.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.91 | 0.031113 | 0.91 | 0.044 | 0.032617
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.826 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.826 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.826 |  | 0.826 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.68459 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 3.4619 | BENZO[B]FLUORANTHENE | . | 0.3 | 2.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68459 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80458 | 0.083907 | 0.83044 | 0.11317 | 0.083891
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.8114 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.7008 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8114 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80458 | 0.083907 | 0.83044 | 0.11317 | 0.083891
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.84948 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.6952 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84948 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80458 | 0.083907 | 0.83044 | 0.11317 | 0.083891
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.87285 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.7185 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87285 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80458 | 0.083907 | 0.83044 | 0.11317 | 0.083891
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.7619 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.52 | BENZO[B]FLUORANTHENE | E | 0.3 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7619 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.7619 |  | 0.7619 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.80556 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.008 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80556 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.83532 | 0.04209 | 0.83532 | 0.059524 | 0.044124
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.86508 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5.04 | BENZO[B]FLUORANTHENE | E | 0.3 | 4.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86508 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.83532 | 0.04209 | 0.83532 | 0.059524 | 0.044124
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | BENZO[B]FLUORANTHENE | E | 0.3 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 |  | 2 | 0.745 | 0.077782 | 0.745 | 0.11 | 0.081542
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 |  | 2 | 0.745 | 0.077782 | 0.745 | 0.11 | 0.081542
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.885 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2 | BENZO[B]FLUORANTHENE | E | 0.3 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.885 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.885 |  | 0.885 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.125 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.8 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.125 |  | 1.125 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.86657 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0247 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86657 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.85699 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.5555 | BENZO[B]FLUORANTHENE | . | 0.3 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85699 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.65966 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.63366 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65966 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.68356 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0226 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68356 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.78295 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.58 | BENZO[B]FLUORANTHENE | . | 0.3 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78295 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.84186 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84186 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.75039 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75039 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.37791 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.032 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37791 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.76434 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76434 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.73158 | 0.15114 | 0.76434 | 0.1583 | 0.11735
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.95238 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.52 | BENZO[B]FLUORANTHENE | E | 0.3 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.95238 |  | 0.95238 | 0 | 0
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.73642 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.63279 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73642 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.7578 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0253 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7578 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.6064 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5891 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6064 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.72248 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72248 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.70078 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | . | 0.3 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70078 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.44574 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.58 | BENZO[B]FLUORANTHENE | E | 0.3 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44574 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.58333 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.032 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58333 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.67132 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.645 | BENZO[B]FLUORANTHENE | E | 0.3 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67132 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.65303 | 0.10377 | 0.68605 | 0.13459 | 0.099768
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.43791 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 3.06 | BENZO[B]FLUORANTHENE | E | 0.4 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43791 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.78483 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.9688 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78483 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.98079 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 3.018 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98079 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-06-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.87795 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 4.7383 | BENZO[B]FLUORANTHENE | . | 0.4 | 4.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87795 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.80725 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.9483 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80725 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.89028 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.9317 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89028 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2008-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.85988 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.9306 | BENZO[B]FLUORANTHENE | . | 0.4 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85988 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.80555 | 0.17401 | 0.85988 | 0.10545 | 0.078171
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-03-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.63275 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.1809 | BENZO[B]FLUORANTHENE | . | 0.4 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63275 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73099 | 0.14513 | 0.67854 | 0.20068 | 0.14877
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.93835 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 3.2717 | BENZO[B]FLUORANTHENE | . | 0.4 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93835 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73099 | 0.14513 | 0.67854 | 0.20068 | 0.14877
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-08-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.72432 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.0295 | BENZO[B]FLUORANTHENE | . | 0.4 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72432 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73099 | 0.14513 | 0.67854 | 0.20068 | 0.14877
BENZO[B]FLUORANTHENE | 1383 | 34230GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.62854 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.0524 | BENZO[B]FLUORANTHENE | . | 0.3 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62854 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73099 | 0.14513 | 0.67854 | 0.20068 | 0.14877