## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.64444 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.25 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64444 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.64444 |  | 0.64444 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.98444 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.9 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98444 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 0.98444 |  | 0.98444 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.75133 | Accu | B8090087 | Accu B8090087: 40 µl | 1.3709 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75133 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88357 | 0.089843 | 0.91895 | 0.11177 | 0.082851
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.93386 | Accu | B8090087 | Accu B8090087: 25 µl | 0.81383 | BENZO[K]FLUORANTHENE | . | 0.4 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93386 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88357 | 0.089843 | 0.91895 | 0.11177 | 0.082851
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.90404 | Accu | B8090087 | Accu B8090087: 25 µl | 0.84288 | BENZO[K]FLUORANTHENE | . | 0.4 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90404 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88357 | 0.089843 | 0.91895 | 0.11177 | 0.082851
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-09-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.94504 | Accu | B8090087 | Accu B8090087: 25 µl | 0.82113 | BENZO[K]FLUORANTHENE | . | 0.4 | 0.776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94504 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88357 | 0.089843 | 0.91895 | 0.11177 | 0.082851
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.62483 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.514 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62483 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.55284 | 0.10182 | 0.55284 | 0.14399 | 0.10674
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.48085 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.514 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48085 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.55284 | 0.10182 | 0.55284 | 0.14399 | 0.10674
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.91556 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.9 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91556 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82667 | 0.12571 | 0.82667 | 0.17778 | 0.13178
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.73778 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.25 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73778 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82667 | 0.12571 | 0.82667 | 0.17778 | 0.13178
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.74347 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.0949 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74347 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71318 | 0.12643 | 0.70384 | 0.18874 | 0.13991
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.66421 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.2734 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66421 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71318 | 0.12643 | 0.70384 | 0.18874 | 0.13991
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.87163 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.1106 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87163 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71318 | 0.12643 | 0.70384 | 0.18874 | 0.13991
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.57342 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.2322 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57342 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71318 | 0.12643 | 0.70384 | 0.18874 | 0.13991
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.82111 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.9 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.739 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82111 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.82111 |  | 0.82111 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.70444 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.9 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70444 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 0.70444 |  | 0.70444 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.98143 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.77 | BENZO[K]FLUORANTHENE | E | 0.3 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98143 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.92971 | 0.073149 | 0.92971 | 0.10345 | 0.076685
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.87798 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.54 | BENZO[K]FLUORANTHENE | E | 0.3 | 6.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87798 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.92971 | 0.073149 | 0.92971 | 0.10345 | 0.076685
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.79576 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.508 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79576 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.79576 |  | 0.79576 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.74454 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 2.2699 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74454 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86314 | 0.094955 | 0.86589 | 0.1252 | 0.092811
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.87524 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.1151 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87524 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86314 | 0.094955 | 0.86589 | 0.1252 | 0.092811
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.85654 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.1114 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85654 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86314 | 0.094955 | 0.86589 | 0.1252 | 0.092811
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.97625 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.1268 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97625 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86314 | 0.094955 | 0.86589 | 0.1252 | 0.092811
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.5284 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.785 | BENZO[K]FLUORANTHENE | E | 0.3 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5284 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.5284 |  | 0.5284 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.81242 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.514 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81242 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.83223 | 0.028023 | 0.83223 | 0.03963 | 0.029377
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.85205 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.57 | BENZO[K]FLUORANTHENE | E | 0.3 | 6.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85205 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.83223 | 0.028023 | 0.83223 | 0.03963 | 0.029377
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78515 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.77 | BENZO[K]FLUORANTHENE | E | 0.3 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78515 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 |  | 2 | 0.75066 | 0.048766 | 0.75066 | 0.068966 | 0.051123
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.71618 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.508 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71618 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 |  | 2 | 0.75066 | 0.048766 | 0.75066 | 0.068966 | 0.051123
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.82222 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.25 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82222 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.82222 |  | 0.82222 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0156 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.9 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.914 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0156 |  | 1.0156 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.0056 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3425 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0056 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.87519 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.3479 | BENZO[K]FLUORANTHENE | . | 0.3 | 2.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87519 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.63001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.83014 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63001 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.68449 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3397 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68449 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.76923 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.38 | BENZO[K]FLUORANTHENE | . | 0.3 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.92426 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.845 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92426 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.71834 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.845 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71834 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.33432 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.352 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33432 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.77633 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.845 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77633 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.74642 | 0.19519 | 0.76923 | 0.19069 | 0.14136
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.79789 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.785 | BENZO[K]FLUORANTHENE | E | 0.3 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79789 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.79789 |  | 0.79789 | 0 | 0
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.84269 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.82949 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84269 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.76633 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3441 | BENZO[K]FLUORANTHENE | . | 0.3 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76633 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.60108 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.3939 | BENZO[K]FLUORANTHENE | . | 0.3 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60108 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.62212 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.8455 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62212 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.61975 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.8455 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61975 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.3903 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.382 | BENZO[K]FLUORANTHENE | E | 0.3 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3903 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.38808 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3528 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38808 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.62685 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.8455 | BENZO[K]FLUORANTHENE | E | 0.3 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62685 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.60715 | 0.15885 | 0.62093 | 0.2009 | 0.14892
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.41402 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4468 | BENZO[K]FLUORANTHENE | E | 0.4 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41402 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.84066 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4037 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84066 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.99516 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.4269 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99516 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.84811 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 2.2403 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84811 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.81064 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.394 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81064 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.86574 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.3861 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86574 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.72892 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 1.3856 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72892 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78618 | 0.1822 | 0.84066 | 0.13683 | 0.10143
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.60791 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.87185 | BENZO[K]FLUORANTHENE | . | 0.4 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60791 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69421 | 0.16589 | 0.64168 | 0.21984 | 0.16297
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.9328 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.3079 | BENZO[K]FLUORANTHENE | . | 0.4 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9328 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69421 | 0.16589 | 0.64168 | 0.21984 | 0.16297
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.67546 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.8113 | BENZO[K]FLUORANTHENE | . | 0.4 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67546 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69421 | 0.16589 | 0.64168 | 0.21984 | 0.16297
BENZO[K]FLUORANTHENE | 1383 | 34242GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.56067 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.82045 | BENZO[K]FLUORANTHENE | . | 0.3 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56067 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69421 | 0.16589 | 0.64168 | 0.21984 | 0.16297