## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.34137 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 8.964 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 3.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34137 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 |  | 1 | 0.34137 |  | 0.34137 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.36971 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 22.45 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 8.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36971 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 |  | 1 | 0.36971 |  | 0.36971 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.84562 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 4.1981 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84562 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.67792 | 0.23717 | 0.67792 | 0.3354 | 0.24863
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.51022 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 6.2718 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51022 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.67792 | 0.23717 | 0.67792 | 0.3354 | 0.24863
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.3967 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 22.41 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 8.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3967 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.3967 |  | 0.3967 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.59606 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 4.06 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 2.42 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.59606 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 1 |  | 1 | 0.59606 |  | 0.59606 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.45984 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 4.3058 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45984 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55142 | 0.061167 | 0.57938 | 0.064677 | 0.047944
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.57832 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 6.3632 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57832 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55142 | 0.061167 | 0.57938 | 0.064677 | 0.047944
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.58043 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 3.9798 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 2.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58043 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55142 | 0.061167 | 0.57938 | 0.064677 | 0.047944
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.58709 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 3.9006 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58709 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55142 | 0.061167 | 0.57938 | 0.064677 | 0.047944
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.6971 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 8.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6971 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6971 |  | 0.6971 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.57795 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 8.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 5.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57795 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.57795 |  | 0.57795 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.73103 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 10.15 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 7.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73103 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7202 | 0.015326 | 0.7202 | 0.021675 | 0.016067
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.70936 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 20.3 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 14.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70936 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7202 | 0.015326 | 0.7202 | 0.021675 | 0.016067
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.83417 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 4.004 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 3.34 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83417 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 1 |  | 1 | 0.83417 |  | 0.83417 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 1.0703 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.8027 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 4.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0703 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.88182 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.8217 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 1.0799 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.8523 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 4.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0799 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-08-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.8071 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.7666 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8071 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.83262 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 6.0892 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 5.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83262 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.96593 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.7684 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2 | 3.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96593 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9396 | 0.11814 | 0.92387 | 0.23766 | 0.17618
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.62808 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 4.06 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 2.55 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62808 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 1 |  | 1 | 0.62808 |  | 0.62808 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.51349 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 10.01 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 5.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51349 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.54895 | 0.050154 | 0.54895 | 0.070929 | 0.052579
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.58442 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 20.02 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 11.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58442 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.54895 | 0.050154 | 0.54895 | 0.070929 | 0.052579
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77173 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 4.004 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 3.09 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77173 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 1 |  | 1 | 0.77173 |  | 0.77173 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.86401 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 7.6735 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 6.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86401 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.73682 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 19.1363 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 14.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73682 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.57955 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 4.7451 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57955 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.60986 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 7.6575 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 4.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60986 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.91097 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 19.32 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2.6 | 17.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91097 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.76812 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 4.83 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2.6 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76812 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.62319 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 4.83 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 3.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62319 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.27433 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 7.728 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27433 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.7412 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 4.83 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 3.58 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7412 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.67867 | 0.18866 | 0.73682 | 0.15826 | 0.11732
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.7043 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 10.01 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 7.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7043 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.7043 |  | 0.7043 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.43775 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 22.41 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 9.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43775 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.43775 |  | 0.43775 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.82405 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 8.98 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 7.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82405 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82405 |  | 0.82405 | 0 | 0
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.4494 | Supelco | LB69646 | Supelco LB69646: 80 µl | 9.1233 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 4.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4494 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.51908 | 0.06271 | 0.53685 | 0.12158 | 0.090129
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.57098 | Supelco | LB69646 | Supelco LB69646: 40 µl | 4.7287 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57098 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.51908 | 0.06271 | 0.53685 | 0.12158 | 0.090129
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.53685 | Supelco | LB69646 | Supelco LB69646: 80 µl | 9.1273 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2.6 | 4.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53685 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.51908 | 0.06271 | 0.53685 | 0.12158 | 0.090129
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.65618 | Supelco | LB77169 | Supelco LB77169: 50 µl | 4.7395 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 2.6 | 3.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65618 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.64065 | Supelco | LB77169 | Supelco LB77169: 80 µl | 7.6797 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 4.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64065 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.43676 | Supelco | LB77169 | Supelco LB77169: 50 µl | 4.831 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 2.6 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43676 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.43676 | Supelco | LB77169 | Supelco LB77169: 50 µl | 4.831 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 2.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.43676 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.29238 | Supelco | LB77169 | Supelco LB77169: 200 µl | 19.324 | BIS(2-ETHYLHEXYL)_PHTHALATE | E | 7.2 | 5.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29238 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.34154 | Supelco | LB77169 | Supelco LB77169: 80 µl | 7.7296 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34154 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173
BIS(2-ETHYLHEXYL) PHTHALATE | 1383 | 39100GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.38915 | Supelco | LB77169 | Supelco LB77169: 50 µl | 4.831 | BIS(2-ETHYLHEXYL)_PHTHALATE | . | 7.2 | 1.88 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.38915 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 7 | 0.45621 | 0.14098 | 0.43676 | 0.29911 | 0.22173