## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.76743 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 2.984 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76743 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76743 |  | 0.76743 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68591 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 7.45 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 5.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68591 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68591 |  | 0.68591 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87265 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 7.46 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 6.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87265 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.87265 |  | 0.87265 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0791 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 2.984 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0791 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0791 |  | 1.0791 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.5426 | Accu | B8090087 | Accu B8090087: 40 µl | 1.2058 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.86 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5426 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0805 | Accu | B8090087 | Accu B8090087: 25 µl | 0.74136 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.801 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0805 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 1.1589 | Accu | B8090087 | Accu B8090087: 25 µl | 0.72222 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.837 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1589 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78922 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2.04 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78922 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.78922 |  | 0.78922 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.81879 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81879 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81879 |  | 0.81879 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.63087 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63087 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.63087 |  | 0.63087 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.96471 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 5.1 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 4.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96471 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84412 | 0.17054 | 0.84412 | 0.24118 | 0.17878
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72353 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 10.2 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 7.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72353 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84412 | 0.17054 | 0.84412 | 0.24118 | 0.17878
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.018 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2.004 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.018 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.018 |  | 1.018 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-02-22 | 2007-10-01 | 2008-09-30 | ug/L | 1.0563 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.4046 | BUTYLBENZYL_PHTHALATE | . | 0.4 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0563 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 1.2495 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.4089 | BUTYLBENZYL_PHTHALATE | E | 0.4 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2495 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 1.1401 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.4209 | BUTYLBENZYL_PHTHALATE | . | 0.4 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1401 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 1.34 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.4403 | BUTYLBENZYL_PHTHALATE | . | 0.4 | 3.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.34 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-08-16 | 2007-10-01 | 2008-09-30 | ug/L | 1.0646 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.386 | BUTYLBENZYL_PHTHALATE | E | 0.4 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0646 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.99552 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 3.8573 | BUTYLBENZYL_PHTHALATE | . | 0.4 | 3.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99552 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.1227 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.3871 | BUTYLBENZYL_PHTHALATE | E | 0.4 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1227 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1384 | 0.11962 | 1.1227 | 0.19323 | 0.14324
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.90997 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 3.0001 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90997 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0401 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.9325 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.84534 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 5.9503 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 5.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84534 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.91681 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.9886 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91681 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.82843 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2.04 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82843 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82843 |  | 0.82843 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.74651 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5.01 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74651 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.67365 | 0.10303 | 0.67365 | 0.14571 | 0.10801
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.6008 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10.02 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6008 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.67365 | 0.10303 | 0.67365 | 0.14571 | 0.10801
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.92814 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2.004 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92814 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92814 |  | 0.92814 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.99288 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.361 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 4.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99288 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.87903 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.8756 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 9.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.77872 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.6967 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77872 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.78585 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.352 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78585 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.92896 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 10.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92896 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.97996 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97996 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.78689 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78689 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.43716 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.392 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43716 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.89617 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89617 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.94212 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5.01 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94212 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.94212 |  | 0.94212 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.82038 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 7.46 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82038 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82038 |  | 0.82038 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.91275 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91275 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91275 |  | 0.91275 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.71394 | Supelco | LB69646 | Supelco LB69646: 80 µl | 5.8408 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71394 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.92658 | Supelco | LB69646 | Supelco LB69646: 40 µl | 3.0111 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92658 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.1627 | Supelco | LB69646 | Supelco LB69646: 40 µl | 3.0273 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1627 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.81117 | Supelco | LB69646 | Supelco LB69646: 80 µl | 5.8434 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81117 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.88409 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.692 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88409 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.8574 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.362 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8574 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.62281 | Supelco | LB77169 | Supelco LB77169: 200 µl | 11.0145 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62281 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.80904 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80904 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.7981 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7981 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.57398 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.976 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 6.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57398 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.64687 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.3904 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64687 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.83819 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83819 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-03-13 | 2008-10-01 | 2009-09-30 | ug/L | 3.205 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.7738 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.48 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944 | 2
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0941 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.1608 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.27 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0941 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.043 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.72006 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.751 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.043 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944