## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.26967 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.5204 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26967 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 |  | 1 | 0.26967 |  | 0.26967 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.53491 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.795 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53491 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 |  | 1 | 0.53491 |  | 0.53491 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.49461 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 3.801 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49461 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.49461 |  | 0.49461 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.83531 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.5204 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83531 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83531 |  | 0.83531 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.90466 | Accu | B8090087 | Accu B8090087: 40 µl | 3.3383 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90466 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.89045 | 0.04708 | 0.90244 | 0.057287 | 0.042466
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.93353 | Accu | B8090087 | Accu B8090087: 25 µl | 1.9817 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93353 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.89045 | 0.04708 | 0.90244 | 0.057287 | 0.042466
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.8234 | Accu | B8090087 | Accu B8090087: 25 µl | 2.0525 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8234 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89045 | 0.04708 | 0.90244 | 0.057287 | 0.042466
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.90022 | Accu | B8090087 | Accu B8090087: 25 µl | 1.9995 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90022 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.89045 | 0.04708 | 0.90244 | 0.057287 | 0.042466
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.54 | 0.16971 | 0.54 | 0.24 | 0.17791
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.42 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.54 | 0.16971 | 0.54 | 0.24 | 0.17791
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78393 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.518 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78393 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78393 |  | 0.78393 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.49407 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.518 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49407 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.49407 |  | 0.49407 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 5 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7565 | 0.061518 | 0.7565 | 0.087 | 0.064492
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.713 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 10 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 7.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.713 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7565 | 0.061518 | 0.7565 | 0.087 | 0.064492
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.93 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93 |  | 0.93 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-02-22 | 2007-10-01 | 2008-09-30 | ug/L | 1.0454 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.1089 | DI-N-OCTYL_PHTHALATE | . | 0.4 | 3.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0454 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 1.1334 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.1145 | DI-N-OCTYL_PHTHALATE | E | 0.4 | 3.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1334 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.97445 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.13 | DI-N-OCTYL_PHTHALATE | . | 0.4 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97445 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 1.1315 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.1551 | DI-N-OCTYL_PHTHALATE | . | 0.4 | 3.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1315 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-08-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.86876 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.0848 | DI-N-OCTYL_PHTHALATE | E | 0.4 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86876 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.94443 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 4.9871 | DI-N-OCTYL_PHTHALATE | . | 0.4 | 4.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94443 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.8975 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.0864 | DI-N-OCTYL_PHTHALATE | E | 0.4 | 2.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.99935 | 0.10694 | 0.97445 | 0.234 | 0.17347
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.57733 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.403 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57733 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60694 | 0.083018 | 0.6095 | 0.12856 | 0.095298
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.64168 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.3714 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64168 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.60694 | 0.083018 | 0.6095 | 0.12856 | 0.095298
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.70076 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 2.7827 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70076 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.60694 | 0.083018 | 0.6095 | 0.12856 | 0.095298
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.508 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.3976 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.508 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60694 | 0.083018 | 0.6095 | 0.12856 | 0.095298
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.63 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.63 |  | 0.63 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.576 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.576 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.6555 | 0.11243 | 0.6555 | 0.159 | 0.11787
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.735 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 7.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.735 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6555 | 0.11243 | 0.6555 | 0.159 | 0.11787
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.398 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 5 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.398 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.398 |  | 0.398 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.99595 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2551 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99595 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.92014 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.13 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92014 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.69578 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.77611 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69578 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.77447 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2525 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77447 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.83228 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.16 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83228 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.96203 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.79 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96203 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.74684 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.79 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74684 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.3481 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.264 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3481 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.82278 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.79 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82278 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.78871 | 0.19302 | 0.82278 | 0.17331 | 0.12847
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.848 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 4.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.848 |  | 0.848 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.43673 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.801 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43673 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.43673 |  | 0.43673 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.75099 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.518 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75099 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75099 |  | 0.75099 | 0 | 0
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.47877 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.7362 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47877 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55613 | 0.065939 | 0.55506 | 0.097607 | 0.072355
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.57424 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.4106 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57424 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55613 | 0.065939 | 0.55506 | 0.097607 | 0.072355
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.53589 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.4182 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53589 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55613 | 0.065939 | 0.55506 | 0.097607 | 0.072355
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.63564 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.7374 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63564 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55613 | 0.065939 | 0.55506 | 0.097607 | 0.072355
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.79794 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.777 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79794 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.69102 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.259 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69102 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.54103 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.1791 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54103 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.5303 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.792 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5303 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.49242 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.792 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49242 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.36932 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.168 | DI-N-OCTYL_PHTHALATE | E | 0.6 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36932 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.33933 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2672 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33933 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.37879 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.792 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37879 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.51752 | 0.16171 | 0.51136 | 0.24197 | 0.17937
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-03-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.43335 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.1253 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.921 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43335 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53942 | 0.18736 | 0.5327 | 0.30598 | 0.22682
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.75277 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 3.1882 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75277 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53942 | 0.18736 | 0.5327 | 0.30598 | 0.22682
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.63204 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.9777 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63204 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53942 | 0.18736 | 0.5327 | 0.30598 | 0.22682
DI-N-OCTYL PHTHALATE | 1383 | 34596GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.3395 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2 | DI-N-OCTYL_PHTHALATE | . | 0.6 | 0.679 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3395 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.53942 | 0.18736 | 0.5327 | 0.30598 | 0.22682