## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81711 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.017 | DIETHYL_PHTHALATE | . | 0.62 | 0.831 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81711 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81711 |  | 0.81711 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81836 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.505 | DIETHYL_PHTHALATE | . | 0.62 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81836 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81836 |  | 0.81836 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 1.1102 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.83772 | DIETHYL_PHTHALATE | . | 0.61 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1102 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83822 | 0.23843 | 0.85457 | 0.32863 | 0.24361
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.53358 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.77777 | DIETHYL_PHTHALATE | E | 0.61 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53358 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.83822 | 0.23843 | 0.85457 | 0.32863 | 0.24361
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.81423 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.77496 | DIETHYL_PHTHALATE | . | 0.61 | 0.631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81423 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83822 | 0.23843 | 0.85457 | 0.32863 | 0.24361
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.89491 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.2515 | DIETHYL_PHTHALATE | . | 0.61 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89491 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83822 | 0.23843 | 0.85457 | 0.32863 | 0.24361
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93215 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.5425 | DIETHYL_PHTHALATE | . | 0.62 | 2.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93215 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93215 |  | 0.93215 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1209 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.017 | DIETHYL_PHTHALATE | . | 0.62 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1209 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1209 |  | 1.1209 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.67881 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.02 | DIETHYL_PHTHALATE | . | 0.62 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67881 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67881 |  | 0.67881 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.64037 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.85732 | DIETHYL_PHTHALATE | E | 0.61 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64037 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0053 | 0.3548 | 0.9459 | 0.4651 | 0.34477
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.98661 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.267 | DIETHYL_PHTHALATE | . | 0.61 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98661 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0053 | 0.3548 | 0.9459 | 0.4651 | 0.34477
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 1.4891 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.79241 | DIETHYL_PHTHALATE | E | 0.61 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4891 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0053 | 0.3548 | 0.9459 | 0.4651 | 0.34477
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.90518 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.77664 | DIETHYL_PHTHALATE | . | 0.61 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90518 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0053 | 0.3548 | 0.9459 | 0.4651 | 0.34477
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.81836 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.002 | DIETHYL_PHTHALATE | . | 0.62 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81836 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81836 |  | 0.81836 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.87682 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 7.55 | DIETHYL_PHTHALATE | . | 0.62 | 6.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87682 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82252 | 0.076798 | 0.82252 | 0.10861 | 0.080511
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76821 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 15.1 | DIETHYL_PHTHALATE | . | 0.62 | 11.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76821 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82252 | 0.076798 | 0.82252 | 0.10861 | 0.080511
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 3 | DIETHYL_PHTHALATE | . | 0.62 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-02-22 | 2006-04-01 | 2009-09-30 | ug/L | 1.1422 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2588 | DIETHYL_PHTHALATE | . | 0.61 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1422 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.1313 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2628 | DIETHYL_PHTHALATE | E | 0.61 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1313 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 1.0246 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2741 | DIETHYL_PHTHALATE | . | 0.61 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0246 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-06-09 | 2006-04-01 | 2009-09-30 | ug/L | 1.2171 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2923 | DIETHYL_PHTHALATE | . | 0.61 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2171 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-08-16 | 2006-04-01 | 2009-09-30 | ug/L | 1.0351 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2413 | DIETHYL_PHTHALATE | . | 0.61 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0351 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.95767 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 3.6234 | DIETHYL_PHTHALATE | . | 0.61 | 3.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95767 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2008-09-21 | 2006-04-01 | 2009-09-30 | ug/L | 1.1238 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.2424 | DIETHYL_PHTHALATE | . | 0.61 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1238 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0903 | 0.088064 | 1.1238 | 0.11761 | 0.087185
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.87052 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2292 | DIETHYL_PHTHALATE | . | 0.61 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87052 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8556 | 0.02103 | 0.85994 | 0.033247 | 0.024646
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.87394 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2015 | DIETHYL_PHTHALATE | . | 0.61 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87394 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8556 | 0.02103 | 0.85994 | 0.033247 | 0.024646
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.8286 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 2.4379 | DIETHYL_PHTHALATE | . | 0.61 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8286 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8556 | 0.02103 | 0.85994 | 0.033247 | 0.024646
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.84936 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2244 | DIETHYL_PHTHALATE | . | 0.62 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84936 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8556 | 0.02103 | 0.85994 | 0.033247 | 0.024646
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.73841 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3.02 | DIETHYL_PHTHALATE | . | 0.62 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73841 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73841 |  | 0.73841 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77467 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 7.5 | DIETHYL_PHTHALATE | . | 0.62 | 5.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77467 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78067 | 0.0084853 | 0.78067 | 0.012 | 0.0088955
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.78667 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 15 | DIETHYL_PHTHALATE | . | 0.62 | 11.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78067 | 0.0084853 | 0.78067 | 0.012 | 0.0088955
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.84667 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 3 | DIETHYL_PHTHALATE | . | 0.62 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84667 |  | 0.84667 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.98236 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3742 | DIETHYL_PHTHALATE | . | 0.62 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98236 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.91914 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.4271 | DIETHYL_PHTHALATE | . | 0.62 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91914 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.7496 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.84979 | DIETHYL_PHTHALATE | . | 0.62 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7496 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.74377 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3714 | DIETHYL_PHTHALATE | . | 0.62 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74377 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.82659 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.46 | DIETHYL_PHTHALATE | . | 0.62 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82659 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.87746 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87746 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.73873 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.639 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73873 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.37934 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.384 | DIETHYL_PHTHALATE | E | 0.62 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37934 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.95145 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.823 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95145 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79649 | 0.18145 | 0.82659 | 0.17537 | 0.13
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.96667 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 7.5 | DIETHYL_PHTHALATE | E | 0.62 | 7.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.96667 |  | 0.96667 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.85742 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.5425 | DIETHYL_PHTHALATE | . | 0.62 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85742 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85742 |  | 0.85742 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.85828 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.002 | DIETHYL_PHTHALATE | . | 0.62 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85828 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85828 |  | 0.85828 | 0 | 0
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.83159 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.393 | DIETHYL_PHTHALATE | . | 0.61 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83159 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99189 | 0.17497 | 0.96732 | 0.28754 | 0.21315
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.07 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.2336 | DIETHYL_PHTHALATE | . | 0.61 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99189 | 0.17497 | 0.96732 | 0.28754 | 0.21315
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.2013 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.2403 | DIETHYL_PHTHALATE | . | 0.61 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2013 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99189 | 0.17497 | 0.96732 | 0.28754 | 0.21315
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.86464 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.3941 | DIETHYL_PHTHALATE | . | 0.62 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86464 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99189 | 0.17497 | 0.96732 | 0.28754 | 0.21315
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.92009 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.84666 | DIETHYL_PHTHALATE | . | 0.62 | 0.779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92009 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.94031 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3719 | DIETHYL_PHTHALATE | . | 0.62 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94031 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.65817 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.4641 | DIETHYL_PHTHALATE | . | 0.62 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65818 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.83778 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83778 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92468 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92468 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.64021 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.452 | DIETHYL_PHTHALATE | . | 0.62 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64021 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.67425 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3808 | DIETHYL_PHTHALATE | . | 0.62 | 0.931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67425 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.94322 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94322 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.81734 | 0.13662 | 0.87893 | 0.26629 | 0.1974