## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.82727 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.2088 | DIMETHYL_PHTHALATE | . | 0.36 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82727 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82727 |  | 0.82727 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.75116 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75116 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75116 |  | 0.75116 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 1.004 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 3.0776 | DIMETHYL_PHTHALATE | . | 0.4 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-07-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.56346 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.8574 | DIMETHYL_PHTHALATE | . | 0.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56346 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.75868 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.8471 | DIMETHYL_PHTHALATE | . | 0.4 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75868 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.84388 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 4.5978 | DIMETHYL_PHTHALATE | . | 0.36 | 3.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84388 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.82769 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.831 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82769 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73058 | 0.13734 | 0.73058 | 0.19422 | 0.14398
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.63347 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63347 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73058 | 0.13734 | 0.73058 | 0.19422 | 0.14398
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.51044 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 3.1541 | DIMETHYL_PHTHALATE | . | 0.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51044 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.92679 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 4.6613 | DIMETHYL_PHTHALATE | . | 0.4 | 4.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92679 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.29534 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.9153 | DIMETHYL_PHTHALATE | E | 0.4 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29534 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-09-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.85395 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.8573 | DIMETHYL_PHTHALATE | . | 0.4 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85395 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0258 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.2088 | DIMETHYL_PHTHALATE | . | 0.36 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0258 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97948 | 0.065516 | 0.97948 | 0.092654 | 0.068683
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.93316 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93316 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97948 | 0.065516 | 0.97948 | 0.092654 | 0.068683
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.73138 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.60434 | DIMETHYL_PHTHALATE | . | 0.36 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73138 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.72201 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.2548 | DIMETHYL_PHTHALATE | . | 0.36 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72201 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0033 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.613 | DIMETHYL_PHTHALATE | . | 0.36 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.629 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.2321 | DIMETHYL_PHTHALATE | . | 0.36 | 0.775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.629 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.002 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.515 | DIMETHYL_PHTHALATE | . | 0.36 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98111 | 0.029521 | 0.98111 | 0.04175 | 0.030948
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96024 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5.03 | DIMETHYL_PHTHALATE | . | 0.36 | 4.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96024 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98111 | 0.029521 | 0.98111 | 0.04175 | 0.030948
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9006 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.006 | DIMETHYL_PHTHALATE | . | 0.36 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9006 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9006 |  | 0.9006 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-02-22 | 2006-04-01 | 2008-09-30 | ug/L | 1.0107 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.7308 | DIMETHYL_PHTHALATE | . | 0.59 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-05-08 | 2006-04-01 | 2008-09-30 | ug/L | 1.0674 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.7357 | DIMETHYL_PHTHALATE | E | 0.59 | 2.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0674 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-05-15 | 2006-04-01 | 2008-09-30 | ug/L | 0.95297 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.7493 | DIMETHYL_PHTHALATE | . | 0.59 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95297 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-06-09 | 2006-04-01 | 2008-09-30 | ug/L | 1.0681 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.7714 | DIMETHYL_PHTHALATE | . | 0.59 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0681 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-08-16 | 2006-04-01 | 2008-09-30 | ug/L | 0.95215 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.7097 | DIMETHYL_PHTHALATE | . | 0.59 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95215 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-08-20 | 2006-04-01 | 2008-09-30 | ug/L | 0.85833 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 4.3806 | DIMETHYL_PHTHALATE | . | 0.59 | 3.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2008-09-21 | 2006-04-01 | 2008-09-30 | ug/L | 1.0328 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 2.711 | DIMETHYL_PHTHALATE | . | 0.59 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.99177 | 0.075786 | 1.0107 | 0.11522 | 0.085414
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.54881 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 1.2901 | DIMETHYL_PHTHALATE | . | 0.36 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54881 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.97353 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.63377 | DIMETHYL_PHTHALATE | . | 0.36 | 0.617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97353 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0179 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.63168 | DIMETHYL_PHTHALATE | . | 0.36 | 0.643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0179 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.86853 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.51 | DIMETHYL_PHTHALATE | . | 0.36 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86853 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86853 |  | 0.86853 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9253 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9253 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88695 | 0.05423 | 0.88695 | 0.076693 | 0.056852
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.84861 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5.02 | DIMETHYL_PHTHALATE | . | 0.36 | 4.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84861 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88695 | 0.05423 | 0.88695 | 0.076693 | 0.056852
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.84294 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.515 | DIMETHYL_PHTHALATE | . | 0.36 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84294 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80964 | 0.047094 | 0.80964 | 0.0666 | 0.04937
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.77634 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.006 | DIMETHYL_PHTHALATE | . | 0.36 | 0.781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77634 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80964 | 0.047094 | 0.80964 | 0.0666 | 0.04937
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.90999 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90999 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90999 |  | 0.90999 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.93854 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93854 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93854 |  | 0.93854 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.96782 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.99295 | DIMETHYL_PHTHALATE | . | 0.36 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96782 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.91268 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.4762 | DIMETHYL_PHTHALATE | . | 0.36 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91268 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.68077 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.61401 | DIMETHYL_PHTHALATE | . | 0.36 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68077 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.73773 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.99088 | DIMETHYL_PHTHALATE | . | 0.36 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73773 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.844 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.5 | DIMETHYL_PHTHALATE | . | 0.36 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.8304 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8304 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.7136 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7136 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.374 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1 | DIMETHYL_PHTHALATE | E | 0.36 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.374 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.8288 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8288 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.99203 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.51 | DIMETHYL_PHTHALATE | . | 0.36 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99203 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99203 |  | 0.99203 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.88704 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.01 | DIMETHYL_PHTHALATE | . | 0.36 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88704 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88704 |  | 0.88704 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.83056 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83056 |  | 0.83056 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.89025 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.61218 | DIMETHYL_PHTHALATE | . | 0.36 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89025 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.92746 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.99195 | DIMETHYL_PHTHALATE | . | 0.36 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92746 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.65874 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5048 | DIMETHYL_PHTHALATE | . | 0.36 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65874 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.79327 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79327 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88141 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88141 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.62099 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.496 | DIMETHYL_PHTHALATE | . | 0.36 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62099 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.61599 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.9984 | DIMETHYL_PHTHALATE | . | 0.36 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61599 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.87019 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233