## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.45547 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.988 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45547 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.45547 |  | 0.45547 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.76305 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.49 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76305 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76305 |  | 0.76305 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.54251 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.47 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54251 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.54251 |  | 0.54251 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80668 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.988 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80668 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.80668 |  | 0.80668 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-10 | 2009-01-01 | 2009-09-30 | ug/L | 0.025917 | Accu | B8090087 | Accu B8090087: 40 µl | 4.3215 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.025917 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.36716 | 0.24289 | 0.42582 | 0.32452 | 0.24056
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-04-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.46776 | Accu | B8090087 | Accu B8090087: 25 µl | 2.5654 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46776 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.36716 | 0.24289 | 0.42582 | 0.32452 | 0.24056
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-14 | 2009-01-01 | 2009-09-30 | ug/L | 0.38389 | Accu | B8090087 | Accu B8090087: 25 µl | 2.657 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38389 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.36716 | 0.24289 | 0.42582 | 0.32452 | 0.24056
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-15 | 2009-01-01 | 2009-09-30 | ug/L | 0.59109 | Accu | B8090087 | Accu B8090087: 25 µl | 2.5884 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59109 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.36716 | 0.24289 | 0.42582 | 0.32452 | 0.24056
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.523 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.523 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.461 | 0.087681 | 0.461 | 0.124 | 0.09192
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.399 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.399 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.461 | 0.087681 | 0.461 | 0.124 | 0.09192
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.46424 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.7927 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46424 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.48805 | 0.22162 | 0.44324 | 0.28409 | 0.21059
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.42225 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.646 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42225 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.48805 | 0.22162 | 0.44324 | 0.28409 | 0.21059
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.79596 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.80406 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79596 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.48805 | 0.22162 | 0.44324 | 0.28409 | 0.21059
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.26977 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.6162 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26977 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.48805 | 0.22162 | 0.44324 | 0.28409 | 0.21059
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.59137 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59137 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.59137 |  | 0.59137 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.73795 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73795 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.73795 |  | 0.73795 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.556 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.556 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.503 | 0.074953 | 0.503 | 0.106 | 0.078577
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.45 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.503 | 0.074953 | 0.503 | 0.106 | 0.078577
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.569 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.569 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.569 |  | 0.569 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.047198 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 1.6738 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.047198 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42556 | 0.26015 | 0.517 | 0.33661 | 0.24953
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.5667 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.8223 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5667 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42556 | 0.26015 | 0.517 | 0.33661 | 0.24953
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.46731 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.81959 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46731 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42556 | 0.26015 | 0.517 | 0.33661 | 0.24953
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.62102 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.83088 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62102 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.42556 | 0.26015 | 0.517 | 0.33661 | 0.24953
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.568 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.568 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.568 |  | 0.568 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.672 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.672 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.624 | 0.067882 | 0.624 | 0.096 | 0.071164
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.576 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.576 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.624 | 0.067882 | 0.624 | 0.096 | 0.071164
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.3808 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3808 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.3808 |  | 0.3808 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.732 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.732 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.732 |  | 0.732 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.66893 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2154 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66893 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.60708 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.0309 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60708 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.51095 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.75155 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51095 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.59942 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2128 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.727 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59942 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.70588 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.06 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70588 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.60392 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60392 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.31242 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31242 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.23448 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.224 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23448 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.6915 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6915 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.54829 | 0.16755 | 0.60392 | 0.15799 | 0.11711
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.56 |  | 0.56 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.42105 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.47 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42105 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.42105 |  | 0.42105 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.83835 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.835 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83835 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.83835 |  | 0.83835 | 0 | 0
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.66626 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.75346 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66626 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.70442 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2209 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70442 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.50928 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.0828 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50928 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.5026 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5026 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.66797 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66797 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.4362 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.072 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4362 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.67139 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2288 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67139 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.71484 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71484 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.60912 | 0.10829 | 0.66711 | 0.18196 | 0.13489
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-02-11 | 2007-10-01 | 2008-12-31 | ug/L | 0.58686 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.3174 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58686 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-05-08 | 2007-10-01 | 2008-12-31 | ug/L | 0.52038 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2483 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52038 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-05-08 | 2007-10-01 | 2008-12-31 | ug/L | 0.63004 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2856 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63004 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-06-09 | 2007-10-01 | 2008-12-31 | ug/L | 0.69111 | Ultra | CD-2093 | Ultra CD-2093: 40 µl | 3.5884 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69111 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-07-14 | 2007-10-01 | 2008-12-31 | ug/L | 0.79273 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2328 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79273 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-08-19 | 2007-10-01 | 2008-12-31 | ug/L | 0.52247 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2202 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52247 | Ultra CD-2093 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2008-09-21 | 2007-10-01 | 2008-12-31 | ug/L | 0.64881 | Ultra | CD-2093 | Ultra CD-2093: 25 µl | 2.2194 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64881 | Ultra CD-2093 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 0.62749 | 0.096577 | 0.63004 | 0.16864 | 0.12501
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-13 | 2009-01-01 | 2009-09-30 | ug/L | 0.49633 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.7401 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49633 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.42721 | 0.11437 | 0.4513 | 0.17322 | 0.12841
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-14 | 2009-01-01 | 2009-09-30 | ug/L | 0.40628 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 4.1105 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40628 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.42721 | 0.11437 | 0.4513 | 0.17322 | 0.12841
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-08-04 | 2009-01-01 | 2009-09-30 | ug/L | 0.27492 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.5498 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 0.701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27492 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.42721 | 0.11437 | 0.4513 | 0.17322 | 0.12841
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.53131 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.5786 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53131 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.42721 | 0.11437 | 0.4513 | 0.17322 | 0.12841