## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.5 | HEXACHLOROETHANE | . | 0.24 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.82 |  | 0.82 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93667 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.6 | HEXACHLOROETHANE | . | 0.24 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.93667 |  | 0.93667 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.6 | HEXACHLOROETHANE | . | 0.24 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.86 | 0 | 0.86 | 1.1102e-16 | 8.23e-17
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.5 | HEXACHLOROETHANE | . | 0.24 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.86 | 0 | 0.86 | 1.1102e-16 | 8.23e-17
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.6682 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.8276 | HEXACHLOROETHANE | . | 0.24 | 0.553 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6682 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.8701 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.8183 | HEXACHLOROETHANE | . | 0.24 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8701 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.80402 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.2959 | HEXACHLOROETHANE | . | 0.24 | 2.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80402 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.69817 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.3292 | HEXACHLOROETHANE | . | 0.24 | 0.928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69817 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.78469 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.83983 | HEXACHLOROETHANE | . | 0.24 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78469 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.85843 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.328 | HEXACHLOROETHANE | . | 0.24 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85843 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.91325 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.83 | HEXACHLOROETHANE | . | 0.24 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91325 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.81325 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.328 | HEXACHLOROETHANE | . | 0.24 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81325 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.83494 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.83 | HEXACHLOROETHANE | . | 0.24 | 0.693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83494 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.80501 | 0.079308 | 0.81325 | 0.073747 | 0.054668
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88667 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.6 | HEXACHLOROETHANE | . | 0.24 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.88667 |  | 0.88667 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.76333 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.6 | HEXACHLOROETHANE | . | 0.24 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76333 |  | 0.76333 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.57705 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.2997 | HEXACHLOROETHANE | . | 0.24 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57705 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.88096 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.82865 | HEXACHLOROETHANE | . | 0.24 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88096 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.73659 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.83629 | HEXACHLOROETHANE | . | 0.24 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73659 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.73636 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.3 | HEXACHLOROETHANE | . | 0.24 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73636 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.81818 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.32 | HEXACHLOROETHANE | . | 0.24 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81818 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.70303 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.32 | HEXACHLOROETHANE | . | 0.24 | 0.928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70303 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83636 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.3 | HEXACHLOROETHANE | . | 0.24 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83636 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.90909 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.825 | HEXACHLOROETHANE | . | 0.24 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76848 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.825 | HEXACHLOROETHANE | . | 0.24 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76848 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.71879 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.825 | HEXACHLOROETHANE | . | 0.24 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71879 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.76849 | 0.097154 | 0.75254 | 0.11758 | 0.087158
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-02-22 | 2007-10-01 | 2008-12-31 | ug/L | 0.89686 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.8955 | HEXACHLOROETHANE | E | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89686 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-05-08 | 2007-10-01 | 2008-12-31 | ug/L | 0.97425 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.8989 | HEXACHLOROETHANE | E | 0.2 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97425 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-05-15 | 2007-10-01 | 2008-12-31 | ug/L | 0.93275 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.9083 | HEXACHLOROETHANE | E | 0.2 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93275 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-06-09 | 2007-10-01 | 2008-12-31 | ug/L | 0.89413 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.9237 | HEXACHLOROETHANE | E | 0.2 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89413 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-08-16 | 2007-10-01 | 2008-12-31 | ug/L | 0.91449 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.8808 | HEXACHLOROETHANE | E | 0.2 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91449 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-08-20 | 2007-10-01 | 2008-12-31 | ug/L | 0.88468 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 3.0406 | HEXACHLOROETHANE | E | 0.2 | 2.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88468 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2008-09-21 | 2007-10-01 | 2008-12-31 | ug/L | 1.0097 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.8817 | HEXACHLOROETHANE | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0097 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 0.92955 | 0.04654 | 0.91449 | 0.080122 | 0.059394
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-03-04 | 2009-01-01 | 2009-09-30 | ug/L | 0.86399 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.1158 | HEXACHLOROETHANE | . | 0.2 | 0.964 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86399 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64968 | 0.36157 | 0.79619 | 0.45324 | 0.33599
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-04-07 | 2009-01-01 | 2009-09-30 | ug/L | 0.11772 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 1.6734 | HEXACHLOROETHANE | E | 0.2 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11772 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64968 | 0.36157 | 0.79619 | 0.45324 | 0.33599
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-07-07 | 2009-01-01 | 2009-09-30 | ug/L | 0.88861 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.0443 | HEXACHLOROETHANE | . | 0.2 | 0.928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88861 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64968 | 0.36157 | 0.79619 | 0.45324 | 0.33599
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-09-01 | 2009-01-01 | 2009-09-30 | ug/L | 0.72839 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.0365 | HEXACHLOROETHANE | E | 0.2 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72839 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64968 | 0.36157 | 0.79619 | 0.45324 | 0.33599
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.738 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 5 | HEXACHLOROETHANE | . | 0.24 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.738 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.738 |  | 0.738 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2 | HEXACHLOROETHANE | . | 0.24 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.776 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5 | HEXACHLOROETHANE | . | 0.24 | 3.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.776 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.7895 | 0.019092 | 0.7895 | 0.027 | 0.020015
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.803 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10 | HEXACHLOROETHANE | . | 0.24 | 8.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.803 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.7895 | 0.019092 | 0.7895 | 0.027 | 0.020015
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-03-13 | 2009-01-01 | 2009-09-30 | ug/L | 0.81502 | Restek | A062189 | Restek A062189: 25 µl | 1.1104 | HEXACHLOROETHANE | E | 0.2 | 0.905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81502 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68618 | 0.13449 | 0.71598 | 0.17238 | 0.12778
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-08-04 | 2009-01-01 | 2009-09-30 | ug/L | 0.70224 | Restek | A062189 | Restek A062189: 25 µl | 1.0467 | HEXACHLOROETHANE | . | 0.2 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70224 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.68618 | 0.13449 | 0.71598 | 0.17238 | 0.12778
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-08-25 | 2009-01-01 | 2009-09-30 | ug/L | 0.72973 | Restek | A062189 | Restek A062189: 40 µl | 1.6856 | HEXACHLOROETHANE | . | 0.2 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72973 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.68618 | 0.13449 | 0.71598 | 0.17238 | 0.12778
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-09-22 | 2009-01-01 | 2009-09-30 | ug/L | 0.49775 | Restek | A062189 | Restek A062189: 25 µl | 1.0648 | HEXACHLOROETHANE | . | 0.2 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49775 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.68618 | 0.13449 | 0.71598 | 0.17238 | 0.12778
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Restek | A088363 | Restek A088363: 20 µl | 2 | HEXACHLOROETHANE | . | 0.24 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.88 |  | 0.88 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.845 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 2 | HEXACHLOROETHANE | . | 0.24 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.851 | 0.0084853 | 0.851 | 0.012 | 0.0088955
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.857 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 10 | HEXACHLOROETHANE | . | 0.24 | 8.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.857 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.851 | 0.0084853 | 0.851 | 0.012 | 0.0088955
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.772 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 5 | HEXACHLOROETHANE | . | 0.24 | 3.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.772 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.7185 | 0.07566 | 0.7185 | 0.107 | 0.079318
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.665 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 2 | HEXACHLOROETHANE | . | 0.24 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.665 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.7185 | 0.07566 | 0.7185 | 0.107 | 0.079318
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.614 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 5 | HEXACHLOROETHANE | . | 0.24 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.614 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.614 |  | 0.614 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.835 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2 | HEXACHLOROETHANE | . | 0.24 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.835 |  | 0.835 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.5 | HEXACHLOROETHANE | . | 0.24 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.88 |  | 0.88 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.85167 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.6 | HEXACHLOROETHANE | . | 0.24 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85167 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.85167 |  | 0.85167 | 0 | 0
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.6988 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.3486 | HEXACHLOROETHANE | . | 0.24 | 2.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6988 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74858 | 0.069482 | 0.72253 | 0.087478 | 0.064846
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.71088 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.6881 | HEXACHLOROETHANE | . | 0.24 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71088 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74858 | 0.069482 | 0.72253 | 0.087478 | 0.064846
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.73419 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.7026 | HEXACHLOROETHANE | . | 0.24 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73419 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74858 | 0.069482 | 0.72253 | 0.087478 | 0.064846
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.85045 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.4217 | HEXACHLOROETHANE | . | 0.24 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85045 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74858 | 0.069482 | 0.72253 | 0.087478 | 0.064846
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.66314 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.6588 | HEXACHLOROETHANE | . | 0.24 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66314 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.75137 | 0.11778 | 0.71591 | 0.17731 | 0.13144
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.76868 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 3.3304 | HEXACHLOROETHANE | . | 0.24 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76868 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.75137 | 0.11778 | 0.71591 | 0.17731 | 0.13144
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66229 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.6911 | HEXACHLOROETHANE | . | 0.24 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66229 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.75137 | 0.11778 | 0.71591 | 0.17731 | 0.13144
HEXACHLOROETHANE | 1383 | 34396GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.91136 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.7117 | HEXACHLOROETHANE | . | 0.24 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91136 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.75137 | 0.11778 | 0.71591 | 0.17731 | 0.13144