## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.40896 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.8216 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40896 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 |  | 1 | 0.40896 |  | 0.40896 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.47614 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.054 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47614 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 |  | 1 | 0.47614 |  | 0.47614 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.75148 | Accu | B8090087 | Accu B8090087: 40 µl | 2.1025 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75148 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84931 | 0.07081 | 0.87026 | 0.10395 | 0.077055
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.89733 | Accu | B8090087 | Accu B8090087: 25 µl | 1.2481 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89733 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84931 | 0.07081 | 0.87026 | 0.10395 | 0.077055
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.84319 | Accu | B8090087 | Accu B8090087: 25 µl | 1.2927 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84319 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84931 | 0.07081 | 0.87026 | 0.10395 | 0.077055
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.90523 | Accu | B8090087 | Accu B8090087: 25 µl | 1.2593 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90523 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84931 | 0.07081 | 0.87026 | 0.10395 | 0.077055
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.565 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.565 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.5295 | 0.050205 | 0.5295 | 0.071 | 0.052632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.494 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.988 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.494 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.5295 | 0.050205 | 0.5295 | 0.071 | 0.052632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.7741 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.8216 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7741 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.64995 | 0.17557 | 0.64995 | 0.2483 | 0.18406
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.5258 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.054 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5258 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.64995 | 0.17557 | 0.64995 | 0.2483 | 0.18406
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.7465 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.2793 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.955 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7465 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.67537 | 0.11098 | 0.69512 | 0.17408 | 0.12905
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.64374 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.6563 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64374 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.67537 | 0.11098 | 0.69512 | 0.17408 | 0.12905
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.77834 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.2976 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77834 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.67537 | 0.11098 | 0.69512 | 0.17408 | 0.12905
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.53292 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.6083 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53292 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.67537 | 0.11098 | 0.69512 | 0.17408 | 0.12905
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.824 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 5 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 4.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.8085 | 0.02192 | 0.8085 | 0.031 | 0.02298
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.793 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 10 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 7.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.793 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.8085 | 0.02192 | 0.8085 | 0.031 | 0.02298
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.81 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.81 |  | 0.81 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-02-22 | 2007-10-01 | 2008-09-30 | ug/L | 1.2112 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.4531 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2112 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 1.3189 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.4557 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3189 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 1.1894 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.463 | INDENO[1,2,3-CD]PYRENE | . | 0.4 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1894 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 1.3087 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.4747 | INDENO[1,2,3-CD]PYRENE | . | 0.4 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3087 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-08-16 | 2007-10-01 | 2008-09-30 | ug/L | 1.0958 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.4419 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 1.184 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 2.331 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.184 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.2478 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 1.4426 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2478 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2222 | 0.077601 | 1.2112 | 0.12469 | 0.092434
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.71475 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 2.6863 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71475 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82857 | 0.093979 | 0.82732 | 0.11645 | 0.08632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.82595 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3197 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82595 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82857 | 0.093979 | 0.82732 | 0.11645 | 0.08632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.82868 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3153 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82868 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82857 | 0.093979 | 0.82732 | 0.11645 | 0.08632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.9449 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3335 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9449 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82857 | 0.093979 | 0.82732 | 0.11645 | 0.08632
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.562 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.562 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.67 | 0.15274 | 0.67 | 0.216 | 0.16012
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.778 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 7.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.778 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.67 | 0.15274 | 0.67 | 0.216 | 0.16012
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.504 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 5 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.504 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.504 |  | 0.504 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.77 |  | 0.77 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.61344 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.054 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61344 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.61344 |  | 0.61344 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.81829 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.82 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.671 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81829 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.81829 |  | 0.81829 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.81419 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.1042 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81419 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.79896 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.7536 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79896 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.5668 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.68278 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5668 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.61986 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.1019 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61986 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.72302 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.78 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72302 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.75683 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.695 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75683 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.60719 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.695 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60719 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.2518 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.112 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2518 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.67626 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.695 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67626 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.6461 | 0.17127 | 0.67626 | 0.14964 | 0.11093
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.762 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 3.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.762 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.762 |  | 0.762 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.51707 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.05 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51707 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 |  | 1 | 0.51707 |  | 0.51707 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.60244 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.82 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60244 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 |  | 1 | 0.60244 |  | 0.60244 | 0 | 0
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.6883 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.68429 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6883 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.65206 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.1088 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65206 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.51789 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.7998 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51789 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.54767 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6975 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54767 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.44014 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6975 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44014 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.3086 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.79 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3086 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.32706 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.116 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32706 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.47599 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.6975 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47599 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.49471 | 0.13714 | 0.49694 | 0.21626 | 0.16031
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-03-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.41862 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.3329 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41862 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55306 | 0.1957 | 0.49833 | 0.29208 | 0.21652
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-07-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.82016 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.9996 | INDENO[1,2,3-CD]PYRENE | E | 0.4 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82016 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55306 | 0.1957 | 0.49833 | 0.29208 | 0.21652
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.57805 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.2404 | INDENO[1,2,3-CD]PYRENE | . | 0.4 | 0.717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57805 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55306 | 0.1957 | 0.49833 | 0.29208 | 0.21652
INDENO[1,2,3-CD]PYRENE | 1383 | 34403GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.39542 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.2544 | INDENO[1,2,3-CD]PYRENE | E | 0.38 | 0.496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39542 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55306 | 0.1957 | 0.49833 | 0.29208 | 0.21652