## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPHORONE | 1383 | 34408GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.97098 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.895 | ISOPHORONE | . | 0.26 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97098 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97098 |  | 0.97098 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0156 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.77 | ISOPHORONE | . | 0.26 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0156 |  | 1.0156 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.5567 | Accu | B8090087 | Accu B8090087: 40 µl | 2.8741 | ISOPHORONE | E | 0.4 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5567 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80707 | 0.18453 | 0.85946 | 0.27792 | 0.20602
ISOPHORONE | 1383 | 34408GCM57 | 2009-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.77952 | Accu | B8090087 | Accu B8090087: 25 µl | 1.7062 | ISOPHORONE | . | 0.4 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77952 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80707 | 0.18453 | 0.85946 | 0.27792 | 0.20602
ISOPHORONE | 1383 | 34408GCM57 | 2009-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.9394 | Accu | B8090087 | Accu B8090087: 25 µl | 1.7671 | ISOPHORONE | . | 0.4 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9394 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80707 | 0.18453 | 0.85946 | 0.27792 | 0.20602
ISOPHORONE | 1383 | 34408GCM57 | 2009-09-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.95267 | Accu | B8090087 | Accu B8090087: 25 µl | 1.7215 | ISOPHORONE | . | 0.4 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95267 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80707 | 0.18453 | 0.85946 | 0.27792 | 0.20602
ISOPHORONE | 1383 | 34408GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.98681 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.758 | ISOPHORONE | . | 0.26 | 0.748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98681 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96834 | 0.02612 | 0.96834 | 0.036939 | 0.027383
ISOPHORONE | 1383 | 34408GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.94987 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.895 | ISOPHORONE | . | 0.26 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94987 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96834 | 0.02612 | 0.96834 | 0.036939 | 0.027383
ISOPHORONE | 1383 | 34408GCM57 | 2010-01-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.76524 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.3068 | ISOPHORONE | . | 0.26 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76524 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79185 | 0.18225 | 0.72905 | 0.23775 | 0.17624
ISOPHORONE | 1383 | 34408GCM57 | 2010-06-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.69286 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.7134 | ISOPHORONE | E | 0.26 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69286 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.79185 | 0.18225 | 0.72905 | 0.23775 | 0.17624
ISOPHORONE | 1383 | 34408GCM57 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0562 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.3255 | ISOPHORONE | . | 0.26 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0562 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79185 | 0.18225 | 0.72905 | 0.23775 | 0.17624
ISOPHORONE | 1383 | 34408GCM57 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.65309 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.6643 | ISOPHORONE | . | 0.26 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65309 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79185 | 0.18225 | 0.72905 | 0.23775 | 0.17624
ISOPHORONE | 1383 | 34408GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89842 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.758 | ISOPHORONE | . | 0.26 | 0.681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89842 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89842 |  | 0.89842 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.70649 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.77 | ISOPHORONE | . | 0.26 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70649 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.70649 |  | 0.70649 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2008-02-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.61207 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.97865 | ISOPHORONE | . | 0.4 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61207 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-05-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.69564 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.98039 | ISOPHORONE | E | 0.4 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69564 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-05-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.63739 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.98527 | ISOPHORONE | . | 0.4 | 0.628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63739 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.47121 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.99318 | ISOPHORONE | . | 0.4 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47121 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-08-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.47783 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.97106 | ISOPHORONE | . | 0.4 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47783 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-08-20 | 2007-10-01 | 2009-09-30 | ug/L | 0.41659 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 1.5699 | ISOPHORONE | . | 0.4 | 0.654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41659 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2008-09-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.87284 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 0.97154 | ISOPHORONE | . | 0.4 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87284 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59765 | 0.15824 | 0.61207 | 0.22443 | 0.16636
ISOPHORONE | 1383 | 34408GCM57 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.63399 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 2.7761 | ISOPHORONE | . | 0.26 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63399 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66032 | 0.069893 | 0.64804 | 0.096688 | 0.071674
ISOPHORONE | 1383 | 34408GCM57 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.75523 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3638 | ISOPHORONE | E | 0.26 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75523 | ERA 0817-09-02BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.66032 | 0.069893 | 0.64804 | 0.096688 | 0.071674
ISOPHORONE | 1383 | 34408GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.6621 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3593 | ISOPHORONE | . | 0.26 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6621 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66032 | 0.069893 | 0.64804 | 0.096688 | 0.071674
ISOPHORONE | 1383 | 34408GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.58996 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.3781 | ISOPHORONE | . | 0.26 | 0.813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58996 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66032 | 0.069893 | 0.64804 | 0.096688 | 0.071674
ISOPHORONE | 1383 | 34408GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.908 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | ISOPHORONE | . | 0.26 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.908 |  | 0.908 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.919 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | ISOPHORONE | . | 0.26 | 0.919 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.919 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.919 |  | 0.919 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.852 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | ISOPHORONE | . | 0.26 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.834 | 0.025456 | 0.834 | 0.036 | 0.026686
ISOPHORONE | 1383 | 34408GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.816 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | ISOPHORONE | . | 0.26 | 4.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.816 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.834 | 0.025456 | 0.834 | 0.036 | 0.026686
ISOPHORONE | 1383 | 34408GCM57 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.984 | Restek | A088363 | Restek A088363: 20 µl | 1 | ISOPHORONE | . | 0.26 | 0.984 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.984 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.984 |  | 0.984 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | ISOPHORONE | . | 0.26 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.854 | 0.065054 | 0.854 | 0.092 | 0.068199
ISOPHORONE | 1383 | 34408GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.808 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | ISOPHORONE | . | 0.26 | 4.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.808 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.854 | 0.065054 | 0.854 | 0.092 | 0.068199
ISOPHORONE | 1383 | 34408GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.752 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | ISOPHORONE | . | 0.26 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.752 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.737 | 0.021213 | 0.737 | 0.03 | 0.022239
ISOPHORONE | 1383 | 34408GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.722 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | ISOPHORONE | . | 0.26 | 0.722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.722 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.737 | 0.021213 | 0.737 | 0.03 | 0.022239
ISOPHORONE | 1383 | 34408GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.556 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | ISOPHORONE | . | 0.26 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.556 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.556 |  | 0.556 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.856 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | ISOPHORONE | . | 0.26 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.856 |  | 0.856 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.9039 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.925 | ISOPHORONE | . | 0.26 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9039 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9039 |  | 0.9039 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.91818 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.77 | ISOPHORONE | . | 0.26 | 0.707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91818 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91818 |  | 0.91818 | 0 | 0
ISOPHORONE | 1383 | 34408GCM57 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.1317 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.78642 | ISOPHORONE | . | 0.26 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1317 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.2493 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 1.9612 | ISOPHORONE | . | 0.26 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2493 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 1.0138 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.4863 | ISOPHORONE | . | 0.26 | 0.493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0138 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.99136 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.78478 | ISOPHORONE | . | 0.26 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99136 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 1.1414 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 1.98 | ISOPHORONE | . | 0.26 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1414 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.2566 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.495 | ISOPHORONE | . | 0.26 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2566 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.1051 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.495 | ISOPHORONE | . | 0.26 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1051 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.52146 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.792 | ISOPHORONE | E | 0.26 | 0.413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52146 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.2222 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.495 | ISOPHORONE | . | 0.26 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2222 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0703 | 0.22652 | 1.1317 | 0.20843 | 0.15451
ISOPHORONE | 1383 | 34408GCM57 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.87892 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.48582 | ISOPHORONE | . | 0.26 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87892 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 1.029 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.7872 | ISOPHORONE | . | 0.26 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.029 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.73953 | Supelco | LB77169 | Supelco LB77169: 200 µl | 1.9878 | ISOPHORONE | . | 0.26 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73953 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.91478 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.4952 | ISOPHORONE | . | 0.26 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91478 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0945 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.4952 | ISOPHORONE | . | 0.26 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.92387 | Supelco | LB77169 | Supelco LB77169: 200 µl | 1.9808 | ISOPHORONE | E | 0.26 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92387 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9529 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.79232 | ISOPHORONE | . | 0.26 | 0.755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9529 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0036 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.4952 | ISOPHORONE | . | 0.26 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0036 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94214 | 0.10743 | 0.93838 | 0.11945 | 0.088544
ISOPHORONE | 1383 | 34408GCM57 | 2009-03-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.78017 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.8073 | ISOPHORONE | . | 0.4 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78017 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76004 | 0.066732 | 0.77553 | 0.083252 | 0.061714
ISOPHORONE | 1383 | 34408GCM57 | 2009-07-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.77088 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 2.7112 | ISOPHORONE | . | 0.4 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77088 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76004 | 0.066732 | 0.77553 | 0.083252 | 0.061714
ISOPHORONE | 1383 | 34408GCM57 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.66596 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.6818 | ISOPHORONE | . | 0.4 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66596 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76004 | 0.066732 | 0.77553 | 0.083252 | 0.061714
ISOPHORONE | 1383 | 34408GCM57 | 2009-10-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.82317 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.7007 | ISOPHORONE | . | 0.26 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82317 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76004 | 0.066732 | 0.77553 | 0.083252 | 0.061714