## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NITROBENZENE | 1383 | 34447GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.89648 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 0.995 | NITROBENZENE | . | 0.26 | 0.892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89648 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89648 |  | 0.89648 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1775 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.4 | NITROBENZENE | . | 0.26 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1775 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1775 |  | 1.1775 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.01 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.398 | NITROBENZENE | . | 0.26 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93015 | 0.11299 | 0.93015 | 0.1598 | 0.11846
NITROBENZENE | 1383 | 34447GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.85025 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 0.995 | NITROBENZENE | . | 0.26 | 0.846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85025 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93015 | 0.11299 | 0.93015 | 0.1598 | 0.11846
NITROBENZENE | 1383 | 34447GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.95621 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.57832 | NITROBENZENE | . | 0.26 | 0.553 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95621 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.0947 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.57182 | NITROBENZENE | . | 0.26 | 0.626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0947 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.92481 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.3032 | NITROBENZENE | . | 0.26 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92481 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.85268 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.92884 | NITROBENZENE | . | 0.26 | 0.792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85268 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.97637 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.58687 | NITROBENZENE | . | 0.26 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97637 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.1207 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.928 | NITROBENZENE | . | 0.26 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1207 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0466 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.58 | NITROBENZENE | . | 0.26 | 0.607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0466 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.028 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.928 | NITROBENZENE | . | 0.26 | 0.954 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.028 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 1.1172 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.58 | NITROBENZENE | . | 0.26 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1172 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.013 | 0.092563 | 1.028 | 0.13853 | 0.10269
NITROBENZENE | 1383 | 34447GCM57 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8593 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.398 | NITROBENZENE | . | 0.26 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8593 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8593 |  | 0.8593 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.8325 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.4 | NITROBENZENE | . | 0.26 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8325 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8325 |  | 0.8325 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.66703 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.9295 | NITROBENZENE | . | 0.26 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66703 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 1.0985 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.59261 | NITROBENZENE | . | 0.26 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0985 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.99152 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.59807 | NITROBENZENE | . | 0.26 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99152 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.89831 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.36 | NITROBENZENE | . | 0.26 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89831 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.0593 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.944 | NITROBENZENE | . | 0.26 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0593 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.94386 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.944 | NITROBENZENE | . | 0.26 | 0.891 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94386 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.98729 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.36 | NITROBENZENE | . | 0.26 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98729 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0678 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.59 | NITROBENZENE | . | 0.26 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0678 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0186 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.59 | NITROBENZENE | . | 0.26 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0186 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.87458 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.59 | NITROBENZENE | . | 0.26 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87458 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.96069 | 0.12607 | 0.9894 | 0.16102 | 0.11936
NITROBENZENE | 1383 | 34447GCM57 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.058 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.51797 | NITROBENZENE | . | 0.2 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.058 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82769 | 0.43106 | 1.0038 | 0.51643 | 0.38283
NITROBENZENE | 1383 | 34447GCM57 | 2009-04-07 | 2008-10-01 | 2009-09-30 | ug/L | 0.18923 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 0.77685 | NITROBENZENE | E | 0.2 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18923 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82769 | 0.43106 | 1.0038 | 0.51643 | 0.38283
NITROBENZENE | 1383 | 34447GCM57 | 2009-07-07 | 2008-10-01 | 2009-09-30 | ug/L | 1.1138 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.48481 | NITROBENZENE | . | 0.2 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1138 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82769 | 0.43106 | 1.0038 | 0.51643 | 0.38283
NITROBENZENE | 1383 | 34447GCM57 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.94972 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.48119 | NITROBENZENE | . | 0.2 | 0.457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94972 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82769 | 0.43106 | 1.0038 | 0.51643 | 0.38283
NITROBENZENE | 1383 | 34447GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | NITROBENZENE | . | 0.26 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | NITROBENZENE | . | 0.26 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.792 | 0.039598 | 0.792 | 0.056 | 0.041512
NITROBENZENE | 1383 | 34447GCM57 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.764 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | NITROBENZENE | . | 0.26 | 3.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.764 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.792 | 0.039598 | 0.792 | 0.056 | 0.041512
NITROBENZENE | 1383 | 34447GCM57 | 2009-03-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.95808 | Restek | A062189 | Restek A062189: 25 µl | 0.52083 | NITROBENZENE | E | 0.2 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95808 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.95573 | 0.13026 | 0.97107 | 0.17051 | 0.1264
NITROBENZENE | 1383 | 34447GCM57 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.0979 | Restek | A062189 | Restek A062189: 25 µl | 0.49093 | NITROBENZENE | . | 0.2 | 0.539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0979 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95573 | 0.13026 | 0.97107 | 0.17051 | 0.1264
NITROBENZENE | 1383 | 34447GCM57 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.98405 | Restek | A062189 | Restek A062189: 40 µl | 0.79061 | NITROBENZENE | . | 0.2 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98405 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95573 | 0.13026 | 0.97107 | 0.17051 | 0.1264
NITROBENZENE | 1383 | 34447GCM57 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.78287 | Restek | A062189 | Restek A062189: 25 µl | 0.49944 | NITROBENZENE | . | 0.2 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78287 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95573 | 0.13026 | 0.97107 | 0.17051 | 0.1264
NITROBENZENE | 1383 | 34447GCM57 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Restek | A088363 | Restek A088363: 20 µl | 1 | NITROBENZENE | . | 0.26 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.958 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | NITROBENZENE | . | 0.26 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.958 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.929 | 0.041012 | 0.929 | 0.058 | 0.042995
NITROBENZENE | 1383 | 34447GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | NITROBENZENE | . | 0.26 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.929 | 0.041012 | 0.929 | 0.058 | 0.042995
NITROBENZENE | 1383 | 34447GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.848 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | NITROBENZENE | . | 0.26 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8295 | 0.026163 | 0.8295 | 0.037 | 0.027428
NITROBENZENE | 1383 | 34447GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.811 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | NITROBENZENE | . | 0.26 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.811 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8295 | 0.026163 | 0.8295 | 0.037 | 0.027428
NITROBENZENE | 1383 | 34447GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.967 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | NITROBENZENE | . | 0.26 | 0.967 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.967 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.967 |  | 0.967 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.09 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1 | NITROBENZENE | . | 0.26 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.09 |  | 1.09 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0775 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.4 | NITROBENZENE | . | 0.26 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0775 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0775 |  | 1.0775 | 0 | 0
NITROBENZENE | 1383 | 34447GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.83239 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 0.69199 | NITROBENZENE | . | 0.26 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83239 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92939 | 0.068782 | 0.95184 | 0.097587 | 0.07234
NITROBENZENE | 1383 | 34447GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.9288 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.34884 | NITROBENZENE | . | 0.26 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9288 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92939 | 0.068782 | 0.95184 | 0.097587 | 0.07234
NITROBENZENE | 1383 | 34447GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.97489 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.35183 | NITROBENZENE | . | 0.26 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97489 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92939 | 0.068782 | 0.95184 | 0.097587 | 0.07234
NITROBENZENE | 1383 | 34447GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.98147 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 0.7071 | NITROBENZENE | . | 0.26 | 0.694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98147 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92939 | 0.068782 | 0.95184 | 0.097587 | 0.07234
NITROBENZENE | 1383 | 34447GCM57 | 2008-02-01 | 2006-04-01 | 2008-09-30 | ug/L | 0.73296 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.31516 | NITROBENZENE | E | 0.21 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73296 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-04-07 | 2006-04-01 | 2008-09-30 | ug/L | 0.89602 | Supelco | LB50016 | Supelco LB50016: 40 µl | 0.48325 | NITROBENZENE | . | 0.21 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89602 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-05-08 | 2006-04-01 | 2008-09-30 | ug/L | 1.0998 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.30095 | NITROBENZENE | . | 0.21 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0998 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-05-15 | 2006-04-01 | 2008-09-30 | ug/L | 1.0751 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.3023 | NITROBENZENE | . | 0.21 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0751 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-07-14 | 2006-04-01 | 2008-09-30 | ug/L | 1.0746 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.30056 | NITROBENZENE | . | 0.21 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0746 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-08-19 | 2006-04-01 | 2008-09-30 | ug/L | 0.88092 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.29742 | NITROBENZENE | . | 0.21 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88092 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2008-08-20 | 2006-04-01 | 2008-09-30 | ug/L | 0.9452 | Supelco | LB50016 | Supelco LB50016: 25 µl | 0.29941 | NITROBENZENE | . | 0.21 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9452 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.95781 | 0.13418 | 0.9452 | 0.19417 | 0.14394
NITROBENZENE | 1383 | 34447GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.91601 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.34279 | NITROBENZENE | . | 0.26 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91601 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93981 | 0.10794 | 0.90481 | 0.13328 | 0.0988
NITROBENZENE | 1383 | 34447GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.89361 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 0.68822 | NITROBENZENE | . | 0.26 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89361 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93981 | 0.10794 | 0.90481 | 0.13328 | 0.0988
NITROBENZENE | 1383 | 34447GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.85273 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.34947 | NITROBENZENE | . | 0.26 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85273 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93981 | 0.10794 | 0.90481 | 0.13328 | 0.0988
NITROBENZENE | 1383 | 34447GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 1.0969 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.35373 | NITROBENZENE | . | 0.26 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0969 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93981 | 0.10794 | 0.90481 | 0.13328 | 0.0988