## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.69865 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.188 | PENTACHLOROPHENOL | E | 0.6 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69865 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.69865 |  | 0.69865 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.599 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.005 | PENTACHLOROPHENOL | . | 0.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.599 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.599 |  | 0.599 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-04-07 | 2009-01-01 | 2009-09-30 | ug/L | 0.78805 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.3324 | PENTACHLOROPHENOL | E | 1.2 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78805 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-07-07 | 2009-01-01 | 2009-09-30 | ug/L | 0.59416 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.237 | PENTACHLOROPHENOL | E | 1.2 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59416 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-09-01 | 2009-01-01 | 2009-09-30 | ug/L | 0.66121 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.2326 | PENTACHLOROPHENOL | E | 1.2 | 0.815 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66121 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.52749 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.9906 | PENTACHLOROPHENOL | E | 0.6 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52749 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.90236 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.97 | PENTACHLOROPHENOL | E | 0.6 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90236 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.90236 |  | 0.90236 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-11-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1532 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.188 | PENTACHLOROPHENOL | . | 0.6 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1532 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1532 |  | 1.1532 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-03-10 | 2009-01-01 | 2009-09-30 | ug/L | 0.51431 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.3611 | PENTACHLOROPHENOL | E | 1.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51431 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-04-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.71592 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.0114 | PENTACHLOROPHENOL | E | 1.2 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71592 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-08-25 | 2009-01-01 | 2009-09-30 | ug/L | 0.47615 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.258 | PENTACHLOROPHENOL | E | 1.2 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47615 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-09-21 | 2009-01-01 | 2009-09-30 | ug/L | 0.42256 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.233 | PENTACHLOROPHENOL | E | 1.2 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42256 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.62396 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.202 | PENTACHLOROPHENOL | E | 0.6 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62396 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.62396 |  | 0.62396 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.48253 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.202 | PENTACHLOROPHENOL | E | 0.6 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48253 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 1 | 0.48253 |  | 0.48253 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-02-22 | 2007-10-01 | 2008-09-30 | ug/L | 1.0159 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.4549 | PENTACHLOROPHENOL | E | 0.4 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0159 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-05-08 | 2007-10-01 | 2008-09-30 | ug/L | 1.0286 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.4611 | PENTACHLOROPHENOL | E | 0.4 | 3.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0286 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-05-15 | 2007-10-01 | 2008-09-30 | ug/L | 0.90561 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.4783 | PENTACHLOROPHENOL | E | 0.4 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90561 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-06-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.86133 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.5062 | PENTACHLOROPHENOL | E | 0.4 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86133 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-08-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.83135 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.4282 | PENTACHLOROPHENOL | E | 0.4 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83135 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-08-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.83542 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 40 µl | 5.5421 | PENTACHLOROPHENOL | E | 0.4 | 4.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83542 | ERA 0709-07-03BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2008-09-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.91841 | ERA | 0709-07-03BNA | ERA 0709-07-03BNA: 25 µl | 3.4298 | PENTACHLOROPHENOL | . | 0.4 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91841 | ERA 0709-07-03BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 0.91381 | 0.081025 | 0.90561 | 0.18052 | 0.13382
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-01-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.52536 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.4745 | PENTACHLOROPHENOL | E | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52536 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.93024 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.4187 | PENTACHLOROPHENOL | E | 0.6 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93024 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.82318 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 4.9078 | PENTACHLOROPHENOL | E | 0.6 | 4.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82318 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-10-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.69371 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.465 | PENTACHLOROPHENOL | . | 0.6 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69371 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.848 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | PENTACHLOROPHENOL | . | 0.6 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.848 |  | 0.848 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-08-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | PENTACHLOROPHENOL | . | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.916 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | PENTACHLOROPHENOL | E | 0.6 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81 | 0.14991 | 0.81 | 0.212 | 0.15715
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.704 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | PENTACHLOROPHENOL | . | 0.6 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.81 | 0.14991 | 0.81 | 0.212 | 0.15715
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Restek | A088363 | Restek A088363: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Restek A088363 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.96 |  | 0.96 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.831 | 0.21355 | 0.831 | 0.302 | 0.22387
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.982 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | PENTACHLOROPHENOL | E | 0.6 | 4.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.982 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.831 | 0.21355 | 0.831 | 0.302 | 0.22387
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.968 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | PENTACHLOROPHENOL | E | 0.6 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 | Y | 2 | 0.794 | 0.24607 | 0.794 | 0.348 | 0.25797
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.62 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | PENTACHLOROPHENOL | . | 0.6 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.794 | 0.24607 | 0.794 | 0.348 | 0.25797
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.632 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | PENTACHLOROPHENOL | . | 0.6 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.632 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.632 |  | 0.632 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-12-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.83925 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.0274 | PENTACHLOROPHENOL | . | 0.6 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83925 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.82739 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.0436 | PENTACHLOROPHENOL | . | 0.6 | 8.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82739 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.65451 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.4904 | PENTACHLOROPHENOL | . | 0.6 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65451 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-06-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.72406 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.019 | PENTACHLOROPHENOL | E | 0.6 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72406 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-07-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.78994 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.14 | PENTACHLOROPHENOL | . | 0.6 | 8.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78994 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.72584 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | . | 0.6 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72584 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-12-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.61538 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | E | 0.6 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61538 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.3427 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.056 | PENTACHLOROPHENOL | E | 0.6 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3427 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.85207 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | . | 0.6 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85207 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.53199 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.97 | PENTACHLOROPHENOL | E | 0.6 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53199 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.53199 |  | 0.53199 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.65724 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.202 | PENTACHLOROPHENOL | . | 0.6 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65724 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.65724 |  | 0.65724 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-03-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.69999 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.8143 | PENTACHLOROPHENOL | E | 0.6 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69999 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.69302 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.4819 | PENTACHLOROPHENOL | E | 0.6 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69302 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-09-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.082 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.4953 | PENTACHLOROPHENOL | . | 0.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-10-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.85955 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.8165 | PENTACHLOROPHENOL | E | 0.6 | 4.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85955 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-12-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.82798 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.488 | PENTACHLOROPHENOL | . | 0.6 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82798 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.85082 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.0314 | PENTACHLOROPHENOL | . | 0.6 | 3.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85082 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.60513 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.1796 | PENTACHLOROPHENOL | . | 0.6 | 6.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60513 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.71767 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71767 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-10-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.59543 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59543 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.49487 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.144 | PENTACHLOROPHENOL | . | 0.6 | 5.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49487 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.48797 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.0576 | PENTACHLOROPHENOL | . | 0.6 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48797 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.77681 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77681 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069