## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENANTHRENE | 1383 | 34461GCM57 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.85703 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0058 | PHENANTHRENE | . | 0.32 | 0.862 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85703 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85703 |  | 0.85703 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2013-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87493 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.5145 | PHENANTHRENE | . | 0.32 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87493 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87493 |  | 0.87493 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.766 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | PHENANTHRENE | . | 0.32 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.766 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6625 | 0.14637 | 0.6625 | 0.207 | 0.15345
PHENANTHRENE | 1383 | 34461GCM57 | 2013-04-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.559 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | PHENANTHRENE | . | 0.32 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.559 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6625 | 0.14637 | 0.6625 | 0.207 | 0.15345
PHENANTHRENE | 1383 | 34461GCM57 | 2013-07-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0042 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.0058 | PHENANTHRENE | . | 0.32 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0042 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94154 | 0.088582 | 0.94154 | 0.12527 | 0.092864
PHENANTHRENE | 1383 | 34461GCM57 | 2013-09-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.8789 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.5145 | PHENANTHRENE | . | 0.32 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8789 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94154 | 0.088582 | 0.94154 | 0.12527 | 0.092864
PHENANTHRENE | 1383 | 34461GCM57 | 2010-12-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.87175 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.77774 | PHENANTHRENE | . | 0.32 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87175 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.86085 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.769 | PHENANTHRENE | . | 0.32 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86085 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2011-04-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.79099 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.0974 | PHENANTHRENE | . | 0.32 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79099 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2011-05-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.69329 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.2491 | PHENANTHRENE | . | 0.32 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69329 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.7539 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.78923 | PHENANTHRENE | . | 0.32 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7539 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2011-09-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.85737 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.248 | PHENANTHRENE | . | 0.32 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85737 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.87179 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.78 | PHENANTHRENE | . | 0.32 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87179 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2012-01-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.82532 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.248 | PHENANTHRENE | . | 0.32 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82532 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2012-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.79744 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.78 | PHENANTHRENE | . | 0.32 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79744 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.81363 | 0.061102 | 0.82532 | 0.069866 | 0.051791
PHENANTHRENE | 1383 | 34461GCM57 | 2012-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.97561 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.46 | PHENANTHRENE | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97561 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95325 | 0.031619 | 0.95325 | 0.044715 | 0.033147
PHENANTHRENE | 1383 | 34461GCM57 | 2013-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.93089 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 4.92 | PHENANTHRENE | . | 0.32 | 4.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93089 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95325 | 0.031619 | 0.95325 | 0.044715 | 0.033147
PHENANTHRENE | 1383 | 34461GCM57 | 2012-08-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.85061 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.984 | PHENANTHRENE | . | 0.32 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85061 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85061 |  | 0.85061 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2011-01-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.60807 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.2367 | PHENANTHRENE | . | 0.32 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60807 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.80409 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.78847 | PHENANTHRENE | . | 0.32 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80409 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2011-06-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.80428 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.79574 | PHENANTHRENE | . | 0.32 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80428 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2011-09-15 | 2010-10-01 | 2011-09-30 | ug/L | 0.81529 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.14 | PHENANTHRENE | . | 0.32 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81529 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2011-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.83599 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.256 | PHENANTHRENE | . | 0.32 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83599 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.72134 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.256 | PHENANTHRENE | . | 0.32 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72134 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83439 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.14 | PHENANTHRENE | . | 0.32 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83439 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2012-03-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86752 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.785 | PHENANTHRENE | . | 0.32 | 0.681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86752 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.75924 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.785 | PHENANTHRENE | . | 0.32 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75924 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2012-07-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.84713 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.785 | PHENANTHRENE | . | 0.32 | 0.665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84713 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78973 | 0.076855 | 0.80978 | 0.076752 | 0.056895
PHENANTHRENE | 1383 | 34461GCM57 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.95844 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.3459 | PHENANTHRENE | . | 0.32 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95845 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9261 | 0.11165 | 0.91909 | 0.16993 | 0.12597
PHENANTHRENE | 1383 | 34461GCM57 | 2009-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.80253 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 2.0186 | PHENANTHRENE | E | 0.32 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80252 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.9261 | 0.11165 | 0.91909 | 0.16993 | 0.12597
PHENANTHRENE | 1383 | 34461GCM57 | 2009-07-07 | 2006-04-01 | 2009-09-30 | ug/L | 1.0637 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.2598 | PHENANTHRENE | . | 0.32 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0637 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9261 | 0.11165 | 0.91909 | 0.16993 | 0.12597
PHENANTHRENE | 1383 | 34461GCM57 | 2009-09-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.87974 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.2504 | PHENANTHRENE | . | 0.32 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87974 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9261 | 0.11165 | 0.91909 | 0.16993 | 0.12597
PHENANTHRENE | 1383 | 34461GCM57 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.812 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | PHENANTHRENE | . | 0.32 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.812 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.812 |  | 0.812 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2009-03-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.87686 | Restek | A062189 | Restek A062189: 25 µl | 1.3457 | PHENANTHRENE | E | 0.32 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87686 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.87101 | 0.0319 | 0.87412 | 0.041466 | 0.030739
PHENANTHRENE | 1383 | 34461GCM57 | 2009-08-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.90662 | Restek | A062189 | Restek A062189: 25 µl | 1.2684 | PHENANTHRENE | . | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90662 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87101 | 0.0319 | 0.87412 | 0.041466 | 0.030739
PHENANTHRENE | 1383 | 34461GCM57 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.87138 | Restek | A062189 | Restek A062189: 40 µl | 2.0427 | PHENANTHRENE | . | 0.32 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87138 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87101 | 0.0319 | 0.87412 | 0.041466 | 0.030739
PHENANTHRENE | 1383 | 34461GCM57 | 2009-09-22 | 2006-04-01 | 2009-09-30 | ug/L | 0.82918 | Restek | A062189 | Restek A062189: 25 µl | 1.2904 | PHENANTHRENE | . | 0.32 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82918 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87101 | 0.0319 | 0.87412 | 0.041466 | 0.030739
PHENANTHRENE | 1383 | 34461GCM57 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.853 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | PHENANTHRENE | . | 0.32 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.853 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9055 | 0.074246 | 0.9055 | 0.105 | 0.077835
PHENANTHRENE | 1383 | 34461GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.958 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | PHENANTHRENE | . | 0.32 | 4.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.958 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9055 | 0.074246 | 0.9055 | 0.105 | 0.077835
PHENANTHRENE | 1383 | 34461GCM57 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.46 | PHENANTHRENE | . | 0.32 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76982 | 0.089826 | 0.76982 | 0.12703 | 0.094168
PHENANTHRENE | 1383 | 34461GCM57 | 2013-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.7063 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.984 | PHENANTHRENE | . | 0.32 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7063 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76982 | 0.089826 | 0.76982 | 0.12703 | 0.094168
PHENANTHRENE | 1383 | 34461GCM57 | 2014-01-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.90674 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.5145 | PHENANTHRENE | . | 0.32 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90674 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90674 |  | 0.90674 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2013-11-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.94389 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.998 | PHENANTHRENE | . | 0.32 | 0.942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94389 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94389 |  | 0.94389 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.821 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.3009 | PHENANTHRENE | . | 0.32 | 2.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.821 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82339 | 0.05598 | 0.82817 | 0.07502 | 0.055612
PHENANTHRENE | 1383 | 34461GCM57 | 2010-05-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.83534 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.664 | PHENANTHRENE | . | 0.32 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83534 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82339 | 0.05598 | 0.82817 | 0.07502 | 0.055612
PHENANTHRENE | 1383 | 34461GCM57 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.75076 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.6783 | PHENANTHRENE | . | 0.32 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75076 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82339 | 0.05598 | 0.82817 | 0.07502 | 0.055612
PHENANTHRENE | 1383 | 34461GCM57 | 2010-10-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.88646 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.373 | PHENANTHRENE | . | 0.32 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88646 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82339 | 0.05598 | 0.82817 | 0.07502 | 0.055612
PHENANTHRENE | 1383 | 34461GCM57 | 2013-05-10 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.5 | PHENANTHRENE | . | 0.32 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2013-06-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.91383 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.495 | PHENANTHRENE | . | 0.32 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91383 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91383 |  | 0.91383 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.88577 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.998 | PHENANTHRENE | . | 0.32 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88577 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88577 |  | 0.88577 | 0 | 0
PHENANTHRENE | 1383 | 34461GCM57 | 2008-02-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.53666 | Supelco | LB50016 | Supelco LB50016: 25 µl | 2.0497 | PHENANTHRENE | E | 0.32 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53666 | Supelco LB50016 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-04-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.82408 | Supelco | LB50016 | Supelco LB50016: 40 µl | 3.1429 | PHENANTHRENE | . | 0.32 | 2.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82408 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-05-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.0474 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.9573 | PHENANTHRENE | . | 0.32 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-05-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.99692 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.9661 | PHENANTHRENE | . | 0.32 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99692 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-07-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.9464 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.9548 | PHENANTHRENE | . | 0.32 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9464 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.80649 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.9343 | PHENANTHRENE | . | 0.32 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80649 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2008-08-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.83707 | Supelco | LB50016 | Supelco LB50016: 25 µl | 1.9473 | PHENANTHRENE | . | 0.32 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83707 | Supelco LB50016 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.85643 | 0.16855 | 0.83707 | 0.19042 | 0.14116
PHENANTHRENE | 1383 | 34461GCM57 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.71553 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.6351 | PHENANTHRENE | . | 0.32 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71553 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74303 | 0.076643 | 0.72939 | 0.10467 | 0.077589
PHENANTHRENE | 1383 | 34461GCM57 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.74324 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 3.2829 | PHENANTHRENE | . | 0.32 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74324 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74303 | 0.076643 | 0.72939 | 0.10467 | 0.077589
PHENANTHRENE | 1383 | 34461GCM57 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66587 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.667 | PHENANTHRENE | . | 0.32 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66587 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74303 | 0.076643 | 0.72939 | 0.10467 | 0.077589
PHENANTHRENE | 1383 | 34461GCM57 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.84749 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.6873 | PHENANTHRENE | . | 0.32 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84749 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74303 | 0.076643 | 0.72939 | 0.10467 | 0.077589