## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.55 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.55 |  | 0.55 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.60477 | Accu | 210091144 | Accu 210091144: 50 µl | 0.19842 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60477 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.4917 | Accu | 210091144 | Accu 210091144: 20 µl | 0.081351 | 1,4-DICHLOROBENZENE | E | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4917 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.59145 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32125 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59145 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.66619 | Accu | 210091144 | Accu 210091144: 20 µl | 0.079557 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66619 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.6181 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32357 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6181 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.54672 | Accu | 210091144 | Accu 210091144: 20 µl | 0.08048 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54672 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.59642 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2012 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59642 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.6834 | Accu | 210091144 | Accu 210091144: 20 µl | 0.08048 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6834 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.79523 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2012 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79523 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.59642 | Accu | 210091144 | Accu 210091144: 20 µl | 0.08048 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59642 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.80765 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32192 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80765 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.6337 | Accu | 210091144 | Accu 210091144: 20 µl | 0.08048 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6337 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.77659 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32192 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77659 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.6468 | 0.096367 | 0.6181 | 0.086978 | 0.064476
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2008-11-14 | 2008-10-01 | 2008-12-31 | ug/L | 0.70415 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8178 | 1,4-DICHLOROBENZENE | E | 0.04 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70415 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-01-27 | 2009-01-01 | 2009-09-30 | ug/L | 0.62972 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.96868 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62972 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-03-05 | 2009-01-01 | 2009-09-30 | ug/L | 0.70401 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.96021 | 1,4-DICHLOROBENZENE | E | 0.04 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70401 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-05-12 | 2009-01-01 | 2009-09-30 | ug/L | 0.75164 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8626 | 1,4-DICHLOROBENZENE | . | 0.04 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75164 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-08-05 | 2009-01-01 | 2009-09-30 | ug/L | 0.69221 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.92457 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69221 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.57663 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.91913 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57663 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.67639 | 0.062573 | 0.69811 | 0.074432 | 0.055176
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.67636 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.34006 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67636 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64758 | 0.054722 | 0.65392 | 0.084953 | 0.062975
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.63148 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.69678 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63148 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64758 | 0.054722 | 0.65392 | 0.084953 | 0.062975
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.57872 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.17279 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57872 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64758 | 0.054722 | 0.65392 | 0.084953 | 0.062975
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.70374 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.17052 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70374 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.64758 | 0.054722 | 0.65392 | 0.084953 | 0.062975
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 | Y | 1 | 0.77 |  | 0.77 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7 |  | 0.7 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.78 |  | 0.78 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69667 | 0.066583 | 0.73 | 0.12 | 0.088955
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.62 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69667 | 0.066583 | 0.73 | 0.12 | 0.088955
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69667 | 0.066583 | 0.73 | 0.12 | 0.088955
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.66 |  | 0.66 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.74 | 0.056569 | 0.74 | 0.08 | 0.059303
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.74 | 0.056569 | 0.74 | 0.08 | 0.059303
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.66 |  | 0.66 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.74984 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.17337 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74984 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.62104 | 0.10508 | 0.57196 | 0.15857 | 0.11755
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.71553 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.16771 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71553 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.62104 | 0.10508 | 0.57196 | 0.15857 | 0.11755
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.55697 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.34113 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55697 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.62104 | 0.10508 | 0.57196 | 0.15857 | 0.11755
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.57196 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.68186 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57196 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.62104 | 0.10508 | 0.57196 | 0.15857 | 0.11755
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.51091 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.35231 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51091 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.62104 | 0.10508 | 0.57196 | 0.15857 | 0.11755
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0038 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 1,4-DICHLOROBENZENE | E | 0.08 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.69639 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 1,4-DICHLOROBENZENE | E | 0.08 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69639 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.74697 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 1,4-DICHLOROBENZENE | E | 0.08 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74697 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-04-02 | 2009-01-01 | 2009-09-30 | ug/L | 0.76416 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76416 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-05-06 | 2009-01-01 | 2009-09-30 | ug/L | 0.79408 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79408 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-07-30 | 2009-01-01 | 2009-09-30 | ug/L | 0.65065 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65065 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77601 | 0.12268 | 0.75557 | 0.09769 | 0.072417
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-03-06 | 2009-01-01 | 2009-09-30 | ug/L | 0.62718 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62718 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.62718 |  | 0.62718 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.70947 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70947 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 0.59597 | 0.16051 | 0.59597 | 0.22699 | 0.16827
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.48247 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | 1,4-DICHLOROBENZENE | E | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48247 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.59597 | 0.16051 | 0.59597 | 0.22699 | 0.16827
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.7482 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7482 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74486 | 0.094537 | 0.7241 | 0.13348 | 0.098944
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.65625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74486 | 0.094537 | 0.7241 | 0.13348 | 0.098944
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74486 | 0.094537 | 0.7241 | 0.13348 | 0.098944
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74486 | 0.094537 | 0.7241 | 0.13348 | 0.098944
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-01-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.85701 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.93348 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85701 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74087 | 0.086466 | 0.70344 | 0.12911 | 0.095708
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-04-02 | 2009-01-01 | 2009-09-30 | ug/L | 0.80694 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.92944 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80694 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74087 | 0.086466 | 0.70344 | 0.12911 | 0.095708
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-07-22 | 2009-01-01 | 2009-09-30 | ug/L | 0.67783 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.91468 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67783 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74087 | 0.086466 | 0.70344 | 0.12911 | 0.095708
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-08-27 | 2009-01-01 | 2009-09-30 | ug/L | 0.65915 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.91026 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65915 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74087 | 0.086466 | 0.70344 | 0.12911 | 0.095708
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.70344 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 1.8481 | 1,4-DICHLOROBENZENE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70344 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74087 | 0.086466 | 0.70344 | 0.12911 | 0.095708
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.60165 | Restek | A053259 | Restek A053259: 25 µl | 0.41386 | 1,4-DICHLOROBENZENE | E | 0.08 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60165 | Restek A053259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.60165 |  | 0.60165 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.6918 | Restek | A075799 | Restek A075799: 50 µl | 0.20237 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6918 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.65926 | Restek | A075799 | Restek A075799: 20 µl | 0.078877 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65926 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.50803 | Restek | A075799 | Restek A075799: 80 µl | 0.31494 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50803 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.70601 | Restek | A075799 | Restek A075799: 20 µl | 0.079319 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70601 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.69738 | Restek | A075799 | Restek A075799: 50 µl | 0.20075 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69738 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.66805 | Restek | A075799 | Restek A075799: 20 µl | 0.079335 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66805 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.7702 | Restek | A075799 | Restek A075799: 20 µl | 0.0792 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7702 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.78914 | Restek | A075799 | Restek A075799: 80 µl | 0.3168 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78914 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0732 | Restek | A075799 | Restek A075799: 80 µl | 0.3168 | 1,4-DICHLOROBENZENE | E | 0.04 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0732 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Restek | A075799 | Restek A075799: 50 µl | 0.198 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.65657 | Restek | A075799 | Restek A075799: 50 µl | 0.198 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65657 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.73232 | Restek | A075799 | Restek A075799: 20 µl | 0.0792 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73232 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.70707 | Restek | A075799 | Restek A075799: 50 µl | 0.198 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70707 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.72436 | 0.12596 | 0.70601 | 0.089522 | 0.066362
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.25 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 | Y | 1 | 0.84 |  | 0.84 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.75 |  | 0.75 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.66 |  | 0.66 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.85 |  | 0.85 | 0 | 0
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.71333 | 0.14189 | 0.74 | 0.28 | 0.20756
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.71333 | 0.14189 | 0.74 | 0.28 | 0.20756
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.71333 | 0.14189 | 0.74 | 0.28 | 0.20756
1,4-DICHLOROBENZENE | 1433 | 34572GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | 1,4-DICHLOROBENZENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0