## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.4 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.65 |  | 0.65 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.60828 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2466 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60828 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.46488 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1011 | 1-METHYLNAPHTHALENE | E | 0.022 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46488 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.70133 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39924 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70133 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.66752 | Accu | 210091144 | Accu 210091144: 20 µl | 0.098873 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66752 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.69629 | Accu | 210091144 | Accu 210091144: 80 µl | 0.40213 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69629 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.68986 | Accu | 210091144 | Accu 210091144: 20 µl | 0.10002 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68986 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.75985 | Accu | 210091144 | Accu 210091144: 50 µl | 0.25005 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75985 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.79984 | Accu | 210091144 | Accu 210091144: 20 µl | 0.10002 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79984 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.83983 | Accu | 210091144 | Accu 210091144: 50 µl | 0.25005 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83983 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72985 | Accu | 210091144 | Accu 210091144: 20 µl | 0.10002 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72985 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.87482 | Accu | 210091144 | Accu 210091144: 80 µl | 0.40008 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87483 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.71986 | Accu | 210091144 | Accu 210091144: 20 µl | 0.10002 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71986 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.82484 | Accu | 210091144 | Accu 210091144: 80 µl | 0.40008 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82484 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72131 | 0.10782 | 0.71986 | 0.10998 | 0.081526
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.68376 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.37586 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68376 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.59912 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.20029 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59912 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.71522 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.19854 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71521 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.72703 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.38513 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72703 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.68001 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.19117 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68001 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.5788 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.19005 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5788 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66399 | 0.061174 | 0.68189 | 0.1161 | 0.086061
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.80205 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0586 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80205 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.80205 |  | 0.80205 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.76792 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0586 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76792 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76792 |  | 0.76792 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.81911 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1465 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81911 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81911 |  | 0.81911 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78498 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0586 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78498 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78498 |  | 0.78498 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76923 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.195 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70769 | 0.067256 | 0.71795 | 0.13333 | 0.098839
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.6359 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.975 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6359 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70769 | 0.067256 | 0.71795 | 0.13333 | 0.098839
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.71795 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.195 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71795 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70769 | 0.067256 | 0.71795 | 0.13333 | 0.098839
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.68718 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.975 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68718 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68718 |  | 0.68718 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.76923 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.195 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75385 | 0.021757 | 0.75385 | 0.030769 | 0.022809
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.73846 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.975 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73846 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75385 | 0.021757 | 0.75385 | 0.030769 | 0.022809
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.82051 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.95 | 1-METHYLNAPHTHALENE | . | 0.022 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82051 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82051 |  | 0.82051 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.99896 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 1-METHYLNAPHTHALENE | . | 0.1 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99896 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.78657 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 1-METHYLNAPHTHALENE | . | 0.1 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78657 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.74697 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 1-METHYLNAPHTHALENE | . | 0.1 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74697 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.7164 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7164 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.72791 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72791 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.63397 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63397 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76846 | 0.12358 | 0.73744 | 0.07017 | 0.052016
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.6111 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6111 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.6111 |  | 0.6111 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.69004 | 0.20454 | 0.69004 | 0.28926 | 0.21443
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.5454 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | 1-METHYLNAPHTHALENE | E | 0.022 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5454 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.69004 | 0.20454 | 0.69004 | 0.28926 | 0.21443
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.93525 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93525 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.11066 | 0.91762 | 0.152 | 0.11268
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.78125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.11066 | 0.91762 | 0.152 | 0.11268
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.05 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.11066 | 0.91762 | 0.152 | 0.11268
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.11066 | 0.91762 | 0.152 | 0.11268
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.77164 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.19439 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77164 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66058 | 0.083085 | 0.63 | 0.12569 | 0.093175
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.72333 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.19355 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72333 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66058 | 0.083085 | 0.63 | 0.12569 | 0.093175
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.63 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.19048 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66058 | 0.083085 | 0.63 | 0.12569 | 0.093175
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.58031 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.18955 | 1-METHYLNAPHTHALENE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58031 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66058 | 0.083085 | 0.63 | 0.12569 | 0.093175
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.59764 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 0.38485 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59764 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66058 | 0.083085 | 0.63 | 0.12569 | 0.093175
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.62198 | Restek | A053259 | Restek A053259: 25 µl | 1.521 | 1-METHYLNAPHTHALENE | . | 0.1 | 0.946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62198 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.62198 |  | 0.62198 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.71464 | Restek | A070024 | Restek A070024: 20 µl | 0.13993 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71464 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69358 | 0.035158 | 0.69749 | 0.056261 | 0.041705
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.72879 | Restek | A070024 | Restek A070024: 10 µl | 0.068607 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72879 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69358 | 0.035158 | 0.69749 | 0.056261 | 0.041705
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.68034 | Restek | A070024 | Restek A070024: 80 µl | 0.55855 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68034 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69358 | 0.035158 | 0.69749 | 0.056261 | 0.041705
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.65057 | Restek | A070024 | Restek A070024: 40 µl | 0.27668 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65057 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69358 | 0.035158 | 0.69749 | 0.056261 | 0.041705
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.67203 | Restek | A075799 | Restek A075799: 50 µl | 0.25296 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67203 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.84182 | Restek | A075799 | Restek A075799: 20 µl | 0.098596 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84182 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.48263 | Restek | A075799 | Restek A075799: 80 µl | 0.39368 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48263 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.76653 | Restek | A075799 | Restek A075799: 20 µl | 0.099149 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76653 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.71731 | Restek | A075799 | Restek A075799: 50 µl | 0.25094 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71731 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.84704 | Restek | A075799 | Restek A075799: 20 µl | 0.099169 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84704 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.90909 | Restek | A075799 | Restek A075799: 20 µl | 0.099 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Restek | A075799 | Restek A075799: 80 µl | 0.396 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1616 | Restek | A075799 | Restek A075799: 80 µl | 0.396 | 1-METHYLNAPHTHALENE | E | 0.022 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Restek | A075799 | Restek A075799: 50 µl | 0.2475 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76768 | Restek | A075799 | Restek A075799: 50 µl | 0.2475 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76768 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76768 | Restek | A075799 | Restek A075799: 20 µl | 0.099 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76768 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.76768 | Restek | A075799 | Restek A075799: 50 µl | 0.2475 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76768 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79869 | 0.15228 | 0.76768 | 0.080517 | 0.059686
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.15 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.96667 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.06 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96667 |  | 0.96667 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.81667 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.06 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81667 |  | 0.81667 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.2 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.4 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.78333 | 0.16073 | 0.85 | 0.3 | 0.22239
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 2 | 1-METHYLNAPHTHALENE | . | 0.022 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.78333 | 0.16073 | 0.85 | 0.3 | 0.22239
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 1 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.78333 | 0.16073 | 0.85 | 0.3 | 0.22239
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.4 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.72414 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.27619 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72414 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71823 | 0.024574 | 0.72414 | 0.036123 | 0.026778
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.69723 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.13769 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69723 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71823 | 0.024574 | 0.72414 | 0.036123 | 0.026778
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.68895 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.27578 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68895 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71823 | 0.024574 | 0.72414 | 0.036123 | 0.026778
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.73336 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.13636 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73336 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71823 | 0.024574 | 0.72414 | 0.036123 | 0.026778
1-METHYLNAPHTHALENE | 1433 | 62054GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74745 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.58867 | 1-METHYLNAPHTHALENE | . | 0.022 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74745 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71823 | 0.024574 | 0.72414 | 0.036123 | 0.026778