## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.71903 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71903 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.71903 |  | 0.71903 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.39823 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39823 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.39823 |  | 0.39823 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.405 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.405 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.405 |  | 0.405 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.58598 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.27305 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58598 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-01-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.65125 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.28714 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65125 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-03-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.57823 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.57071 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57823 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.66808 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.26943 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66808 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.55196 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.54352 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55196 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.62807 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.27067 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62807 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61059 | 0.045506 | 0.60702 | 0.073017 | 0.054127
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.58178 | Accu | 210091144 | Accu 210091144: 50 µl | 0.29221 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58178 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.35893 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1198 | 2,6-DIMETHYLNAPHTHALENE | E | 0.06 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35893 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.67641 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47309 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67641 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.606 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11716 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.606 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.58761 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47651 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58761 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.52312 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11852 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52312 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.60749 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2963 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60749 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.7003 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11852 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.80999 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2963 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80999 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.7003 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11852 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.80155 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47408 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80155 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.62437 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11852 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62437 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.73827 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47408 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73827 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.6397 | 0.12059 | 0.62437 | 0.1127 | 0.083542
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.88496 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88496 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88496 |  | 0.88496 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.60841 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60841 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.60841 |  | 0.60841 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.57 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.54 | 0.03 | 0.54 | 0.06 | 0.044477
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.54 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.54 | 0.03 | 0.54 | 0.06 | 0.044477
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.51 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.54 | 0.03 | 0.54 | 0.06 | 0.044477
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.67 | 0.042426 | 0.67 | 0.06 | 0.044477
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.67 | 0.042426 | 0.67 | 0.06 | 0.044477
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.63 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63 |  | 0.63 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.53856 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.53848 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53856 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.76454 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.27467 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76454 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.69676 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.27269 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69676 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.74709 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.26771 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74709 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.47309 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.52844 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47309 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.6003 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.26653 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6003 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63672 | 0.11821 | 0.64853 | 0.20853 | 0.15458
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.0216 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.633 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.6179 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6179 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.66209 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66209 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.62088 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62088 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.64519 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64519 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.53387 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53387 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68358 | 0.17136 | 0.63304 | 0.04419 | 0.032758
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.49853 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49853 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.49853 |  | 0.49853 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.7512 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7512 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.60635 | 0.20485 | 0.60635 | 0.2897 | 0.21475
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.4615 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | 2,6-DIMETHYLNAPHTHALENE | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4615 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.60635 | 0.20485 | 0.60635 | 0.2897 | 0.21475
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.83549 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83549 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77293 | 0.14605 | 0.74587 | 0.23962 | 0.17763
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.65625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77293 | 0.14605 | 0.74587 | 0.23962 | 0.17763
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.95 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77293 | 0.14605 | 0.74587 | 0.23962 | 0.17763
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77293 | 0.14605 | 0.74587 | 0.23962 | 0.17763
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.57965 | Restek | A070024 | Restek A070024: 20 µl | 0.12594 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57965 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63306 | 0.10793 | 0.58822 | 0.12424 | 0.092096
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.79357 | Restek | A070024 | Restek A070024: 10 µl | 0.061747 | 2,6-DIMETHYLNAPHTHALENE | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79357 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.63306 | 0.10793 | 0.58822 | 0.12424 | 0.092096
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.59679 | Restek | A070024 | Restek A070024: 80 µl | 0.50269 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59679 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63306 | 0.10793 | 0.58822 | 0.12424 | 0.092096
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.56222 | Restek | A070024 | Restek A070024: 40 µl | 0.24901 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56222 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63306 | 0.10793 | 0.58822 | 0.12424 | 0.092096
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.65886 | Restek | A075799 | Restek A075799: 50 µl | 0.30356 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65886 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.8283 | Restek | A075799 | Restek A075799: 20 µl | 0.11831 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8283 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.42336 | Restek | A075799 | Restek A075799: 80 µl | 0.47241 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42336 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.6892 | Restek | A075799 | Restek A075799: 20 µl | 0.11898 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6892 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.56455 | Restek | A075799 | Restek A075799: 50 µl | 0.30113 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56455 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.84032 | Restek | A075799 | Restek A075799: 20 µl | 0.119 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84032 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.77441 | Restek | A075799 | Restek A075799: 20 µl | 0.1188 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77441 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Restek | A075799 | Restek A075799: 80 µl | 0.4752 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0732 | Restek | A075799 | Restek A075799: 80 µl | 0.4752 | 2,6-DIMETHYLNAPHTHALENE | E | 0.06 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0732 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.6734 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6734 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76599 | Restek | A075799 | Restek A075799: 20 µl | 0.1188 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76599 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.6734 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6734 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.73313 | 0.15389 | 0.75758 | 0.13468 | 0.099837
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88496 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.226 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88496 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88496 |  | 0.88496 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.57522 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57522 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.57522 |  | 0.57522 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74 |  | 0.74 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.63 | 0.15395 | 0.67 | 0.3 | 0.22239
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.67 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.63 | 0.15395 | 0.67 | 0.3 | 0.22239
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.46 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.63 | 0.15395 | 0.67 | 0.3 | 0.22239
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.57522 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.0904 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57522 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.57522 |  | 0.57522 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.63717 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.226 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63717 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.63717 |  | 0.63717 | 0 | 0
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.51878 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.40673 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51878 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.61942 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38746 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61942 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.68618 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38765 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68618 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.73492 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38508 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73492 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.52847 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38602 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52847 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.6682 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38162 | 2,6-DIMETHYLNAPHTHALENE | . | 0.12 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6682 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.7519 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.3817 | 2,6-DIMETHYLNAPHTHALENE | E | 0.12 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7519 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.64398 | 0.09301 | 0.6682 | 0.20645 | 0.15304
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.60154 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.24936 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60154 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65514 | 0.068368 | 0.66768 | 0.11344 | 0.08409
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.66768 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.12431 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66768 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65514 | 0.068368 | 0.66768 | 0.11344 | 0.08409
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.72292 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.24899 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72292 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65514 | 0.068368 | 0.66768 | 0.11344 | 0.08409
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.56858 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.12311 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56858 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65514 | 0.068368 | 0.66768 | 0.11344 | 0.08409
2,6-DIMETHYLNAPHTHALENE | 1433 | 62055GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.71498 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.53148 | 2,6-DIMETHYLNAPHTHALENE | . | 0.06 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71498 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65514 | 0.068368 | 0.66768 | 0.11344 | 0.08409