## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.53333 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.6 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53333 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.53333 |  | 0.53333 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.63774 | Accu | 210091144 | Accu 210091144: 50 µl | 0.17249 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63774 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.45251 | Accu | 210091144 | Accu 210091144: 20 µl | 0.070717 | 2-METHYLNAPHTHALENE | E | 0.036 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45251 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.68039 | Accu | 210091144 | Accu 210091144: 80 µl | 0.27925 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68039 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.66515 | Accu | 210091144 | Accu 210091144: 20 µl | 0.069158 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66515 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.6755 | Accu | 210091144 | Accu 210091144: 80 µl | 0.28127 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6755 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.67181 | Accu | 210091144 | Accu 210091144: 20 µl | 0.06996 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67181 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.74328 | Accu | 210091144 | Accu 210091144: 50 µl | 0.1749 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74328 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.77187 | Accu | 210091144 | Accu 210091144: 20 µl | 0.06996 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77187 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.85763 | Accu | 210091144 | Accu 210091144: 50 µl | 0.1749 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85763 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72899 | Accu | 210091144 | Accu 210091144: 20 µl | 0.06996 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72899 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.89337 | Accu | 210091144 | Accu 210091144: 80 µl | 0.27984 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89337 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.7004 | Accu | 210091144 | Accu 210091144: 20 µl | 0.06996 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7004 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.8219 | Accu | 210091144 | Accu 210091144: 80 µl | 0.27984 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8219 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.71542 | 0.11181 | 0.7004 | 0.10006 | 0.074171
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.70799 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.57346 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70799 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.52358 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.30559 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52358 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.65695 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.30292 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65695 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.7318 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.58759 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7318 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.68569 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.29168 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68569 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.58629 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.28996 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58629 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64872 | 0.079256 | 0.67132 | 0.1217 | 0.090213
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.56984 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.36853 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56984 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63083 | 0.056475 | 0.625 | 0.082645 | 0.061264
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.60918 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.75511 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60918 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63083 | 0.056475 | 0.625 | 0.082645 | 0.061264
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.64082 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18726 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64082 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63083 | 0.056475 | 0.625 | 0.082645 | 0.061264
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.70349 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18479 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70349 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63083 | 0.056475 | 0.625 | 0.082645 | 0.061264
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.83691 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0932 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83691 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.83691 |  | 0.83691 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.7618 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0932 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7618 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7618 |  | 0.7618 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.77253 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.233 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77253 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77253 |  | 0.77253 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.74034 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0932 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74034 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74034 |  | 0.74034 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.68027 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.294 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68027 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.65986 | 0.035348 | 0.68027 | 0.061224 | 0.045385
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.61905 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.47 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61905 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.65986 | 0.035348 | 0.68027 | 0.061224 | 0.045385
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.68027 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.294 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68027 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.65986 | 0.035348 | 0.68027 | 0.061224 | 0.045385
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.68027 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 1.47 | 2-METHYLNAPHTHALENE | . | 0.036 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68027 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68027 |  | 0.68027 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.81633 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.294 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81633 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7483 | 0.096205 | 0.7483 | 0.13605 | 0.10086
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.68027 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 1.47 | 2-METHYLNAPHTHALENE | . | 0.036 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68027 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7483 | 0.096205 | 0.7483 | 0.13605 | 0.10086
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81633 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2.94 | 2-METHYLNAPHTHALENE | . | 0.036 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81633 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81633 |  | 0.81633 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.6934 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18748 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6934 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.58008 | 0.11865 | 0.52891 | 0.17836 | 0.13222
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.71682 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18136 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71682 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.58008 | 0.11865 | 0.52891 | 0.17836 | 0.13222
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.51504 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.3689 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51504 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.58008 | 0.11865 | 0.52891 | 0.17836 | 0.13222
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.52891 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.73736 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52891 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.58008 | 0.11865 | 0.52891 | 0.17836 | 0.13222
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.4462 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.38099 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4462 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.58008 | 0.11865 | 0.52891 | 0.17836 | 0.13222
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0135 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 2-METHYLNAPHTHALENE | . | 0.08 | 0.628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.68637 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 2-METHYLNAPHTHALENE | . | 0.08 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68637 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.69604 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 2-METHYLNAPHTHALENE | . | 0.08 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69604 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.65272 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65272 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.67828 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67828 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.58392 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58392 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71847 | 0.15007 | 0.68232 | 0.043323 | 0.032115
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.56286 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56286 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.56286 |  | 0.56286 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.66906 | 0.23421 | 0.66906 | 0.33122 | 0.24553
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.50345 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | 2-METHYLNAPHTHALENE | E | 0.036 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50345 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.66906 | 0.23421 | 0.66906 | 0.33122 | 0.24553
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.88537 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88537 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84634 | 0.088877 | 0.84268 | 0.14268 | 0.10577
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.75 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84634 | 0.088877 | 0.84268 | 0.14268 | 0.10577
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.95 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84634 | 0.088877 | 0.84268 | 0.14268 | 0.10577
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84634 | 0.088877 | 0.84268 | 0.14268 | 0.10577
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.78335 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.29361 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78335 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66465 | 0.082806 | 0.62566 | 0.11622 | 0.086156
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.71834 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.29234 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71834 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66465 | 0.082806 | 0.62566 | 0.11622 | 0.086156
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.62566 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.2877 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62566 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66465 | 0.082806 | 0.62566 | 0.11622 | 0.086156
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.59377 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.28631 | 2-METHYLNAPHTHALENE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59377 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66465 | 0.082806 | 0.62566 | 0.11622 | 0.086156
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.60212 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 0.58128 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60212 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66465 | 0.082806 | 0.62566 | 0.11622 | 0.086156
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.56592 | Restek | A053259 | Restek A053259: 25 µl | 3.0393 | 2-METHYLNAPHTHALENE | . | 0.08 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56592 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.56592 |  | 0.56592 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.61978 | Restek | A075799 | Restek A075799: 50 µl | 0.17748 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61978 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.7517 | Restek | A075799 | Restek A075799: 20 µl | 0.069176 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7517 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.47066 | Restek | A075799 | Restek A075799: 80 µl | 0.27621 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47066 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.69001 | Restek | A075799 | Restek A075799: 20 µl | 0.069564 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69001 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.62478 | Restek | A075799 | Restek A075799: 50 µl | 0.17606 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62478 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.7761 | Restek | A075799 | Restek A075799: 20 µl | 0.069578 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7761 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.80622 | Restek | A075799 | Restek A075799: 20 µl | 0.06946 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80622 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.71984 | Restek | A075799 | Restek A075799: 80 µl | 0.27784 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71984 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0438 | Restek | A075799 | Restek A075799: 80 µl | 0.27784 | 2-METHYLNAPHTHALENE | E | 0.036 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0438 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.80622 | Restek | A075799 | Restek A075799: 50 µl | 0.17365 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80622 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.69105 | Restek | A075799 | Restek A075799: 50 µl | 0.17365 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69105 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.73424 | Restek | A075799 | Restek A075799: 20 µl | 0.06946 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73424 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.69105 | Restek | A075799 | Restek A075799: 50 µl | 0.17365 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69105 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.72503 | 0.13152 | 0.71984 | 0.086095 | 0.063821
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93617 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.235 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93617 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93617 |  | 0.93617 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.8617 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.094 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8617 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8617 |  | 0.8617 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.69149 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.094 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69149 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69149 |  | 0.69149 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76667 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.3 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76667 |  | 0.76667 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.81667 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.6 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81667 |  | 0.81667 | 0 | 0
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.3 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.70444 | 0.16551 | 0.8 | 0.28667 | 0.2125
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 3 | 2-METHYLNAPHTHALENE | . | 0.036 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.70444 | 0.16551 | 0.8 | 0.28667 | 0.2125
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.51333 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 1.5 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51333 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.70444 | 0.16551 | 0.8 | 0.28667 | 0.2125
2-METHYLNAPHTHALENE | 1433 | 62056GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.6 | 2-METHYLNAPHTHALENE | . | 0.036 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0