## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.17667 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.3 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17667 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.17667 |  | 0.17667 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.71254 | Accu | 210091144 | Accu 210091144: 50 µl | 0.18245 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71254 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.50802 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0748 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.036 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50802 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.64324 | Accu | 210091144 | Accu 210091144: 80 µl | 0.29538 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64324 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.82022 | Accu | 210091144 | Accu 210091144: 20 µl | 0.073151 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82022 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.90751 | Accu | 210091144 | Accu 210091144: 80 µl | 0.29752 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90751 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1 | Accu | 210091144 | Accu 210091144: 20 µl | 0.074 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.91892 | Accu | 210091144 | Accu 210091144: 50 µl | 0.185 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.74324 | Accu | 210091144 | Accu 210091144: 20 µl | 0.074 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74324 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.027 | Accu | 210091144 | Accu 210091144: 50 µl | 0.185 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.85135 | Accu | 210091144 | Accu 210091144: 20 µl | 0.074 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85135 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.87838 | Accu | 210091144 | Accu 210091144: 80 µl | 0.296 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87838 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.45946 | Accu | 210091144 | Accu 210091144: 20 µl | 0.074 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45946 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.87838 | Accu | 210091144 | Accu 210091144: 80 µl | 0.296 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87838 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.79602 | 0.17536 | 0.85135 | 0.19497 | 0.14453
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.79626 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8336 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79626 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.63454 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.97709 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63454 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.77746 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.96854 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77746 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.7984 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8788 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.72915 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.9326 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72915 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.65796 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.92711 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65796 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73229 | 0.071546 | 0.7533 | 0.13831 | 0.10252
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93056 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.072 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93056 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93056 |  | 0.93056 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.072 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.18 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.072 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.65541 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.148 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65541 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60811 | 0.042196 | 0.59459 | 0.081081 | 0.060105
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.59459 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.74 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59459 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60811 | 0.042196 | 0.59459 | 0.081081 | 0.060105
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.57432 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.148 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57432 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60811 | 0.042196 | 0.59459 | 0.081081 | 0.060105
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.62162 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.74 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62162 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.62162 |  | 0.62162 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.55405 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.148 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55405 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.66216 | 0.15289 | 0.66216 | 0.21622 | 0.16028
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.77027 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.74 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77027 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.66216 | 0.15289 | 0.66216 | 0.21622 | 0.16028
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.48 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.5 |  | 0.5 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.1345 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.08 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1345 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.84669 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.08 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84669 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.86581 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86581 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.796 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.59556 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59556 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.66733 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66733 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81765 | 0.1876 | 0.82134 | 0.19848 | 0.14713
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.788 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.788 |  | 0.788 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.8764 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8764 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.73188 | 0.20438 | 0.73188 | 0.28904 | 0.21426
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.58736 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.036 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58736 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.73188 | 0.20438 | 0.73188 | 0.28904 | 0.21426
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.88537 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88537 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80103 | 0.068033 | 0.8 | 0.08331 | 0.061757
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.71875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80103 | 0.068033 | 0.8 | 0.08331 | 0.061757
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.8 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80103 | 0.068033 | 0.8 | 0.08331 | 0.061757
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80103 | 0.068033 | 0.8 | 0.08331 | 0.061757
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.70095 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.94158 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70095 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64006 | 0.10004 | 0.65032 | 0.15638 | 0.11592
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.768 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.9375 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64006 | 0.10004 | 0.65032 | 0.15638 | 0.11592
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.65032 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.92262 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65032 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64006 | 0.10004 | 0.65032 | 0.15638 | 0.11592
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.54457 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.91816 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.04 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54457 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64006 | 0.10004 | 0.65032 | 0.15638 | 0.11592
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.53645 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 1.8641 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53645 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.64006 | 0.10004 | 0.65032 | 0.15638 | 0.11592
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.66965 | Restek | A053259 | Restek A053259: 25 µl | 1.4485 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66965 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.66965 |  | 0.66965 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.63323 | Restek | A070024 | Restek A070024: 20 µl | 0.31584 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63323 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73861 | 0.09446 | 0.74087 | 0.15546 | 0.11524
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.83949 | Restek | A070024 | Restek A070024: 10 µl | 0.15486 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83949 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73861 | 0.09446 | 0.74087 | 0.15546 | 0.11524
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7932 | Restek | A070024 | Restek A070024: 80 µl | 1.2607 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7932 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73861 | 0.09446 | 0.74087 | 0.15546 | 0.11524
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.68854 | Restek | A070024 | Restek A070024: 40 µl | 0.62451 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68854 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73861 | 0.09446 | 0.74087 | 0.15546 | 0.11524
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.68567 | Restek | A075799 | Restek A075799: 50 µl | 0.1896 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68567 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.98786 | Restek | A075799 | Restek A075799: 20 µl | 0.073897 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98786 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.50837 | Restek | A075799 | Restek A075799: 80 µl | 0.29506 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50837 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.92852 | Restek | A075799 | Restek A075799: 20 µl | 0.074312 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92852 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.95706 | Restek | A075799 | Restek A075799: 50 µl | 0.18808 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95706 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.9687 | Restek | A075799 | Restek A075799: 20 µl | 0.074326 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9687 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1051 | Restek | A075799 | Restek A075799: 20 µl | 0.0742 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1051 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80863 | Restek | A075799 | Restek A075799: 80 µl | 0.2968 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80863 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.3477 | Restek | A075799 | Restek A075799: 80 µl | 0.2968 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | E | 0.036 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3477 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0243 | Restek | A075799 | Restek A075799: 50 µl | 0.1855 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0243 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.75472 | Restek | A075799 | Restek A075799: 50 µl | 0.1855 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75472 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.70081 | Restek | A075799 | Restek A075799: 20 µl | 0.0742 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70081 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.86253 | Restek | A075799 | Restek A075799: 50 µl | 0.1855 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86253 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89538 | 0.21292 | 0.92852 | 0.23314 | 0.17283
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.18 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.55556 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.072 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55556 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.55556 |  | 0.55556 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.20833 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.072 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20833 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.20833 |  | 0.20833 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.56667 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.3 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56667 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.56667 |  | 0.56667 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.15 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77778 | 0.07698 | 0.73333 | 0.13333 | 0.098839
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1.5 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77778 | 0.07698 | 0.73333 | 0.13333 | 0.098839
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.75 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77778 | 0.07698 | 0.73333 | 0.13333 | 0.098839
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.3 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93039 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.6234 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93039 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74567 | 0.13054 | 0.7079 | 0.12147 | 0.090047
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.7079 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.31078 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7079 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74567 | 0.13054 | 0.7079 | 0.12147 | 0.090047
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.69079 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.62248 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69079 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74567 | 0.13054 | 0.7079 | 0.12147 | 0.090047
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.81226 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.30778 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81226 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74567 | 0.13054 | 0.7079 | 0.12147 | 0.090047
3-METHYL-1(H)-INDOLE (SKATOLE) | 1433 | 62058GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.58704 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.3287 | 3-METHYL-1(H)-INDOLE_(SKATOLE) | . | 0.036 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58704 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74567 | 0.13054 | 0.7079 | 0.12147 | 0.090047