## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.77535 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.1006 | 4-CUMYLPHENOL | . | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77535 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77535 |  | 0.77535 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.79523 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1006 | 4-CUMYLPHENOL | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79523 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79523 |  | 0.79523 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.16 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.3 | 4-CUMYLPHENOL | . | 0.06 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.16 |  | 0.16 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.8112 | Accu | 210091144 | Accu 210091144: 50 µl | 0.24655 | 4-CUMYLPHENOL | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8112 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.77165 | Accu | 210091144 | Accu 210091144: 20 µl | 0.10108 | 4-CUMYLPHENOL | E | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77165 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 1.2025 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39916 | 4-CUMYLPHENOL | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2025 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 1.1128 | Accu | 210091144 | Accu 210091144: 20 µl | 0.098853 | 4-CUMYLPHENOL | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1128 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.97003 | Accu | 210091144 | Accu 210091144: 80 µl | 0.40205 | 4-CUMYLPHENOL | . | 0.06 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97003 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1.3 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1 | 4-CUMYLPHENOL | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.04 | Accu | 210091144 | Accu 210091144: 50 µl | 0.25 | 4-CUMYLPHENOL | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.99 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1 | 4-CUMYLPHENOL | . | 0.06 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.16 | Accu | 210091144 | Accu 210091144: 50 µl | 0.25 | 4-CUMYLPHENOL | . | 0.06 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1 | 4-CUMYLPHENOL | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | Accu | 210091144 | Accu 210091144: 80 µl | 0.4 | 4-CUMYLPHENOL | . | 0.06 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1 | 4-CUMYLPHENOL | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Accu | 210091144 | Accu 210091144: 80 µl | 0.4 | 4-CUMYLPHENOL | . | 0.06 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0272 | 0.16923 | 1.025 | 0.18997 | 0.14082
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2008-11-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.61165 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 3.139 | 4-CUMYLPHENOL | . | 0.1 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61165 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.54401 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.6728 | 4-CUMYLPHENOL | . | 0.1 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54401 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.5862 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.6581 | 4-CUMYLPHENOL | . | 0.1 | 0.972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5862 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.62181 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 3.2164 | 4-CUMYLPHENOL | . | 0.1 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62181 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-08-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.61381 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.5966 | 4-CUMYLPHENOL | . | 0.1 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61381 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.43473 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.5872 | 4-CUMYLPHENOL | . | 0.06 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43473 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.5687 | 0.071505 | 0.59893 | 0.069798 | 0.05174
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93439 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1006 | 4-CUMYLPHENOL | . | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93439 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93439 |  | 0.93439 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84661 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1004 | 4-CUMYLPHENOL | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84661 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84661 |  | 0.84661 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.73826 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.149 | 4-CUMYLPHENOL | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73826 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.55928 | 0.1689 | 0.53691 | 0.33557 | 0.24875
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.40268 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.745 | 4-CUMYLPHENOL | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40268 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.55928 | 0.1689 | 0.53691 | 0.33557 | 0.24875
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.53691 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.149 | 4-CUMYLPHENOL | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53691 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.55928 | 0.1689 | 0.53691 | 0.33557 | 0.24875
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.71141 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.745 | 4-CUMYLPHENOL | . | 0.06 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71141 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.71141 |  | 0.71141 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.43624 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.149 | 4-CUMYLPHENOL | . | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43624 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.5 | 0.090168 | 0.5 | 0.12752 | 0.094527
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.56376 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.745 | 4-CUMYLPHENOL | . | 0.06 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56376 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.5 | 0.090168 | 0.5 | 0.12752 | 0.094527
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.2349 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.49 | 4-CUMYLPHENOL | E | 0.06 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2349 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.2349 |  | 0.2349 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.1652 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 4-CUMYLPHENOL | . | 0.1 | 0.722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1652 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.77822 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 4-CUMYLPHENOL | . | 0.1 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77822 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0186 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 4-CUMYLPHENOL | . | 0.1 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0186 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.81192 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 4-CUMYLPHENOL | . | 0.1 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81192 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.66173 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 4-CUMYLPHENOL | . | 0.1 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66173 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.68402 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 4-CUMYLPHENOL | . | 0.1 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68402 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85328 | 0.19865 | 0.79507 | 0.33458 | 0.24802
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.75584 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 4-CUMYLPHENOL | . | 0.1 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75584 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.75584 |  | 0.75584 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | 4-CUMYLPHENOL | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.81568 | 0.14489 | 0.81568 | 0.20491 | 0.1519
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.71322 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | 4-CUMYLPHENOL | E | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71322 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81568 | 0.14489 | 0.81568 | 0.20491 | 0.1519
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1472 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | 4-CUMYLPHENOL | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1472 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0368 | 0.07362 | 1 | 0.07362 | 0.054574
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | 4-CUMYLPHENOL | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0368 | 0.07362 | 1 | 0.07362 | 0.054574
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 4-CUMYLPHENOL | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0368 | 0.07362 | 1 | 0.07362 | 0.054574
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | 4-CUMYLPHENOL | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0368 | 0.07362 | 1 | 0.07362 | 0.054574
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.081005 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.6048 | 4-CUMYLPHENOL | . | 0.1 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.081005 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.072245 | 0.010883 | 0.071997 | 0.018826 | 0.013956
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.082311 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.5794 | 4-CUMYLPHENOL | . | 0.1 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.082312 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.072245 | 0.010883 | 0.071997 | 0.018826 | 0.013956
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.062988 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.5717 | 4-CUMYLPHENOL | E | 0.1 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.062988 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.072245 | 0.010883 | 0.071997 | 0.018826 | 0.013956
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.062676 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 3.191 | 4-CUMYLPHENOL | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.062676 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.072245 | 0.010883 | 0.071997 | 0.018826 | 0.013956
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2008-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.59054 | Restek | A053259 | Restek A053259: 25 µl | 0.56389 | 4-CUMYLPHENOL | . | 0.1 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59054 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.59054 |  | 0.59054 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.45267 | Restek | A070024 | Restek A070024: 20 µl | 0.20766 | 4-CUMYLPHENOL | . | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45267 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64704 | 0.13694 | 0.68469 | 0.18383 | 0.13627
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.76611 | Restek | A070024 | Restek A070024: 10 µl | 0.10181 | 4-CUMYLPHENOL | . | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76611 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64704 | 0.13694 | 0.68469 | 0.18383 | 0.13627
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7118 | Restek | A070024 | Restek A070024: 80 µl | 0.82888 | 4-CUMYLPHENOL | . | 0.06 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7118 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64704 | 0.13694 | 0.68469 | 0.18383 | 0.13627
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.65759 | Restek | A070024 | Restek A070024: 40 µl | 0.41059 | 4-CUMYLPHENOL | . | 0.06 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65759 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64704 | 0.13694 | 0.68469 | 0.18383 | 0.13627
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.59309 | Restek | A075799 | Restek A075799: 50 µl | 0.25291 | 4-CUMYLPHENOL | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59309 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.86228 | Restek | A075799 | Restek A075799: 20 µl | 0.098576 | 4-CUMYLPHENOL | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86228 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.53354 | Restek | A075799 | Restek A075799: 80 µl | 0.3936 | 4-CUMYLPHENOL | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53354 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 1.0088 | Restek | A075799 | Restek A075799: 20 µl | 0.099129 | 4-CUMYLPHENOL | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.83703 | Restek | A075799 | Restek A075799: 50 µl | 0.25089 | 4-CUMYLPHENOL | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83703 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.96824 | Restek | A075799 | Restek A075799: 20 µl | 0.099149 | 4-CUMYLPHENOL | . | 0.06 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96824 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1113 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | 4-CUMYLPHENOL | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1113 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75773 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | 4-CUMYLPHENOL | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75773 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1619 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | 4-CUMYLPHENOL | E | 0.06 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1619 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.88907 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | 4-CUMYLPHENOL | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88907 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80824 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | 4-CUMYLPHENOL | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80824 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89917 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | 4-CUMYLPHENOL | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89917 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.92948 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | 4-CUMYLPHENOL | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92948 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.87383 | 0.17897 | 0.88907 | 0.16 | 0.11861
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.75547 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.2515 | 4-CUMYLPHENOL | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75547 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.75547 |  | 0.75547 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.53785 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1004 | 4-CUMYLPHENOL | . | 0.06 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53785 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.53785 |  | 0.53785 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.3 | 4-CUMYLPHENOL | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.15 | 4-CUMYLPHENOL | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.72444 | 0.13087 | 0.8 | 0.22667 | 0.16803
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1.5 | 4-CUMYLPHENOL | E | 0.06 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 |  | 3 | 0.72444 | 0.13087 | 0.8 | 0.22667 | 0.16803
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.57333 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.75 | 4-CUMYLPHENOL | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57333 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.72444 | 0.13087 | 0.8 | 0.22667 | 0.16803
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76667 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.3 | 4-CUMYLPHENOL | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76667 |  | 0.76667 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76693 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.1004 | 4-CUMYLPHENOL | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76693 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76693 |  | 0.76693 | 0 | 0
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.658 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.41034 | 4-CUMYLPHENOL | . | 0.06 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.658 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.62673 | 0.066788 | 0.6355 | 0.023433 | 0.01737
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.6355 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20456 | 4-CUMYLPHENOL | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6355 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.62673 | 0.066788 | 0.6355 | 0.023433 | 0.01737
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.63456 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.40973 | 4-CUMYLPHENOL | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63456 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.62673 | 0.066788 | 0.6355 | 0.023433 | 0.01737
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69105 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20259 | 4-CUMYLPHENOL | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69105 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.62673 | 0.066788 | 0.6355 | 0.023433 | 0.01737
4-CUMYLPHENOL | 1433 | 62060GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.51453 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87459 | 4-CUMYLPHENOL | . | 0.06 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51453 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.62673 | 0.066788 | 0.6355 | 0.023433 | 0.01737