## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.046 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 0.5 | 4-N-OCTYLPHENOL | E | 0.06 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.046 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.046 |  | 0.046 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.38 | Abs | 051112 | Abs 051112: 20 µl | 0.1 | 4-N-OCTYLPHENOL | E | 0.06 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38 | Abs 051112 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.38 |  | 0.38 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-01-08 | 2006-10-01 | 2009-02-28 | ug/L | 0.25277 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.93366 | 4-N-OCTYLPHENOL | . | 0.16 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25277 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-01-29 | 2006-10-01 | 2009-02-28 | ug/L | 0.29536 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.98184 | 4-N-OCTYLPHENOL | . | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29536 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-03-21 | 2009-03-01 | 2009-09-30 | ug/L | 0.40995 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.9515 | 4-N-OCTYLPHENOL | E | 0.16 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40995 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-05-28 | 2009-03-01 | 2009-09-30 | ug/L | 0.45589 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.92128 | 4-N-OCTYLPHENOL | E | 0.16 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45589 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-08-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.36589 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.8585 | 4-N-OCTYLPHENOL | E | 0.16 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36589 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.34575 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.92553 | 4-N-OCTYLPHENOL | E | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34575 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.35427 | 0.074035 | 0.35582 | 0.11459 | 0.084942
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.48374 | Accu | 210091144 | Accu 210091144: 50 µl | 0.53748 | 4-N-OCTYLPHENOL | E | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48374 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.26321 | Accu | 210091144 | Accu 210091144: 20 µl | 0.22036 | 4-N-OCTYLPHENOL | E | 0.06 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26321 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.41371 | Accu | 210091144 | Accu 210091144: 80 µl | 0.87017 | 4-N-OCTYLPHENOL | E | 0.06 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41371 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.55684 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2155 | 4-N-OCTYLPHENOL | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55684 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.57047 | Accu | 210091144 | Accu 210091144: 80 µl | 0.87647 | 4-N-OCTYLPHENOL | E | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57047 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.6422 | Accu | 210091144 | Accu 210091144: 20 µl | 0.218 | 4-N-OCTYLPHENOL | E | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6422 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.62385 | Accu | 210091144 | Accu 210091144: 50 µl | 0.545 | 4-N-OCTYLPHENOL | E | 0.06 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62385 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.50459 | Accu | 210091144 | Accu 210091144: 20 µl | 0.218 | 4-N-OCTYLPHENOL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50459 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.56881 | Accu | 210091144 | Accu 210091144: 50 µl | 0.545 | 4-N-OCTYLPHENOL | E | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56881 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.55046 | Accu | 210091144 | Accu 210091144: 20 µl | 0.218 | 4-N-OCTYLPHENOL | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55046 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.63073 | Accu | 210091144 | Accu 210091144: 80 µl | 0.872 | 4-N-OCTYLPHENOL | E | 0.06 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63073 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.43119 | Accu | 210091144 | Accu 210091144: 20 µl | 0.218 | 4-N-OCTYLPHENOL | E | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43119 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.67661 | Accu | 210091144 | Accu 210091144: 80 µl | 0.872 | 4-N-OCTYLPHENOL | E | 0.06 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67661 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.53203 | 0.11347 | 0.55684 | 0.14011 | 0.10386
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.58824 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0986 | 4-N-OCTYLPHENOL | E | 0.06 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58824 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Estimated Values | Y | 2 |  | 1 | 0.58824 |  | 0.58824 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.79108 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0986 | 4-N-OCTYLPHENOL | E | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79108 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.79108 |  | 0.79108 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.68966 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.2465 | 4-N-OCTYLPHENOL | E | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68966 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.68966 |  | 0.68966 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.44625 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0986 | 4-N-OCTYLPHENOL | E | 0.06 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44625 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.44625 |  | 0.44625 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.34 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | 4-N-OCTYLPHENOL | E | 0.06 | 0.017 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.31733 | 0.096028 | 0.34 | 0.188 | 0.13936
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.212 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.25 | 4-N-OCTYLPHENOL | E | 0.06 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.212 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.31733 | 0.096028 | 0.34 | 0.188 | 0.13936
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.4 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | 4-N-OCTYLPHENOL | E | 0.06 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.31733 | 0.096028 | 0.34 | 0.188 | 0.13936
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.11187 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.5006 | 4-N-OCTYLPHENOL | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11187 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.11187 |  | 0.11187 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-01-28 | 2006-10-01 | 2009-02-28 | ug/L | 0.058995 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.8646 | 4-N-OCTYLPHENOL | E | 0.16 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.058995 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-03-05 | 2009-03-01 | 2009-09-30 | ug/L | 0.36799 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.95111 | 4-N-OCTYLPHENOL | . | 0.16 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36799 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-04-23 | 2009-03-01 | 2009-09-30 | ug/L | 0.24358 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.94424 | 4-N-OCTYLPHENOL | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24358 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-07-02 | 2009-03-01 | 2009-09-30 | ug/L | 0.48545 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.92698 | 4-N-OCTYLPHENOL | E | 0.16 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48545 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-09-29 | 2009-03-01 | 2009-09-30 | ug/L | 0.41534 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.8298 | 4-N-OCTYLPHENOL | E | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41534 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.27088 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.92292 | 4-N-OCTYLPHENOL | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27088 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.30704 | 0.15109 | 0.31943 | 0.17176 | 0.12732
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-04-21 | 2006-10-01 | 2009-02-28 | ug/L | 0.93764 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | 4-N-OCTYLPHENOL | . | 0.16 | 0.581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93764 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-07-12 | 2006-10-01 | 2009-02-28 | ug/L | 0.67802 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | 4-N-OCTYLPHENOL | . | 0.16 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67802 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-09-17 | 2006-10-01 | 2009-02-28 | ug/L | 0.74697 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | 4-N-OCTYLPHENOL | . | 0.16 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74697 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-04-02 | 2009-03-01 | 2009-09-30 | ug/L | 0.5572 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | 4-N-OCTYLPHENOL | E | 0.16 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5572 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-05-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.3805 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | 4-N-OCTYLPHENOL | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3805 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-07-30 | 2009-03-01 | 2009-09-30 | ug/L | 0.5005 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | 4-N-OCTYLPHENOL | E | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5005 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.63347 | 0.19742 | 0.61761 | 0.24647 | 0.18271
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2009-03-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.5307 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | 4-N-OCTYLPHENOL | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53069 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.53069 |  | 0.53069 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68443 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | 4-N-OCTYLPHENOL | E | 0.16 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68443 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.62331 | 0.086437 | 0.62331 | 0.12224 | 0.090616
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.56219 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | 4-N-OCTYLPHENOL | E | 0.16 | 0.067 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56219 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.62331 | 0.086437 | 0.62331 | 0.12224 | 0.090616
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.82302 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | 4-N-OCTYLPHENOL | E | 0.06 | 0.033 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82302 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.73013 | 0.072478 | 0.71875 | 0.11276 | 0.083588
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.6875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | 4-N-OCTYLPHENOL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.73013 | 0.072478 | 0.71875 | 0.11276 | 0.083588
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.66 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | 4-N-OCTYLPHENOL | E | 0.06 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.73013 | 0.072478 | 0.71875 | 0.11276 | 0.083588
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | 4-N-OCTYLPHENOL | E | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.73013 | 0.072478 | 0.71875 | 0.11276 | 0.083588
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.34843 | Restek | A070024 | Restek A070024: 20 µl | 0.4018 | 4-N-OCTYLPHENOL | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34843 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.44693 | 0.09656 | 0.42972 | 0.11747 | 0.087079
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.43147 | Restek | A070024 | Restek A070024: 10 µl | 0.197 | 4-N-OCTYLPHENOL | E | 0.16 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43147 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.44693 | 0.09656 | 0.42972 | 0.11747 | 0.087079
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.57986 | Restek | A070024 | Restek A070024: 80 µl | 1.6038 | 4-N-OCTYLPHENOL | E | 0.16 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57986 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.44693 | 0.09656 | 0.42972 | 0.11747 | 0.087079
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.42796 | Restek | A070024 | Restek A070024: 40 µl | 0.79447 | 4-N-OCTYLPHENOL | E | 0.06 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42796 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.44693 | 0.09656 | 0.42972 | 0.11747 | 0.087079
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.35938 | Restek | A075799 | Restek A075799: 50 µl | 0.55652 | 4-N-OCTYLPHENOL | E | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35938 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.50712 | Restek | A075799 | Restek A075799: 20 µl | 0.21691 | 4-N-OCTYLPHENOL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50712 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.34638 | Restek | A075799 | Restek A075799: 80 µl | 0.86609 | 4-N-OCTYLPHENOL | E | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34638 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.68767 | Restek | A075799 | Restek A075799: 20 µl | 0.21813 | 4-N-OCTYLPHENOL | E | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68767 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.5253 | Restek | A075799 | Restek A075799: 50 µl | 0.55206 | 4-N-OCTYLPHENOL | E | 0.06 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5253 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.6417 | Restek | A075799 | Restek A075799: 20 µl | 0.21817 | 4-N-OCTYLPHENOL | E | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6417 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.68871 | Restek | A075799 | Restek A075799: 20 µl | 0.2178 | 4-N-OCTYLPHENOL | E | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68871 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.45914 | Restek | A075799 | Restek A075799: 80 µl | 0.8712 | 4-N-OCTYLPHENOL | E | 0.06 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45914 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8494 | Restek | A075799 | Restek A075799: 80 µl | 0.8712 | 4-N-OCTYLPHENOL | E | 0.06 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8494 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.5877 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | 4-N-OCTYLPHENOL | E | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5877 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.55096 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | 4-N-OCTYLPHENOL | E | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55096 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.64279 | Restek | A075799 | Restek A075799: 20 µl | 0.2178 | 4-N-OCTYLPHENOL | E | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64279 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.67952 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | 4-N-OCTYLPHENOL | E | 0.06 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67952 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.57891 | 0.14162 | 0.5877 | 0.1724 | 0.1278
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.73469 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.245 | 4-N-OCTYLPHENOL | E | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73469 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Estimated Values | Y | 2 |  | 1 | 0.73469 |  | 0.73469 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.42857 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.098 | 4-N-OCTYLPHENOL | E | 0.06 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42857 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.42857 |  | 0.42857 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.34694 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.098 | 4-N-OCTYLPHENOL | E | 0.06 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34694 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.34694 |  | 0.34694 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.4195 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.10012 | 4-N-OCTYLPHENOL | E | 0.06 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4195 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4195 |  | 0.4195 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.9189 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.05006 | 4-N-OCTYLPHENOL | E | 0.06 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9189 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.55267 | 0.32478 | 0.43947 | 0.61926 | 0.45905
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.29964 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.05006 | 4-N-OCTYLPHENOL | E | 0.06 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.29964 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.55267 | 0.32478 | 0.43947 | 0.61926 | 0.45905
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.43947 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.2503 | 4-N-OCTYLPHENOL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43947 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 3 | 0.55267 | 0.32478 | 0.43947 | 0.61926 | 0.45905
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.47942 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05006 | 4-N-OCTYLPHENOL | E | 0.06 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47942 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 |  | 1 | 0.47942 |  | 0.47942 | 0 | 0
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-03-31 | 2006-10-01 | 2009-02-28 | ug/L | 0.78846 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.4332 | 4-N-OCTYLPHENOL | . | 0.16 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-04-09 | 2006-10-01 | 2009-02-28 | ug/L | 0.5779 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.3653 | 4-N-OCTYLPHENOL | . | 0.16 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5779 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-04-21 | 2006-10-01 | 2009-02-28 | ug/L | 0.76869 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.366 | 4-N-OCTYLPHENOL | . | 0.16 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76869 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-06-03 | 2006-10-01 | 2009-02-28 | ug/L | 0.69571 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.3569 | 4-N-OCTYLPHENOL | . | 0.16 | 0.944 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69571 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-08-07 | 2006-10-01 | 2009-02-28 | ug/L | 0.55873 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.3602 | 4-N-OCTYLPHENOL | . | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55873 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-09-10 | 2006-10-01 | 2009-02-28 | ug/L | 0.67374 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.3447 | 4-N-OCTYLPHENOL | . | 0.16 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67374 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2008-09-24 | 2006-10-01 | 2009-02-28 | ug/L | 0.30186 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.345 | 4-N-OCTYLPHENOL | E | 0.16 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30186 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.62359 | 0.16621 | 0.67374 | 0.20995 | 0.15564
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.5296 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.79306 | 4-N-OCTYLPHENOL | E | 0.16 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5296 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42368 | 0.08828 | 0.45461 | 0.072187 | 0.053511
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.45528 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.39536 | 4-N-OCTYLPHENOL | E | 0.16 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45528 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42368 | 0.08828 | 0.45461 | 0.072187 | 0.053511
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.45461 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.79188 | 4-N-OCTYLPHENOL | E | 0.16 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45461 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42368 | 0.08828 | 0.45461 | 0.072187 | 0.053511
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.3831 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.39155 | 4-N-OCTYLPHENOL | E | 0.16 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3831 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42368 | 0.08828 | 0.45461 | 0.072187 | 0.053511
4-N-OCTYLPHENOL | 1433 | 62061GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.2958 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.6903 | 4-N-OCTYLPHENOL | E | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2958 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.42368 | 0.08828 | 0.45461 | 0.072187 | 0.053511