## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.58635 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 3.752 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58635 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.58635 |  | 0.58635 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.5914 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 3.72 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5914 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.5914 |  | 0.5914 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.23 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 10 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.23 |  | 0.23 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.52314 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9115 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52314 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5802 | 0.14191 | 0.52511 | 0.15734 | 0.11663
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.79064 | Accu | 209081217 | Accu 209081217: 40 µl | 3.9209 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79064 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5802 | 0.14191 | 0.52511 | 0.15734 | 0.11663
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.47992 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9378 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47992 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5802 | 0.14191 | 0.52511 | 0.15734 | 0.11663
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-09-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.52709 | Accu | 209081217 | Accu 209081217: 80 µl | 7.7786 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 4.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52709 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5802 | 0.14191 | 0.52511 | 0.15734 | 0.11663
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.46996 | Accu | 210091144 | Accu 210091144: 50 µl | 9.788 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46996 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.59949 | Accu | 210091144 | Accu 210091144: 80 µl | 15.8467 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 9.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59949 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.5351 | Accu | 210091144 | Accu 210091144: 20 µl | 3.9245 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5351 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.93977 | Accu | 210091144 | Accu 210091144: 80 µl | 15.9614 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93977 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.85642 | Accu | 210091144 | Accu 210091144: 20 µl | 3.97 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85642 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.0076 | Accu | 210091144 | Accu 210091144: 50 µl | 9.925 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0076 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.57935 | Accu | 210091144 | Accu 210091144: 20 µl | 3.97 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57935 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.87657 | Accu | 210091144 | Accu 210091144: 50 µl | 9.925 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 8.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87657 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.85642 | Accu | 210091144 | Accu 210091144: 20 µl | 3.97 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85642 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.88161 | Accu | 210091144 | Accu 210091144: 80 µl | 15.88 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88161 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.1864 | Accu | 210091144 | Accu 210091144: 20 µl | 3.97 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1864 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.75567 | Accu | 210091144 | Accu 210091144: 80 µl | 15.88 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75567 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.71203 | 0.24028 | 0.80605 | 0.32187 | 0.2386
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.63966 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 3.752 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63966 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.63966 |  | 0.63966 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.41935 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 9.3 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41935 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.41935 |  | 0.41935 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.46 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 5 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.46 |  | 0.46 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.15842 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 1.01 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15842 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 2 | 0.35644 | 0.28004 | 0.35644 | 0.39604 | 0.29358
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.55446 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 5.05 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55446 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.35644 | 0.28004 | 0.35644 | 0.39604 | 0.29358
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.78612 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.824 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.08 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78612 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.55445 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.8136 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.08 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55445 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-05-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.64299 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.7528 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.08 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64299 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.67508 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.7404 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.08 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67508 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-08-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.54464 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.7174 | 5-METHYL-1H-BENZOTRIAZOLE | . | 0.08 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54464 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-10-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.16658 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.7494 | 5-METHYL-1H-BENZOTRIAZOLE | E | 2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16658 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.56164 | 0.21274 | 0.59872 | 0.13044 | 0.096695
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69251 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.5089 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69251 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55585 | 0.10224 | 0.53073 | 0.15598 | 0.11563
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.48631 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 1.9329 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48631 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.55585 | 0.10224 | 0.53073 | 0.15598 | 0.11563
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.57516 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.825 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57516 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55585 | 0.10224 | 0.53073 | 0.15598 | 0.11563
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.4694 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.8347 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4694 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.55585 | 0.10224 | 0.53073 | 0.15598 | 0.11563
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.59406 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 5.05 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59406 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.59406 |  | 0.59406 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.84726 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 4.9571 | 5-METHYL-1H-BENZOTRIAZOLE | . | 0.08 | 4.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84726 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.65756 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 4.7904 | 5-METHYL-1H-BENZOTRIAZOLE | . | 0.08 | 3.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65756 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 0.6154 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 4.7123 | 5-METHYL-1H-BENZOTRIAZOLE | E | 0.08 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6154 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.7562 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 5.0251 | 5-METHYL-1H-BENZOTRIAZOLE | . | 2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7562 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.72377 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 4.8358 | 5-METHYL-1H-BENZOTRIAZOLE | . | 2 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72377 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.58392 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 4.7952 | 5-METHYL-1H-BENZOTRIAZOLE | . | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58392 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69735 | 0.097776 | 0.69067 | 0.1408 | 0.10437
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.60306 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 4.9746 | 5-METHYL-1H-BENZOTRIAZOLE | . | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60306 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.60306 |  | 0.60306 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.57383 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57383 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.54913 | 0.034936 | 0.54913 | 0.049406 | 0.036624
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.52443 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52443 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.54913 | 0.034936 | 0.54913 | 0.049406 | 0.036624
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.68585 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.44 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68585 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.67693 | 0.14393 | 0.64292 | 0.20699 | 0.15344
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.54688 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54688 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67693 | 0.14393 | 0.64292 | 0.20699 | 0.15344
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.6 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67693 | 0.14393 | 0.64292 | 0.20699 | 0.15344
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67693 | 0.14393 | 0.64292 | 0.20699 | 0.15344
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.47415 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.624 | 5-METHYL-1H-BENZOTRIAZOLE | E | 2 | 0.77 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47415 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.53222 | 0.14679 | 0.47415 | 0.12716 | 0.094265
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.59372 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.6169 | 5-METHYL-1H-BENZOTRIAZOLE | E | 2 | 0.96 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.59372 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.53222 | 0.14679 | 0.47415 | 0.12716 | 0.094265
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.75411 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.5913 | 5-METHYL-1H-BENZOTRIAZOLE | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75411 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.53222 | 0.14679 | 0.47415 | 0.12716 | 0.094265
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.37258 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.5836 | 5-METHYL-1H-BENZOTRIAZOLE | E | 2 | 0.59 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.37258 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.53222 | 0.14679 | 0.47415 | 0.12716 | 0.094265
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.46655 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 3.2151 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46655 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.53222 | 0.14679 | 0.47415 | 0.12716 | 0.094265
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.59297 | Restek | A075799 | Restek A075799: 50 µl | 10.1186 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59297 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.65926 | Restek | A075799 | Restek A075799: 20 µl | 3.9438 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65926 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.29212 | Restek | A075799 | Restek A075799: 80 µl | 15.7471 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29212 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.52951 | Restek | A075799 | Restek A075799: 20 µl | 3.9659 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52951 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.93649 | Restek | A075799 | Restek A075799: 50 µl | 10.0375 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 9.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93649 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.80671 | Restek | A075799 | Restek A075799: 20 µl | 3.9667 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80671 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.9596 | Restek | A075799 | Restek A075799: 20 µl | 3.96 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.56187 | Restek | A075799 | Restek A075799: 80 µl | 15.84 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 8.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56187 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.94697 | Restek | A075799 | Restek A075799: 80 µl | 15.84 | 5-METHYL-1H-BENZOTRIAZOLE | E | 1.2 | 15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94697 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.94949 | Restek | A075799 | Restek A075799: 50 µl | 9.9 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 9.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.38384 | Restek | A075799 | Restek A075799: 50 µl | 9.9 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38384 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.35354 | Restek | A075799 | Restek A075799: 20 µl | 3.96 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35354 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.55556 | Restek | A075799 | Restek A075799: 50 µl | 9.9 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 5.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55556 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.65599 | 0.24174 | 0.59297 | 0.40698 | 0.30169
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.32258 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 3.72 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32258 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.32258 |  | 0.32258 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.44 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 2 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.44 |  | 0.44 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.29703 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 1.01 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.3 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.29703 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 3 | 0.41584 | 0.15717 | 0.35644 | 0.29703 | 0.22019
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.59406 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 10.1 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59406 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.41584 | 0.15717 | 0.35644 | 0.29703 | 0.22019
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.35644 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 5.05 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35644 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.41584 | 0.15717 | 0.35644 | 0.29703 | 0.22019
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.42 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.42 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.42 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.40667 | 0.041633 | 0.42 | 0.08 | 0.059303
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.36 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 1 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.36 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.36 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.40667 | 0.041633 | 0.42 | 0.08 | 0.059303
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.44 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 5 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.40667 | 0.041633 | 0.42 | 0.08 | 0.059303
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.15842 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 1.01 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15842 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 1 | 0.15842 |  | 0.15842 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.18124 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 3.752 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18124 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.18124 |  | 0.18124 | 0 | 0
5-METHYL-1H-BENZOTRIAZOLE | 1433 | 62063GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.82473 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 9.3 | 5-METHYL-1H-BENZOTRIAZOLE | . | 1.2 | 7.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82473 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82473 |  | 0.82473 | 0 | 0