## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOPHENONE | 1433 | 62064GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.93054 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.6018 | ACETOPHENONE | . | 0.4 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93054 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93054 |  | 0.93054 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.9736 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.606 | ACETOPHENONE | . | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9736 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9736 |  | 0.9736 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92961 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.506 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92961 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92961 |  | 0.92961 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.91619 | Accu | 209081217 | Accu 209081217: 20 µl | 0.41476 | ACETOPHENONE | E | 0.4 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91619 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.94174 | 0.091775 | 0.94565 | 0.13779 | 0.10215
ACETOPHENONE | 1433 | 62064GCM37 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.0462 | Accu | 209081217 | Accu 209081217: 40 µl | 0.85074 | ACETOPHENONE | . | 0.4 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0462 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94174 | 0.091775 | 0.94565 | 0.13779 | 0.10215
ACETOPHENONE | 1433 | 62064GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.97512 | Accu | 209081217 | Accu 209081217: 20 µl | 0.42046 | ACETOPHENONE | . | 0.4 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97512 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94174 | 0.091775 | 0.94565 | 0.13779 | 0.10215
ACETOPHENONE | 1433 | 62064GCM37 | 2010-09-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.8295 | Accu | 209081217 | Accu 209081217: 80 µl | 1.6878 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8295 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94174 | 0.091775 | 0.94565 | 0.13779 | 0.10215
ACETOPHENONE | 1433 | 62064GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.81632 | Accu | 210091144 | Accu 210091144: 50 µl | 3.675 | ACETOPHENONE | . | 0.4 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81632 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79643 | Accu | 210091144 | Accu 210091144: 20 µl | 1.5067 | ACETOPHENONE | E | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79643 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.89077 | Accu | 210091144 | Accu 210091144: 80 µl | 5.9499 | ACETOPHENONE | . | 0.4 | 5.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89077 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.95011 | Accu | 210091144 | Accu 210091144: 20 µl | 1.4735 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95011 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.851 | Accu | 210091144 | Accu 210091144: 80 µl | 5.993 | ACETOPHENONE | . | 0.4 | 5.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.851 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.87213 | Accu | 210091144 | Accu 210091144: 20 µl | 1.4906 | ACETOPHENONE | . | 0.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87213 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.83188 | Accu | 210091144 | Accu 210091144: 50 µl | 3.7265 | ACETOPHENONE | . | 0.4 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83188 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.93922 | Accu | 210091144 | Accu 210091144: 20 µl | 1.4906 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93922 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0466 | Accu | 210091144 | Accu 210091144: 50 µl | 3.7265 | ACETOPHENONE | . | 0.4 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0466 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.93922 | Accu | 210091144 | Accu 210091144: 20 µl | 1.4906 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93922 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.90568 | Accu | 210091144 | Accu 210091144: 80 µl | 5.9624 | ACETOPHENONE | . | 0.4 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90568 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93922 | Accu | 210091144 | Accu 210091144: 20 µl | 1.4906 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93922 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0063 | Accu | 210091144 | Accu 210091144: 80 µl | 5.9624 | ACETOPHENONE | . | 0.4 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90653 | 0.073608 | 0.90568 | 0.088221 | 0.065397
ACETOPHENONE | 1433 | 62064GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.94716 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.6018 | ACETOPHENONE | . | 0.4 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94716 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94716 |  | 0.94716 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92409 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.515 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92409 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92409 |  | 0.92409 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84993 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.753 | ACETOPHENONE | . | 0.4 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84993 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84993 |  | 0.84993 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0526 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.76 | ACETOPHENONE | . | 0.4 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0526 |  | 1.0526 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.7793 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.2832 | ACETOPHENONE | E | 0.4 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7793 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.1129 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.6739 | ACETOPHENONE | E | 0.4 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1129 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.0386 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.68361 | ACETOPHENONE | . | 0.4 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0386 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.90942 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.63777 | ACETOPHENONE | . | 0.4 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90942 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2009-08-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.94134 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.63739 | ACETOPHENONE | . | 0.4 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94134 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.94453 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.2705 | ACETOPHENONE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94453 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95435 | 0.11417 | 0.94294 | 0.12918 | 0.095756
ACETOPHENONE | 1433 | 62064GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84837 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.6502 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84837 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84571 | 0.043803 | 0.85969 | 0.059886 | 0.044393
ACETOPHENONE | 1433 | 62064GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.871 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.4248 | ACETOPHENONE | E | 0.4 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.871 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84571 | 0.043803 | 0.85969 | 0.059886 | 0.044393
ACETOPHENONE | 1433 | 62064GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.8803 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.84062 | ACETOPHENONE | . | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8803 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84571 | 0.043803 | 0.85969 | 0.059886 | 0.044393
ACETOPHENONE | 1433 | 62064GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.78316 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.84274 | ACETOPHENONE | . | 0.4 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78316 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84571 | 0.043803 | 0.85969 | 0.059886 | 0.044393
ACETOPHENONE | 1433 | 62064GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.88158 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 0.76 | ACETOPHENONE | . | 0.4 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88158 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88158 |  | 0.88158 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2008-04-21 | 2008-03-01 | 2008-09-30 | ug/L | 1.2749 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ACETOPHENONE | . | 0.4 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2749 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0632 | 0.1474 | 1.0134 | 0.19932 | 0.14775
ACETOPHENONE | 1433 | 62064GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.0507 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ACETOPHENONE | . | 0.4 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0507 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0632 | 0.1474 | 1.0134 | 0.19932 | 0.14775
ACETOPHENONE | 1433 | 62064GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.97606 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ACETOPHENONE | E | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97606 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0632 | 0.1474 | 1.0134 | 0.19932 | 0.14775
ACETOPHENONE | 1433 | 62064GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.95095 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ACETOPHENONE | . | 0.4 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95095 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0632 | 0.1474 | 1.0134 | 0.19932 | 0.14775
ACETOPHENONE | 1433 | 62064GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.88449 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ACETOPHENONE | E | 0.4 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88449 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.88449 |  | 0.88449 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0851 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | ACETOPHENONE | . | 0.4 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0851 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.90963 | 0.2481 | 0.90963 | 0.35087 | 0.2601
ACETOPHENONE | 1433 | 62064GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.7342 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | ACETOPHENONE | E | 0.4 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7342 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.90963 | 0.2481 | 0.90963 | 0.35087 | 0.2601
ACETOPHENONE | 1433 | 62064GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.95313 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | ACETOPHENONE | . | 0.4 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95312 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.076 | 0.12344 | 1.075 | 0.24687 | 0.18301
ACETOPHENONE | 1433 | 62064GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | ACETOPHENONE | . | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.076 | 0.12344 | 1.075 | 0.24687 | 0.18301
ACETOPHENONE | 1433 | 62064GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.075 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | ACETOPHENONE | . | 0.4 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.076 | 0.12344 | 1.075 | 0.24687 | 0.18301
ACETOPHENONE | 1433 | 62064GCM37 | 2008-02-27 | 2006-10-01 | 2008-02-29 | ug/L | 0.79438 | Restek | A053259 | Restek A053259: 25 µl | 0.94413 | ACETOPHENONE | . | 0.1 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79438 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.79438 |  | 0.79438 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.81698 | Restek | A075799 | Restek A075799: 50 µl | 3.7945 | ACETOPHENONE | . | 0.4 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81698 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.94663 | Restek | A075799 | Restek A075799: 20 µl | 1.4789 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94663 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.57577 | Restek | A075799 | Restek A075799: 80 µl | 5.9052 | ACETOPHENONE | . | 0.4 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57577 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.94135 | Restek | A075799 | Restek A075799: 20 µl | 1.4872 | ACETOPHENONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94135 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.90328 | Restek | A075799 | Restek A075799: 50 µl | 3.7641 | ACETOPHENONE | . | 0.4 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90328 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.80671 | Restek | A075799 | Restek A075799: 20 µl | 1.4875 | ACETOPHENONE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80671 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0101 | Restek | A075799 | Restek A075799: 20 µl | 1.485 | ACETOPHENONE | . | 0.4 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Restek | A075799 | Restek A075799: 80 µl | 5.94 | ACETOPHENONE | . | 0.4 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.2626 | Restek | A075799 | Restek A075799: 80 µl | 5.94 | ACETOPHENONE | E | 0.4 | 7.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2626 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.9697 | Restek | A075799 | Restek A075799: 50 µl | 3.7125 | ACETOPHENONE | . | 0.4 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9697 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.83502 | Restek | A075799 | Restek A075799: 50 µl | 3.7125 | ACETOPHENONE | . | 0.4 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83502 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87542 | Restek | A075799 | Restek A075799: 20 µl | 1.485 | ACETOPHENONE | . | 0.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Restek | A075799 | Restek A075799: 50 µl | 3.7125 | ACETOPHENONE | . | 0.4 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89154 | 0.15743 | 0.88889 | 0.12965 | 0.096105
ACETOPHENONE | 1433 | 62064GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.94059 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.606 | ACETOPHENONE | . | 0.4 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94059 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94059 |  | 0.94059 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.96282 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.3012 | ACETOPHENONE | . | 0.4 | 0.29 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96282 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 1 | 0.96282 |  | 0.96282 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.85526 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1.52 | ACETOPHENONE | . | 0.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84211 | 0.018608 | 0.84211 | 0.026316 | 0.019508
ACETOPHENONE | 1433 | 62064GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.82895 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.76 | ACETOPHENONE | . | 0.4 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82895 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84211 | 0.018608 | 0.84211 | 0.026316 | 0.019508
ACETOPHENONE | 1433 | 62064GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0359 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.753 | ACETOPHENONE | . | 0.4 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0359 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0359 |  | 1.0359 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86407 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.6018 | ACETOPHENONE | . | 0.4 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86407 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86407 |  | 0.86407 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.9505 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.515 | ACETOPHENONE | . | 0.4 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9505 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9505 |  | 0.9505 | 0 | 0
ACETOPHENONE | 1433 | 62064GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.74175 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.6606 | ACETOPHENONE | E | 0.4 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74175 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.97583 | 0.16236 | 0.94913 | 0.12645 | 0.093734
ACETOPHENONE | 1433 | 62064GCM37 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.94286 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.63636 | ACETOPHENONE | . | 0.4 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94286 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97583 | 0.16236 | 0.94913 | 0.12645 | 0.093734
ACETOPHENONE | 1433 | 62064GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.94913 | Supelco | LB60966 | Supelco LB60966: 40 µl | 1.2643 | ACETOPHENONE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94913 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97583 | 0.16236 | 0.94913 | 0.12645 | 0.093734
ACETOPHENONE | 1433 | 62064GCM37 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0693 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.62658 | ACETOPHENONE | . | 0.4 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0693 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97583 | 0.16236 | 0.94913 | 0.12645 | 0.093734
ACETOPHENONE | 1433 | 62064GCM37 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.1761 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.6292 | ACETOPHENONE | . | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1761 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97583 | 0.16236 | 0.94913 | 0.12645 | 0.093734