## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.51 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.1 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.51 |  | 0.51 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.075 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.075 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.85333 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1875 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85333 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85333 |  | 0.85333 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.075 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.84 | 0.12 | 0.84 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.25 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.84 | 0.12 | 0.84 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.84 | 0.12 | 0.84 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.25 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.62 | 0.084853 | 0.62 | 0.12 | 0.088955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.25 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.62 | 0.084853 | 0.62 | 0.12 | 0.088955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.5 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-03-31 | 2006-04-01 | 2009-09-30 | ug/L | 0.73828 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.2078 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73828 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.68645 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.1997 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68645 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-05-20 | 2006-04-01 | 2009-09-30 | ug/L | 0.75738 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.1522 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75738 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-06-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.65811 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.1425 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65811 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-08-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.71075 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.1245 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71075 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-10-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.63268 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.1496 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63268 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69728 | 0.047536 | 0.6986 | 0.080167 | 0.059427
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-01-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.58188 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 2.406 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58188 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-03-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.7281 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.2636 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7281 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-03-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.76456 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.2818 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76456 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-06-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.72754 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.1958 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72754 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-08-26 | 2006-04-01 | 2009-09-30 | ug/L | 0.67777 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.1951 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67777 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.62969 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 2.3821 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62969 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68492 | 0.068912 | 0.70265 | 0.098416 | 0.072955
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72371 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.9345 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72371 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61788 | 0.075022 | 0.60059 | 0.090411 | 0.067021
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.60245 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.49797 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60245 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61788 | 0.075022 | 0.60059 | 0.090411 | 0.067021
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.59873 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.98542 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59873 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61788 | 0.075022 | 0.60059 | 0.090411 | 0.067021
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.54661 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.9879 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54661 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.61788 | 0.075022 | 0.60059 | 0.090411 | 0.067021
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-04-21 | 2006-04-01 | 2009-09-30 | ug/L | 1.0571 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0571 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-07-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.72812 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.5 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72812 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2008-09-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.91674 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.5 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91674 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-04-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.78008 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.5 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78008 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-05-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.79408 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.5 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79408 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.71738 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.5 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71738 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83224 | 0.13107 | 0.78708 | 0.18862 | 0.13982
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2009-03-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.62718 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.5 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62718 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.62718 |  | 0.62718 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.75297 | 0.11554 | 0.75297 | 0.1634 | 0.12113
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67127 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | E | 0.028 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67127 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.75297 | 0.11554 | 0.75297 | 0.1634 | 0.12113
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1348 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1348 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1868 | 0.12243 | 1.1674 | 0.17637 | 0.13074
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1.0625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1868 | 0.12243 | 1.1674 | 0.17637 | 0.13074
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.35 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.35 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1868 | 0.12243 | 1.1674 | 0.17637 | 0.13074
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1868 | 0.12243 | 1.1674 | 0.17637 | 0.13074
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.97297 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.185 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97297 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.97297 |  | 0.97297 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.74324 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.074 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74324 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.74324 |  | 0.74324 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91892 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.074 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91892 |  | 0.91892 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.05 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.1 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82 |  | 0.82 | 0 | 0
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.12858 | 0.72 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 0.5 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.12858 | 0.72 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.25 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.12858 | 0.72 | 0.24 | 0.17791
ACETYL HEXAMETHYL TETRAHYDRONAPHTHALENE (AHTN) | 1433 | 62065GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.1 | ACETYL_HEXAMETHYL_TETRAHYDRONAPHTHALENE_(AHTN) | . | 0.028 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2 |  | 1.2 | 0 | 0