## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRACENE | 1433 | 34221GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.48 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.1 | ANTHRACENE | . | 0.01 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.48 |  | 0.48 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.69136 | Accu | 210091144 | Accu 210091144: 50 µl | 0.17357 | ANTHRACENE | . | 0.01 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69136 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.50589 | Accu | 210091144 | Accu 210091144: 20 µl | 0.071161 | ANTHRACENE | E | 0.01 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50589 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.78289 | Accu | 210091144 | Accu 210091144: 80 µl | 0.28101 | ANTHRACENE | . | 0.01 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78289 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.84779 | Accu | 210091144 | Accu 210091144: 20 µl | 0.069593 | ANTHRACENE | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84779 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.77727 | Accu | 210091144 | Accu 210091144: 80 µl | 0.28304 | ANTHRACENE | . | 0.01 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77727 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.85227 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0704 | ANTHRACENE | . | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.68182 | Accu | 210091144 | Accu 210091144: 50 µl | 0.176 | ANTHRACENE | . | 0.01 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68182 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.75284 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0704 | ANTHRACENE | . | 0.01 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75284 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.79545 | Accu | 210091144 | Accu 210091144: 50 µl | 0.176 | ANTHRACENE | . | 0.01 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79545 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.79545 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0704 | ANTHRACENE | . | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79545 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.81676 | Accu | 210091144 | Accu 210091144: 80 µl | 0.2816 | ANTHRACENE | . | 0.01 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81676 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.56818 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0704 | ANTHRACENE | . | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56818 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.85227 | Accu | 210091144 | Accu 210091144: 80 µl | 0.2816 | ANTHRACENE | . | 0.01 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74771 | 0.10862 | 0.78289 | 0.1254 | 0.092956
ANTHRACENE | 1433 | 34221GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.82475 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.0937 | ANTHRACENE | . | 0.04 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82475 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.68633 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.58281 | ANTHRACENE | . | 0.04 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68633 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.80317 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.57771 | ANTHRACENE | . | 0.04 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80317 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.83881 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.1206 | ANTHRACENE | . | 0.04 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83881 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.77301 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.55627 | ANTHRACENE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77301 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.66908 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.553 | ANTHRACENE | . | 0.028 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66908 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76586 | 0.072005 | 0.78809 | 0.13841 | 0.1026
ANTHRACENE | 1433 | 34221GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.62862 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.4136 | ANTHRACENE | . | 0.028 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62862 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6756 | 0.039347 | 0.67526 | 0.056439 | 0.041838
ANTHRACENE | 1433 | 34221GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.68438 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.84748 | ANTHRACENE | . | 0.028 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68438 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6756 | 0.039347 | 0.67526 | 0.056439 | 0.041838
ANTHRACENE | 1433 | 34221GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.66614 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.21017 | ANTHRACENE | . | 0.028 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66614 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6756 | 0.039347 | 0.67526 | 0.056439 | 0.041838
ANTHRACENE | 1433 | 34221GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.72326 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.2074 | ANTHRACENE | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72326 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6756 | 0.039347 | 0.67526 | 0.056439 | 0.041838
ANTHRACENE | 1433 | 34221GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0345 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0348 | ANTHRACENE | . | 0.01 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0345 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0345 |  | 1.0345 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.91954 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0348 | ANTHRACENE | . | 0.01 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91954 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91954 |  | 0.91954 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91954 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.087 | ANTHRACENE | . | 0.01 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91954 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91954 |  | 0.91954 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94828 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0348 | ANTHRACENE | . | 0.01 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94828 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94828 |  | 0.94828 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | ANTHRACENE | . | 0.01 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7 | 0.087178 | 0.74 | 0.16 | 0.11861
ANTHRACENE | 1433 | 34221GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.25 | ANTHRACENE | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7 | 0.087178 | 0.74 | 0.16 | 0.11861
ANTHRACENE | 1433 | 34221GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | ANTHRACENE | . | 0.01 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7 | 0.087178 | 0.74 | 0.16 | 0.11861
ANTHRACENE | 1433 | 34221GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.25 | ANTHRACENE | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05 | ANTHRACENE | . | 0.01 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72 | 0.056569 | 0.72 | 0.08 | 0.059303
ANTHRACENE | 1433 | 34221GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.25 | ANTHRACENE | . | 0.01 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72 | 0.056569 | 0.72 | 0.08 | 0.059303
ANTHRACENE | 1433 | 34221GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.5 | ANTHRACENE | . | 0.01 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.75589 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.21167 | ANTHRACENE | . | 0.028 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75589 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66626 | 0.084942 | 0.68468 | 0.13233 | 0.098097
ANTHRACENE | 1433 | 34221GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73257 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.20476 | ANTHRACENE | . | 0.028 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73257 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66626 | 0.084942 | 0.68468 | 0.13233 | 0.098097
ANTHRACENE | 1433 | 34221GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.60024 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.4165 | ANTHRACENE | . | 0.028 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60024 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66626 | 0.084942 | 0.68468 | 0.13233 | 0.098097
ANTHRACENE | 1433 | 34221GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.68468 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.83251 | ANTHRACENE | . | 0.028 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68468 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66626 | 0.084942 | 0.68468 | 0.13233 | 0.098097
ANTHRACENE | 1433 | 34221GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.55794 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.43015 | ANTHRACENE | . | 0.028 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55794 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66626 | 0.084942 | 0.68468 | 0.13233 | 0.098097
ANTHRACENE | 1433 | 34221GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.91988 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ANTHRACENE | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91988 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.84836 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ANTHRACENE | . | 0.08 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84836 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.81488 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ANTHRACENE | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81488 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.76416 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ANTHRACENE | . | 0.04 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76416 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69482 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ANTHRACENE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69482 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.63397 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ANTHRACENE | . | 0.04 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63397 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77935 | 0.1042 | 0.78952 | 0.15354 | 0.11382
ANTHRACENE | 1433 | 34221GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69151 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ANTHRACENE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69151 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.69151 |  | 0.69151 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0016 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | ANTHRACENE | . | 0.028 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.80707 | 0.27511 | 0.80707 | 0.38907 | 0.28841
ANTHRACENE | 1433 | 34221GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.61253 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | ANTHRACENE | E | 0.028 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61253 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.80707 | 0.27511 | 0.80707 | 0.38907 | 0.28841
ANTHRACENE | 1433 | 34221GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.9976 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | ANTHRACENE | . | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9976 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92503 | 0.081603 | 0.945 | 0.11755 | 0.087139
ANTHRACENE | 1433 | 34221GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.8125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | ANTHRACENE | . | 0.01 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92503 | 0.081603 | 0.945 | 0.11755 | 0.087139
ANTHRACENE | 1433 | 34221GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.97 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | ANTHRACENE | . | 0.01 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92503 | 0.081603 | 0.945 | 0.11755 | 0.087139
ANTHRACENE | 1433 | 34221GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | ANTHRACENE | . | 0.01 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92503 | 0.081603 | 0.945 | 0.11755 | 0.087139
ANTHRACENE | 1433 | 34221GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.58834 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.5609 | ANTHRACENE | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58834 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55354 | 0.06766 | 0.58224 | 0.075032 | 0.055621
ANTHRACENE | 1433 | 34221GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.62671 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.55847 | ANTHRACENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62671 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55354 | 0.06766 | 0.58224 | 0.075032 | 0.055621
ANTHRACENE | 1433 | 34221GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.58224 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.5496 | ANTHRACENE | . | 0.04 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58224 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55354 | 0.06766 | 0.58224 | 0.075032 | 0.055621
ANTHRACENE | 1433 | 34221GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.45708 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.54694 | ANTHRACENE | . | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45708 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55354 | 0.06766 | 0.58224 | 0.075032 | 0.055621
ANTHRACENE | 1433 | 34221GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.51331 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 1.1104 | ANTHRACENE | . | 0.028 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51331 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55354 | 0.06766 | 0.58224 | 0.075032 | 0.055621
ANTHRACENE | 1433 | 34221GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.58085 | Restek | A053259 | Restek A053259: 25 µl | 2.1004 | ANTHRACENE | . | 0.08 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58085 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.58085 |  | 0.58085 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.78949 | Restek | A075799 | Restek A075799: 50 µl | 0.17733 | ANTHRACENE | . | 0.01 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78949 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.95491 | Restek | A075799 | Restek A075799: 20 µl | 0.069117 | ANTHRACENE | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95491 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.47106 | Restek | A075799 | Restek A075799: 80 µl | 0.27597 | ANTHRACENE | . | 0.01 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47106 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.84887 | Restek | A075799 | Restek A075799: 20 µl | 0.069504 | ANTHRACENE | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84887 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.79586 | Restek | A075799 | Restek A075799: 50 µl | 0.17591 | ANTHRACENE | . | 0.01 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79586 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.83431 | Restek | A075799 | Restek A075799: 20 µl | 0.069518 | ANTHRACENE | . | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83431 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.96542 | Restek | A075799 | Restek A075799: 20 µl | 0.0694 | ANTHRACENE | . | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96542 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.64841 | Restek | A075799 | Restek A075799: 80 µl | 0.2776 | ANTHRACENE | . | 0.01 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64841 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1888 | Restek | A075799 | Restek A075799: 80 µl | 0.2776 | ANTHRACENE | E | 0.01 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1888 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.86455 | Restek | A075799 | Restek A075799: 50 µl | 0.1735 | ANTHRACENE | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86455 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.69164 | Restek | A075799 | Restek A075799: 50 µl | 0.1735 | ANTHRACENE | . | 0.01 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69164 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72046 | Restek | A075799 | Restek A075799: 20 µl | 0.0694 | ANTHRACENE | . | 0.01 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72046 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.80692 | Restek | A075799 | Restek A075799: 50 µl | 0.1735 | ANTHRACENE | . | 0.01 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80692 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8139 | 0.17252 | 0.80692 | 0.14409 | 0.10681
ANTHRACENE | 1433 | 34221GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91765 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.085 | ANTHRACENE | . | 0.01 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91765 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.91765 |  | 0.91765 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.55882 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.034 | ANTHRACENE | . | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55882 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.55882 |  | 0.55882 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.52941 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.034 | ANTHRACENE | . | 0.01 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52941 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.52941 |  | 0.52941 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.28 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.05 | ANTHRACENE | . | 0.01 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.28 |  | 0.28 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.1 | ANTHRACENE | . | 0.01 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78 |  | 0.78 | 0 | 0
ANTHRACENE | 1433 | 34221GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05 | ANTHRACENE | . | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.14048 | 0.76 | 0.28 | 0.20756
ANTHRACENE | 1433 | 34221GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 0.5 | ANTHRACENE | . | 0.01 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.14048 | 0.76 | 0.28 | 0.20756
ANTHRACENE | 1433 | 34221GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.25 | ANTHRACENE | . | 0.01 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.77333 | 0.14048 | 0.76 | 0.28 | 0.20756
ANTHRACENE | 1433 | 34221GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.1 | ANTHRACENE | . | 0.01 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82 |  | 0.82 | 0 | 0