## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.66372 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66372 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.66372 |  | 0.66372 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.73892 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73892 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.73892 |  | 0.73892 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.7947 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.51 | ANTHRAQUINONE | E | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7947 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.7947 |  | 0.7947 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.76159 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.302 | ANTHRAQUINONE | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76159 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Estimated Values | Y | 2 |  | 1 | 0.76159 |  | 0.76159 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.82781 | Abs | 051112 | Abs 051112: 20 µl | 0.302 | ANTHRAQUINONE | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82781 | Abs 051112 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.82781 |  | 0.82781 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-01-08 | 2006-10-01 | 2009-02-28 | ug/L | 1.0092 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.1305 | ANTHRAQUINONE | . | 0.16 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0092 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-01-29 | 2006-10-01 | 2009-02-28 | ug/L | 0.8302 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.2404 | ANTHRAQUINONE | . | 0.16 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8302 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-03-21 | 2009-03-01 | 2009-09-30 | ug/L | 0.51651 | Abs | 080508WW | Abs 080508WW: 40 µl | 4.4529 | ANTHRAQUINONE | E | 0.16 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51651 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-05-28 | 2009-03-01 | 2009-09-30 | ug/L | 0.7611 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.1022 | ANTHRAQUINONE | E | 0.16 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7611 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-08-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.80173 | Abs | 080508WW | Abs 080508WW: 40 µl | 4.2408 | ANTHRAQUINONE | E | 0.16 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80173 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.75761 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.1119 | ANTHRAQUINONE | E | 0.16 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75761 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.77939 | 0.15861 | 0.78142 | 0.072596 | 0.053814
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.9107 | Accu | 210091144 | Accu 210091144: 50 µl | 0.7357 | ANTHRAQUINONE | E | 0.16 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9107 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.86199 | Accu | 210091144 | Accu 210091144: 20 µl | 0.30163 | ANTHRAQUINONE | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86199 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.92352 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1911 | ANTHRAQUINONE | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92352 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.91532 | Accu | 210091144 | Accu 210091144: 20 µl | 0.29498 | ANTHRAQUINONE | E | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91532 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.91688 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1997 | ANTHRAQUINONE | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91688 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1.0389 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0389 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.87131 | Accu | 210091144 | Accu 210091144: 50 µl | 0.746 | ANTHRAQUINONE | E | 0.16 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87131 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.80429 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80429 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.92493 | Accu | 210091144 | Accu 210091144: 50 µl | 0.746 | ANTHRAQUINONE | E | 0.16 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92493 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97185 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97185 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.8378 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1936 | ANTHRAQUINONE | E | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8378 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93834 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2984 | ANTHRAQUINONE | E | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93834 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0054 | Accu | 210091144 | Accu 210091144: 80 µl | 1.1936 | ANTHRAQUINONE | E | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0054 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.91701 | 0.064783 | 0.91688 | 0.067024 | 0.049684
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.71288 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71288 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.71288 |  | 0.71288 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.66995 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.015 | ANTHRAQUINONE | E | 0.16 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66995 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.66995 |  | 0.66995 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0596 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0596 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.66225 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.755 | ANTHRAQUINONE | E | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66225 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.92715 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92715 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 1 |  | 3 | 0.883 | 0.20232 | 0.92715 | 0.39735 | 0.29455
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93396 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.499 | ANTHRAQUINONE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93396 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93396 |  | 0.93396 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-01-28 | 2006-10-01 | 2009-02-28 | ug/L | 0.8532 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 4.2194 | ANTHRAQUINONE | E | 0.16 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8532 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-03-05 | 2009-03-01 | 2009-09-30 | ug/L | 0.69693 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.1523 | ANTHRAQUINONE | E | 0.16 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69693 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-04-23 | 2009-03-01 | 2009-09-30 | ug/L | 0.7956 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.1368 | ANTHRAQUINONE | E | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7956 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-07-02 | 2009-03-01 | 2009-09-30 | ug/L | 0.85809 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.0977 | ANTHRAQUINONE | E | 0.16 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85809 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-09-29 | 2009-03-01 | 2009-09-30 | ug/L | 0.79695 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 4.1408 | ANTHRAQUINONE | E | 0.16 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79695 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.81398 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.0885 | ANTHRAQUINONE | E | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81398 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80246 | 0.058336 | 0.80546 | 0.0576 | 0.042698
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-04-21 | 2006-10-01 | 2009-02-28 | ug/L | 1.1571 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ANTHRAQUINONE | . | 0.16 | 0.717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1571 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-07-12 | 2006-10-01 | 2009-02-28 | ug/L | 0.99365 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ANTHRAQUINONE | . | 0.16 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99365 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-09-17 | 2006-10-01 | 2009-02-28 | ug/L | 0.91674 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ANTHRAQUINONE | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91674 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-04-02 | 2009-03-01 | 2009-09-30 | ug/L | 0.84376 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ANTHRAQUINONE | E | 0.16 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84376 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-05-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.89334 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ANTHRAQUINONE | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89334 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-07-30 | 2009-03-01 | 2009-09-30 | ug/L | 0.81748 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ANTHRAQUINONE | E | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81748 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.93702 | 0.12406 | 0.90504 | 0.14989 | 0.11111
ANTHRAQUINONE | 1433 | 62066GCM37 | 2009-03-06 | 2009-03-01 | 2009-09-30 | ug/L | 0.788 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ANTHRAQUINONE | E | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.788 |  | 0.788 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | ANTHRAQUINONE | E | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.85763 | 0.085563 | 0.85763 | 0.121 | 0.089699
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.79713 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | ANTHRAQUINONE | E | 0.16 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79713 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.85763 | 0.085563 | 0.85763 | 0.121 | 0.089699
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1223 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | ANTHRAQUINONE | E | 0.16 | 0.09 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1223 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.1509 | 0.095509 | 1.1611 | 0.14823 | 0.10988
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1.0312 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ANTHRAQUINONE | E | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1509 | 0.095509 | 1.1611 | 0.14823 | 0.10988
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.25 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ANTHRAQUINONE | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1509 | 0.095509 | 1.1611 | 0.14823 | 0.10988
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ANTHRAQUINONE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1509 | 0.095509 | 1.1611 | 0.14823 | 0.10988
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.52911 | Restek | A070024 | Restek A070024: 20 µl | 0.2079 | ANTHRAQUINONE | E | 0.16 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52911 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.71746 | 0.14238 | 0.73869 | 0.20688 | 0.15336
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.86333 | Restek | A070024 | Restek A070024: 10 µl | 0.10193 | ANTHRAQUINONE | E | 0.16 | 0.088 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86333 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.71746 | 0.14238 | 0.73869 | 0.20688 | 0.15336
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.69893 | Restek | A070024 | Restek A070024: 80 µl | 0.82984 | ANTHRAQUINONE | E | 0.16 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69893 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.71746 | 0.14238 | 0.73869 | 0.20688 | 0.15336
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.77846 | Restek | A070024 | Restek A070024: 40 µl | 0.41107 | ANTHRAQUINONE | E | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77846 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.71746 | 0.14238 | 0.73869 | 0.20688 | 0.15336
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.60615 | Restek | A075799 | Restek A075799: 50 µl | 0.75889 | ANTHRAQUINONE | E | 0.16 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60615 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.8452 | Restek | A075799 | Restek A075799: 20 µl | 0.29579 | ANTHRAQUINONE | E | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8452 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.52496 | Restek | A075799 | Restek A075799: 80 µl | 1.181 | ANTHRAQUINONE | E | 0.16 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52496 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.94135 | Restek | A075799 | Restek A075799: 20 µl | 0.29745 | ANTHRAQUINONE | E | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94135 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.94313 | Restek | A075799 | Restek A075799: 50 µl | 0.75281 | ANTHRAQUINONE | E | 0.16 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94313 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.87393 | Restek | A075799 | Restek A075799: 20 µl | 0.29751 | ANTHRAQUINONE | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87393 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1785 | Restek | A075799 | Restek A075799: 20 µl | 0.297 | ANTHRAQUINONE | E | 0.16 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1785 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.92593 | Restek | A075799 | Restek A075799: 80 µl | 1.188 | ANTHRAQUINONE | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1785 | Restek | A075799 | Restek A075799: 80 µl | 1.188 | ANTHRAQUINONE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1785 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.90236 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90236 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72727 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72727 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Restek | A075799 | Restek A075799: 20 µl | 0.297 | ANTHRAQUINONE | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Restek | A075799 | Restek A075799: 50 µl | 0.7425 | ANTHRAQUINONE | E | 0.16 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86952 | 0.18683 | 0.87393 | 0.13327 | 0.098789
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.64039 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.406 | ANTHRAQUINONE | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64039 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.64039 |  | 0.64039 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0596 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.151 | ANTHRAQUINONE | E | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0596 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Estimated Values | Y | 1 |  | 1 | 1.0596 |  | 1.0596 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0674 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2998 | ANTHRAQUINONE | E | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0674 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0674 |  | 1.0674 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.86724 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86724 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.62708 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62708 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.74716 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.7495 | ANTHRAQUINONE | E | 0.16 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74716 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 3 | 0.74716 | 0.12008 | 0.74716 | 0.24016 | 0.17803
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.86724 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1499 | ANTHRAQUINONE | E | 0.16 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86724 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 |  | 1 | 0.86724 |  | 0.86724 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.6883 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4068 | ANTHRAQUINONE | E | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6883 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.6883 |  | 0.6883 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84236 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.015 | ANTHRAQUINONE | E | 0.16 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84236 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.84236 |  | 0.84236 | 0 | 0
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-03-31 | 2006-10-01 | 2009-02-28 | ug/L | 0.96969 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.60019 | ANTHRAQUINONE | . | 0.16 | 0.582 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96969 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-04-09 | 2006-10-01 | 2009-02-28 | ug/L | 0.98468 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.57176 | ANTHRAQUINONE | . | 0.16 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98468 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-04-21 | 2006-10-01 | 2009-02-28 | ug/L | 1.0052 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.57205 | ANTHRAQUINONE | . | 0.16 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0052 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-06-03 | 2006-10-01 | 2009-02-28 | ug/L | 0.87814 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.56824 | ANTHRAQUINONE | . | 0.16 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87814 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-08-07 | 2006-10-01 | 2009-02-28 | ug/L | 0.79348 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.56964 | ANTHRAQUINONE | . | 0.16 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79348 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-09-10 | 2006-10-01 | 2009-02-28 | ug/L | 0.92515 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.56315 | ANTHRAQUINONE | . | 0.16 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92515 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2008-09-24 | 2006-10-01 | 2009-02-28 | ug/L | 0.65511 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.56326 | ANTHRAQUINONE | E | 0.16 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65511 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.88735 | 0.12543 | 0.92515 | 0.1912 | 0.14173
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1454 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.41034 | ANTHRAQUINONE | E | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1454 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89008 | 0.19141 | 0.92881 | 0.26735 | 0.19818
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92881 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20456 | ANTHRAQUINONE | E | 0.16 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92881 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89008 | 0.19141 | 0.92881 | 0.26735 | 0.19818
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.97625 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.40973 | ANTHRAQUINONE | E | 0.16 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97625 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89008 | 0.19141 | 0.92881 | 0.26735 | 0.19818
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69105 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20259 | ANTHRAQUINONE | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69105 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89008 | 0.19141 | 0.92881 | 0.26735 | 0.19818
ANTHRAQUINONE | 1433 | 62066GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.7089 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87459 | ANTHRAQUINONE | E | 0.16 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7089 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.89008 | 0.19141 | 0.92881 | 0.26735 | 0.19818