## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZOPHENONE | 1433 | 62067GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 1.0978 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.1002 | BENZOPHENONE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0978 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0978 |  | 1.0978 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.1976 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1002 | BENZOPHENONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1976 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1976 |  | 1.1976 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.99602 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 2.51 | BENZOPHENONE | . | 0.08 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99602 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99602 |  | 0.99602 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.85657 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.502 | BENZOPHENONE | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85657 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85657 |  | 0.85657 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.93625 | Abs | 051112 | Abs 051112: 20 µl | 0.502 | BENZOPHENONE | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93625 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93625 |  | 0.93625 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0733 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.6461 | BENZOPHENONE | E | 0.12 | 2.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0733 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2009-01-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.77984 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.7826 | BENZOPHENONE | . | 0.12 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77984 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2009-03-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.77749 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.5306 | BENZOPHENONE | . | 0.12 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77749 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.80429 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.611 | BENZOPHENONE | . | 0.12 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80429 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.70247 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.2671 | BENZOPHENONE | . | 0.12 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70247 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.72435 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.623 | BENZOPHENONE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72436 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81029 | 0.13433 | 0.77867 | 0.079934 | 0.059254
BENZOPHENONE | 1433 | 62067GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.85272 | Accu | 210091144 | Accu 210091144: 50 µl | 0.53945 | BENZOPHENONE | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85272 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.85908 | Accu | 210091144 | Accu 210091144: 20 µl | 0.22117 | BENZOPHENONE | E | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85908 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.916 | Accu | 210091144 | Accu 210091144: 80 µl | 0.87337 | BENZOPHENONE | . | 0.08 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 1.0171 | Accu | 210091144 | Accu 210091144: 20 µl | 0.21629 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0171 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.97762 | Accu | 210091144 | Accu 210091144: 80 µl | 0.87969 | BENZOPHENONE | . | 0.08 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97762 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1.0512 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2188 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.042 | Accu | 210091144 | Accu 210091144: 50 µl | 0.547 | BENZOPHENONE | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.91408 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2188 | BENZOPHENONE | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91408 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0969 | Accu | 210091144 | Accu 210091144: 50 µl | 0.547 | BENZOPHENONE | . | 0.08 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0969 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0055 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2188 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0055 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0283 | Accu | 210091144 | Accu 210091144: 80 µl | 0.8752 | BENZOPHENONE | . | 0.08 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0283 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0512 | Accu | 210091144 | Accu 210091144: 20 µl | 0.2188 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.91408 | Accu | 210091144 | Accu 210091144: 80 µl | 0.8752 | BENZOPHENONE | . | 0.08 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91408 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97891 | 0.07938 | 1.0055 | 0.12797 | 0.094863
BENZOPHENONE | 1433 | 62067GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1976 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1002 | BENZOPHENONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1976 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1976 |  | 1.1976 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1 | BENZOPHENONE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91633 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.251 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91633 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.91899 | 0.19523 | 0.91633 | 0.39044 | 0.28943
BENZOPHENONE | 1433 | 62067GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.7251 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.255 | BENZOPHENONE | . | 0.08 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7251 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.91899 | 0.19523 | 0.91633 | 0.39044 | 0.28943
BENZOPHENONE | 1433 | 62067GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.1155 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.251 | BENZOPHENONE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.91899 | 0.19523 | 0.91633 | 0.39044 | 0.28943
BENZOPHENONE | 1433 | 62067GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.92184 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2.495 | BENZOPHENONE | . | 0.08 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92184 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92184 |  | 0.92184 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.83583 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.2642 | BENZOPHENONE | . | 0.12 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83583 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.70757 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.6853 | BENZOPHENONE | . | 0.12 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70757 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.86276 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.6659 | BENZOPHENONE | . | 0.12 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86276 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2009-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.87883 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.6171 | BENZOPHENONE | . | 0.12 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87883 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.77427 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.1661 | BENZOPHENONE | . | 0.12 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77427 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.76756 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.6057 | BENZOPHENONE | . | 0.08 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76756 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80447 | 0.065689 | 0.80505 | 0.095206 | 0.070575
BENZOPHENONE | 1433 | 62067GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.3427 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | BENZOPHENONE | . | 0.12 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3427 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.0087 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | BENZOPHENONE | . | 0.12 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0526 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | BENZOPHENONE | . | 0.12 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.9552 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | BENZOPHENONE | . | 0.12 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9552 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.97606 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | BENZOPHENONE | . | 0.12 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97606 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.91758 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | BENZOPHENONE | . | 0.12 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91758 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0421 | 0.15428 | 0.99237 | 0.097353 | 0.072167
BENZOPHENONE | 1433 | 62067GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.82017 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | BENZOPHENONE | . | 0.12 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82016 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.82016 |  | 0.82016 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0016 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | BENZOPHENONE | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83643 | 0.23358 | 0.83643 | 0.33033 | 0.24487
BENZOPHENONE | 1433 | 62067GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67127 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | BENZOPHENONE | E | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67127 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.83643 | 0.23358 | 0.83643 | 0.33033 | 0.24487
BENZOPHENONE | 1433 | 62067GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1223 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | BENZOPHENONE | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1223 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1267 | 0.10958 | 1.1362 | 0.14666 | 0.10872
BENZOPHENONE | 1433 | 62067GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.98438 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | BENZOPHENONE | . | 0.08 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1267 | 0.10958 | 1.1362 | 0.14666 | 0.10872
BENZOPHENONE | 1433 | 62067GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.25 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | BENZOPHENONE | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1267 | 0.10958 | 1.1362 | 0.14666 | 0.10872
BENZOPHENONE | 1433 | 62067GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.15 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | BENZOPHENONE | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1267 | 0.10958 | 1.1362 | 0.14666 | 0.10872
BENZOPHENONE | 1433 | 62067GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69479 | Restek | A070024 | Restek A070024: 20 µl | 0.14393 | BENZOPHENONE | . | 0.08 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69479 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91779 | 0.16618 | 0.96109 | 0.25306 | 0.18759
BENZOPHENONE | 1433 | 62067GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0345 | Restek | A070024 | Restek A070024: 10 µl | 0.070568 | BENZOPHENONE | E | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0345 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.91779 | 0.16618 | 0.96109 | 0.25306 | 0.18759
BENZOPHENONE | 1433 | 62067GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.88772 | Restek | A070024 | Restek A070024: 80 µl | 0.57451 | BENZOPHENONE | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88772 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91779 | 0.16618 | 0.96109 | 0.25306 | 0.18759
BENZOPHENONE | 1433 | 62067GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 1.0542 | Restek | A070024 | Restek A070024: 40 µl | 0.28458 | BENZOPHENONE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91779 | 0.16618 | 0.96109 | 0.25306 | 0.18759
BENZOPHENONE | 1433 | 62067GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.82656 | Restek | A075799 | Restek A075799: 50 µl | 0.55652 | BENZOPHENONE | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82656 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 1.0603 | Restek | A075799 | Restek A075799: 20 µl | 0.21691 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0603 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.61195 | Restek | A075799 | Restek A075799: 80 µl | 0.86609 | BENZOPHENONE | . | 0.08 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61195 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 1.0544 | Restek | A075799 | Restek A075799: 20 µl | 0.21813 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0544 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0325 | Restek | A075799 | Restek A075799: 50 µl | 0.55206 | BENZOPHENONE | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 1.0084 | Restek | A075799 | Restek A075799: 20 µl | 0.21817 | BENZOPHENONE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.2397 | Restek | A075799 | Restek A075799: 20 µl | 0.2178 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2397 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0216 | Restek | A075799 | Restek A075799: 80 µl | 0.8712 | BENZOPHENONE | . | 0.08 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.3774 | Restek | A075799 | Restek A075799: 80 µl | 0.8712 | BENZOPHENONE | E | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3774 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1387 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | BENZOPHENONE | . | 0.08 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1387 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.99174 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | BENZOPHENONE | . | 0.08 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99174 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96419 | Restek | A075799 | Restek A075799: 20 µl | 0.2178 | BENZOPHENONE | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96419 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.97337 | Restek | A075799 | Restek A075799: 50 µl | 0.5445 | BENZOPHENONE | . | 0.08 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97337 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0231 | 0.18327 | 1.0216 | 0.086974 | 0.064473
BENZOPHENONE | 1433 | 62067GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0778 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.2505 | BENZOPHENONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0778 |  | 1.0778 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | BENZOPHENONE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.99602 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.251 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99602 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99602 |  | 0.99602 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0421 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.499 | BENZOPHENONE | . | 0.08 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0421 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0421 |  | 1.0421 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.002 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2495 | BENZOPHENONE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9352 | 0.083434 | 0.96192 | 0.16032 | 0.11884
BENZOPHENONE | 1433 | 62067GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.84168 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2495 | BENZOPHENONE | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84168 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9352 | 0.083434 | 0.96192 | 0.16032 | 0.11884
BENZOPHENONE | 1433 | 62067GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.96192 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 1.2475 | BENZOPHENONE | . | 0.08 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96192 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9352 | 0.083434 | 0.96192 | 0.16032 | 0.11884
BENZOPHENONE | 1433 | 62067GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.92184 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2495 | BENZOPHENONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92184 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92184 |  | 0.92184 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.1 | BENZOPHENONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2 |  | 1.2 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.104 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.25 | BENZOPHENONE | E | 0.08 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 1.104 |  | 1.104 | 0 | 0
BENZOPHENONE | 1433 | 62067GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.0183 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1785 | BENZOPHENONE | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0183 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.9442 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1226 | BENZOPHENONE | . | 0.12 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9442 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.0149 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1232 | BENZOPHENONE | . | 0.12 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0149 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.96796 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1157 | BENZOPHENONE | . | 0.12 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96796 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.88781 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1185 | BENZOPHENONE | . | 0.12 | 0.993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88781 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0038 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.1057 | BENZOPHENONE | . | 0.12 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.88972 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.106 | BENZOPHENONE | E | 0.12 | 0.984 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88972 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.96096 | 0.055968 | 0.96796 | 0.12522 | 0.092827
BENZOPHENONE | 1433 | 62067GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1264 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28408 | BENZOPHENONE | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1264 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97441 | 0.10568 | 0.98856 | 0.08159 | 0.060482
BENZOPHENONE | 1433 | 62067GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.98856 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.14162 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98856 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97441 | 0.10568 | 0.98856 | 0.08159 | 0.060482
BENZOPHENONE | 1433 | 62067GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.91659 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.28366 | BENZOPHENONE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91659 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97441 | 0.10568 | 0.98856 | 0.08159 | 0.060482
BENZOPHENONE | 1433 | 62067GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.99818 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.14026 | BENZOPHENONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99818 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97441 | 0.10568 | 0.98856 | 0.08159 | 0.060482
BENZOPHENONE | 1433 | 62067GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.8423 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.60549 | BENZOPHENONE | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8423 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97441 | 0.10568 | 0.98856 | 0.08159 | 0.060482