## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.4 | BENZO[A]PYRENE | . | 0.06 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.825 |  | 0.825 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.97864 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.9721 | BENZO[A]PYRENE | . | 0.08 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97864 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.81489 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.0739 | BENZO[A]PYRENE | . | 0.08 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81489 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.75206 | Abs | 080508WW | Abs 080508WW: 40 µl | 4.122 | BENZO[A]PYRENE | . | 0.08 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75206 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.77081 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.946 | BENZO[A]PYRENE | . | 0.08 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77081 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.68779 | Abs | 080508WW | Abs 080508WW: 40 µl | 3.9256 | BENZO[A]PYRENE | . | 0.08 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68779 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.61382 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.955 | BENZO[A]PYRENE | . | 0.05 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61382 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76967 | 0.12411 | 0.76144 | 0.1271 | 0.094217
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.72061 | Accu | 210091144 | Accu 210091144: 50 µl | 0.29142 | BENZO[A]PYRENE | . | 0.018 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72061 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.58588 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11948 | BENZO[A]PYRENE | E | 0.018 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58588 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.89019 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47181 | BENZO[A]PYRENE | . | 0.018 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89019 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.94142 | Accu | 210091144 | Accu 210091144: 20 µl | 0.11684 | BENZO[A]PYRENE | . | 0.018 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94142 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.90484 | Accu | 210091144 | Accu 210091144: 80 µl | 0.47522 | BENZO[A]PYRENE | . | 0.018 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90484 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1.0998 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1182 | BENZO[A]PYRENE | . | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0998 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.91371 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2955 | BENZO[A]PYRENE | . | 0.018 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91371 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0152 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1182 | BENZO[A]PYRENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0152 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0829 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2955 | BENZO[A]PYRENE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0829 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0152 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1182 | BENZO[A]PYRENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0152 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0364 | Accu | 210091144 | Accu 210091144: 80 µl | 0.4728 | BENZO[A]PYRENE | . | 0.06 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0364 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93063 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1182 | BENZO[A]PYRENE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93063 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0152 | Accu | 210091144 | Accu 210091144: 80 µl | 0.4728 | BENZO[A]PYRENE | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0152 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93478 | 0.14431 | 0.94142 | 0.11039 | 0.081832
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.68103 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.5433 | BENZO[A]PYRENE | . | 0.05 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68103 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76474 | 0.086021 | 0.74849 | 0.124 | 0.091923
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.77253 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.1132 | BENZO[A]PYRENE | . | 0.05 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77253 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76474 | 0.086021 | 0.74849 | 0.124 | 0.091923
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.72445 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.27607 | BENZO[A]PYRENE | . | 0.05 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72445 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76474 | 0.086021 | 0.74849 | 0.124 | 0.091923
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.88096 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.27243 | BENZO[A]PYRENE | . | 0.018 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88096 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76474 | 0.086021 | 0.74849 | 0.124 | 0.091923
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0652 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0798 | BENZO[A]PYRENE | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0652 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0652 |  | 1.0652 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0777 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0798 | BENZO[A]PYRENE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0777 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0777 |  | 1.0777 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0025 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1995 | BENZO[A]PYRENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0025 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0025 |  | 1.0025 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0777 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0798 | BENZO[A]PYRENE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0777 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0777 |  | 1.0777 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.08544 | 0.85 | 0.17 | 0.12602
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1 | BENZO[A]PYRENE | . | 0.06 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.08544 | 0.85 | 0.17 | 0.12602
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.08544 | 0.85 | 0.17 | 0.12602
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.87 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 1 | BENZO[A]PYRENE | . | 0.06 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87 |  | 0.87 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.985 | 0.021213 | 0.985 | 0.03 | 0.022239
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 1 | BENZO[A]PYRENE | . | 0.06 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.985 | 0.021213 | 0.985 | 0.03 | 0.022239
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2 | BENZO[A]PYRENE | . | 0.06 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.61318 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 3.914 | BENZO[A]PYRENE | . | 0.08 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61318 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.70122 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.9965 | BENZO[A]PYRENE | . | 0.08 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70122 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.65587 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.9821 | BENZO[A]PYRENE | . | 0.08 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65587 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.71948 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.9459 | BENZO[A]PYRENE | . | 0.08 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71948 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.65086 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 3.8411 | BENZO[A]PYRENE | . | 0.08 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65086 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.47488 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.9373 | BENZO[A]PYRENE | . | 0.05 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47488 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.63592 | 0.087543 | 0.65337 | 0.088039 | 0.065262
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.68795 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.27618 | BENZO[A]PYRENE | . | 0.05 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68795 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66272 | 0.065058 | 0.66285 | 0.043901 | 0.032544
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74861 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.26716 | BENZO[A]PYRENE | . | 0.05 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74861 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66272 | 0.065058 | 0.66285 | 0.043901 | 0.032544
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.64405 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.54344 | BENZO[A]PYRENE | . | 0.05 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64405 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66272 | 0.065058 | 0.66285 | 0.043901 | 0.032544
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.66285 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.0862 | BENZO[A]PYRENE | . | 0.05 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66285 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66272 | 0.065058 | 0.66285 | 0.043901 | 0.032544
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.57016 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.56125 | BENZO[A]PYRENE | . | 0.05 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57016 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.66272 | 0.065058 | 0.66285 | 0.043901 | 0.032544
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0458 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | BENZO[A]PYRENE | . | 0.12 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.87842 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | BENZO[A]PYRENE | . | 0.12 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87842 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.89976 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | BENZO[A]PYRENE | . | 0.12 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89976 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.796 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | BENZO[A]PYRENE | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.77754 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | BENZO[A]PYRENE | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77754 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.7007 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | BENZO[A]PYRENE | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7007 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8497 | 0.12005 | 0.83721 | 0.12223 | 0.090605
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.65935 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | BENZO[A]PYRENE | . | 0.08 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65935 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.65935 |  | 0.65935 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | BENZO[A]PYRENE | . | 0.05 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.62931 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | BENZO[A]PYRENE | E | 0.05 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62931 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.3717 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | BENZO[A]PYRENE | . | 0.018 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3717 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2179 | 0.16145 | 1.25 | 0.23585 | 0.17483
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | BENZO[A]PYRENE | . | 0.018 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2179 | 0.16145 | 1.25 | 0.23585 | 0.17483
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.3 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | BENZO[A]PYRENE | . | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2179 | 0.16145 | 1.25 | 0.23585 | 0.17483
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | BENZO[A]PYRENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2179 | 0.16145 | 1.25 | 0.23585 | 0.17483
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.72627 | Restek | A053259 | Restek A053259: 25 µl | 1.3425 | BENZO[A]PYRENE | . | 0.12 | 0.975 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72627 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72627 |  | 0.72627 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.85651 | Restek | A075799 | Restek A075799: 50 µl | 0.30356 | BENZO[A]PYRENE | . | 0.018 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85651 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 1.0988 | Restek | A075799 | Restek A075799: 20 µl | 0.11831 | BENZO[A]PYRENE | . | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0988 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.5292 | Restek | A075799 | Restek A075799: 80 µl | 0.47241 | BENZO[A]PYRENE | . | 0.018 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5292 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.92454 | Restek | A075799 | Restek A075799: 20 µl | 0.11898 | BENZO[A]PYRENE | . | 0.018 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92454 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0959 | Restek | A075799 | Restek A075799: 50 µl | 0.30113 | BENZO[A]PYRENE | . | 0.018 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0959 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 1.0084 | Restek | A075799 | Restek A075799: 20 µl | 0.119 | BENZO[A]PYRENE | . | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1785 | Restek | A075799 | Restek A075799: 20 µl | 0.1188 | BENZO[A]PYRENE | . | 0.018 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1785 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.92593 | Restek | A075799 | Restek A075799: 80 µl | 0.4752 | BENZO[A]PYRENE | . | 0.06 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.4099 | Restek | A075799 | Restek A075799: 80 µl | 0.4752 | BENZO[A]PYRENE | E | 0.06 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4099 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1111 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | BENZO[A]PYRENE | . | 0.06 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94276 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | BENZO[A]PYRENE | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94276 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Restek | A075799 | Restek A075799: 20 µl | 0.1188 | BENZO[A]PYRENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.94276 | Restek | A075799 | Restek A075799: 50 µl | 0.297 | BENZO[A]PYRENE | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94276 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0026 | 0.20233 | 1.0084 | 0.17284 | 0.12812
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 1.0125 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.08 | BENZO[A]PYRENE | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0125 |  | 1.0125 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.08 | BENZO[A]PYRENE | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.15 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.15 |  | 1.15 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.925 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.4 | BENZO[A]PYRENE | . | 0.06 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.925 |  | 0.925 | 0 | 0
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2 | BENZO[A]PYRENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87 | 0.13856 | 0.95 | 0.24 | 0.17791
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 2 | BENZO[A]PYRENE | . | 0.06 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87 | 0.13856 | 0.95 | 0.24 | 0.17791
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 1 | BENZO[A]PYRENE | . | 0.06 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87 | 0.13856 | 0.95 | 0.24 | 0.17791
BENZO[A]PYRENE | 1433 | 34248GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.4 | BENZO[A]PYRENE | . | 0.06 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0