## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAFFEINE | 1433 | 50305GCM37 | 2013-08-21 | 2011-02-01 | 2050-09-30 | ug/L | 1.0479 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.2004 | CAFFEINE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0479 |  | 1.0479 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2014-02-12 | 2011-02-01 | 2050-09-30 | ug/L | 1.0978 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.2004 | CAFFEINE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0978 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0978 |  | 1.0978 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-05-15 | 2011-02-01 | 2050-09-30 | ug/L | 1 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 1 | CAFFEINE | . | 0.06 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.77529 | Accu | 210091144 | Accu 210091144: 50 µl | 0.49014 | CAFFEINE | . | 0.06 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77529 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.64693 | Accu | 210091144 | Accu 210091144: 20 µl | 0.20095 | CAFFEINE | E | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64693 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2011-03-03 | 2011-02-01 | 2050-09-30 | ug/L | 0.90733 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79353 | CAFFEINE | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90733 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2011-05-24 | 2011-02-01 | 2050-09-30 | ug/L | 0.96682 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19652 | CAFFEINE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96682 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2011-06-17 | 2011-02-01 | 2050-09-30 | ug/L | 0.91333 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79928 | CAFFEINE | . | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2011-07-22 | 2011-02-01 | 2050-09-30 | ug/L | 1.006 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1988 | CAFFEINE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.006 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2011-08-09 | 2011-02-01 | 2050-09-30 | ug/L | 0.86519 | Accu | 210091144 | Accu 210091144: 50 µl | 0.497 | CAFFEINE | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86519 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-01-10 | 2011-02-01 | 2050-09-30 | ug/L | 0.95573 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1988 | CAFFEINE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95573 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-02-15 | 2011-02-01 | 2050-09-30 | ug/L | 1.0664 | Accu | 210091144 | Accu 210091144: 50 µl | 0.497 | CAFFEINE | . | 0.06 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0664 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-03-08 | 2011-02-01 | 2050-09-30 | ug/L | 1.006 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1988 | CAFFEINE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.006 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-03-09 | 2011-02-01 | 2050-09-30 | ug/L | 0.95573 | Accu | 210091144 | Accu 210091144: 80 µl | 0.7952 | CAFFEINE | . | 0.06 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95573 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-04-19 | 2011-02-01 | 2050-09-30 | ug/L | 1.006 | Accu | 210091144 | Accu 210091144: 20 µl | 0.1988 | CAFFEINE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.006 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2012-06-13 | 2011-02-01 | 2050-09-30 | ug/L | 0.91801 | Accu | 210091144 | Accu 210091144: 80 µl | 0.7952 | CAFFEINE | . | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91801 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92222 | 0.1107 | 0.95573 | 0.098702 | 0.073167
CAFFEINE | 1433 | 50305GCM37 | 2008-11-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.85251 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 5.5835 | CAFFEINE | E | 0.1 | 4.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85251 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.773 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.9754 | CAFFEINE | . | 0.1 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.773 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.82729 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.9494 | CAFFEINE | . | 0.1 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82729 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2009-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.78655 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 5.7212 | CAFFEINE | . | 0.1 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78655 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2009-08-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.84509 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.8399 | CAFFEINE | . | 0.1 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84509 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.70841 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.8232 | CAFFEINE | . | 0.06 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70841 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.79881 | 0.054452 | 0.80692 | 0.072092 | 0.053441
CAFFEINE | 1433 | 50305GCM37 | 2013-06-19 | 2011-02-01 | 2050-09-30 | ug/L | 1.0978 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.2004 | CAFFEINE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0978 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0978 |  | 1.0978 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-06-18 | 2011-02-01 | 2050-09-30 | ug/L | 1.0956 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.2008 | CAFFEINE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0956 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0956 |  | 1.0956 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2012-08-08 | 2011-02-01 | 2050-09-30 | ug/L | 0.98394 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.498 | CAFFEINE | . | 0.06 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98394 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95047 | 0.1337 | 0.98394 | 0.26104 | 0.19351
CAFFEINE | 1433 | 50305GCM37 | 2013-02-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.80321 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 2.49 | CAFFEINE | . | 0.06 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80321 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95047 | 0.1337 | 0.98394 | 0.26104 | 0.19351
CAFFEINE | 1433 | 50305GCM37 | 2013-04-16 | 2011-02-01 | 2050-09-30 | ug/L | 1.0643 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.498 | CAFFEINE | . | 0.06 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95047 | 0.1337 | 0.98394 | 0.26104 | 0.19351
CAFFEINE | 1433 | 50305GCM37 | 2012-10-11 | 2011-02-01 | 2050-09-30 | ug/L | 0.80321 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.49 | CAFFEINE | . | 0.06 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80321 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80321 |  | 0.80321 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-01-23 | 2011-02-01 | 2050-09-30 | ug/L | 0.88353 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.498 | CAFFEINE | . | 0.06 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88353 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88353 | 0 | 0.88353 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-05-15 | 2011-02-01 | 2050-09-30 | ug/L | 0.88353 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.49 | CAFFEINE | . | 0.06 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88353 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88353 | 0 | 0.88353 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2012-12-06 | 2011-02-01 | 2050-09-30 | ug/L | 1.004 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 4.98 | CAFFEINE | . | 0.06 | 5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.004 |  | 1.004 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.12 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | CAFFEINE | . | 0.1 | 0.694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.88844 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | CAFFEINE | . | 0.1 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88844 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0526 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | CAFFEINE | . | 0.1 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.90744 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CAFFEINE | . | 0.1 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90744 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.94297 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CAFFEINE | . | 0.1 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94297 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.83417 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CAFFEINE | . | 0.1 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83417 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9576 | 0.10783 | 0.92521 | 0.16411 | 0.12166
CAFFEINE | 1433 | 50305GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.86841 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CAFFEINE | . | 0.1 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86841 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.86841 |  | 0.86841 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0016 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | CAFFEINE | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.85741 | 0.20391 | 0.85741 | 0.28838 | 0.21377
CAFFEINE | 1433 | 50305GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.71322 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | CAFFEINE | E | 0.06 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71322 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.85741 | 0.20391 | 0.85741 | 0.28838 | 0.21377
CAFFEINE | 1433 | 50305GCM37 | 2011-06-08 | 2011-02-01 | 2050-09-30 | ug/L | 1.0599 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | CAFFEINE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0455 | 0.086953 | 1.0675 | 0.10909 | 0.080865
CAFFEINE | 1433 | 50305GCM37 | 2011-08-02 | 2011-02-01 | 2050-09-30 | ug/L | 0.92188 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAFFEINE | . | 0.06 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92187 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0455 | 0.086953 | 1.0675 | 0.10909 | 0.080865
CAFFEINE | 1433 | 50305GCM37 | 2011-08-26 | 2011-02-01 | 2050-09-30 | ug/L | 1.075 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAFFEINE | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0455 | 0.086953 | 1.0675 | 0.10909 | 0.080865
CAFFEINE | 1433 | 50305GCM37 | 2011-11-08 | 2011-02-01 | 2050-09-30 | ug/L | 1.125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAFFEINE | . | 0.06 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0455 | 0.086953 | 1.0675 | 0.10909 | 0.080865
CAFFEINE | 1433 | 50305GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.83703 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.8673 | CAFFEINE | . | 0.1 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83703 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77259 | 0.08198 | 0.81864 | 0.14999 | 0.11119
CAFFEINE | 1433 | 50305GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.84068 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.8548 | CAFFEINE | . | 0.1 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84068 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77259 | 0.08198 | 0.81864 | 0.14999 | 0.11119
CAFFEINE | 1433 | 50305GCM37 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.81864 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.8095 | CAFFEINE | . | 0.1 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81864 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77259 | 0.08198 | 0.81864 | 0.14999 | 0.11119
CAFFEINE | 1433 | 50305GCM37 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.67956 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.7959 | CAFFEINE | . | 0.1 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67956 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77259 | 0.08198 | 0.81864 | 0.14999 | 0.11119
CAFFEINE | 1433 | 50305GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.68704 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 5.6765 | CAFFEINE | . | 0.06 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68704 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77259 | 0.08198 | 0.81864 | 0.14999 | 0.11119
CAFFEINE | 1433 | 50305GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72229 | Restek | A070024 | Restek A070024: 20 µl | 0.37381 | CAFFEINE | . | 0.06 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72229 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88728 | 0.11428 | 0.92237 | 0.14581 | 0.10808
CAFFEINE | 1433 | 50305GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.98211 | Restek | A070024 | Restek A070024: 10 µl | 0.18328 | CAFFEINE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98211 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88728 | 0.11428 | 0.92237 | 0.14581 | 0.10808
CAFFEINE | 1433 | 50305GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.93826 | Restek | A070024 | Restek A070024: 80 µl | 1.4921 | CAFFEINE | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93826 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88728 | 0.11428 | 0.92237 | 0.14581 | 0.10808
CAFFEINE | 1433 | 50305GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.90647 | Restek | A070024 | Restek A070024: 40 µl | 0.73913 | CAFFEINE | . | 0.06 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90647 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88728 | 0.11428 | 0.92237 | 0.14581 | 0.10808
CAFFEINE | 1433 | 50305GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.96852 | Restek | A075799 | Restek A075799: 50 µl | 0.50593 | CAFFEINE | . | 0.06 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96852 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 1.1157 | Restek | A075799 | Restek A075799: 20 µl | 0.19719 | CAFFEINE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1157 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-03-10 | 2011-02-01 | 2050-09-30 | ug/L | 0.53343 | Restek | A075799 | Restek A075799: 80 µl | 0.78735 | CAFFEINE | . | 0.06 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53343 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-04-27 | 2011-02-01 | 2050-09-30 | ug/L | 0.90773 | Restek | A075799 | Restek A075799: 20 µl | 0.1983 | CAFFEINE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90773 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-06-08 | 2011-02-01 | 2050-09-30 | ug/L | 0.95641 | Restek | A075799 | Restek A075799: 50 µl | 0.50188 | CAFFEINE | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95641 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-06-30 | 2011-02-01 | 2050-09-30 | ug/L | 0.90755 | Restek | A075799 | Restek A075799: 20 µl | 0.19834 | CAFFEINE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90755 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-08-25 | 2011-02-01 | 2050-09-30 | ug/L | 1.1616 | Restek | A075799 | Restek A075799: 20 µl | 0.198 | CAFFEINE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2011-10-26 | 2011-02-01 | 2050-09-30 | ug/L | 0.75758 | Restek | A075799 | Restek A075799: 80 µl | 0.792 | CAFFEINE | . | 0.06 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2012-01-19 | 2011-02-01 | 2050-09-30 | ug/L | 1.2626 | Restek | A075799 | Restek A075799: 80 µl | 0.792 | CAFFEINE | E | 0.06 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2626 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2012-03-09 | 2011-02-01 | 2050-09-30 | ug/L | 1.0909 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CAFFEINE | . | 0.06 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2012-04-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.94949 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CAFFEINE | . | 0.06 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2012-04-18 | 2011-02-01 | 2050-09-30 | ug/L | 0.9596 | Restek | A075799 | Restek A075799: 20 µl | 0.198 | CAFFEINE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2012-06-15 | 2011-02-01 | 2050-09-30 | ug/L | 0.9697 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CAFFEINE | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9697 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96468 | 0.18304 | 0.9596 | 0.18318 | 0.13579
CAFFEINE | 1433 | 50305GCM37 | 2013-12-05 | 2011-02-01 | 2050-09-30 | ug/L | 1.018 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.501 | CAFFEINE | . | 0.06 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.018 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.018 |  | 1.018 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-12-05 | 2011-02-01 | 2050-09-30 | ug/L | 0.84661 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.2008 | CAFFEINE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84661 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84661 |  | 0.84661 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2012-12-05 | 2011-02-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.5 | CAFFEINE | . | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2012-10-11 | 2011-02-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1 | CAFFEINE | . | 0.06 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2012-08-30 | 2011-02-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | CAFFEINE | . | 0.06 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.99333 | 0.13614 | 1.04 | 0.26 | 0.19274
CAFFEINE | 1433 | 50305GCM37 | 2012-12-07 | 2011-02-01 | 2050-09-30 | ug/L | 1.04 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5 | CAFFEINE | . | 0.06 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.99333 | 0.13614 | 1.04 | 0.26 | 0.19274
CAFFEINE | 1433 | 50305GCM37 | 2013-02-28 | 2011-02-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | CAFFEINE | . | 0.06 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.99333 | 0.13614 | 1.04 | 0.26 | 0.19274
CAFFEINE | 1433 | 50305GCM37 | 2012-08-08 | 2011-02-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 1 | CAFFEINE | . | 0.06 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-12-05 | 2011-02-01 | 2050-09-30 | ug/L | 0.94622 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.2008 | CAFFEINE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94622 |  | 0.94622 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2013-07-11 | 2011-02-01 | 2050-09-30 | ug/L | 1 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.502 | CAFFEINE | . | 0.06 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAFFEINE | 1433 | 50305GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.85037 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.7169 | CAFFEINE | . | 0.1 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85037 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.89265 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6356 | CAFFEINE | . | 0.1 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89265 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.95331 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6364 | CAFFEINE | . | 0.1 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95331 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.92278 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6255 | CAFFEINE | . | 0.1 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92278 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.87143 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6295 | CAFFEINE | . | 0.1 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87143 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.99321 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6109 | CAFFEINE | . | 0.1 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99321 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.57346 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.6113 | CAFFEINE | E | 0.1 | 0.924 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57346 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.86532 | 0.13759 | 0.89265 | 0.10295 | 0.076313
CAFFEINE | 1433 | 50305GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.94874 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.73782 | CAFFEINE | . | 0.06 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94874 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88955 | 0.061691 | 0.86999 | 0.10718 | 0.079455
CAFFEINE | 1433 | 50305GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.86999 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.36782 | CAFFEINE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86999 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88955 | 0.061691 | 0.86999 | 0.10718 | 0.079455
CAFFEINE | 1433 | 50305GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.84156 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.73673 | CAFFEINE | . | 0.06 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84156 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88955 | 0.061691 | 0.86999 | 0.10718 | 0.079455
CAFFEINE | 1433 | 50305GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.96082 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.36427 | CAFFEINE | . | 0.06 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96082 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88955 | 0.061691 | 0.86999 | 0.10718 | 0.079455
CAFFEINE | 1433 | 50305GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.82666 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.5726 | CAFFEINE | . | 0.06 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82666 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88955 | 0.061691 | 0.86999 | 0.10718 | 0.079455