## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAMPHOR | 1433 | 62070GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 1 | CAMPHOR | . | 0.044 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0789 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.84156 | CAMPHOR | . | 0.06 | 0.908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.90283 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.885 | CAMPHOR | . | 0.06 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90283 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.85277 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.759 | CAMPHOR | . | 0.06 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85277 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.87908 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.83041 | CAMPHOR | . | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87908 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.77604 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.6752 | CAMPHOR | . | 0.06 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77604 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.79114 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.83423 | CAMPHOR | . | 0.044 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79114 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88014 | 0.10913 | 0.86593 | 0.11169 | 0.082791
CAMPHOR | 1433 | 62070GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.73805 | Accu | 210091144 | Accu 210091144: 50 µl | 0.24389 | CAMPHOR | . | 0.044 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73805 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.73007 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09999 | CAMPHOR | E | 0.044 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73007 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.86108 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39485 | CAMPHOR | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86108 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.94083 | Accu | 210091144 | Accu 210091144: 20 µl | 0.097786 | CAMPHOR | . | 0.044 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94083 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.80461 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39771 | CAMPHOR | . | 0.044 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80461 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.82895 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82895 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.88961 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2473 | CAMPHOR | . | 0.044 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88961 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.8795 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8795 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0109 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2473 | CAMPHOR | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0109 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.98059 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98059 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0109 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39568 | CAMPHOR | . | 0.044 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0109 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0008 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0008 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.96037 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39568 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96037 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.8951 | 0.098976 | 0.88961 | 0.15164 | 0.11241
CAMPHOR | 1433 | 62070GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93583 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93583 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93583 |  | 0.93583 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86898 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86898 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86898 |  | 0.86898 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.9893 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.374 | CAMPHOR | . | 0.044 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9893 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9893 |  | 0.9893 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0027 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0027 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0027 |  | 1.0027 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93333 | 0.16166 | 0.96 | 0.32 | 0.23721
CAMPHOR | 1433 | 62070GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93333 | 0.16166 | 0.96 | 0.32 | 0.23721
CAMPHOR | 1433 | 62070GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.08 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93333 | 0.16166 | 0.96 | 0.32 | 0.23721
CAMPHOR | 1433 | 62070GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0 | 0.84 | 1.1102e-16 | 8.23e-17
CAMPHOR | 1433 | 62070GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0 | 0.84 | 1.1102e-16 | 8.23e-17
CAMPHOR | 1433 | 62070GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 5 | CAMPHOR | . | 0.044 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.83347 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.6797 | CAMPHOR | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83347 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.78196 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.85682 | CAMPHOR | . | 0.06 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78196 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.84643 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.85063 | CAMPHOR | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84643 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.86219 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.83508 | CAMPHOR | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86219 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.84929 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.6484 | CAMPHOR | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84929 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78179 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.83143 | CAMPHOR | . | 0.044 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78179 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82586 | 0.035269 | 0.83995 | 0.067334 | 0.049914
CAMPHOR | 1433 | 62070GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0942 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | CAMPHOR | . | 0.1 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0942 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.94856 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | CAMPHOR | . | 0.1 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94856 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.95069 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | CAMPHOR | . | 0.1 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95069 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.89152 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CAMPHOR | . | 0.06 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89152 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.86025 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CAMPHOR | . | 0.06 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86025 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.83417 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CAMPHOR | . | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83417 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9299 | 0.093013 | 0.92004 | 0.09044 | 0.067042
CAMPHOR | 1433 | 62070GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.77192 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CAMPHOR | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77192 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.77192 |  | 0.77192 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.77207 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | CAMPHOR | . | 0.044 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77207 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.72167 | 0.071276 | 0.72167 | 0.1008 | 0.074722
CAMPHOR | 1433 | 62070GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67127 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | CAMPHOR | E | 0.044 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67127 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.72167 | 0.071276 | 0.72167 | 0.1008 | 0.074722
CAMPHOR | 1433 | 62070GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.93525 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93525 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98381 | 0.098986 | 0.98013 | 0.15737 | 0.11666
CAMPHOR | 1433 | 62070GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAMPHOR | . | 0.044 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98381 | 0.098986 | 0.98013 | 0.15737 | 0.11666
CAMPHOR | 1433 | 62070GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAMPHOR | . | 0.044 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98381 | 0.098986 | 0.98013 | 0.15737 | 0.11666
CAMPHOR | 1433 | 62070GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAMPHOR | . | 0.044 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98381 | 0.098986 | 0.98013 | 0.15737 | 0.11666
CAMPHOR | 1433 | 62070GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.73362 | Restek | A053259 | Restek A053259: 25 µl | 0.26172 | CAMPHOR | . | 0.1 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73362 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.73362 |  | 0.73362 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.76263 | Restek | A070024 | Restek A070024: 20 µl | 0.11014 | CAMPHOR | . | 0.044 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76263 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88167 | 0.092672 | 0.89132 | 0.1364 | 0.10111
CAMPHOR | 1433 | 62070GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.98141 | Restek | A070024 | Restek A070024: 10 µl | 0.054004 | CAMPHOR | . | 0.044 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98141 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88167 | 0.092672 | 0.89132 | 0.1364 | 0.10111
CAMPHOR | 1433 | 62070GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.86431 | Restek | A070024 | Restek A070024: 80 µl | 0.43966 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86431 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88167 | 0.092672 | 0.89132 | 0.1364 | 0.10111
CAMPHOR | 1433 | 62070GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.91833 | Restek | A070024 | Restek A070024: 40 µl | 0.21779 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91833 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88167 | 0.092672 | 0.89132 | 0.1364 | 0.10111
CAMPHOR | 1433 | 62070GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79079 | Restek | A075799 | Restek A075799: 50 µl | 0.25291 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79079 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.85214 | Restek | A075799 | Restek A075799: 20 µl | 0.098576 | CAMPHOR | . | 0.044 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85214 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.55895 | Restek | A075799 | Restek A075799: 80 µl | 0.3936 | CAMPHOR | . | 0.044 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55895 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.9987 | Restek | A075799 | Restek A075799: 20 µl | 0.099129 | CAMPHOR | . | 0.044 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9987 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.91675 | Restek | A075799 | Restek A075799: 50 µl | 0.25089 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91675 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.83713 | Restek | A075799 | Restek A075799: 20 µl | 0.099149 | CAMPHOR | . | 0.044 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83713 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1113 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | CAMPHOR | . | 0.044 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1113 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.85876 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | CAMPHOR | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85876 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.2629 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | CAMPHOR | E | 0.044 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2629 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1315 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1315 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92948 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92948 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92948 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | CAMPHOR | . | 0.044 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92948 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.92948 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92948 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93134 | 0.17464 | 0.92948 | 0.14657 | 0.10865
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0667 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.375 | CAMPHOR | . | 0.044 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0667 |  | 1.0667 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0667 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0667 |  | 1.0667 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1 | CAMPHOR | . | 0.044 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.1249 | 0.9 | 0.24 | 0.17791
CAMPHOR | 1433 | 62070GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5 | CAMPHOR | . | 0.044 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.1249 | 0.9 | 0.24 | 0.17791
CAMPHOR | 1433 | 62070GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86 | 0.1249 | 0.9 | 0.24 | 0.17791
CAMPHOR | 1433 | 62070GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 1 | CAMPHOR | . | 0.044 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CAMPHOR | 1433 | 62070GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.108 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.21661 | CAMPHOR | . | 0.044 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.108 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9137 | 0.12231 | 0.91636 | 0.10161 | 0.07532
CAMPHOR | 1433 | 62070GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.7964 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10799 | CAMPHOR | . | 0.044 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7964 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9137 | 0.12231 | 0.91636 | 0.10161 | 0.07532
CAMPHOR | 1433 | 62070GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.92468 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.21629 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92468 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9137 | 0.12231 | 0.91636 | 0.10161 | 0.07532
CAMPHOR | 1433 | 62070GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.91636 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10694 | CAMPHOR | . | 0.044 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91636 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9137 | 0.12231 | 0.91636 | 0.10161 | 0.07532
CAMPHOR | 1433 | 62070GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.82307 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.46168 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82307 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9137 | 0.12231 | 0.91636 | 0.10161 | 0.07532