## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBARYL | 1433 | 82680GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.27966 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.5006 | CARBARYL | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27966 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.27966 |  | 0.27966 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.13745 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.502 | CARBARYL | E | 0.16 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13745 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.13745 |  | 0.13745 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.73449 | Accu | 210091144 | Accu 210091144: 50 µl | 2.4507 | CARBARYL | E | 0.16 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73449 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.21896 | Accu | 210091144 | Accu 210091144: 20 µl | 1.0048 | CARBARYL | E | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21896 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.27724 | Accu | 210091144 | Accu 210091144: 80 µl | 3.9677 | CARBARYL | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27724 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.20354 | Accu | 210091144 | Accu 210091144: 20 µl | 0.9826 | CARBARYL | E | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20354 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.32529 | Accu | 210091144 | Accu 210091144: 80 µl | 3.9964 | CARBARYL | E | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32529 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.26157 | Accu | 210091144 | Accu 210091144: 20 µl | 0.994 | CARBARYL | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26157 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.52314 | Accu | 210091144 | Accu 210091144: 50 µl | 2.485 | CARBARYL | E | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52314 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.21127 | Accu | 210091144 | Accu 210091144: 20 µl | 0.994 | CARBARYL | E | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21127 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.2173 | Accu | 210091144 | Accu 210091144: 50 µl | 2.485 | CARBARYL | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2173 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.23139 | Accu | 210091144 | Accu 210091144: 20 µl | 0.994 | CARBARYL | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23139 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.32696 | Accu | 210091144 | Accu 210091144: 80 µl | 3.976 | CARBARYL | E | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32696 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.24145 | Accu | 210091144 | Accu 210091144: 20 µl | 0.994 | CARBARYL | E | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24145 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.50302 | Accu | 210091144 | Accu 210091144: 80 µl | 3.976 | CARBARYL | E | 0.16 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50302 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.32889 | 0.16099 | 0.26157 | 0.108 | 0.080061
CARBARYL | 1433 | 82680GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.66511 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.0525 | CARBARYL | E | 0.38 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66511 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.38497 | 0.2426 | 0.24521 | 0.4205 | 0.31172
CARBARYL | 1433 | 82680GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.24521 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.261 | CARBARYL | E | 0.38 | 0.064 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.24521 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.38497 | 0.2426 | 0.24521 | 0.4205 | 0.31172
CARBARYL | 1433 | 82680GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.2446 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.25756 | CARBARYL | E | 0.16 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2446 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.38497 | 0.2426 | 0.24521 | 0.4205 | 0.31172
CARBARYL | 1433 | 82680GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.39952 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.5006 | CARBARYL | E | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39952 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.39952 |  | 0.39952 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.31076 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.255 | CARBARYL | E | 0.16 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31076 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.31076 |  | 0.31076 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.32 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | CARBARYL | E | 0.16 | 0.032 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.32 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 | Y | 2 | 0.34 | 0.028284 | 0.34 | 0.04 | 0.029652
CARBARYL | 1433 | 82680GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.36 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | CARBARYL | E | 0.16 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.34 | 0.028284 | 0.34 | 0.04 | 0.029652
CARBARYL | 1433 | 82680GCM37 | 2008-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 0.21268 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5673 | CARBARYL | E | 1 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21268 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2008-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.34756 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5578 | CARBARYL | E | 1 | 0.889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34756 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2008-05-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.32687 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5025 | CARBARYL | E | 1 | 0.818 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32687 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2008-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.18063 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.4913 | CARBARYL | E | 1 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18063 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2008-08-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.69626 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.4704 | CARBARYL | E | 1 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69626 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2008-10-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.44009 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.4995 | CARBARYL | E | 1 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44009 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.36735 | 0.1867 | 0.33722 | 0.22741 | 0.16858
CARBARYL | 1433 | 82680GCM37 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.07875 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 3.8095 | CARBARYL | E | 1 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.07875 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2009-03-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.26492 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 2.0006 | CARBARYL | E | 1 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26492 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2009-03-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.39912 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 2.0295 | CARBARYL | E | 1 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39912 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2009-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.50703 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.8934 | CARBARYL | E | 1 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50703 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2009-08-26 | 2006-10-01 | 2009-09-30 | ug/L | 0.26424 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.8922 | CARBARYL | E | 1 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26424 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.26513 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 3.7717 | CARBARYL | E | 0.38 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26513 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.29653 | 0.14511 | 0.26502 | 0.13488 | 0.099985
CARBARYL | 1433 | 82680GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.28 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 0.5 | CARBARYL | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28 | ERA 0507-12-05.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.28 |  | 0.28 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.3625 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.26207 | CARBARYL | E | 0.38 | 0.095 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.3625 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.19746 | 0.11078 | 0.15061 | 0.1253 | 0.092882
CARBARYL | 1433 | 82680GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.1435 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.51567 | CARBARYL | E | 0.38 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1435 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.19746 | 0.11078 | 0.15061 | 0.1253 | 0.092882
CARBARYL | 1433 | 82680GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.12612 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.0307 | CARBARYL | E | 0.38 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12613 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.19746 | 0.11078 | 0.15061 | 0.1253 | 0.092882
CARBARYL | 1433 | 82680GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.15773 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.53257 | CARBARYL | E | 0.38 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15773 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.19746 | 0.11078 | 0.15061 | 0.1253 | 0.092882
CARBARYL | 1433 | 82680GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.71654 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | CARBARYL | E | 1 | 0.444 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.71654 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.4094 | 0.20778 | 0.36395 | 0.25905 | 0.19203
CARBARYL | 1433 | 82680GCM37 | 2008-09-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.5093 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | CARBARYL | E | 1 | 0.3 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5093 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.4094 | 0.20778 | 0.36395 | 0.25905 | 0.19203
CARBARYL | 1433 | 82680GCM37 | 2009-04-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.20696 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CARBARYL | E | 1 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.20696 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.4094 | 0.20778 | 0.36395 | 0.25905 | 0.19203
CARBARYL | 1433 | 82680GCM37 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.36395 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CARBARYL | E | 1 | 0.22 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.36395 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.4094 | 0.20778 | 0.36395 | 0.25905 | 0.19203
CARBARYL | 1433 | 82680GCM37 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.25025 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CARBARYL | E | 1 | 0.15 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.25025 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.4094 | 0.20778 | 0.36395 | 0.25905 | 0.19203
CARBARYL | 1433 | 82680GCM37 | 2009-03-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.19298 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CARBARYL | E | 1 | 0.12 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.19298 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 0.19298 |  | 0.19298 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.626 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | CARBARYL | E | 0.38 | 0.15 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.626 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.51858 | 0.15192 | 0.51858 | 0.21485 | 0.15927
CARBARYL | 1433 | 82680GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.41115 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | CARBARYL | E | 0.38 | 0.098 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41115 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.51858 | 0.15192 | 0.51858 | 0.21485 | 0.15927
CARBARYL | 1433 | 82680GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.19952 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.12029 | CARBARYL | E | 0.16 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.19952 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.25155 | 0.058293 | 0.23667 | 0.08024 | 0.059481
CARBARYL | 1433 | 82680GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.25 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.48 | CARBARYL | E | 0.16 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.25155 | 0.058293 | 0.23667 | 0.08024 | 0.059481
CARBARYL | 1433 | 82680GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.33333 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.3 | CARBARYL | E | 0.16 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33333 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.25155 | 0.058293 | 0.23667 | 0.08024 | 0.059481
CARBARYL | 1433 | 82680GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.22333 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.3 | CARBARYL | E | 0.16 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22333 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.25155 | 0.058293 | 0.23667 | 0.08024 | 0.059481
CARBARYL | 1433 | 82680GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.22928 | Restek | A075799 | Restek A075799: 50 µl | 2.5296 | CARBARYL | E | 0.16 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22928 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.43612 | Restek | A075799 | Restek A075799: 20 µl | 0.98596 | CARBARYL | E | 0.16 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43612 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.066044 | Restek | A075799 | Restek A075799: 80 µl | 3.9368 | CARBARYL | E | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.066044 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.063541 | Restek | A075799 | Restek A075799: 20 µl | 0.99149 | CARBARYL | E | 0.16 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.063541 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.21519 | Restek | A075799 | Restek A075799: 50 µl | 2.5094 | CARBARYL | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21519 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.45377 | Restek | A075799 | Restek A075799: 20 µl | 0.99169 | CARBARYL | E | 0.16 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45377 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.29293 | Restek | A075799 | Restek A075799: 20 µl | 0.99 | CARBARYL | E | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29293 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.25 | Restek | A075799 | Restek A075799: 80 µl | 3.96 | CARBARYL | E | 0.16 | 0.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.27778 | Restek | A075799 | Restek A075799: 80 µl | 3.96 | CARBARYL | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27778 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.34747 | Restek | A075799 | Restek A075799: 50 µl | 2.475 | CARBARYL | E | 0.16 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34747 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.34343 | Restek | A075799 | Restek A075799: 50 µl | 2.475 | CARBARYL | E | 0.16 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34343 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.31313 | Restek | A075799 | Restek A075799: 20 µl | 0.99 | CARBARYL | E | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31313 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.21818 | Restek | A075799 | Restek A075799: 50 µl | 2.475 | CARBARYL | E | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21818 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.26976 | 0.11803 | 0.27778 | 0.12525 | 0.092848
CARBARYL | 1433 | 82680GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.45817 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.502 | CARBARYL | E | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45817 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.45817 |  | 0.45817 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.37 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | CARBARYL | E | 0.16 | 0.037 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.37 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 | Y | 3 | 0.36333 | 0.12014 | 0.37 | 0.24 | 0.17791
CARBARYL | 1433 | 82680GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.48 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | CARBARYL | E | 0.16 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 3 | 0.36333 | 0.12014 | 0.37 | 0.24 | 0.17791
CARBARYL | 1433 | 82680GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.24 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | CARBARYL | E | 0.16 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 3 | 0.36333 | 0.12014 | 0.37 | 0.24 | 0.17791
CARBARYL | 1433 | 82680GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.18578 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.5006 | CARBARYL | E | 0.16 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18578 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.18578 |  | 0.18578 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.45657 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.255 | CARBARYL | E | 0.16 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45657 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.45657 |  | 0.45657 | 0 | 0
CARBARYL | 1433 | 82680GCM37 | 2009-03-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.046135 | Supelco | LB60966 | Supelco LB60966: 20 µl | 1.9941 | CARBARYL | E | 1 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.046135 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11917 | 0.071881 | 0.10219 | 0.032598 | 0.024164
CARBARYL | 1433 | 82680GCM37 | 2009-04-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.088496 | Supelco | LB60966 | Supelco LB60966: 20 µl | 1.921 | CARBARYL | E | 1 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.088496 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11917 | 0.071881 | 0.10219 | 0.032598 | 0.024164
CARBARYL | 1433 | 82680GCM37 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.10219 | Supelco | LB60966 | Supelco LB60966: 40 µl | 3.8166 | CARBARYL | E | 1 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10219 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11917 | 0.071881 | 0.10219 | 0.032598 | 0.024164
CARBARYL | 1433 | 82680GCM37 | 2009-09-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.23791 | Supelco | LB60966 | Supelco LB60966: 20 µl | 1.8914 | CARBARYL | E | 1 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23791 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11917 | 0.071881 | 0.10219 | 0.032598 | 0.024164
CARBARYL | 1433 | 82680GCM37 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.12109 | Supelco | LB60966 | Supelco LB60966: 20 µl | 1.8994 | CARBARYL | E | 0.38 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12109 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11917 | 0.071881 | 0.10219 | 0.032598 | 0.024164