## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBAZOLE | 1433 | 62071GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | CARBAZOLE | . | 0.03 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.65664 | Accu | 210091144 | Accu 210091144: 50 µl | 0.19798 | CARBAZOLE | . | 0.03 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65664 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.616 | Accu | 210091144 | Accu 210091144: 20 µl | 0.081169 | CARBAZOLE | E | 0.03 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.616 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.87356 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32053 | CARBAZOLE | . | 0.03 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87356 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.89444 | Accu | 210091144 | Accu 210091144: 20 µl | 0.079379 | CARBAZOLE | . | 0.03 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89444 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.86729 | Accu | 210091144 | Accu 210091144: 80 µl | 0.32285 | CARBAZOLE | . | 0.03 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86729 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.97136 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0803 | CARBAZOLE | . | 0.03 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97136 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.84682 | Accu | 210091144 | Accu 210091144: 50 µl | 0.20075 | CARBAZOLE | . | 0.03 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84682 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.85928 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0803 | CARBAZOLE | . | 0.03 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85928 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.99626 | Accu | 210091144 | Accu 210091144: 50 µl | 0.20075 | CARBAZOLE | . | 0.03 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99626 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97136 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0803 | CARBAZOLE | . | 0.03 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97136 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.96513 | Accu | 210091144 | Accu 210091144: 80 µl | 0.3212 | CARBAZOLE | . | 0.03 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96513 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.78456 | Accu | 210091144 | Accu 210091144: 20 µl | 0.0803 | CARBAZOLE | . | 0.03 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78456 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.934 | Accu | 210091144 | Accu 210091144: 80 µl | 0.3212 | CARBAZOLE | . | 0.03 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.934 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.86436 | 0.11826 | 0.87356 | 0.11831 | 0.087699
CARBAZOLE | 1433 | 62071GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.72918 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 3.7302 | CARBAZOLE | . | 0.04 | 2.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72918 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.7546 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.9878 | CARBAZOLE | . | 0.04 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7546 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.69021 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.9704 | CARBAZOLE | . | 0.04 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69021 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.73257 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 3.8222 | CARBAZOLE | . | 0.04 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73257 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.68519 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.8973 | CARBAZOLE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68519 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.5832 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.8861 | CARBAZOLE | . | 0.03 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5832 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.69582 | 0.061229 | 0.70969 | 0.047378 | 0.035121
CARBAZOLE | 1433 | 62071GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.90909 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0594 | CARBAZOLE | . | 0.03 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.90909 |  | 0.90909 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.87542 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0594 | CARBAZOLE | . | 0.03 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87542 |  | 0.87542 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.87542 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1485 | CARBAZOLE | . | 0.03 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87542 |  | 0.87542 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92593 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0594 | CARBAZOLE | . | 0.03 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92593 |  | 0.92593 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86869 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | CARBAZOLE | . | 0.03 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86869 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83502 | 0.13451 | 0.86869 | 0.26263 | 0.19468
CARBAZOLE | 1433 | 62071GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.68687 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.495 | CARBAZOLE | . | 0.03 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68687 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83502 | 0.13451 | 0.86869 | 0.26263 | 0.19468
CARBAZOLE | 1433 | 62071GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94949 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | CARBAZOLE | . | 0.03 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83502 | 0.13451 | 0.86869 | 0.26263 | 0.19468
CARBAZOLE | 1433 | 62071GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.78788 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.495 | CARBAZOLE | . | 0.03 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78788 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78788 |  | 0.78788 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.79798 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.099 | CARBAZOLE | . | 0.03 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79798 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82323 | 0.035712 | 0.82323 | 0.050505 | 0.037439
CARBAZOLE | 1433 | 62071GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.495 | CARBAZOLE | . | 0.03 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82323 | 0.035712 | 0.82323 | 0.050505 | 0.037439
CARBAZOLE | 1433 | 62071GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.85859 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.99 | CARBAZOLE | . | 0.03 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85859 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85859 |  | 0.85859 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0619 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | CARBAZOLE | . | 0.08 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0619 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.86673 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | CARBAZOLE | . | 0.08 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86673 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.95069 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | CARBAZOLE | . | 0.08 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95069 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.796 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CARBAZOLE | . | 0.04 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.81062 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CARBAZOLE | . | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81062 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.71738 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CARBAZOLE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71738 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86722 | 0.12296 | 0.83868 | 0.15469 | 0.11467
CARBAZOLE | 1433 | 62071GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.65935 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CARBAZOLE | . | 0.04 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65935 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.65935 |  | 0.65935 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0016 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | CARBAZOLE | . | 0.03 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84063 | 0.22765 | 0.84063 | 0.32194 | 0.23865
CARBAZOLE | 1433 | 62071GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67966 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | CARBAZOLE | E | 0.03 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67966 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.84063 | 0.22765 | 0.84063 | 0.32194 | 0.23865
CARBAZOLE | 1433 | 62071GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1971 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | CARBAZOLE | . | 0.03 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1971 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1493 | 0.099529 | 1.1986 | 0.10144 | 0.075196
CARBAZOLE | 1433 | 62071GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | CARBAZOLE | . | 0.03 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1493 | 0.099529 | 1.1986 | 0.10144 | 0.075196
CARBAZOLE | 1433 | 62071GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | CARBAZOLE | . | 0.03 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1493 | 0.099529 | 1.1986 | 0.10144 | 0.075196
CARBAZOLE | 1433 | 62071GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | CARBAZOLE | . | 0.03 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1493 | 0.099529 | 1.1986 | 0.10144 | 0.075196
CARBAZOLE | 1433 | 62071GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.73086 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.9156 | CARBAZOLE | . | 0.04 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73086 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69704 | 0.063763 | 0.6926 | 0.088425 | 0.065549
CARBAZOLE | 1433 | 62071GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.78647 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.9073 | CARBAZOLE | . | 0.04 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78647 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69704 | 0.063763 | 0.6926 | 0.088425 | 0.065549
CARBAZOLE | 1433 | 62071GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.6926 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.877 | CARBAZOLE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6926 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69704 | 0.063763 | 0.6926 | 0.088425 | 0.065549
CARBAZOLE | 1433 | 62071GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.64243 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.8679 | CARBAZOLE | . | 0.04 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64243 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69704 | 0.063763 | 0.6926 | 0.088425 | 0.065549
CARBAZOLE | 1433 | 62071GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.63285 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 3.7923 | CARBAZOLE | . | 0.03 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63285 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69704 | 0.063763 | 0.6926 | 0.088425 | 0.065549
CARBAZOLE | 1433 | 62071GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.66846 | Restek | A053259 | Restek A053259: 25 µl | 0.52509 | CARBAZOLE | . | 0.08 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66846 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.66846 |  | 0.66846 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.6857 | Restek | A070024 | Restek A070024: 20 µl | 0.35001 | CARBAZOLE | . | 0.03 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6857 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70976 | 0.071234 | 0.67927 | 0.082005 | 0.060789
CARBAZOLE | 1433 | 62071GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.81582 | Restek | A070024 | Restek A070024: 10 µl | 0.17161 | CARBAZOLE | . | 0.03 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81582 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70976 | 0.071234 | 0.67927 | 0.082005 | 0.060789
CARBAZOLE | 1433 | 62071GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.67283 | Restek | A070024 | Restek A070024: 80 µl | 1.3971 | CARBAZOLE | . | 0.03 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67283 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70976 | 0.071234 | 0.67927 | 0.082005 | 0.060789
CARBAZOLE | 1433 | 62071GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.66469 | Restek | A070024 | Restek A070024: 40 µl | 0.69206 | CARBAZOLE | . | 0.03 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66469 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70976 | 0.071234 | 0.67927 | 0.082005 | 0.060789
CARBAZOLE | 1433 | 62071GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.84025 | Restek | A075799 | Restek A075799: 50 µl | 0.20232 | CARBAZOLE | . | 0.03 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84025 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 1.1033 | Restek | A075799 | Restek A075799: 20 µl | 0.078857 | CARBAZOLE | . | 0.03 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.4764 | Restek | A075799 | Restek A075799: 80 µl | 0.31486 | CARBAZOLE | . | 0.03 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4764 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.92057 | Restek | A075799 | Restek A075799: 20 µl | 0.079299 | CARBAZOLE | . | 0.03 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92057 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.94669 | Restek | A075799 | Restek A075799: 50 µl | 0.2007 | CARBAZOLE | . | 0.03 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94669 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.92038 | Restek | A075799 | Restek A075799: 20 µl | 0.079315 | CARBAZOLE | . | 0.03 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92038 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1367 | Restek | A075799 | Restek A075799: 20 µl | 0.07918 | CARBAZOLE | . | 0.03 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.69462 | Restek | A075799 | Restek A075799: 80 µl | 0.31672 | CARBAZOLE | . | 0.03 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69462 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.3261 | Restek | A075799 | Restek A075799: 80 µl | 0.31672 | CARBAZOLE | E | 0.03 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3261 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1114 | Restek | A075799 | Restek A075799: 50 µl | 0.19795 | CARBAZOLE | . | 0.03 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1114 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8588 | Restek | A075799 | Restek A075799: 50 µl | 0.19795 | CARBAZOLE | . | 0.03 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8588 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88406 | Restek | A075799 | Restek A075799: 20 µl | 0.07918 | CARBAZOLE | . | 0.03 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88406 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.90932 | Restek | A075799 | Restek A075799: 50 µl | 0.19795 | CARBAZOLE | . | 0.03 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90932 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93296 | 0.21207 | 0.92038 | 0.24446 | 0.18122
CARBAZOLE | 1433 | 62071GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.15 | CARBAZOLE | . | 0.03 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.06 | CARBAZOLE | . | 0.03 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.78333 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.06 | CARBAZOLE | . | 0.03 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78333 |  | 0.78333 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | CARBAZOLE | . | 0.03 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.66 |  | 0.66 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | CARBAZOLE | . | 0.03 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | CARBAZOLE | . | 0.03 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.12166 | 0.96 | 0.22 | 0.16308
CARBAZOLE | 1433 | 62071GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | CARBAZOLE | . | 0.03 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.12166 | 0.96 | 0.22 | 0.16308
CARBAZOLE | 1433 | 62071GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | CARBAZOLE | . | 0.03 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.12166 | 0.96 | 0.22 | 0.16308
CARBAZOLE | 1433 | 62071GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | CARBAZOLE | . | 0.03 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
CARBAZOLE | 1433 | 62071GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.84001 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.69047 | CARBAZOLE | . | 0.03 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84001 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77792 | 0.065481 | 0.75422 | 0.092556 | 0.06861
CARBAZOLE | 1433 | 62071GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.69723 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.34422 | CARBAZOLE | . | 0.03 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69723 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77792 | 0.065481 | 0.75422 | 0.092556 | 0.06861
CARBAZOLE | 1433 | 62071GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.75422 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.68945 | CARBAZOLE | . | 0.03 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75422 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77792 | 0.065481 | 0.75422 | 0.092556 | 0.06861
CARBAZOLE | 1433 | 62071GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.85069 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.3409 | CARBAZOLE | . | 0.03 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85069 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77792 | 0.065481 | 0.75422 | 0.092556 | 0.06861
CARBAZOLE | 1433 | 62071GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74745 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.4717 | CARBAZOLE | . | 0.03 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74745 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77792 | 0.065481 | 0.75422 | 0.092556 | 0.06861