## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.77268 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.4012 | CHLORPYRIFOS | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77268 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77268 |  | 0.77268 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.62313 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.4012 | CHLORPYRIFOS | . | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62313 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.62313 |  | 0.62313 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83056 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 3.01 | CHLORPYRIFOS | . | 0.16 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83056 |  | 0.83056 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.43189 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.602 | CHLORPYRIFOS | . | 0.16 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43189 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.43189 |  | 0.43189 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.66445 | Abs | 051112 | Abs 051112: 20 µl | 0.602 | CHLORPYRIFOS | . | 0.16 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66445 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.66445 |  | 0.66445 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.74223 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.7245 | CHLORPYRIFOS | . | 0.12 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74223 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-01-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.61758 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.8135 | CHLORPYRIFOS | . | 0.12 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61758 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-03-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.47164 | Abs | 080508WW | Abs 080508WW: 40 µl | 3.6045 | CHLORPYRIFOS | . | 0.12 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47164 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.55827 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.7017 | CHLORPYRIFOS | . | 0.12 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55827 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.58262 | Abs | 080508WW | Abs 080508WW: 40 µl | 3.4328 | CHLORPYRIFOS | . | 0.12 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58262 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.70196 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.7095 | CHLORPYRIFOS | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70196 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.61238 | 0.098524 | 0.6001 | 0.14368 | 0.10651
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.81906 | Accu | 210091144 | Accu 210091144: 50 µl | 0.48836 | CHLORPYRIFOS | . | 0.16 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81906 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.42453 | Accu | 210091144 | Accu 210091144: 20 µl | 0.20022 | CHLORPYRIFOS | E | 0.16 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42453 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.67033 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79066 | CHLORPYRIFOS | . | 0.16 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67033 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.56177 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19581 | CHLORPYRIFOS | . | 0.16 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56177 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.6404 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79638 | CHLORPYRIFOS | . | 0.16 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6404 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.90872 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19808 | CHLORPYRIFOS | . | 0.16 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90872 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.76737 | Accu | 210091144 | Accu 210091144: 50 µl | 0.4952 | CHLORPYRIFOS | . | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76737 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.55533 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19808 | CHLORPYRIFOS | . | 0.16 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55533 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.56543 | Accu | 210091144 | Accu 210091144: 50 µl | 0.4952 | CHLORPYRIFOS | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56543 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.60582 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19808 | CHLORPYRIFOS | . | 0.16 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60582 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.6563 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79232 | CHLORPYRIFOS | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6563 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.75727 | Accu | 210091144 | Accu 210091144: 20 µl | 0.19808 | CHLORPYRIFOS | . | 0.16 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75727 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.97183 | Accu | 210091144 | Accu 210091144: 80 µl | 0.79232 | CHLORPYRIFOS | . | 0.16 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97183 | Accu 210091144 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.68493 | 0.15431 | 0.6563 | 0.20194 | 0.1497
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.44616 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.42586 | CHLORPYRIFOS | . | 0.16 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44616 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6926 | 0.18171 | 0.72091 | 0.23661 | 0.1754
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.88243 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.87259 | CHLORPYRIFOS | . | 0.16 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88243 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6926 | 0.18171 | 0.72091 | 0.23661 | 0.1754
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73939 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.2164 | CHLORPYRIFOS | . | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73939 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6926 | 0.18171 | 0.72091 | 0.23661 | 0.1754
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.70244 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.21354 | CHLORPYRIFOS | E | 0.16 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70244 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.6926 | 0.18171 | 0.72091 | 0.23661 | 0.1754
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1715 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.4012 | CHLORPYRIFOS | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1715 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1715 |  | 1.1715 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.7992 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.4004 | CHLORPYRIFOS | . | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7992 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7992 |  | 0.7992 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76412 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.301 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76412 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.63344 | 0.12958 | 0.63123 | 0.25914 | 0.1921
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.50498 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.505 | CHLORPYRIFOS | . | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50498 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.63344 | 0.12958 | 0.63123 | 0.25914 | 0.1921
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.63123 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.301 | CHLORPYRIFOS | . | 0.16 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63123 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.63344 | 0.12958 | 0.63123 | 0.25914 | 0.1921
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.5996 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 3.002 | CHLORPYRIFOS | . | 0.16 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5996 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.5996 |  | 0.5996 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.58347 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 3.4278 | CHLORPYRIFOS | . | 0.12 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58347 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.51473 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.7485 | CHLORPYRIFOS | . | 0.12 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51473 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.57608 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.7359 | CHLORPYRIFOS | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57608 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.52226 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.7041 | CHLORPYRIFOS | . | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52226 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.47564 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 3.3639 | CHLORPYRIFOS | . | 0.12 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47564 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.64833 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.6967 | CHLORPYRIFOS | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64833 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.55342 | 0.06155 | 0.54917 | 0.06874 | 0.050956
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.64303 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.21772 | CHLORPYRIFOS | E | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64303 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.51746 | 0.08259 | 0.51984 | 0.081428 | 0.060362
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.43208 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.21061 | CHLORPYRIFOS | E | 0.16 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43208 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.51746 | 0.08259 | 0.51984 | 0.081428 | 0.060362
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.53688 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.4284 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53688 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.51746 | 0.08259 | 0.51984 | 0.081428 | 0.060362
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.45545 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.85629 | CHLORPYRIFOS | . | 0.16 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45545 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.51746 | 0.08259 | 0.51984 | 0.081428 | 0.060362
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.51984 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.44244 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51984 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.51746 | 0.08259 | 0.51984 | 0.081428 | 0.060362
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.67135 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | CHLORPYRIFOS | . | 0.12 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67135 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.52271 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | CHLORPYRIFOS | . | 0.12 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52271 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.81488 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | CHLORPYRIFOS | . | 0.12 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81488 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.68456 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CHLORPYRIFOS | . | 0.12 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68456 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.71136 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CHLORPYRIFOS | . | 0.12 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71136 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.6006 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CHLORPYRIFOS | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6006 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66758 | 0.099389 | 0.67796 | 0.11076 | 0.082108
CHLORPYRIFOS | 1433 | 38933GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.64327 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CHLORPYRIFOS | . | 0.12 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64327 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.64327 |  | 0.64327 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.57383 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | CHLORPYRIFOS | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57383 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.53864 | 0.049769 | 0.53864 | 0.070383 | 0.052174
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.50345 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | CHLORPYRIFOS | E | 0.16 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50345 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.53864 | 0.049769 | 0.53864 | 0.070383 | 0.052174
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.56115 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | CHLORPYRIFOS | . | 0.16 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56115 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62427 | 0.085344 | 0.59297 | 0.10146 | 0.075208
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.58594 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | CHLORPYRIFOS | . | 0.16 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58594 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62427 | 0.085344 | 0.59297 | 0.10146 | 0.075208
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.75 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | CHLORPYRIFOS | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62427 | 0.085344 | 0.59297 | 0.10146 | 0.075208
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | CHLORPYRIFOS | . | 0.16 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62427 | 0.085344 | 0.59297 | 0.10146 | 0.075208
CHLORPYRIFOS | 1433 | 38933GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.55344 | Restek | A075799 | Restek A075799: 50 µl | 0.50593 | CHLORPYRIFOS | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55344 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 1.1664 | Restek | A075799 | Restek A075799: 20 µl | 0.19719 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1664 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.35562 | Restek | A075799 | Restek A075799: 80 µl | 0.78735 | CHLORPYRIFOS | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35562 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.41856 | Restek | A075799 | Restek A075799: 20 µl | 0.1983 | CHLORPYRIFOS | . | 0.16 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41856 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.61768 | Restek | A075799 | Restek A075799: 50 µl | 0.50188 | CHLORPYRIFOS | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61768 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.70587 | Restek | A075799 | Restek A075799: 20 µl | 0.19834 | CHLORPYRIFOS | . | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70587 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.9596 | Restek | A075799 | Restek A075799: 20 µl | 0.198 | CHLORPYRIFOS | . | 0.16 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.49242 | Restek | A075799 | Restek A075799: 80 µl | 0.792 | CHLORPYRIFOS | . | 0.16 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49242 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Restek | A075799 | Restek A075799: 80 µl | 0.792 | CHLORPYRIFOS | E | 0.16 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.70707 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CHLORPYRIFOS | . | 0.16 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70707 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.68687 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CHLORPYRIFOS | . | 0.16 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68687 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Restek | A075799 | Restek A075799: 20 µl | 0.198 | CHLORPYRIFOS | . | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Restek | A075799 | Restek A075799: 50 µl | 0.495 | CHLORPYRIFOS | . | 0.16 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Restek A075799 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.70722 | 0.22708 | 0.70587 | 0.2799 | 0.20748
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.90728 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.003 | CHLORPYRIFOS | . | 0.16 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90728 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.90728 |  | 0.90728 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.57443 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.4004 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57443 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.57443 |  | 0.57443 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0299 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.301 | CHLORPYRIFOS | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0299 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0299 |  | 1.0299 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0493 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.6004 | CHLORPYRIFOS | . | 0.16 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0493 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0493 |  | 1.0493 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.93271 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.3002 | CHLORPYRIFOS | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93271 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.68621 | 0.23432 | 0.65956 | 0.46636 | 0.3457
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.46636 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.3002 | CHLORPYRIFOS | . | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46636 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.68621 | 0.23432 | 0.65956 | 0.46636 | 0.3457
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.65956 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 1.501 | CHLORPYRIFOS | . | 0.16 | 0.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65956 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.68621 | 0.23432 | 0.65956 | 0.46636 | 0.3457
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.53298 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.3002 | CHLORPYRIFOS | . | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53298 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.53298 |  | 0.53298 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.57443 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4004 | CHLORPYRIFOS | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57443 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.57443 |  | 0.57443 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.9011 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.001 | CHLORPYRIFOS | E | 0.16 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9011 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.9011 |  | 0.9011 | 0 | 0
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.60063 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.3619 | CHLORPYRIFOS | . | 0.12 | 0.818 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60063 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.56498 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.2974 | CHLORPYRIFOS | . | 0.12 | 0.733 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56498 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.68719 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.298 | CHLORPYRIFOS | . | 0.12 | 0.892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68719 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.64525 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.2894 | CHLORPYRIFOS | . | 0.12 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64525 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.55393 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.2926 | CHLORPYRIFOS | . | 0.12 | 0.716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55393 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.75595 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.2779 | CHLORPYRIFOS | . | 0.12 | 0.966 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75595 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782
CHLORPYRIFOS | 1433 | 38933GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.38025 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.2781 | CHLORPYRIFOS | E | 0.12 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38025 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.59831 | 0.11944 | 0.60063 | 0.13326 | 0.098782