## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHOLESTEROL | 1433 | 62072GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.69324 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 3.462 | CHOLESTEROL | E | 2 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69324 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.69324 |  | 0.69324 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.85227 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 3.52 | CHOLESTEROL | E | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.85227 |  | 0.85227 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 2.3209 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 9.91 | CHOLESTEROL | E | 2 | 23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 2 |  | 2 | 0 | 0 | 2
CHOLESTEROL | 1433 | 62072GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.62 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9355 | CHOLESTEROL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.64928 | 0.042955 | 0.64012 | 0.066969 | 0.049643
CHOLESTEROL | 1433 | 62072GCM37 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.7053 | Accu | 209081217 | Accu 209081217: 40 µl | 3.97 | CHOLESTEROL | E | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7053 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64928 | 0.042955 | 0.64012 | 0.066969 | 0.049643
CHOLESTEROL | 1433 | 62072GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.61159 | Accu | 209081217 | Accu 209081217: 20 µl | 1.9621 | CHOLESTEROL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.61159 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.64928 | 0.042955 | 0.64012 | 0.066969 | 0.049643
CHOLESTEROL | 1433 | 62072GCM37 | 2010-09-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66023 | Accu | 209081217 | Accu 209081217: 80 µl | 7.876 | CHOLESTEROL | E | 2 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66023 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64928 | 0.042955 | 0.64012 | 0.066969 | 0.049643
CHOLESTEROL | 1433 | 62072GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.73689 | Accu | 210091144 | Accu 210091144: 50 µl | 9.6351 | CHOLESTEROL | E | 2 | 7.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73689 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.78476 | Accu | 210091144 | Accu 210091144: 20 µl | 3.9503 | CHOLESTEROL | E | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78476 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2011-03-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.76927 | Accu | 210091144 | Accu 210091144: 80 µl | 15.5992 | CHOLESTEROL | E | 2 | 12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76927 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2011-05-24 | 2011-02-01 | 2011-09-30 | ug/L | 0.82833 | Accu | 210091144 | Accu 210091144: 20 µl | 3.8632 | CHOLESTEROL | E | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82833 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2011-06-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.7001 | Accu | 210091144 | Accu 210091144: 80 µl | 15.7121 | CHOLESTEROL | E | 2 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7001 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.94678 | Accu | 210091144 | Accu 210091144: 20 µl | 3.908 | CHOLESTEROL | E | 2 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94678 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2011-08-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.1259 | Accu | 210091144 | Accu 210091144: 50 µl | 9.77 | CHOLESTEROL | E | 2 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1259 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.61413 | Accu | 210091144 | Accu 210091144: 20 µl | 3.908 | CHOLESTEROL | E | 2 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61412 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-02-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.92119 | Accu | 210091144 | Accu 210091144: 50 µl | 9.77 | CHOLESTEROL | E | 2 | 9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92119 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.87001 | Accu | 210091144 | Accu 210091144: 20 µl | 3.908 | CHOLESTEROL | E | 2 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87001 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.95957 | Accu | 210091144 | Accu 210091144: 80 µl | 15.632 | CHOLESTEROL | E | 2 | 15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95957 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.61413 | Accu | 210091144 | Accu 210091144: 20 µl | 3.908 | CHOLESTEROL | E | 2 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61412 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2012-06-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.8956 | Accu | 210091144 | Accu 210091144: 80 µl | 15.632 | CHOLESTEROL | E | 2 | 14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8956 | Accu 210091144 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.8282 | 0.14624 | 0.82833 | 0.1843 | 0.13662
CHOLESTEROL | 1433 | 62072GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86655 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 3.462 | CHOLESTEROL | E | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86655 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.86655 |  | 0.86655 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.94318 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 8.8 | CHOLESTEROL | E | 2 | 8.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94318 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.94318 |  | 0.94318 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.72654 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 4.955 | CHOLESTEROL | E | 2 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72654 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.72654 |  | 0.72654 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 1 | CHOLESTEROL | E | 2 | 0.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 | Y | 2 | 0.89 | 0.41012 | 0.89 | 0.58 | 0.42995
CHOLESTEROL | 1433 | 62072GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.18 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 5 | CHOLESTEROL | E | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.89 | 0.41012 | 0.89 | 0.58 | 0.42995
CHOLESTEROL | 1433 | 62072GCM37 | 2008-03-31 | 2006-10-01 | 2008-09-30 | ug/L | 0.75956 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 4.1076 | CHOLESTEROL | E | 1.4 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75956 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64915 | 0.074391 | 0.64475 | 0.042252 | 0.031321
CHOLESTEROL | 1433 | 62072GCM37 | 2008-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.66463 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 4.0925 | CHOLESTEROL | E | 1.4 | 2.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66463 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64915 | 0.074391 | 0.64475 | 0.042252 | 0.031321
CHOLESTEROL | 1433 | 62072GCM37 | 2008-05-20 | 2006-10-01 | 2008-09-30 | ug/L | 0.55444 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 4.004 | CHOLESTEROL | E | 1.4 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55445 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64915 | 0.074391 | 0.64475 | 0.042252 | 0.031321
CHOLESTEROL | 1433 | 62072GCM37 | 2008-06-03 | 2006-10-01 | 2008-09-30 | ug/L | 0.64475 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.986 | CHOLESTEROL | E | 1.4 | 2.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64475 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64915 | 0.074391 | 0.64475 | 0.042252 | 0.031321
CHOLESTEROL | 1433 | 62072GCM37 | 2008-08-02 | 2006-10-01 | 2008-09-30 | ug/L | 0.62238 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.9526 | CHOLESTEROL | E | 1.4 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62238 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.64915 | 0.074391 | 0.64475 | 0.042252 | 0.031321
CHOLESTEROL | 1433 | 62072GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.38099 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 8.6617 | CHOLESTEROL | E | 2 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38099 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.59356 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 4.5488 | CHOLESTEROL | E | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59356 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.49844 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 4.6144 | CHOLESTEROL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49844 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.65042 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 4.3049 | CHOLESTEROL | E | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65042 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2009-08-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.72053 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 4.3024 | CHOLESTEROL | E | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72053 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.66467 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 8.5757 | CHOLESTEROL | E | 2 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66467 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58477 | 0.12505 | 0.62199 | 0.16623 | 0.12322
CHOLESTEROL | 1433 | 62072GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.97621 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 7.7852 | CHOLESTEROL | E | 2 | 7.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97621 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73673 | 0.20773 | 0.6288 | 0.37103 | 0.27504
CHOLESTEROL | 1433 | 62072GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.60517 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9658 | CHOLESTEROL | E | 2 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60517 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73673 | 0.20773 | 0.6288 | 0.37103 | 0.27504
CHOLESTEROL | 1433 | 62072GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.6288 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 3.9758 | CHOLESTEROL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6288 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73673 | 0.20773 | 0.6288 | 0.37103 | 0.27504
CHOLESTEROL | 1433 | 62072GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 5 | CHOLESTEROL | E | 2 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | ERA 0507-12-05.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.78 |  | 0.78 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.92795 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.4786 | CHOLESTEROL | E | 1.4 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92795 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.40539 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.3952 | CHOLESTEROL | E | 1.4 | 0.971 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40539 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.55174 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.3562 | CHOLESTEROL | E | 1.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55174 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.8358 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.5126 | CHOLESTEROL | E | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8358 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.4963 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.4179 | CHOLESTEROL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4963 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.40457 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 2.3976 | CHOLESTEROL | E | 2 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40457 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60363 | 0.2246 | 0.52402 | 0.43041 | 0.31906
CHOLESTEROL | 1433 | 62072GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.76388 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 2.4873 | CHOLESTEROL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76388 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.76388 |  | 0.76388 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.99117 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | CHOLESTEROL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.99117 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.83646 | 0.21879 | 0.83646 | 0.30941 | 0.22936
CHOLESTEROL | 1433 | 62072GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.68176 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | CHOLESTEROL | E | 2 | 1.3 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68176 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.83646 | 0.21879 | 0.83646 | 0.30941 | 0.22936
CHOLESTEROL | 1433 | 62072GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.247 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | CHOLESTEROL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.247 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0637 | 0.17944 | 1.0938 | 0.24459 | 0.18131
CHOLESTEROL | 1433 | 62072GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.82031 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | CHOLESTEROL | E | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82031 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0637 | 0.17944 | 1.0938 | 0.24459 | 0.18131
CHOLESTEROL | 1433 | 62072GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | CHOLESTEROL | E | 2 | 1.7 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0625 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0637 | 0.17944 | 1.0938 | 0.24459 | 0.18131
CHOLESTEROL | 1433 | 62072GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | CHOLESTEROL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.125 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0637 | 0.17944 | 1.0938 | 0.24459 | 0.18131
CHOLESTEROL | 1433 | 62072GCM37 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.69188 | Restek | A075799 | Restek A075799: 50 µl | 10.1174 | CHOLESTEROL | E | 2 | 7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69188 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-01-29 | 2010-10-01 | 2011-01-31 | ug/L | 0.81149 | Restek | A075799 | Restek A075799: 20 µl | 3.9434 | CHOLESTEROL | E | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81149 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-03-10 | 2011-02-01 | 2011-09-30 | ug/L | 0.49539 | Restek | A075799 | Restek A075799: 80 µl | 15.7453 | CHOLESTEROL | E | 2 | 7.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49539 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-04-27 | 2011-02-01 | 2011-09-30 | ug/L | 0.75653 | Restek | A075799 | Restek A075799: 20 µl | 3.9655 | CHOLESTEROL | E | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75653 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.82699 | Restek | A075799 | Restek A075799: 50 µl | 10.0364 | CHOLESTEROL | E | 2 | 8.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82699 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-06-30 | 2011-02-01 | 2011-09-30 | ug/L | 0.90765 | Restek | A075799 | Restek A075799: 20 µl | 3.9663 | CHOLESTEROL | E | 2 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90765 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.88394 | Restek | A075799 | Restek A075799: 20 µl | 3.9595 | CHOLESTEROL | E | 2 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88394 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.27781 | Restek | A075799 | Restek A075799: 80 µl | 15.8382 | CHOLESTEROL | E | 2 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27781 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2012-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1996 | Restek | A075799 | Restek A075799: 80 µl | 15.8382 | CHOLESTEROL | E | 2 | 19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1996 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.87889 | Restek | A075799 | Restek A075799: 50 µl | 9.8988 | CHOLESTEROL | E | 2 | 8.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87889 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72736 | Restek | A075799 | Restek A075799: 50 µl | 9.8988 | CHOLESTEROL | E | 2 | 7.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72736 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2012-04-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.55562 | Restek | A075799 | Restek A075799: 20 µl | 3.9595 | CHOLESTEROL | E | 2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55562 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2012-06-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.74756 | Restek | A075799 | Restek A075799: 50 µl | 9.8988 | CHOLESTEROL | E | 2 | 7.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74756 | Restek A075799 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.75083 | 0.22375 | 0.75653 | 0.18701 | 0.13863
CHOLESTEROL | 1433 | 62072GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.48295 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 3.52 | CHOLESTEROL | E | 2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48295 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.48295 |  | 0.48295 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.70636 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1.982 | CHOLESTEROL | E | 2 | 1.4 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70636 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 1 | 0.70636 |  | 0.70636 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 1 | CHOLESTEROL | E | 2 | 0.5 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 | Y | 3 | 0.60333 | 0.10504 | 0.6 | 0.21 | 0.15567
CHOLESTEROL | 1433 | 62072GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 10 | CHOLESTEROL | E | 2 | 7.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 3 | 0.60333 | 0.10504 | 0.6 | 0.21 | 0.15567
CHOLESTEROL | 1433 | 62072GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 5 | CHOLESTEROL | E | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 | Y | 3 | 0.60333 | 0.10504 | 0.6 | 0.21 | 0.15567
CHOLESTEROL | 1433 | 62072GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.70636 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.991 | CHOLESTEROL | E | 2 | 0.7 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70636 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.78036 | 0.064875 | 0.80727 | 0.12109 | 0.089763
CHOLESTEROL | 1433 | 62072GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.80727 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.991 | CHOLESTEROL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.80727 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.78036 | 0.064875 | 0.80727 | 0.12109 | 0.089763
CHOLESTEROL | 1433 | 62072GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.82745 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 4.955 | CHOLESTEROL | E | 2 | 4.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82745 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 3 | 0.78036 | 0.064875 | 0.80727 | 0.12109 | 0.089763
CHOLESTEROL | 1433 | 62072GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.63547 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 3.462 | CHOLESTEROL | E | 2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63547 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.63547 |  | 0.63547 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.63636 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 8.8 | CHOLESTEROL | E | 2 | 5.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63636 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.63636 |  | 0.63636 | 0 | 0
CHOLESTEROL | 1433 | 62072GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.63926 | Supelco | LB60966 | Supelco LB60966: 20 µl | 4.5365 | CHOLESTEROL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63926 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67494 | 0.081646 | 0.64802 | 0.10443 | 0.077415
CHOLESTEROL | 1433 | 62072GCM37 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.57207 | Supelco | LB60966 | Supelco LB60966: 20 µl | 4.3701 | CHOLESTEROL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57207 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67494 | 0.081646 | 0.64802 | 0.10443 | 0.077415
CHOLESTEROL | 1433 | 62072GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.77167 | Supelco | LB60966 | Supelco LB60966: 40 µl | 8.6824 | CHOLESTEROL | E | 2 | 6.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77167 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67494 | 0.081646 | 0.64802 | 0.10443 | 0.077415
CHOLESTEROL | 1433 | 62072GCM37 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.74369 | Supelco | LB60966 | Supelco LB60966: 20 µl | 4.3029 | CHOLESTEROL | E | 2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74369 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67494 | 0.081646 | 0.64802 | 0.10443 | 0.077415
CHOLESTEROL | 1433 | 62072GCM37 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.64802 | Supelco | LB60966 | Supelco LB60966: 20 µl | 4.3209 | CHOLESTEROL | E | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64802 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.67494 | 0.081646 | 0.64802 | 0.10443 | 0.077415