## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUORANTHENE | 1433 | 34377GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.82953 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.6642 | FLUORANTHENE | . | 0.04 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82953 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.7748 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.4197 | FLUORANTHENE | . | 0.04 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7748 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.83138 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.4073 | FLUORANTHENE | . | 0.04 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83138 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.84254 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.7298 | FLUORANTHENE | . | 0.04 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84254 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.81177 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.3551 | FLUORANTHENE | . | 0.04 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81177 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.74234 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.3471 | FLUORANTHENE | . | 0.024 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74234 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80539 | 0.038961 | 0.82065 | 0.05658 | 0.041942
FLUORANTHENE | 1433 | 34377GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.78203 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.7928 | FLUORANTHENE | . | 0.024 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78203 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78911 | 0.0098069 | 0.78818 | 0.016384 | 0.012145
FLUORANTHENE | 1433 | 34377GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.80026 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.6245 | FLUORANTHENE | . | 0.024 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80026 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78911 | 0.0098069 | 0.78818 | 0.016384 | 0.012145
FLUORANTHENE | 1433 | 34377GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.79433 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.40285 | FLUORANTHENE | . | 0.024 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79433 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78911 | 0.0098069 | 0.78818 | 0.016384 | 0.012145
FLUORANTHENE | 1433 | 34377GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.77979 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.39754 | FLUORANTHENE | . | 0.024 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77979 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78911 | 0.0098069 | 0.78818 | 0.016384 | 0.012145
FLUORANTHENE | 1433 | 34377GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.97468 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.079 | FLUORANTHENE | . | 0.024 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97468 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.97468 |  | 0.97468 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.89873 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.079 | FLUORANTHENE | . | 0.024 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89873 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89873 |  | 0.89873 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.96203 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1975 | FLUORANTHENE | . | 0.024 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96203 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96203 |  | 0.96203 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0506 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.079 | FLUORANTHENE | . | 0.024 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0506 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0506 |  | 1.0506 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.90909 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | FLUORANTHENE | . | 0.024 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86195 | 0.11837 | 0.90909 | 0.22222 | 0.16473
FLUORANTHENE | 1433 | 34377GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72727 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.495 | FLUORANTHENE | . | 0.024 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72727 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86195 | 0.11837 | 0.90909 | 0.22222 | 0.16473
FLUORANTHENE | 1433 | 34377GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94949 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | FLUORANTHENE | . | 0.024 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86195 | 0.11837 | 0.90909 | 0.22222 | 0.16473
FLUORANTHENE | 1433 | 34377GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.495 | FLUORANTHENE | . | 0.024 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80808 |  | 0.80808 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.78788 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.099 | FLUORANTHENE | . | 0.024 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78788 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81818 | 0.042855 | 0.81818 | 0.060606 | 0.044927
FLUORANTHENE | 1433 | 34377GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.495 | FLUORANTHENE | . | 0.024 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81818 | 0.042855 | 0.81818 | 0.060606 | 0.044927
FLUORANTHENE | 1433 | 34377GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.9596 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.99 | FLUORANTHENE | . | 0.024 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9596 |  | 0.9596 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.84328 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.40319 | FLUORANTHENE | . | 0.024 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84328 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75221 | 0.082221 | 0.75675 | 0.051145 | 0.037913
FLUORANTHENE | 1433 | 34377GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.79484 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.39002 | FLUORANTHENE | . | 0.024 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79484 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75221 | 0.082221 | 0.75675 | 0.051145 | 0.037913
FLUORANTHENE | 1433 | 34377GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.74369 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.79334 | FLUORANTHENE | . | 0.024 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74369 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75221 | 0.082221 | 0.75675 | 0.051145 | 0.037913
FLUORANTHENE | 1433 | 34377GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.75675 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.5857 | FLUORANTHENE | . | 0.024 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75675 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75221 | 0.082221 | 0.75675 | 0.051145 | 0.037913
FLUORANTHENE | 1433 | 34377GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.62245 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.81934 | FLUORANTHENE | . | 0.024 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62246 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75221 | 0.082221 | 0.75675 | 0.051145 | 0.037913
FLUORANTHENE | 1433 | 34377GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0845 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | FLUORANTHENE | . | 0.08 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0845 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.92852 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | FLUORANTHENE | . | 0.08 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92852 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 1.0016 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | FLUORANTHENE | . | 0.08 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.85968 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | FLUORANTHENE | . | 0.04 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85968 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.8768 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | FLUORANTHENE | . | 0.04 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8768 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.78412 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | FLUORANTHENE | . | 0.04 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78412 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92254 | 0.10745 | 0.90266 | 0.14194 | 0.10522
FLUORANTHENE | 1433 | 34377GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.73976 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | FLUORANTHENE | . | 0.04 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73976 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.73976 |  | 0.73976 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | FLUORANTHENE | . | 0.024 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.80729 | 0.15676 | 0.80729 | 0.22169 | 0.16434
FLUORANTHENE | 1433 | 34377GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.69644 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | FLUORANTHENE | E | 0.024 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69644 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.80729 | 0.15676 | 0.80729 | 0.22169 | 0.16434
FLUORANTHENE | 1433 | 34377GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0974 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | FLUORANTHENE | . | 0.024 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0974 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0837 | 0.10855 | 1.0987 | 0.13257 | 0.098272
FLUORANTHENE | 1433 | 34377GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | FLUORANTHENE | . | 0.024 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0837 | 0.10855 | 1.0987 | 0.13257 | 0.098272
FLUORANTHENE | 1433 | 34377GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | FLUORANTHENE | . | 0.024 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0837 | 0.10855 | 1.0987 | 0.13257 | 0.098272
FLUORANTHENE | 1433 | 34377GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | FLUORANTHENE | . | 0.024 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0837 | 0.10855 | 1.0987 | 0.13257 | 0.098272
FLUORANTHENE | 1433 | 34377GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.87666 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3688 | FLUORANTHENE | . | 0.04 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87666 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83334 | 0.091793 | 0.82012 | 0.064837 | 0.048063
FLUORANTHENE | 1433 | 34377GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.95385 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3629 | FLUORANTHENE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95385 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83334 | 0.091793 | 0.82012 | 0.064837 | 0.048063
FLUORANTHENE | 1433 | 34377GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.82012 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3413 | FLUORANTHENE | . | 0.04 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82012 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83334 | 0.091793 | 0.82012 | 0.064837 | 0.048063
FLUORANTHENE | 1433 | 34377GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.70424 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3348 | FLUORANTHENE | . | 0.04 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70424 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83334 | 0.091793 | 0.82012 | 0.064837 | 0.048063
FLUORANTHENE | 1433 | 34377GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.81182 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 2.71 | FLUORANTHENE | . | 0.024 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81182 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.83334 | 0.091793 | 0.82012 | 0.064837 | 0.048063
FLUORANTHENE | 1433 | 34377GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.68209 | Restek | A053259 | Restek A053259: 25 µl | 0.81221 | FLUORANTHENE | . | 0.08 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68209 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.68209 |  | 0.68209 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.08 | FLUORANTHENE | . | 0.024 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8875 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.08 | FLUORANTHENE | . | 0.024 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8875 |  | 0.8875 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.87 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | FLUORANTHENE | . | 0.024 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87 |  | 0.87 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | FLUORANTHENE | . | 0.024 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87667 | 0.15308 | 0.96 | 0.27 | 0.20015
FLUORANTHENE | 1433 | 34377GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | FLUORANTHENE | . | 0.024 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87667 | 0.15308 | 0.96 | 0.27 | 0.20015
FLUORANTHENE | 1433 | 34377GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | FLUORANTHENE | . | 0.024 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.87667 | 0.15308 | 0.96 | 0.27 | 0.20015
FLUORANTHENE | 1433 | 34377GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
FLUORANTHENE | 1433 | 34377GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.96726 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.08064 | FLUORANTHENE | . | 0.024 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96726 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.137 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.080912 | FLUORANTHENE | . | 0.024 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.137 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.99265 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.20148 | FLUORANTHENE | . | 0.024 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99265 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0137 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.32555 | FLUORANTHENE | . | 0.024 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.8569 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.32676 | FLUORANTHENE | . | 0.024 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8569 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1765 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.0816 | FLUORANTHENE | . | 0.024 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.93137 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.204 | FLUORANTHENE | . | 0.024 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93137 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0049 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.0816 | FLUORANTHENE | . | 0.024 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0049 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0294 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.204 | FLUORANTHENE | . | 0.024 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0294 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.152 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.0816 | FLUORANTHENE | . | 0.024 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.152 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.88235 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.204 | FLUORANTHENE | . | 0.024 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.204 | FLUORANTHENE | . | 0.024 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99811 | 0.11361 | 0.99877 | 0.17636 | 0.13073
FLUORANTHENE | 1433 | 34377GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.71995 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.077783 | FLUORANTHENE | . | 0.024 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71995 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.82867 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.31376 | FLUORANTHENE | . | 0.024 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82867 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 1.0859 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.081037 | FLUORANTHENE | . | 0.024 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0859 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.9461 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.20082 | FLUORANTHENE | . | 0.024 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9461 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.0137 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.08089 | FLUORANTHENE | . | 0.024 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.84375 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.32 | FLUORANTHENE | . | 0.024 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9625 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.08 | FLUORANTHENE | . | 0.024 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.2 | FLUORANTHENE | . | 0.024 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.90625 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.32 | FLUORANTHENE | . | 0.024 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1875 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.08 | FLUORANTHENE | . | 0.024 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137
FLUORANTHENE | 1433 | 34377GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.32 | FLUORANTHENE | . | 0.024 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9438 | 0.12503 | 0.9461 | 0.16372 | 0.12137