## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.4 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.65 |  | 0.65 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83 | 0.15716 | 0.8 | 0.31 | 0.2298
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83 | 0.15716 | 0.8 | 0.31 | 0.2298
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83 | 0.15716 | 0.8 | 0.31 | 0.2298
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.775 | 0.035355 | 0.775 | 0.05 | 0.037064
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.775 | 0.035355 | 0.775 | 0.05 | 0.037064
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-03-31 | 2006-04-01 | 2008-09-30 | ug/L | 0.98833 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.4401 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98833 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-04-09 | 2006-04-01 | 2008-09-30 | ug/L | 0.80526 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.4275 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80526 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-05-20 | 2006-04-01 | 2008-09-30 | ug/L | 0.94234 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.3534 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 3.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94234 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-06-03 | 2006-04-01 | 2008-09-30 | ug/L | 0.92861 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.3383 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92861 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-08-02 | 2006-04-01 | 2008-09-30 | ug/L | 0.8821 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.3103 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 2.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8821 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-10-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.72253 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 3.3493 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72253 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8782 | 0.098339 | 0.90536 | 0.13708 | 0.10162
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.72734 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.9248 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72734 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.98927 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.0108 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98927 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.97521 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 1.0254 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97521 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.0035 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.95665 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-08-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.83675 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.95608 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83675 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.83958 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.9057 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83958 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89528 | 0.11105 | 0.9074 | 0.15252 | 0.11306
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79156 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 2.1477 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79156 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77564 | 0.045663 | 0.77055 | 0.072339 | 0.053624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.83206 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.55285 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83206 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77564 | 0.045663 | 0.77055 | 0.072339 | 0.053624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.74953 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.094 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74953 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77564 | 0.045663 | 0.77055 | 0.072339 | 0.053624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.72941 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 1.0968 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72941 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77564 | 0.045663 | 0.77055 | 0.072339 | 0.053624
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-04-21 | 2006-04-01 | 2008-09-30 | ug/L | 1.2039 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2039 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-07-12 | 2006-04-01 | 2008-09-30 | ug/L | 0.93019 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93019 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2008-09-17 | 2006-04-01 | 2008-09-30 | ug/L | 1.1374 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1374 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.92336 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92336 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.97606 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97606 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.86753 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86753 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0064 | 0.13349 | 0.95312 | 0.21408 | 0.15869
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.83625 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.5 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83625 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83625 |  | 0.83625 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.62931 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | E | 0.052 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62931 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0724 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0197 | 0.086576 | 1.0362 | 0.13308 | 0.098654
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.90625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0197 | 0.086576 | 1.0362 | 0.13308 | 0.098654
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0197 | 0.086576 | 1.0362 | 0.13308 | 0.098654
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0197 | 0.086576 | 1.0362 | 0.13308 | 0.098654
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.16 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.25 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.16 |  | 1.16 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.94 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94 |  | 0.94 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.4 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86333 | 0.1097 | 0.9 | 0.21 | 0.15567
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 2 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86333 | 0.1097 | 0.9 | 0.21 | 0.15567
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 1 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86333 | 0.1097 | 0.9 | 0.21 | 0.15567
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.075 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.4 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.075 |  | 1.075 | 0 | 0
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 1.1959 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.10871 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1959 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.3752 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.10907 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3752 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.1414 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.2716 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1414 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.97981 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.43886 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97981 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.9989 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.44048 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9989 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.2727 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.11 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2727 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0545 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.275 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0545 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1818 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.11 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1818 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.275 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.3636 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.11 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3636 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0545 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.275 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0545 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478
HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN (HHCB) | 1433 | 62075GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0909 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.275 | HEXAHYDROHEXAMETHYLCYCLOPENTABENZOPYRAN_(HHCB) | . | 0.052 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1591 | 0.1313 | 1.1616 | 0.18182 | 0.13478