## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
INDOLE | 1433 | 62076GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.79787 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.3008 | INDOLE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79787 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79787 |  | 0.79787 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.79787 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.3008 | INDOLE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79787 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79787 |  | 0.79787 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.4491 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 1.002 | INDOLE | . | 0.08 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4491 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.4491 |  | 0.4491 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.70858 | Abs | 051112 | Abs 051112: 20 µl | 1.002 | INDOLE | . | 0.08 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70858 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.70858 |  | 0.70858 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.64935 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.7412 | INDOLE | . | 0.08 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64935 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.66605 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.8827 | INDOLE | . | 0.08 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66605 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.83778 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.7294 | INDOLE | . | 0.08 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83778 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.77638 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.7049 | INDOLE | . | 0.08 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77638 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.64144 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.4565 | INDOLE | . | 0.08 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64144 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.69922 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.7173 | INDOLE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69922 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7117 | 0.078922 | 0.68264 | 0.12703 | 0.094164
INDOLE | 1433 | 62076GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.76463 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.3008 | INDOLE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76463 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.76463 |  | 0.76463 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.73236 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.3004 | INDOLE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73236 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73236 |  | 0.73236 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.63872 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.501 | INDOLE | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63872 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.61211 | 0.0831 | 0.63872 | 0.15968 | 0.11837
INDOLE | 1433 | 62076GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.51896 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 2.505 | INDOLE | . | 0.08 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51896 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.61211 | 0.0831 | 0.63872 | 0.15968 | 0.11837
INDOLE | 1433 | 62076GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.67864 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.501 | INDOLE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67864 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.61211 | 0.0831 | 0.63872 | 0.15968 | 0.11837
INDOLE | 1433 | 62076GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 5 | INDOLE | . | 0.08 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.70841 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.5053 | INDOLE | . | 0.08 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70841 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.71219 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.8082 | INDOLE | . | 0.08 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71219 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.6815 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.788 | INDOLE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6815 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.69419 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.737 | INDOLE | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69419 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.55527 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.4027 | INDOLE | . | 0.08 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55527 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.47706 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.725 | INDOLE | . | 0.08 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47706 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6381 | 0.09824 | 0.68785 | 0.15313 | 0.11351
INDOLE | 1433 | 62076GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.71331 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | INDOLE | . | 0.14 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71331 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.62792 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | INDOLE | E | 0.14 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62792 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.57721 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | INDOLE | . | 0.14 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57721 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.65272 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | INDOLE | E | 0.08 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65272 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.51284 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | INDOLE | E | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51284 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.48382 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | INDOLE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48382 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59464 | 0.086995 | 0.60256 | 0.13988 | 0.10369
INDOLE | 1433 | 62076GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.62718 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | INDOLE | . | 0.08 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62718 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.62718 |  | 0.62718 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.45907 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | INDOLE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45907 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.34281 | 0.16441 | 0.34281 | 0.23251 | 0.17236
INDOLE | 1433 | 62076GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.22655 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | INDOLE | E | 0.08 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22655 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.34281 | 0.16441 | 0.34281 | 0.23251 | 0.17236
INDOLE | 1433 | 62076GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.1247 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.048115 | INDOLE | . | 0.08 | 0.006 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.1247 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.086383 | 0.034141 | 0.085417 | 0.0561 | 0.041586
INDOLE | 1433 | 62076GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.10417 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.192 | INDOLE | . | 0.08 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10417 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.086383 | 0.034141 | 0.085417 | 0.0561 | 0.041586
INDOLE | 1433 | 62076GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.066667 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.12 | INDOLE | . | 0.08 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.066667 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.086383 | 0.034141 | 0.085417 | 0.0561 | 0.041586
INDOLE | 1433 | 62076GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.05 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.12 | INDOLE | . | 0.08 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.05 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.086383 | 0.034141 | 0.085417 | 0.0561 | 0.041586
INDOLE | 1433 | 62076GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.61023 | Restek | A053259 | Restek A053259: 25 µl | 0.84066 | INDOLE | . | 0.14 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61023 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.61023 |  | 0.61023 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.63031 | Restek | A070024 | Restek A070024: 20 µl | 0.09995 | INDOLE | E | 0.08 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63032 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72195 | 0.12092 | 0.67981 | 0.15578 | 0.11548
INDOLE | 1433 | 62076GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.89786 | Restek | A070024 | Restek A070024: 10 µl | 0.049005 | INDOLE | E | 0.08 | 0.044 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89786 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.72195 | 0.12092 | 0.67981 | 0.15578 | 0.11548
INDOLE | 1433 | 62076GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.70182 | Restek | A070024 | Restek A070024: 80 µl | 0.39896 | INDOLE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70182 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72195 | 0.12092 | 0.67981 | 0.15578 | 0.11548
INDOLE | 1433 | 62076GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.6578 | Restek | A070024 | Restek A070024: 40 µl | 0.19763 | INDOLE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6578 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72195 | 0.12092 | 0.67981 | 0.15578 | 0.11548
INDOLE | 1433 | 62076GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.66489 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.752 | INDOLE | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66489 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.66489 |  | 0.66489 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.24634 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.3004 | INDOLE | . | 0.08 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24634 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.24634 |  | 0.24634 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 1 | INDOLE | . | 0.08 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78 |  | 0.78 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.80737 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.18579 | INDOLE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80737 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.80465 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.18642 | INDOLE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80465 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.75399 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.4642 | INDOLE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75399 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.87994 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.75005 | INDOLE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87994 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.87669 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.75283 | INDOLE | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87669 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.90426 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.188 | INDOLE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90426 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80851 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80851 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.79787 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.188 | INDOLE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79787 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.97872 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97872 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.85106 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.188 | INDOLE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85106 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.59574 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59574 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.61702 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61702 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.80632 | 0.11065 | 0.80794 | 0.10239 | 0.075898
INDOLE | 1433 | 62076GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.5 | INDOLE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.64667 | 0.057735 | 0.68 | 0.1 | 0.074129
INDOLE | 1433 | 62076GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.58 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.5 | INDOLE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.64667 | 0.057735 | 0.68 | 0.1 | 0.074129
INDOLE | 1433 | 62076GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 2.5 | INDOLE | . | 0.08 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.64667 | 0.057735 | 0.68 | 0.1 | 0.074129
INDOLE | 1433 | 62076GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.42 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | INDOLE | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.42 |  | 0.42 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.53262 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.3004 | INDOLE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53262 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.53262 |  | 0.53262 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84021 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.751 | INDOLE | . | 0.08 | 0.631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84021 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84021 |  | 0.84021 | 0 | 0
INDOLE | 1433 | 62076GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.76035 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.19728 | INDOLE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76035 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67784 | 0.13656 | 0.68969 | 0.15117 | 0.11206
INDOLE | 1433 | 62076GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.48806 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.098348 | INDOLE | E | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48806 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.67784 | 0.13656 | 0.68969 | 0.15117 | 0.11206
INDOLE | 1433 | 62076GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.60918 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.19699 | INDOLE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60918 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67784 | 0.13656 | 0.68969 | 0.15117 | 0.11206
INDOLE | 1433 | 62076GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84189 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.097399 | INDOLE | . | 0.08 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84189 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67784 | 0.13656 | 0.68969 | 0.15117 | 0.11206
INDOLE | 1433 | 62076GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.68969 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.42048 | INDOLE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68969 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.67784 | 0.13656 | 0.68969 | 0.15117 | 0.11206
INDOLE | 1433 | 62076GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.51425 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.18279 | INDOLE | . | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51425 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.7595 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.73733 | INDOLE | . | 0.08 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7595 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.89268 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.19044 | INDOLE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89268 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.88995 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.47193 | INDOLE | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88995 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.89431 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.19009 | INDOLE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89431 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.85106 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85106 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.70479 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.752 | INDOLE | . | 0.08 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70479 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.61702 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61702 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.74468 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.188 | INDOLE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74468 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.82979 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.47 | INDOLE | . | 0.08 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82979 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.78457 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.752 | INDOLE | . | 0.08 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78457 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.74468 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.188 | INDOLE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74468 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843
INDOLE | 1433 | 62076GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.70479 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.752 | INDOLE | . | 0.08 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70479 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76401 | 0.1131 | 0.7595 | 0.14628 | 0.10843