## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOBORNEOL | 1433 | 62077GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.92961 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.1506 | ISOBORNEOL | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92961 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92961 |  | 0.92961 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.92961 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1506 | ISOBORNEOL | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92961 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92961 |  | 0.92961 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 2.5 | ISOBORNEOL | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.58 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.5 | ISOBORNEOL | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.58 |  | 0.58 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Abs | 051112 | Abs 051112: 20 µl | 0.5 | ISOBORNEOL | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.93585 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.18379 | ISOBORNEOL | E | 0.18 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93585 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.82703 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.09794 | ISOBORNEOL | E | 0.18 | 0.081 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82703 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.83639 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.097083 | ISOBORNEOL | E | 0.18 | 0.0812 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.8364 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.79651 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.18832 | ISOBORNEOL | E | 0.18 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79651 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.93068 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.09348 | ISOBORNEOL | E | 0.18 | 0.087 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93068 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.89314 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.092931 | ISOBORNEOL | E | 0.18 | 0.083 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89314 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.86993 | 0.058188 | 0.86477 | 0.10364 | 0.076829
ISOBORNEOL | 1433 | 62077GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1952 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1506 | ISOBORNEOL | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1952 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1952 |  | 1.1952 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0658 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.15012 | ISOBORNEOL | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0658 |  | 1.0658 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.25 | ISOBORNEOL | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86 | 0.028284 | 0.86 | 0.04 | 0.029652
ISOBORNEOL | 1433 | 62077GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.25 | ISOBORNEOL | . | 0.08 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86 | 0.028284 | 0.86 | 0.04 | 0.029652
ISOBORNEOL | 1433 | 62077GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2.5 | ISOBORNEOL | . | 0.08 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.191 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ISOBORNEOL | . | 0.06 | 0.738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.191 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.90681 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ISOBORNEOL | . | 0.06 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90681 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.95069 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ISOBORNEOL | E | 0.06 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95069 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.89152 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ISOBORNEOL | . | 0.18 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89152 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.82717 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ISOBORNEOL | . | 0.18 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82717 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.78412 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ISOBORNEOL | . | 0.18 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78412 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92522 | 0.14303 | 0.89916 | 0.12353 | 0.091569
ISOBORNEOL | 1433 | 62077GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.77192 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ISOBORNEOL | . | 0.18 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77192 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.77192 |  | 0.77192 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.79293 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | ISOBORNEOL | . | 0.18 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79293 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.7321 | 0.086031 | 0.7321 | 0.12167 | 0.09019
ISOBORNEOL | 1433 | 62077GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67127 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | ISOBORNEOL | E | 0.18 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67127 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.7321 | 0.086031 | 0.7321 | 0.12167 | 0.09019
ISOBORNEOL | 1433 | 62077GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0599 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | ISOBORNEOL | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9978 | 0.14598 | 1.055 | 0.16435 | 0.12183
ISOBORNEOL | 1433 | 62077GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.78125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | ISOBORNEOL | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9978 | 0.14598 | 1.055 | 0.16435 | 0.12183
ISOBORNEOL | 1433 | 62077GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | ISOBORNEOL | . | 0.08 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9978 | 0.14598 | 1.055 | 0.16435 | 0.12183
ISOBORNEOL | 1433 | 62077GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | ISOBORNEOL | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9978 | 0.14598 | 1.055 | 0.16435 | 0.12183
ISOBORNEOL | 1433 | 62077GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0192 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.095171 | ISOBORNEOL | E | 0.18 | 0.097 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0192 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.97956 | 0.13836 | 0.98655 | 0.063882 | 0.047355
ISOBORNEOL | 1433 | 62077GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.1609 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.094758 | ISOBORNEOL | E | 0.18 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1609 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.97956 | 0.13836 | 0.98655 | 0.063882 | 0.047355
ISOBORNEOL | 1433 | 62077GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.98655 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.093254 | ISOBORNEOL | E | 0.18 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.98655 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.97956 | 0.13836 | 0.98655 | 0.063882 | 0.047355
ISOBORNEOL | 1433 | 62077GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.77584 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.092803 | ISOBORNEOL | E | 0.18 | 0.072 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77584 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.97956 | 0.13836 | 0.98655 | 0.063882 | 0.047355
ISOBORNEOL | 1433 | 62077GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.95534 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 0.18841 | ISOBORNEOL | . | 0.18 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95534 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97956 | 0.13836 | 0.98655 | 0.063882 | 0.047355
ISOBORNEOL | 1433 | 62077GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.72535 | Restek | A053259 | Restek A053259: 25 µl | 0.7941 | ISOBORNEOL | . | 0.06 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72535 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72535 |  | 0.72535 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.68412 | Restek | A070024 | Restek A070024: 20 µl | 0.19002 | ISOBORNEOL | E | 0.18 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68412 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.82884 | 0.098596 | 0.86317 | 0.11661 | 0.086444
ISOBORNEOL | 1433 | 62077GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.86939 | Restek | A070024 | Restek A070024: 10 µl | 0.093169 | ISOBORNEOL | E | 0.18 | 0.081 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86939 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.82884 | 0.098596 | 0.86317 | 0.11661 | 0.086444
ISOBORNEOL | 1433 | 62077GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.85695 | Restek | A070024 | Restek A070024: 80 µl | 0.75851 | ISOBORNEOL | . | 0.18 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85695 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82884 | 0.098596 | 0.86317 | 0.11661 | 0.086444
ISOBORNEOL | 1433 | 62077GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.9049 | Restek | A070024 | Restek A070024: 40 µl | 0.37573 | ISOBORNEOL | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9049 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82884 | 0.098596 | 0.86317 | 0.11661 | 0.086444
ISOBORNEOL | 1433 | 62077GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0093 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.3765 | ISOBORNEOL | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0093 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0093 |  | 1.0093 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0658 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.15012 | ISOBORNEOL | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0658 |  | 1.0658 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.25 | ISOBORNEOL | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.94 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.5 | ISOBORNEOL | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94 |  | 0.94 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.89436 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.39134 | ISOBORNEOL | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89436 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.78948 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.39266 | ISOBORNEOL | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78948 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.99205 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.97778 | ISOBORNEOL | . | 0.08 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99205 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.94943 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.5799 | ISOBORNEOL | . | 0.08 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94943 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.8198 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.5857 | ISOBORNEOL | . | 0.08 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8198 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0101 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.396 | ISOBORNEOL | . | 0.08 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.87879 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.99 | ISOBORNEOL | . | 0.08 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87879 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.98485 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.396 | ISOBORNEOL | . | 0.08 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98485 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.9697 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.99 | ISOBORNEOL | . | 0.08 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9697 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0606 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.396 | ISOBORNEOL | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.76768 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.99 | ISOBORNEOL | . | 0.08 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76768 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.79798 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.99 | ISOBORNEOL | . | 0.08 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79798 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90957 | 0.098551 | 0.92189 | 0.17955 | 0.1331
ISOBORNEOL | 1433 | 62077GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.28 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.25 | ISOBORNEOL | E | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 2 | 1.08 | 0.28284 | 1.08 | 0.4 | 0.29652
ISOBORNEOL | 1433 | 62077GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.25 | ISOBORNEOL | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 2 | 1.08 | 0.28284 | 1.08 | 0.4 | 0.29652
ISOBORNEOL | 1433 | 62077GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.348 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.25 | ISOBORNEOL | . | 0.08 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.348 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.348 |  | 0.348 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.79936 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.15012 | ISOBORNEOL | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79936 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79936 |  | 0.79936 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.97256 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.3753 | ISOBORNEOL | . | 0.08 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97256 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97256 |  | 0.97256 | 0 | 0
ISOBORNEOL | 1433 | 62077GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0127 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.37522 | ISOBORNEOL | . | 0.18 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0127 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88756 | 0.072807 | 0.86368 | 0.025428 | 0.01885
ISOBORNEOL | 1433 | 62077GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.85535 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.18706 | ISOBORNEOL | E | 0.18 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85535 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.88756 | 0.072807 | 0.86368 | 0.025428 | 0.01885
ISOBORNEOL | 1433 | 62077GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.88078 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.37467 | ISOBORNEOL | . | 0.18 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88078 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88756 | 0.072807 | 0.86368 | 0.025428 | 0.01885
ISOBORNEOL | 1433 | 62077GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.86368 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.18525 | ISOBORNEOL | E | 0.18 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86368 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.88756 | 0.072807 | 0.86368 | 0.025428 | 0.01885
ISOBORNEOL | 1433 | 62077GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.82526 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.79975 | ISOBORNEOL | . | 0.18 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82526 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88756 | 0.072807 | 0.86368 | 0.025428 | 0.01885
ISOBORNEOL | 1433 | 62077GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.69773 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.38697 | ISOBORNEOL | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69773 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.7047 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.5609 | ISOBORNEOL | . | 0.08 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7047 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.94255 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.40316 | ISOBORNEOL | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94255 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.94085 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.9991 | ISOBORNEOL | . | 0.08 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94085 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.94427 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.40243 | ISOBORNEOL | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94427 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.98492 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.995 | ISOBORNEOL | . | 0.08 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98492 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8794 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.592 | ISOBORNEOL | . | 0.08 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8794 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.89447 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.995 | ISOBORNEOL | . | 0.08 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89447 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.95477 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.398 | ISOBORNEOL | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95477 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.72362 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.995 | ISOBORNEOL | E | 0.08 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72362 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94221 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.592 | ISOBORNEOL | . | 0.08 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94221 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1055 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.398 | ISOBORNEOL | . | 0.08 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1055 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091
ISOBORNEOL | 1433 | 62077GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.8794 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.592 | ISOBORNEOL | . | 0.08 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8794 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89188 | 0.11898 | 0.94085 | 0.064874 | 0.048091