## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPHORONE | 1433 | 34409GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | ISOPHORONE | . | 0.032 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2008-11-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.95839 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.24729 | ISOPHORONE | . | 0.08 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95839 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.91062 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.13178 | ISOPHORONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91062 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.911 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.13062 | ISOPHORONE | . | 0.08 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.911 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2009-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.78931 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.25338 | ISOPHORONE | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78931 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2009-08-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.95407 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.12578 | ISOPHORONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95407 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.95971 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.12504 | ISOPHORONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95971 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91385 | 0.065166 | 0.93254 | 0.047773 | 0.035414
ISOPHORONE | 1433 | 34409GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.86038 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.38355 | ISOPHORONE | . | 0.08 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86038 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73879 | 0.084796 | 0.71388 | 0.11073 | 0.082082
ISOPHORONE | 1433 | 34409GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.69983 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.7859 | ISOPHORONE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69983 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73879 | 0.084796 | 0.71388 | 0.11073 | 0.082082
ISOPHORONE | 1433 | 34409GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.66702 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.1949 | ISOPHORONE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66702 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73879 | 0.084796 | 0.71388 | 0.11073 | 0.082082
ISOPHORONE | 1433 | 34409GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.72793 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.19233 | ISOPHORONE | . | 0.032 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72793 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73879 | 0.084796 | 0.71388 | 0.11073 | 0.082082
ISOPHORONE | 1433 | 34409GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.99089 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0878 | ISOPHORONE | . | 0.032 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99089 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.99089 |  | 0.99089 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.94533 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0878 | ISOPHORONE | . | 0.032 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94533 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94533 |  | 0.94533 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91116 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.2195 | ISOPHORONE | . | 0.032 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91116 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91116 |  | 0.91116 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0478 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0878 | ISOPHORONE | . | 0.032 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0478 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0478 |  | 1.0478 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86735 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.098 | ISOPHORONE | . | 0.032 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86735 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89456 | 0.11469 | 0.86735 | 0.22449 | 0.16641
ISOPHORONE | 1433 | 34409GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.79592 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.49 | ISOPHORONE | . | 0.032 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79592 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89456 | 0.11469 | 0.86735 | 0.22449 | 0.16641
ISOPHORONE | 1433 | 34409GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0204 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.098 | ISOPHORONE | . | 0.032 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0204 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89456 | 0.11469 | 0.86735 | 0.22449 | 0.16641
ISOPHORONE | 1433 | 34409GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.73469 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.49 | ISOPHORONE | . | 0.032 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73469 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73469 |  | 0.73469 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.88776 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.098 | ISOPHORONE | . | 0.032 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88776 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88265 | 0.0072154 | 0.88265 | 0.010204 | 0.0075642
ISOPHORONE | 1433 | 34409GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.87755 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.49 | ISOPHORONE | . | 0.032 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87755 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88265 | 0.0072154 | 0.88265 | 0.010204 | 0.0075642
ISOPHORONE | 1433 | 34409GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87755 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.98 | ISOPHORONE | . | 0.032 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87755 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87755 |  | 0.87755 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.81823 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.19554 | ISOPHORONE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81823 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75694 | 0.052313 | 0.76715 | 0.088371 | 0.065508
ISOPHORONE | 1433 | 34409GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.79299 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18916 | ISOPHORONE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79299 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75694 | 0.052313 | 0.76715 | 0.088371 | 0.065508
ISOPHORONE | 1433 | 34409GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.70172 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.38477 | ISOPHORONE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70172 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75694 | 0.052313 | 0.76715 | 0.088371 | 0.065508
ISOPHORONE | 1433 | 34409GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.76715 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.76908 | ISOPHORONE | . | 0.08 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76715 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75694 | 0.052313 | 0.76715 | 0.088371 | 0.065508
ISOPHORONE | 1433 | 34409GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.70462 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.39738 | ISOPHORONE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70462 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75694 | 0.052313 | 0.76715 | 0.088371 | 0.065508
ISOPHORONE | 1433 | 34409GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.1394 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ISOPHORONE | . | 0.08 | 0.706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1394 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.95691 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ISOPHORONE | . | 0.08 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95691 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0186 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ISOPHORONE | . | 0.08 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0186 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.8756 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ISOPHORONE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8756 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.79408 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ISOPHORONE | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79408 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.78412 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ISOPHORONE | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78412 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92811 | 0.13791 | 0.91625 | 0.22452 | 0.16643
ISOPHORONE | 1433 | 34409GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.73976 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ISOPHORONE | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73976 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.73976 |  | 0.73976 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.79293 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | ISOPHORONE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79293 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.7321 | 0.086031 | 0.7321 | 0.12167 | 0.09019
ISOPHORONE | 1433 | 34409GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.67127 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | ISOPHORONE | E | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67127 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.7321 | 0.086031 | 0.7321 | 0.12167 | 0.09019
ISOPHORONE | 1433 | 34409GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0475 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | ISOPHORONE | . | 0.032 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0475 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0384 | 0.10023 | 1.0487 | 0.12314 | 0.091279
ISOPHORONE | 1433 | 34409GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.90625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPHORONE | . | 0.032 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0384 | 0.10023 | 1.0487 | 0.12314 | 0.091279
ISOPHORONE | 1433 | 34409GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.15 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ISOPHORONE | . | 0.032 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0384 | 0.10023 | 1.0487 | 0.12314 | 0.091279
ISOPHORONE | 1433 | 34409GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ISOPHORONE | . | 0.032 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0384 | 0.10023 | 1.0487 | 0.12314 | 0.091279
ISOPHORONE | 1433 | 34409GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.94067 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.12757 | ISOPHORONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94067 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95957 | 0.084802 | 0.94067 | 0.049309 | 0.036553
ISOPHORONE | 1433 | 34409GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 1.1022 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.12702 | ISOPHORONE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1022 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95957 | 0.084802 | 0.94067 | 0.049309 | 0.036553
ISOPHORONE | 1433 | 34409GCM37 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.96 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.125 | ISOPHORONE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95957 | 0.084802 | 0.94067 | 0.049309 | 0.036553
ISOPHORONE | 1433 | 34409GCM37 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.88428 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.1244 | ISOPHORONE | . | 0.08 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88428 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95957 | 0.084802 | 0.94067 | 0.049309 | 0.036553
ISOPHORONE | 1433 | 34409GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.91069 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 0.25256 | ISOPHORONE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91069 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.95957 | 0.084802 | 0.94067 | 0.049309 | 0.036553
ISOPHORONE | 1433 | 34409GCM37 | 2008-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.66717 | Restek | A053259 | Restek A053259: 25 µl | 1.6787 | ISOPHORONE | . | 0.08 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66717 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.66717 |  | 0.66717 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.225 | ISOPHORONE | . | 0.032 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.88889 |  | 0.88889 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.09 | ISOPHORONE | . | 0.032 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92222 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.09 | ISOPHORONE | . | 0.032 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92222 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92222 |  | 0.92222 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.3 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | ISOPHORONE | . | 0.032 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3 |  | 1.3 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | ISOPHORONE | . | 0.032 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1.05 |  | 1.05 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | ISOPHORONE | . | 0.032 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 1.1333 | 0.11547 | 1.2 | 0.2 | 0.14826
ISOPHORONE | 1433 | 34409GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | ISOPHORONE | . | 0.032 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 1.1333 | 0.11547 | 1.2 | 0.2 | 0.14826
ISOPHORONE | 1433 | 34409GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | ISOPHORONE | . | 0.032 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 1.1333 | 0.11547 | 1.2 | 0.2 | 0.14826
ISOPHORONE | 1433 | 34409GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.4 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | ISOPHORONE | . | 0.032 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4 |  | 1.4 | 0 | 0
ISOPHORONE | 1433 | 34409GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.8688 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.19567 | ISOPHORONE | . | 0.032 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8688 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.81495 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.19633 | ISOPHORONE | . | 0.032 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81495 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.0227 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.48889 | ISOPHORONE | . | 0.032 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0227 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.97475 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.78995 | ISOPHORONE | . | 0.032 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97475 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.87025 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.79287 | ISOPHORONE | . | 0.032 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87025 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0606 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOPHORONE | . | 0.032 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOPHORONE | . | 0.032 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1616 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOPHORONE | . | 0.032 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.94949 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.82828 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82828 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.95505 | 0.10426 | 0.96212 | 0.14689 | 0.10888
ISOPHORONE | 1433 | 34409GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.57139 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.19251 | ISOPHORONE | . | 0.032 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57139 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.54086 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.77655 | ISOPHORONE | . | 0.032 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54086 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.79774 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.20057 | ISOPHORONE | . | 0.032 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79774 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.96572 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.49704 | ISOPHORONE | . | 0.032 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96572 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.84914 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.2002 | ISOPHORONE | . | 0.032 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84914 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.84848 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.7702 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOPHORONE | . | 0.032 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7702 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.76768 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76768 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | ISOPHORONE | . | 0.032 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9899 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | ISOPHORONE | . | 0.032 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9899 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOPHORONE | . | 0.032 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | ISOPHORONE | . | 0.032 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877
ISOPHORONE | 1433 | 34409GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOPHORONE | . | 0.032 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.80459 | 0.1409 | 0.79774 | 0.091566 | 0.067877