## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.63579 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.4404 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63579 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.63579 |  | 0.63579 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.59091 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.44 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59091 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.59091 |  | 0.59091 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.69818 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 5.013 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69818 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.69818 |  | 0.69818 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-01-08 | 2009-01-01 | 2009-09-30 | ug/L | 0.63238 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.0231 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63238 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-01-29 | 2009-01-01 | 2009-09-30 | ug/L | 0.57904 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.0759 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.623 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57904 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-03-21 | 2009-01-01 | 2009-09-30 | ug/L | 0.65468 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.1385 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65468 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-05-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.79242 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.0096 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79242 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-08-06 | 2009-01-01 | 2009-09-30 | ug/L | 0.58922 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.0366 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58922 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.60145 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.0142 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60145 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.64153 | 0.079085 | 0.61691 | 0.065456 | 0.048522
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.63579 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.4404 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63579 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.63579 |  | 0.63579 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.72727 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.1 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72727 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.72727 |  | 0.72727 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.67824 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.5065 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67824 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.67824 |  | 0.67824 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.82164 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.499 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82164 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.79158 | 0.042511 | 0.79158 | 0.06012 | 0.044567
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.76152 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.495 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76152 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.79158 | 0.042511 | 0.79158 | 0.06012 | 0.044567
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.68136 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 2.495 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68136 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.68136 |  | 0.68136 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-01-28 | 2009-01-01 | 2009-09-30 | ug/L | 0.92167 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.0615 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92167 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-03-05 | 2009-01-01 | 2009-09-30 | ug/L | 0.81784 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.0516 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81784 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-04-23 | 2009-01-01 | 2009-09-30 | ug/L | 0.85253 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.044 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85253 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-07-02 | 2009-01-01 | 2009-09-30 | ug/L | 0.8001 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.0249 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8001 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-09-29 | 2009-01-01 | 2009-09-30 | ug/L | 0.79088 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.0231 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79088 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.70561 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.0204 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70561 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.81477 | 0.071502 | 0.80897 | 0.061649 | 0.0457
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.87631 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ISOPROPYLBENZENE_(CUMENE) | E | 0.1 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87631 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.67969 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ISOPROPYLBENZENE_(CUMENE) | E | 0.1 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67969 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.78093 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ISOPROPYLBENZENE_(CUMENE) | E | 0.1 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78093 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-04-02 | 2009-01-01 | 2009-09-30 | ug/L | 0.82784 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82784 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-05-06 | 2009-01-01 | 2009-09-30 | ug/L | 0.82717 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82717 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-07-30 | 2009-01-01 | 2009-09-30 | ug/L | 0.68402 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68402 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.77933 | 0.081317 | 0.80405 | 0.14382 | 0.10661
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2009-03-06 | 2009-01-01 | 2009-09-30 | ug/L | 0.64327 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ISOPROPYLBENZENE_(CUMENE) | . | 0.2 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64327 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.64327 |  | 0.64327 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.66773 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66773 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.56461 | 0.14583 | 0.56461 | 0.20624 | 0.15288
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.4615 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.11 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4615 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.56461 | 0.14583 | 0.56461 | 0.20624 | 0.15288
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.71079 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.057 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.71079 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 4 | 0.74645 | 0.14096 | 0.70539 | 0.16789 | 0.12446
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74645 | 0.14096 | 0.70539 | 0.16789 | 0.12446
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.95 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.19 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.95 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 4 | 0.74645 | 0.14096 | 0.70539 | 0.16789 | 0.12446
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 4 | 0.74645 | 0.14096 | 0.70539 | 0.16789 | 0.12446
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.56485 | Restek | A053259 | Restek A053259: 25 µl | 0.43197 | ISOPROPYLBENZENE_(CUMENE) | E | 0.1 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56485 | Restek A053259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.56485 |  | 0.56485 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.76962 | Restek | A070024 | Restek A070024: 20 µl | 0.2079 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.76962 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.74503 | 0.017659 | 0.74034 | 0.025166 | 0.018655
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.7456 | Restek | A070024 | Restek A070024: 10 µl | 0.10193 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.076 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7456 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.74503 | 0.017659 | 0.74034 | 0.025166 | 0.018655
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.73508 | Restek | A070024 | Restek A070024: 80 µl | 0.82984 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73508 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74503 | 0.017659 | 0.74034 | 0.025166 | 0.018655
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.72981 | Restek | A070024 | Restek A070024: 40 µl | 0.41107 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72981 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74503 | 0.017659 | 0.74034 | 0.025166 | 0.018655
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.44 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.75 |  | 0.75 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.79793 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1.0026 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79793 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.79793 |  | 0.79793 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.78156 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.499 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78156 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.7014 | 0.15652 | 0.78156 | 0.28056 | 0.20798
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8016 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 4.99 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8016 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.7014 | 0.15652 | 0.78156 | 0.28056 | 0.20798
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.52104 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.495 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52104 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.7014 | 0.15652 | 0.78156 | 0.28056 | 0.20798
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.74956 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.58701 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74956 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.6961 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.58899 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6961 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.88636 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.4667 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88636 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0127 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.3698 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0127 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.58858 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.3786 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58858 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.79125 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.594 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79125 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.79125 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.594 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79125 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.84175 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.594 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84175 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.74074 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.6734 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6734 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 0.78232 | 0.10811 | 0.79125 | 0.10649 | 0.078943
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.59844 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.5013 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59844 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.67824 | 0.069102 | 0.71813 | 0.11969 | 0.088724
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.71813 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.5013 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71813 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.67824 | 0.069102 | 0.71813 | 0.11969 | 0.088724
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.71813 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 2.5065 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71813 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.67824 | 0.069102 | 0.71813 | 0.11969 | 0.088724
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.6012 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.499 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6012 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.6012 |  | 0.6012 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.61308 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4404 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61308 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.61308 |  | 0.61308 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84545 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.1 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84545 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.84545 |  | 0.84545 | 0 | 0
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.85296 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.41034 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85296 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78025 | 0.09339 | 0.781 | 0.16191 | 0.12002
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.68438 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20456 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68438 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.78025 | 0.09339 | 0.781 | 0.16191 | 0.12002
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.781 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.40973 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.781 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78025 | 0.09339 | 0.781 | 0.16191 | 0.12002
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.69105 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.20259 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69105 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.78025 | 0.09339 | 0.781 | 0.16191 | 0.12002
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.89184 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87459 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89184 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78025 | 0.09339 | 0.781 | 0.16191 | 0.12002
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.55407 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.57754 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55407 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.6868 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.3296 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6868 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.81436 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.6017 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81436 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.87183 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.4911 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87183 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.76589 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.60061 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76589 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.80808 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.376 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.74074 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.74074 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.594 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.87542 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.485 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87542 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.96801 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.376 | ISOPROPYLBENZENE_(CUMENE) | E | 0.3 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96801 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84175 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.594 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84175 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878
ISOPROPYLBENZENE (CUMENE) | 1433 | 62078GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.376 | ISOPROPYLBENZENE_(CUMENE) | . | 0.3 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.7833 | 0.10105 | 0.76589 | 0.10101 | 0.074878