## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-05-15 | 2011-10-01 | 2013-11-30 | ug/L | 0.75 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | ISOQUINOLINE | . | 0.046 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1517 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.32212 | ISOQUINOLINE | E | 0.4 | 0.371 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1517 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.96827 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.33875 | ISOQUINOLINE | E | 0.4 | 0.328 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96827 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.8169 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.67328 | ISOQUINOLINE | . | 0.4 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8169 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.84944 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.31786 | ISOQUINOLINE | E | 0.4 | 0.27 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84944 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.84216 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.64121 | ISOQUINOLINE | . | 0.4 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84216 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.90818 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.31932 | ISOQUINOLINE | E | 0.046 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90818 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92278 | 0.12473 | 0.87881 | 0.12611 | 0.093481
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-06-19 | 2011-10-01 | 2013-11-30 | ug/L | 1.03 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1068 | ISOQUINOLINE | . | 0.046 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.03 |  | 1.03 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-08-20 | 2011-10-01 | 2013-11-30 | ug/L | 0.80524 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1068 | ISOQUINOLINE | . | 0.046 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80524 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80524 |  | 0.80524 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-12-05 | 2013-12-01 | 2050-09-30 | ug/L | 0.82397 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.267 | ISOQUINOLINE | . | 0.8 | 0.22 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82397 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 1 |  | 1 | 0.82397 |  | 0.82397 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-06-18 | 2011-10-01 | 2013-11-30 | ug/L | 1.03 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1068 | ISOQUINOLINE | . | 0.046 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.03 |  | 1.03 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-02-27 | 2011-10-01 | 2013-11-30 | ug/L | 0.72 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.5 | ISOQUINOLINE | . | 0.046 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.855 | 0.19092 | 0.855 | 0.27 | 0.20015
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-04-16 | 2011-10-01 | 2013-11-30 | ug/L | 0.99 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.1 | ISOQUINOLINE | . | 0.046 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.855 | 0.19092 | 0.855 | 0.27 | 0.20015
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-10-11 | 2011-10-01 | 2013-11-30 | ug/L | 0.6 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.5 | ISOQUINOLINE | . | 0.046 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-01-23 | 2011-10-01 | 2013-11-30 | ug/L | 0.7 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | ISOQUINOLINE | . | 0.046 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.21213 | 0.85 | 0.3 | 0.22239
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-05-15 | 2011-10-01 | 2013-11-30 | ug/L | 1 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | ISOQUINOLINE | . | 0.046 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.21213 | 0.85 | 0.3 | 0.22239
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-12-06 | 2011-10-01 | 2013-11-30 | ug/L | 0.76 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1 | ISOQUINOLINE | . | 0.046 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 1.0434 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.4377 | ISOQUINOLINE | . | 0.2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0434 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.87268 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.4324 | ISOQUINOLINE | . | 0.2 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87268 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-05-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.92764 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.4014 | ISOQUINOLINE | . | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92764 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.0393 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.3951 | ISOQUINOLINE | . | 0.2 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0393 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-08-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.87466 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.3834 | ISOQUINOLINE | . | 0.2 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87466 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-10-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.76444 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.3997 | ISOQUINOLINE | . | 0.4 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76444 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92035 | 0.10771 | 0.90115 | 0.16666 | 0.12354
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.7875 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.63492 | ISOQUINOLINE | . | 0.4 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7875 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.80279 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.32387 | ISOQUINOLINE | E | 0.4 | 0.26 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.80279 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.87084 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.32153 | ISOQUINOLINE | E | 0.4 | 0.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87084 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.91873 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.31565 | ISOQUINOLINE | E | 0.4 | 0.29 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.91873 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.80245 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.62309 | ISOQUINOLINE | E | 0.4 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80245 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.89095 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.31427 | ISOQUINOLINE | E | 0.046 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89095 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.84554 | 0.054975 | 0.83681 | 0.088497 | 0.065602
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.049 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | ISOQUINOLINE | . | 0.2 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.049 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.82999 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | ISOQUINOLINE | . | 0.2 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82999 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 0.81488 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | ISOQUINOLINE | E | 0.2 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81488 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.81192 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | ISOQUINOLINE | . | 0.4 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81192 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.76099 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | ISOQUINOLINE | . | 0.4 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76099 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.61728 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | ISOQUINOLINE | E | 0.4 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61728 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.81401 | 0.13928 | 0.8134 | 0.068997 | 0.051147
ISOQUINOLINE | 1433 | 62079GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.72367 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | ISOQUINOLINE | . | 0.4 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72367 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72367 |  | 0.72367 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.66773 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | ISOQUINOLINE | . | 0.046 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66773 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.58559 | 0.11617 | 0.58559 | 0.16428 | 0.12178
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.50345 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | ISOQUINOLINE | E | 0.046 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50345 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.58559 | 0.11617 | 0.58559 | 0.16428 | 0.12178
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.67634 | Restek | A070024 | Restek A070024: 20 µl | 0.41399 | ISOQUINOLINE | . | 0.046 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67634 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85641 | 0.15113 | 0.882 | 0.2498 | 0.18517
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.98532 | Restek | A070024 | Restek A070024: 10 µl | 0.20298 | ISOQUINOLINE | . | 0.046 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98532 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85641 | 0.15113 | 0.882 | 0.2498 | 0.18517
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.78669 | Restek | A070024 | Restek A070024: 80 µl | 1.6525 | ISOQUINOLINE | . | 0.046 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78669 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85641 | 0.15113 | 0.882 | 0.2498 | 0.18517
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.97731 | Restek | A070024 | Restek A070024: 40 µl | 0.81858 | ISOQUINOLINE | . | 0.046 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97731 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85641 | 0.15113 | 0.882 | 0.2498 | 0.18517
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-12-05 | 2013-12-01 | 2050-09-30 | ug/L | 0.85106 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.235 | ISOQUINOLINE | . | 0.8 | 0.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85106 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 1 |  | 1 | 0.85106 |  | 0.85106 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-09-24 | 2011-10-01 | 2013-11-30 | ug/L | 0.75532 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.094 | ISOQUINOLINE | . | 0.046 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75532 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75532 |  | 0.75532 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-12-05 | 2013-12-01 | 2050-09-30 | ug/L | 0.70213 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.094 | ISOQUINOLINE | . | 0.8 | 0.066 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70213 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 1 |  | 1 | 0.70213 |  | 0.70213 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-12-05 | 2011-10-01 | 2013-11-30 | ug/L | 0.67 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | ISOQUINOLINE | . | 0.046 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.67 |  | 0.67 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-10-11 | 2011-10-01 | 2013-11-30 | ug/L | 0.395 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | ISOQUINOLINE | E | 0.046 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.395 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.395 |  | 0.395 | 0 | 0
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-08-30 | 2011-10-01 | 2013-11-30 | ug/L | 0.93 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | ISOQUINOLINE | . | 0.046 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.81333 | 0.13868 | 0.85 | 0.27 | 0.20015
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-12-07 | 2011-10-01 | 2013-11-30 | ug/L | 0.85 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | ISOQUINOLINE | . | 0.046 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.81333 | 0.13868 | 0.85 | 0.27 | 0.20015
ISOQUINOLINE | 1433 | 62079GCM37 | 2013-02-28 | 2011-10-01 | 2013-11-30 | ug/L | 0.66 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | ISOQUINOLINE | . | 0.046 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.81333 | 0.13868 | 0.85 | 0.27 | 0.20015
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.76402 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.19633 | ISOQUINOLINE | . | 0.046 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76402 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.81818 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.48889 | ISOQUINOLINE | . | 0.046 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81818 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.91145 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.78995 | ISOQUINOLINE | . | 0.046 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91145 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.9207 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.79287 | ISOQUINOLINE | . | 0.046 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9207 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0606 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOQUINOLINE | . | 0.046 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-11-04 | 2011-10-01 | 2013-11-30 | ug/L | 0.86869 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOQUINOLINE | . | 0.046 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86869 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-01-18 | 2011-10-01 | 2013-11-30 | ug/L | 0.9596 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOQUINOLINE | . | 0.046 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-02-16 | 2011-10-01 | 2013-11-30 | ug/L | 0.86869 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOQUINOLINE | . | 0.046 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86869 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-03-09 | 2011-10-01 | 2013-11-30 | ug/L | 1.0606 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | ISOQUINOLINE | . | 0.046 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-05-08 | 2011-10-01 | 2013-11-30 | ug/L | 0.90909 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOQUINOLINE | E | 0.046 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-05-09 | 2011-10-01 | 2013-11-30 | ug/L | 0.84848 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | ISOQUINOLINE | . | 0.046 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90819 | 0.092112 | 0.90909 | 0.11111 | 0.082366
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.8081 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.81673 | ISOQUINOLINE | . | 0.046 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8081 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81742 | 0.025623 | 0.8081 | 0.01732 | 0.012839
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.85961 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.40716 | ISOQUINOLINE | . | 0.046 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85961 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81742 | 0.025623 | 0.8081 | 0.01732 | 0.012839
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.82156 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.81552 | ISOQUINOLINE | . | 0.046 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82156 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81742 | 0.025623 | 0.8081 | 0.01732 | 0.012839
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79358 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.40323 | ISOQUINOLINE | . | 0.046 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79358 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81742 | 0.025623 | 0.8081 | 0.01732 | 0.012839
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80424 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.7408 | ISOQUINOLINE | . | 0.046 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80424 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81742 | 0.025623 | 0.8081 | 0.01732 | 0.012839
ISOQUINOLINE | 1433 | 62079GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.61812 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.77655 | ISOQUINOLINE | . | 0.046 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61812 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.49859 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.20057 | ISOQUINOLINE | . | 0.046 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49859 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.86513 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.49704 | ISOQUINOLINE | . | 0.046 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86513 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.89909 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.2002 | ISOQUINOLINE | . | 0.046 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89909 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.80808 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | ISOQUINOLINE | . | 0.046 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-10-26 | 2011-10-01 | 2013-11-30 | ug/L | 0.58081 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOQUINOLINE | E | 0.046 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58081 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2011-11-08 | 2011-10-01 | 2013-11-30 | ug/L | 0.85859 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | ISOQUINOLINE | . | 0.046 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85859 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-02-08 | 2011-10-01 | 2013-11-30 | ug/L | 1.0101 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | ISOQUINOLINE | . | 0.046 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-02-16 | 2011-10-01 | 2013-11-30 | ug/L | 0.82071 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOQUINOLINE | . | 0.046 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82071 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-04-11 | 2011-10-01 | 2013-11-30 | ug/L | 1.0101 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | ISOQUINOLINE | . | 0.046 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828
ISOQUINOLINE | 1433 | 62079GCM37 | 2012-06-14 | 2011-10-01 | 2013-11-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | ISOQUINOLINE | . | 0.046 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.79335 | 0.1672 | 0.82071 | 0.28097 | 0.20828