## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MENTHOL | 1433 | 62080GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.87345 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.9846 | MENTHOL | . | 0.32 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87345 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87345 |  | 0.87345 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.96386 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.996 | MENTHOL | . | 0.32 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96386 |  | 0.96386 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8145 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 4.911 | MENTHOL | . | 0.32 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8145 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8145 |  | 0.8145 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0253 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.5358 | MENTHOL | E | 0.4 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0253 | Abs 080508WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.88125 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.6667 | MENTHOL | . | 0.4 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88125 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.96224 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.3001 | MENTHOL | . | 0.4 | 5.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96224 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.99912 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.5022 | MENTHOL | . | 0.4 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99912 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.91132 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.0476 | MENTHOL | . | 0.4 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91132 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.71607 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.5137 | MENTHOL | . | 0.32 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71607 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91589 | 0.11153 | 0.93678 | 0.11787 | 0.087379
MENTHOL | 1433 | 62080GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.90392 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.9846 | MENTHOL | . | 0.32 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90392 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.90392 |  | 0.90392 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88353 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 2.49 | MENTHOL | . | 0.32 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88353 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88353 |  | 0.88353 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.8145 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.4555 | MENTHOL | . | 0.32 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8145 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8145 |  | 0.8145 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.89286 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.504 | MENTHOL | . | 0.32 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94246 | 0.070149 | 0.94246 | 0.099206 | 0.073541
MENTHOL | 1433 | 62080GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.99206 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.52 | MENTHOL | . | 0.32 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99206 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94246 | 0.070149 | 0.94246 | 0.099206 | 0.073541
MENTHOL | 1433 | 62080GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.9127 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 2.52 | MENTHOL | . | 0.32 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9127 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9127 |  | 0.9127 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.027 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.0633 | MENTHOL | . | 0.4 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.92924 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5828 | MENTHOL | . | 0.4 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92924 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.975 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5641 | MENTHOL | . | 0.4 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.99315 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5172 | MENTHOL | . | 0.4 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99315 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.92575 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 4.9689 | MENTHOL | . | 0.4 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92575 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.79802 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5062 | MENTHOL | . | 0.32 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79802 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94136 | 0.080108 | 0.95212 | 0.067405 | 0.049966
MENTHOL | 1433 | 62080GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.1168 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | MENTHOL | . | 0.2 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1168 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 1.154 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | MENTHOL | . | 0.2 | 0.691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.154 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.89976 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | MENTHOL | . | 0.2 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89976 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.0507 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | MENTHOL | . | 0.4 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0507 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.97606 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | MENTHOL | . | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97606 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.91758 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | MENTHOL | . | 0.4 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91758 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0191 | 0.105 | 1.0134 | 0.19919 | 0.14766
MENTHOL | 1433 | 62080GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.93274 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | MENTHOL | . | 0.4 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93274 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93274 |  | 0.93274 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.7825 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | MENTHOL | . | 0.32 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7825 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.73213 | 0.071237 | 0.73213 | 0.10074 | 0.074681
MENTHOL | 1433 | 62080GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.68176 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | MENTHOL | E | 0.32 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68176 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.73213 | 0.071237 | 0.73213 | 0.10074 | 0.074681
MENTHOL | 1433 | 62080GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.8729 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | MENTHOL | . | 0.32 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8729 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88229 | 0.073922 | 0.9052 | 0.11043 | 0.081857
MENTHOL | 1433 | 62080GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.78125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | MENTHOL | . | 0.32 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88229 | 0.073922 | 0.9052 | 0.11043 | 0.081857
MENTHOL | 1433 | 62080GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | MENTHOL | . | 0.32 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88229 | 0.073922 | 0.9052 | 0.11043 | 0.081857
MENTHOL | 1433 | 62080GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | MENTHOL | . | 0.32 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88229 | 0.073922 | 0.9052 | 0.11043 | 0.081857
MENTHOL | 1433 | 62080GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.79781 | Restek | A070024 | Restek A070024: 20 µl | 0.46377 | MENTHOL | . | 0.32 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79781 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94329 | 0.10018 | 0.9745 | 0.12125 | 0.08988
MENTHOL | 1433 | 62080GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.96753 | Restek | A070024 | Restek A070024: 10 µl | 0.22738 | MENTHOL | E | 0.32 | 0.22 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96753 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.94329 | 0.10018 | 0.9745 | 0.12125 | 0.08988
MENTHOL | 1433 | 62080GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0264 | Restek | A070024 | Restek A070024: 80 µl | 1.8512 | MENTHOL | . | 0.32 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0264 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94329 | 0.10018 | 0.9745 | 0.12125 | 0.08988
MENTHOL | 1433 | 62080GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.98147 | Restek | A070024 | Restek A070024: 40 µl | 0.917 | MENTHOL | . | 0.32 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98147 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94329 | 0.10018 | 0.9745 | 0.12125 | 0.08988
MENTHOL | 1433 | 62080GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.98394 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.996 | MENTHOL | . | 0.32 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98394 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.98394 |  | 0.98394 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.89595 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.9822 | MENTHOL | . | 0.32 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89595 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89595 |  | 0.89595 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.2698 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.504 | MENTHOL | E | 0.32 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2698 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 |  | 3 | 0.99868 | 0.23504 | 0.87302 | 0.41667 | 0.30887
MENTHOL | 1433 | 62080GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.85317 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5.04 | MENTHOL | . | 0.32 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85317 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.99868 | 0.23504 | 0.87302 | 0.41667 | 0.30887
MENTHOL | 1433 | 62080GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.87302 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.52 | MENTHOL | . | 0.32 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87302 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.99868 | 0.23504 | 0.87302 | 0.41667 | 0.30887
MENTHOL | 1433 | 62080GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 1.0206 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.68584 | MENTHOL | . | 0.32 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0206 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.84284 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.68815 | MENTHOL | . | 0.32 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84284 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.87536 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.7136 | MENTHOL | . | 0.32 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87536 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.8668 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.7688 | MENTHOL | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8668 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.8636 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.7791 | MENTHOL | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8636 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0086 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.694 | MENTHOL | . | 0.32 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0086 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.92219 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92219 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.97983 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.694 | MENTHOL | . | 0.32 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.97983 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.97983 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.694 | MENTHOL | . | 0.32 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.74928 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74928 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.80692 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80692 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90798 | 0.086806 | 0.89878 | 0.12661 | 0.093852
MENTHOL | 1433 | 62080GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.0181 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.4911 | MENTHOL | E | 0.32 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 2 | 1.0079 | 0.014398 | 1.0079 | 0.020362 | 0.015094
MENTHOL | 1433 | 62080GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.99776 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.4911 | MENTHOL | . | 0.32 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99776 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0079 | 0.014398 | 1.0079 | 0.020362 | 0.015094
MENTHOL | 1433 | 62080GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.53571 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.504 | MENTHOL | . | 0.32 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53571 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.53571 |  | 0.53571 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.84298 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.9846 | MENTHOL | . | 0.32 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84298 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84298 |  | 0.84298 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1486 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 2.49 | MENTHOL | . | 0.32 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1486 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1486 |  | 1.1486 | 0 | 0
MENTHOL | 1433 | 62080GCM37 | 2008-03-31 | 2006-10-01 | 2008-09-30 | ug/L | 1.1711 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.3055 | MENTHOL | . | 0.2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1711 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.92885 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1963 | MENTHOL | . | 0.2 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92885 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.93748 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1974 | MENTHOL | . | 0.2 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93748 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-06-03 | 2006-10-01 | 2008-09-30 | ug/L | 1.0262 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1828 | MENTHOL | . | 0.2 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0262 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-08-07 | 2006-10-01 | 2008-09-30 | ug/L | 0.86832 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1881 | MENTHOL | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86832 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-09-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.98003 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1632 | MENTHOL | . | 0.2 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98003 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2008-09-24 | 2006-10-01 | 2008-09-30 | ug/L | 0.88278 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1636 | MENTHOL | E | 0.2 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88278 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.97069 | 0.10361 | 0.93748 | 0.14344 | 0.10633
MENTHOL | 1433 | 62080GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0488 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.91537 | MENTHOL | . | 0.32 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0488 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9679 | 0.06357 | 0.95184 | 0.095252 | 0.07061
MENTHOL | 1433 | 62080GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.89847 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.45633 | MENTHOL | . | 0.32 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89847 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9679 | 0.06357 | 0.95184 | 0.095252 | 0.07061
MENTHOL | 1433 | 62080GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.95184 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.91402 | MENTHOL | . | 0.32 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95184 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9679 | 0.06357 | 0.95184 | 0.095252 | 0.07061
MENTHOL | 1433 | 62080GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0178 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.45193 | MENTHOL | . | 0.32 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0178 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9679 | 0.06357 | 0.95184 | 0.095252 | 0.07061
MENTHOL | 1433 | 62080GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.9226 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.951 | MENTHOL | . | 0.32 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9226 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.9679 | 0.06357 | 0.95184 | 0.095252 | 0.07061
MENTHOL | 1433 | 62080GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.82991 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.67477 | MENTHOL | . | 0.32 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82991 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.88176 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.7218 | MENTHOL | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88176 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.95306 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.703 | MENTHOL | . | 0.32 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95306 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.148 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.7421 | MENTHOL | . | 0.32 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.148 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.99755 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.70172 | MENTHOL | . | 0.32 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99755 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.97983 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.90058 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.776 | MENTHOL | . | 0.32 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90058 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.92219 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.735 | MENTHOL | . | 0.32 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92219 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.92219 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.694 | MENTHOL | . | 0.32 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92219 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.3256 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.735 | MENTHOL | E | 0.32 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3256 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.9366 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.776 | MENTHOL | . | 0.32 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9366 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0807 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.694 | MENTHOL | . | 0.32 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0807 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886
MENTHOL | 1433 | 62080GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.86455 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.776 | MENTHOL | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86455 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9802 | 0.13517 | 0.9366 | 0.096974 | 0.071886