## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METALAXYL | 1433 | 50359GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.99644 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.281 | METALAXYL | . | 0.12 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99644 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99644 |  | 0.99644 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.96085 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.281 | METALAXYL | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96085 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96085 |  | 0.96085 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 2 | METALAXYL | . | 0.12 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.4 | METALAXYL | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Abs | 051112 | Abs 051112: 20 µl | 0.4 | METALAXYL | . | 0.12 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.8135 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8316 | METALAXYL | . | 0.12 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8135 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.99381 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.97604 | METALAXYL | . | 0.12 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99381 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.92196 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.9675 | METALAXYL | . | 0.12 | 0.892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92196 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.90582 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 1.8767 | METALAXYL | . | 0.12 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90582 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 1.0734 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.93159 | METALAXYL | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0734 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.9718 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.92611 | METALAXYL | . | 0.12 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9718 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94672 | 0.088243 | 0.94688 | 0.087987 | 0.065224
METALAXYL | 1433 | 50359GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0513 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.17121 | METALAXYL | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0513 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1394 | 0.22746 | 1.0513 | 0.42858 | 0.3177
METALAXYL | 1433 | 50359GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.96916 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.35082 | METALAXYL | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96916 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1394 | 0.22746 | 1.0513 | 0.42858 | 0.3177
METALAXYL | 1433 | 50359GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 1.3977 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.085853 | METALAXYL | . | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3977 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 1.1394 | 0.22746 | 1.0513 | 0.42858 | 0.3177
METALAXYL | 1433 | 50359GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.1744 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.281 | METALAXYL | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1744 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1744 |  | 1.1744 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1786 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.28 | METALAXYL | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1786 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1786 |  | 1.1786 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.25 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | METALAXYL | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0033 | 0.27301 | 1.05 | 0.54 | 0.4003
METALAXYL | 1433 | 50359GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1 | METALAXYL | . | 0.12 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0033 | 0.27301 | 1.05 | 0.54 | 0.4003
METALAXYL | 1433 | 50359GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.2 | METALAXYL | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0033 | 0.27301 | 1.05 | 0.54 | 0.4003
METALAXYL | 1433 | 50359GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.94622 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2.008 | METALAXYL | . | 0.12 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94622 |  | 0.94622 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1305 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.086685 | METALAXYL | E | 0.12 | 0.098 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1305 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.0029 | 0.11438 | 0.99727 | 0.15911 | 0.11794
METALAXYL | 1433 | 50359GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0972 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.083853 | METALAXYL | E | 0.12 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0972 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 1.0029 | 0.11438 | 0.99727 | 0.15911 | 0.11794
METALAXYL | 1433 | 50359GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.93805 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.17057 | METALAXYL | . | 0.12 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93805 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0029 | 0.11438 | 0.99727 | 0.15911 | 0.11794
METALAXYL | 1433 | 50359GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.99727 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.34093 | METALAXYL | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99727 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0029 | 0.11438 | 0.99727 | 0.15911 | 0.11794
METALAXYL | 1433 | 50359GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.85151 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.17616 | METALAXYL | . | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85151 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0029 | 0.11438 | 0.99727 | 0.15911 | 0.11794
METALAXYL | 1433 | 50359GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.3153 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | METALAXYL | . | 0.08 | 0.815 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3153 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.94522 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | METALAXYL | . | 0.08 | 0.566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94522 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 1.2902 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | METALAXYL | E | 0.08 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2902 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.0507 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | METALAXYL | . | 0.12 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0507 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.1746 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | METALAXYL | . | 0.12 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1746 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0677 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | METALAXYL | . | 0.12 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0677 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1406 | 0.14534 | 1.1212 | 0.23951 | 0.17754
METALAXYL | 1433 | 50359GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.98098 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | METALAXYL | . | 0.12 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98098 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.98098 |  | 0.98098 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0225 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95847 | METALAXYL | . | 0.12 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0225 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.93077 | 0.12967 | 0.93077 | 0.18338 | 0.13594
METALAXYL | 1433 | 50359GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.83908 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95342 | METALAXYL | E | 0.12 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83908 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.93077 | 0.12967 | 0.93077 | 0.18338 | 0.13594
METALAXYL | 1433 | 50359GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1535 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.32077 | METALAXYL | . | 0.12 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1535 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.10107 | 1.1187 | 0.13924 | 0.10322
METALAXYL | 1433 | 50359GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | METALAXYL | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.10107 | 1.1187 | 0.13924 | 0.10322
METALAXYL | 1433 | 50359GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.15 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8 | METALAXYL | . | 0.12 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.10107 | 1.1187 | 0.13924 | 0.10322
METALAXYL | 1433 | 50359GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8 | METALAXYL | . | 0.12 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.10107 | 1.1187 | 0.13924 | 0.10322
METALAXYL | 1433 | 50359GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0643 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.93956 | METALAXYL | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.075 | 0.079431 | 1.069 | 0.010884 | 0.008068
METALAXYL | 1433 | 50359GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.069 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.93548 | METALAXYL | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.069 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.075 | 0.079431 | 1.069 | 0.010884 | 0.008068
METALAXYL | 1433 | 50359GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.1948 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.92063 | METALAXYL | . | 0.12 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1948 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.075 | 0.079431 | 1.069 | 0.010884 | 0.008068
METALAXYL | 1433 | 50359GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.97142 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.91618 | METALAXYL | . | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97142 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.075 | 0.079431 | 1.069 | 0.010884 | 0.008068
METALAXYL | 1433 | 50359GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0752 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 1.8601 | METALAXYL | . | 0.12 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0752 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.075 | 0.079431 | 1.069 | 0.010884 | 0.008068
METALAXYL | 1433 | 50359GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1815 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.7025 | METALAXYL | . | 0.12 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1815 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1815 |  | 1.1815 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0357 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.28 | METALAXYL | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0357 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0357 |  | 1.0357 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.2 | METALAXYL | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.245 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.4016 | METALAXYL | . | 0.12 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.245 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.245 |  | 1.245 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.99328 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.32217 | METALAXYL | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99328 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.1137 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.32325 | METALAXYL | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1137 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.0684 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.80494 | METALAXYL | . | 0.12 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0684 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.76887 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.3006 | METALAXYL | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76887 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.91923 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.3054 | METALAXYL | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91923 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1963 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | METALAXYL | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1963 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.93252 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93252 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.9816 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | METALAXYL | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9816 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0798 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0798 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1963 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | METALAXYL | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1963 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.89571 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89571 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.8589 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8589 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0004 | 0.13373 | 0.98744 | 0.18925 | 0.14029
METALAXYL | 1433 | 50359GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.245 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2008 | METALAXYL | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.245 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.006 | 0.20726 | 0.89641 | 0.36853 | 0.27318
METALAXYL | 1433 | 50359GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.89641 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2008 | METALAXYL | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89641 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.006 | 0.20726 | 0.89641 | 0.36853 | 0.27318
METALAXYL | 1433 | 50359GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.87649 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 1.004 | METALAXYL | . | 0.12 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87649 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.006 | 0.20726 | 0.89641 | 0.36853 | 0.27318
METALAXYL | 1433 | 50359GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.94622 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.2008 | METALAXYL | . | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94622 |  | 0.94622 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0357 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.28 | METALAXYL | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0357 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0357 |  | 1.0357 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0457 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.7 | METALAXYL | . | 0.12 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0457 |  | 1.0457 | 0 | 0
METALAXYL | 1433 | 50359GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 1.05 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.69521 | METALAXYL | . | 0.08 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 1.1038 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.66227 | METALAXYL | . | 0.08 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1038 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.0413 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.66261 | METALAXYL | . | 0.08 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.1835 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.6582 | METALAXYL | . | 0.08 | 0.779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1835 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-08-07 | 2007-10-01 | 2008-09-30 | ug/L | 0.92449 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.65982 | METALAXYL | . | 0.08 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92449 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 1.1268 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.6523 | METALAXYL | . | 0.08 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1268 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2008-09-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.58244 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.65243 | METALAXYL | E | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58244 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0018 | 0.20198 | 1.05 | 0.20228 | 0.14995
METALAXYL | 1433 | 50359GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.94647 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.31697 | METALAXYL | . | 0.12 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94647 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.93856 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.2786 | METALAXYL | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93856 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 1.0599 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.33023 | METALAXYL | . | 0.12 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0875 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.81836 | METALAXYL | . | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.2438 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.32963 | METALAXYL | . | 0.12 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2438 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0675 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.99693 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | METALAXYL | . | 0.12 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99693 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0552 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0552 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1043 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.326 | METALAXYL | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1043 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1902 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | METALAXYL | . | 0.12 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1902 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0736 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | METALAXYL | . | 0.12 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0736 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.2883 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.326 | METALAXYL | . | 0.12 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2883 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586
METALAXYL | 1433 | 50359GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.92025 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | METALAXYL | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92025 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0748 | 0.11334 | 1.0675 | 0.10736 | 0.079586