## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.9125 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9125 |  | 0.9125 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.94865 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3493 | METHYL_SALICYLATE | . | 0.1 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94865 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-01-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.78228 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.4189 | METHYL_SALICYLATE | . | 0.1 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78228 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-03-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.85101 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.8202 | METHYL_SALICYLATE | . | 0.1 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85101 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.82619 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3314 | METHYL_SALICYLATE | . | 0.1 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82619 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.74465 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.6858 | METHYL_SALICYLATE | . | 0.1 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74465 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.74764 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3375 | METHYL_SALICYLATE | . | 0.044 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74764 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81674 | 0.07723 | 0.80424 | 0.10337 | 0.076625
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.004 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.004 |  | 1.004 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.004 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.004 |  | 1.004 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.96386 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.249 | METHYL_SALICYLATE | . | 0.044 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96386 |  | 0.96386 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.76305 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0996 | METHYL_SALICYLATE | . | 0.044 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76305 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76305 |  | 0.76305 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.82915 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82915 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.70352 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70352 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0553 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86265 | 0.17826 | 0.82915 | 0.35176 | 0.26076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.80402 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80402 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80402 |  | 0.80402 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.85427 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.398 | METHYL_SALICYLATE | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8794 | 0.035533 | 0.8794 | 0.050251 | 0.037251
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.90452 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 1.99 | METHYL_SALICYLATE | . | 0.044 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90452 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8794 | 0.035533 | 0.8794 | 0.050251 | 0.037251
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95477 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 3.98 | METHYL_SALICYLATE | . | 0.044 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95477 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95477 |  | 0.95477 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.81469 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.7004 | METHYL_SALICYLATE | . | 0.1 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81469 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.79856 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3775 | METHYL_SALICYLATE | . | 0.1 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79856 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.8775 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3675 | METHYL_SALICYLATE | . | 0.1 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8775 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.81935 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3425 | METHYL_SALICYLATE | . | 0.1 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81935 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.75469 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.6501 | METHYL_SALICYLATE | . | 0.1 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75469 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.62096 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3366 | METHYL_SALICYLATE | . | 0.044 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62096 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78096 | 0.087787 | 0.80663 | 0.064665 | 0.047936
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.2362 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | METHYL_SALICYLATE | . | 0.1 | 0.766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2362 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.0087 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | METHYL_SALICYLATE | . | 0.1 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.96767 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | METHYL_SALICYLATE | . | 0.1 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96767 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.98704 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | METHYL_SALICYLATE | . | 0.1 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98704 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.90988 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | METHYL_SALICYLATE | . | 0.1 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90988 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.71738 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | METHYL_SALICYLATE | . | 0.1 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71738 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97114 | 0.16738 | 0.97735 | 0.098797 | 0.073237
METHYL SALICYLATE | 1433 | 62081GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.91666 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | METHYL_SALICYLATE | . | 0.1 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91665 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91665 |  | 0.91665 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0016 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | METHYL_SALICYLATE | . | 0.044 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.81546 | 0.26325 | 0.81546 | 0.37229 | 0.27597
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.62931 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | METHYL_SALICYLATE | E | 0.044 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62931 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81546 | 0.26325 | 0.81546 | 0.37229 | 0.27597
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0599 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | METHYL_SALICYLATE | . | 0.044 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0158 | 0.12618 | 1.0675 | 0.14346 | 0.10635
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.82812 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | METHYL_SALICYLATE | . | 0.044 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82812 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0158 | 0.12618 | 1.0675 | 0.14346 | 0.10635
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0158 | 0.12618 | 1.0675 | 0.14346 | 0.10635
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.075 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0158 | 0.12618 | 1.0675 | 0.14346 | 0.10635
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.74323 | Restek | A070024 | Restek A070024: 20 µl | 0.34983 | METHYL_SALICYLATE | . | 0.044 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74323 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81824 | 0.063628 | 0.82759 | 0.10549 | 0.078201
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.87454 | Restek | A070024 | Restek A070024: 10 µl | 0.17152 | METHYL_SALICYLATE | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87454 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81824 | 0.063628 | 0.82759 | 0.10549 | 0.078201
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.78776 | Restek | A070024 | Restek A070024: 80 µl | 1.3964 | METHYL_SALICYLATE | . | 0.044 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78776 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81824 | 0.063628 | 0.82759 | 0.10549 | 0.078201
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.86743 | Restek | A070024 | Restek A070024: 40 µl | 0.6917 | METHYL_SALICYLATE | . | 0.044 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86743 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81824 | 0.063628 | 0.82759 | 0.10549 | 0.078201
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.975 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.975 |  | 0.975 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.975 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.975 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 4 | METHYL_SALICYLATE | . | 0.044 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2 | METHYL_SALICYLATE | . | 0.044 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.9 | 0.1299 | 0.975 | 0.225 | 0.16679
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9875 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.8 | METHYL_SALICYLATE | . | 0.044 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9875 |  | 0.9875 | 0 | 0
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 1.0119 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.098824 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0119 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.2102 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.099157 | METHYL_SALICYLATE | . | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2102 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.134 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.24691 | METHYL_SALICYLATE | . | 0.044 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.134 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0527 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.39896 | METHYL_SALICYLATE | . | 0.044 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0527 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.97393 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.40044 | METHYL_SALICYLATE | . | 0.044 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97393 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.12 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.3 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0886 | 0.10771 | 1.0764 | 0.167 | 0.1238
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.88996 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.3147 | METHYL_SALICYLATE | . | 0.1 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88996 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.86619 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.2051 | METHYL_SALICYLATE | . | 0.1 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86619 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.90201 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.2062 | METHYL_SALICYLATE | . | 0.1 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90201 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.89436 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1915 | METHYL_SALICYLATE | . | 0.1 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89436 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.89324 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1719 | METHYL_SALICYLATE | . | 0.1 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89324 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.83322 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.1723 | METHYL_SALICYLATE | E | 0.1 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83322 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.87983 | 0.025862 | 0.8916 | 0.028173 | 0.020884
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.89794 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.69047 | METHYL_SALICYLATE | . | 0.044 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89794 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81669 | 0.093729 | 0.81344 | 0.11471 | 0.08503
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.81344 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.34422 | METHYL_SALICYLATE | . | 0.044 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81344 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81669 | 0.093729 | 0.81344 | 0.11471 | 0.08503
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.78323 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.68945 | METHYL_SALICYLATE | . | 0.044 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78323 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81669 | 0.093729 | 0.81344 | 0.11471 | 0.08503
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.90936 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.3409 | METHYL_SALICYLATE | . | 0.044 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90936 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81669 | 0.093729 | 0.81344 | 0.11471 | 0.08503
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.6795 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.4717 | METHYL_SALICYLATE | . | 0.044 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6795 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81669 | 0.093729 | 0.81344 | 0.11471 | 0.08503
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.77138 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.097229 | METHYL_SALICYLATE | . | 0.044 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77137 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.76492 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.3922 | METHYL_SALICYLATE | . | 0.044 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76493 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 1.0859 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1013 | METHYL_SALICYLATE | . | 0.044 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0859 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1552 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25103 | METHYL_SALICYLATE | . | 0.044 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1552 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.989 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.10111 | METHYL_SALICYLATE | . | 0.044 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.989 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.04 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.28 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | METHYL_SALICYLATE | . | 0.044 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.075 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1 | METHYL_SALICYLATE | . | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076
METHYL SALICYLATE | 1433 | 62081GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | METHYL_SALICYLATE | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0178 | 0.14904 | 1 | 0.13592 | 0.10076