## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOLACHLOR | 1433 | 39415GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.81 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.1 | METOLACHLOR | . | 0.028 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81 |  | 0.81 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.57426 | Accu | 209081217 | Accu 209081217: 20 µl | 0.22638 | METOLACHLOR | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57426 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69873 | 0.13271 | 0.66884 | 0.18273 | 0.13545
METOLACHLOR | 1433 | 39415GCM37 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.88299 | Accu | 209081217 | Accu 209081217: 40 µl | 0.46433 | METOLACHLOR | . | 0.08 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88299 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69873 | 0.13271 | 0.66884 | 0.18273 | 0.13545
METOLACHLOR | 1433 | 39415GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.6972 | Accu | 209081217 | Accu 209081217: 20 µl | 0.22949 | METOLACHLOR | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6972 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69873 | 0.13271 | 0.66884 | 0.18273 | 0.13545
METOLACHLOR | 1433 | 39415GCM37 | 2010-09-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.64048 | Accu | 209081217 | Accu 209081217: 80 µl | 0.92119 | METOLACHLOR | . | 0.08 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64048 | Accu 209081217 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69873 | 0.13271 | 0.66884 | 0.18273 | 0.13545
METOLACHLOR | 1433 | 39415GCM37 | 2008-11-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.7888 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 5.1978 | METOLACHLOR | E | 0.08 | 4.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7888 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.90257 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.7699 | METOLACHLOR | . | 0.08 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90257 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.81584 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.7456 | METOLACHLOR | . | 0.08 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81584 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2009-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.61961 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 5.3259 | METOLACHLOR | . | 0.08 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61961 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2009-08-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.68086 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.6437 | METOLACHLOR | . | 0.08 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68086 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.60879 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.6282 | METOLACHLOR | . | 0.08 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60879 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73608 | 0.11805 | 0.73483 | 0.19623 | 0.14547
METOLACHLOR | 1433 | 39415GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.87719 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1482 | METOLACHLOR | . | 0.028 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87719 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87719 |  | 0.87719 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.80972 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1482 | METOLACHLOR | . | 0.028 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80972 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80972 |  | 0.80972 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83671 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.3705 | METOLACHLOR | . | 0.028 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83671 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83671 |  | 0.83671 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87719 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1482 | METOLACHLOR | . | 0.028 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87719 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87719 |  | 0.87719 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1837 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.049 | METOLACHLOR | . | 0.028 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1837 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.20712 | 1.0408 | 0.40816 | 0.30257
METOLACHLOR | 1433 | 39415GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.77551 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.245 | METOLACHLOR | . | 0.028 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77551 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.20712 | 1.0408 | 0.40816 | 0.30257
METOLACHLOR | 1433 | 39415GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0408 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.049 | METOLACHLOR | . | 0.028 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0408 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.20712 | 1.0408 | 0.40816 | 0.30257
METOLACHLOR | 1433 | 39415GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.77551 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.245 | METOLACHLOR | E | 0.028 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77551 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.77551 |  | 0.77551 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.63265 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.049 | METOLACHLOR | . | 0.028 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63265 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70408 | 0.10102 | 0.70408 | 0.14286 | 0.1059
METOLACHLOR | 1433 | 39415GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.77551 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.245 | METOLACHLOR | . | 0.028 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77551 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70408 | 0.10102 | 0.70408 | 0.14286 | 0.1059
METOLACHLOR | 1433 | 39415GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.83673 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.49 | METOLACHLOR | . | 0.028 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83673 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83673 |  | 0.83673 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.83322 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 0.90012 | METOLACHLOR | . | 0.08 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83322 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75646 | 0.06117 | 0.74737 | 0.097138 | 0.072008
METOLACHLOR | 1433 | 39415GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.77684 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.23171 | METOLACHLOR | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77684 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75646 | 0.06117 | 0.74737 | 0.097138 | 0.072008
METOLACHLOR | 1433 | 39415GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.69789 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.45852 | METOLACHLOR | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69789 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75646 | 0.06117 | 0.74737 | 0.097138 | 0.072008
METOLACHLOR | 1433 | 39415GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.71789 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.45968 | METOLACHLOR | . | 0.028 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71789 | Crescent 08LL076 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75646 | 0.06117 | 0.74737 | 0.097138 | 0.072008
METOLACHLOR | 1433 | 39415GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.17 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | METOLACHLOR | . | 0.08 | 0.725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.93353 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | METOLACHLOR | . | 0.08 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93353 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1884 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | METOLACHLOR | . | 0.08 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1884 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.796 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | METOLACHLOR | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.84371 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | METOLACHLOR | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84371 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.8008 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | METOLACHLOR | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8008 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95541 | 0.18033 | 0.88862 | 0.36923 | 0.27371
METOLACHLOR | 1433 | 39415GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.69151 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | METOLACHLOR | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69151 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.69151 |  | 0.69151 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.8764 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | METOLACHLOR | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8764 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.81579 | 0.085719 | 0.81579 | 0.12122 | 0.089863
METOLACHLOR | 1433 | 39415GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.75518 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | METOLACHLOR | E | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75518 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81579 | 0.085719 | 0.81579 | 0.12122 | 0.089863
METOLACHLOR | 1433 | 39415GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0599 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | METOLACHLOR | . | 0.028 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0494 | 0.076928 | 1.08 | 0.10128 | 0.075074
METOLACHLOR | 1433 | 39415GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | METOLACHLOR | . | 0.028 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0494 | 0.076928 | 1.08 | 0.10128 | 0.075074
METOLACHLOR | 1433 | 39415GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | METOLACHLOR | . | 0.028 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0494 | 0.076928 | 1.08 | 0.10128 | 0.075074
METOLACHLOR | 1433 | 39415GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | METOLACHLOR | . | 0.028 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0494 | 0.076928 | 1.08 | 0.10128 | 0.075074
METOLACHLOR | 1433 | 39415GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.71192 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.6688 | METOLACHLOR | . | 0.08 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71192 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63656 | 0.086252 | 0.67739 | 0.082671 | 0.061283
METOLACHLOR | 1433 | 39415GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.67739 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.6573 | METOLACHLOR | . | 0.08 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67739 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63656 | 0.086252 | 0.67739 | 0.082671 | 0.061283
METOLACHLOR | 1433 | 39415GCM37 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.68832 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.6151 | METOLACHLOR | . | 0.08 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68832 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63656 | 0.086252 | 0.67739 | 0.082671 | 0.061283
METOLACHLOR | 1433 | 39415GCM37 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.49953 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.6024 | METOLACHLOR | . | 0.08 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49953 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63656 | 0.086252 | 0.67739 | 0.082671 | 0.061283
METOLACHLOR | 1433 | 39415GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.60564 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 5.2836 | METOLACHLOR | . | 0.08 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60564 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.63656 | 0.086252 | 0.67739 | 0.082671 | 0.061283
METOLACHLOR | 1433 | 39415GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.25 | METOLACHLOR | . | 0.028 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.1 | METOLACHLOR | . | 0.028 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.1 | METOLACHLOR | . | 0.028 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93 |  | 0.93 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.05 | METOLACHLOR | . | 0.028 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.81 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.1 | METOLACHLOR | E | 0.028 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Estimated Values | Y | 2 |  | 1 | 0.81 |  | 0.81 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05 | METOLACHLOR | . | 0.028 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.17436 | 0.72 | 0.32 | 0.23721
METOLACHLOR | 1433 | 39415GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 0.5 | METOLACHLOR | . | 0.028 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.17436 | 0.72 | 0.32 | 0.23721
METOLACHLOR | 1433 | 39415GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.25 | METOLACHLOR | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.17436 | 0.72 | 0.32 | 0.23721
METOLACHLOR | 1433 | 39415GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.1 | METOLACHLOR | . | 0.028 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2 |  | 1.2 | 0 | 0
METOLACHLOR | 1433 | 39415GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.76659 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.19567 | METOLACHLOR | . | 0.028 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76659 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.81495 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.19633 | METOLACHLOR | . | 0.028 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81495 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.75682 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.48889 | METOLACHLOR | . | 0.028 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75682 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.65827 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.78995 | METOLACHLOR | . | 0.028 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65827 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.68107 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.79287 | METOLACHLOR | . | 0.028 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68107 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.90909 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | METOLACHLOR | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.78788 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78788 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.90909 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | METOLACHLOR | . | 0.028 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.9596 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.198 | METOLACHLOR | . | 0.028 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.68687 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68687 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.64646 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64646 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78543 | 0.10576 | 0.77723 | 0.19482 | 0.14442
METOLACHLOR | 1433 | 39415GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.0419 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.38297 | METOLACHLOR | . | 0.08 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0419 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.0197 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.36483 | METOLACHLOR | . | 0.08 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0197 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.0328 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.36501 | METOLACHLOR | . | 0.08 | 0.377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 1.0535 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.36259 | METOLACHLOR | . | 0.08 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0535 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.96292 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.36348 | METOLACHLOR | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96292 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0965 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.35934 | METOLACHLOR | . | 0.08 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0965 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.62047 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.35941 | METOLACHLOR | E | 0.08 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62047 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.97539 | 0.16154 | 1.0328 | 0.090619 | 0.067175
METOLACHLOR | 1433 | 39415GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.62333 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.19251 | METOLACHLOR | . | 0.028 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62333 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.64388 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.77655 | METOLACHLOR | . | 0.028 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64388 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.69802 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.20057 | METOLACHLOR | . | 0.028 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69802 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.82489 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.49704 | METOLACHLOR | . | 0.028 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82489 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.84914 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.2002 | METOLACHLOR | . | 0.028 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84914 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.80808 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | METOLACHLOR | . | 0.028 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.84848 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9596 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | METOLACHLOR | . | 0.028 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.92929 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.495 | METOLACHLOR | . | 0.028 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92929 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | METOLACHLOR | . | 0.028 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1111 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.198 | METOLACHLOR | . | 0.028 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877
METOLACHLOR | 1433 | 39415GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.792 | METOLACHLOR | . | 0.028 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.82268 | 0.13125 | 0.82489 | 0.091566 | 0.067877