## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.5 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.3 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7 |  | 0.7 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Abs | 051112 | Abs 051112: 20 µl | 0.3 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.86667 |  | 0.86667 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1041 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.77169 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1041 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.89216 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.81151 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89216 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.68199 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.6129 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68199 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.7617 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.76146 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7617 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.71611 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.5361 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71611 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.84971 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.76496 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84971 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83429 | 0.15414 | 0.8057 | 0.17605 | 0.13051
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.87035 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.40214 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87035 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66818 | 0.13849 | 0.61598 | 0.1787 | 0.13247
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.5704 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.82398 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.06 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5704 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.66818 | 0.13849 | 0.61598 | 0.1787 | 0.13247
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.58726 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.20434 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58726 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.66818 | 0.13849 | 0.61598 | 0.1787 | 0.13247
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.6447 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.20165 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6447 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66818 | 0.13849 | 0.61598 | 0.1787 | 0.13247
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.94872 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.078 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94872 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.94872 |  | 0.94872 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.83333 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.078 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.97436 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.195 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97436 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97436 |  | 0.97436 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94872 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.078 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94872 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94872 |  | 0.94872 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.15 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85333 | 0.15377 | 0.86667 | 0.30667 | 0.22733
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.69333 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.75 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69333 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85333 | 0.15377 | 0.86667 | 0.30667 | 0.22733
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.15 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85333 | 0.15377 | 0.86667 | 0.30667 | 0.22733
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93209 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.502 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93209 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93209 |  | 0.93209 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.77363 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.5511 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77363 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.65721 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.79123 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65721 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.76383 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.78551 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.14 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76383 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.80399 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.77115 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80399 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.72262 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.5222 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72262 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78148 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.76778 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78148 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75046 | 0.052942 | 0.76873 | 0.058854 | 0.043628
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.97265 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.20562 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97265 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84234 | 0.080453 | 0.82847 | 0.064931 | 0.048133
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.85467 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.19891 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85467 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84234 | 0.080453 | 0.82847 | 0.064931 | 0.048133
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.76619 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.4046 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76619 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84234 | 0.080453 | 0.82847 | 0.064931 | 0.048133
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.82847 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.80872 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82847 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84234 | 0.080453 | 0.82847 | 0.064931 | 0.048133
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.78974 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.41786 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78974 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84234 | 0.080453 | 0.82847 | 0.064931 | 0.048133
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.2636 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2636 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99753 | 0.19139 | 0.8768 | 0.26184 | 0.1941
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 1.1374 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1374 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99753 | 0.19139 | 0.8768 | 0.26184 | 0.1941
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.8756 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8756 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99753 | 0.19139 | 0.8768 | 0.26184 | 0.1941
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.8768 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8768 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99753 | 0.19139 | 0.8768 | 0.26184 | 0.1941
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.83417 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83417 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99753 | 0.19139 | 0.8768 | 0.26184 | 0.1941
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.77192 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.14 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77192 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.77192 |  | 0.77192 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.83665 | 0.11523 | 0.83665 | 0.16296 | 0.1208
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.75518 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75518 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.83665 | 0.11523 | 0.83665 | 0.16296 | 0.1208
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0724 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1462 | 0.093306 | 1.1362 | 0.15754 | 0.11678
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1.0625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1462 | 0.093306 | 1.1362 | 0.15754 | 0.11678
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1462 | 0.093306 | 1.1362 | 0.15754 | 0.11678
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.25 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1462 | 0.093306 | 1.1362 | 0.15754 | 0.11678
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.2 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 1.0125 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0125 |  | 1.0125 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.08 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.15 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86667 |  | 0.86667 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96538 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.3004 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96538 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96538 |  | 0.96538 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 1.0233 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.17591 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.0198 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1765 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0198 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.2514 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.43951 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2514 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.1547 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.71015 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1547 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.91192 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.71278 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91192 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.236 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.178 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.236 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0787 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0787 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1236 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.178 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1236 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.3034 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3034 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.2921 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.178 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2921 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1011 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1011 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0112 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0112 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1256 | 0.12482 | 1.1124 | 0.22213 | 0.16466
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.99867 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1502 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99867 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86995 | 0.17881 | 0.94541 | 0.33289 | 0.24677
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.66578 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1502 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66578 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86995 | 0.17881 | 0.94541 | 0.33289 | 0.24677
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94541 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.751 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94541 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.86995 | 0.17881 | 0.94541 | 0.33289 | 0.24677
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.93209 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1502 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93209 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93209 |  | 0.93209 | 0 | 0
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 1.0458 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0901 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.963 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0384 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.963 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.99139 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0389 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99139 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.0271 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.032 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0271 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 1.0853 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0228 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.1 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0853 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2008-09-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.96775 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.023 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.1 | 0.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96776 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0134 | 0.047983 | 1.0092 | 0.078064 | 0.057868
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.75115 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.17307 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75115 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.71622 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.69811 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71622 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.88737 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.18031 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88737 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.98471 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.44683 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98471 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.94455 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.17998 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94455 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.96629 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96629 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0112 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.712 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0112 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.98876 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | E | 0.06 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98876 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.95506 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.178 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95506 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1236 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.445 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1236 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.1096 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.712 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1096 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.236 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.178 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.236 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182
N,N-DIETHYL-META-TOLUAMIDE (DEET) | 1433 | 62082GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88483 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.712 | N,N-DIETHYL-META-TOLUAMIDE_(DEET) | . | 0.06 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88483 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9661 | 0.14234 | 0.96629 | 0.12386 | 0.09182