## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NAPHTHALENE | 1433 | 34443GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.73333 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.3 | NAPHTHALENE | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73333 |  | 0.73333 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.80498 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.6957 | NAPHTHALENE | . | 0.04 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80498 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.67524 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.4365 | NAPHTHALENE | . | 0.04 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67524 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.75143 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.424 | NAPHTHALENE | . | 0.04 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75143 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.79647 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.7622 | NAPHTHALENE | . | 0.04 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79647 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.72933 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.3711 | NAPHTHALENE | . | 0.04 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72933 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.68963 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.363 | NAPHTHALENE | . | 0.04 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68963 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74118 | 0.053626 | 0.74038 | 0.10684 | 0.079201
NAPHTHALENE | 1433 | 34443GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.70559 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.26928 | NAPHTHALENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70559 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69451 | 0.040497 | 0.69715 | 0.057172 | 0.042381
NAPHTHALENE | 1433 | 34443GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.68872 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.55175 | NAPHTHALENE | . | 0.04 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68872 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69451 | 0.040497 | 0.69715 | 0.057172 | 0.042381
NAPHTHALENE | 1433 | 34443GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.64314 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.13683 | NAPHTHALENE | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64314 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69451 | 0.040497 | 0.69715 | 0.057172 | 0.042381
NAPHTHALENE | 1433 | 34443GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.7406 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.13503 | NAPHTHALENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7406 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69451 | 0.040497 | 0.69715 | 0.057172 | 0.042381
NAPHTHALENE | 1433 | 34443GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.87601 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0742 | NAPHTHALENE | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87601 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87601 |  | 0.87601 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.83558 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0742 | NAPHTHALENE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83558 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83558 |  | 0.83558 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86253 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1855 | NAPHTHALENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86253 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86253 |  | 0.86253 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.90297 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0742 | NAPHTHALENE | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90296 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90296 |  | 0.90296 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.73826 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.149 | NAPHTHALENE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73826 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.77405 | 0.086297 | 0.73826 | 0.16107 | 0.1194
NAPHTHALENE | 1433 | 34443GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.71141 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.745 | NAPHTHALENE | . | 0.04 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71141 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.77405 | 0.086297 | 0.73826 | 0.16107 | 0.1194
NAPHTHALENE | 1433 | 34443GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.87248 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.149 | NAPHTHALENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87248 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.77405 | 0.086297 | 0.73826 | 0.16107 | 0.1194
NAPHTHALENE | 1433 | 34443GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.73826 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.745 | NAPHTHALENE | . | 0.04 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73826 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73826 |  | 0.73826 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.80537 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.149 | NAPHTHALENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80537 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80537 | 0 | 0.80537 | 1.1102e-16 | 8.23e-17
NAPHTHALENE | 1433 | 34443GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.80537 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.745 | NAPHTHALENE | . | 0.04 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80537 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80537 | 0 | 0.80537 | 1.1102e-16 | 8.23e-17
NAPHTHALENE | 1433 | 34443GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.87248 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.49 | NAPHTHALENE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87248 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87248 |  | 0.87248 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.72949 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.13708 | NAPHTHALENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72949 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65659 | 0.086817 | 0.63062 | 0.099235 | 0.073562
NAPHTHALENE | 1433 | 34443GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.75412 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.13261 | NAPHTHALENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75412 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65659 | 0.086817 | 0.63062 | 0.099235 | 0.073562
NAPHTHALENE | 1433 | 34443GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.63025 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.26973 | NAPHTHALENE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63025 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65659 | 0.086817 | 0.63062 | 0.099235 | 0.073562
NAPHTHALENE | 1433 | 34443GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.63062 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.53915 | NAPHTHALENE | . | 0.04 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63062 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65659 | 0.086817 | 0.63062 | 0.099235 | 0.073562
NAPHTHALENE | 1433 | 34443GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.53846 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.27857 | NAPHTHALENE | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53846 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.65659 | 0.086817 | 0.63062 | 0.099235 | 0.073562
NAPHTHALENE | 1433 | 34443GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0845 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | NAPHTHALENE | . | 0.1 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0845 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.84836 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | NAPHTHALENE | . | 0.1 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84836 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.83186 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | NAPHTHALENE | . | 0.1 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83186 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.76416 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | NAPHTHALENE | . | 0.04 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76416 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.76099 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | NAPHTHALENE | . | 0.04 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76099 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.66733 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | NAPHTHALENE | . | 0.04 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66733 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8262 | 0.14183 | 0.79801 | 0.087367 | 0.064764
NAPHTHALENE | 1433 | 34443GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.67543 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | NAPHTHALENE | . | 0.04 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67543 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.67543 |  | 0.67543 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | NAPHTHALENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.68584 | 0.21047 | 0.68584 | 0.29765 | 0.22065
NAPHTHALENE | 1433 | 34443GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.53701 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | NAPHTHALENE | E | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53701 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.68584 | 0.21047 | 0.68584 | 0.29765 | 0.22065
NAPHTHALENE | 1433 | 34443GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.97266 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | NAPHTHALENE | . | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97266 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93129 | 0.082905 | 0.95633 | 0.11008 | 0.081601
NAPHTHALENE | 1433 | 34443GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.8125 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | NAPHTHALENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93129 | 0.082905 | 0.95633 | 0.11008 | 0.081601
NAPHTHALENE | 1433 | 34443GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93129 | 0.082905 | 0.95633 | 0.11008 | 0.081601
NAPHTHALENE | 1433 | 34443GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.94 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93129 | 0.082905 | 0.95633 | 0.11008 | 0.081601
NAPHTHALENE | 1433 | 34443GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.7942 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.385 | NAPHTHALENE | . | 0.04 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7942 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72137 | 0.070329 | 0.69292 | 0.11631 | 0.086218
NAPHTHALENE | 1433 | 34443GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.79766 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.379 | NAPHTHALENE | . | 0.04 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79766 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72137 | 0.070329 | 0.69292 | 0.11631 | 0.086218
NAPHTHALENE | 1433 | 34443GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.67789 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3571 | NAPHTHALENE | . | 0.04 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67789 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72137 | 0.070329 | 0.69292 | 0.11631 | 0.086218
NAPHTHALENE | 1433 | 34443GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.64417 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.3506 | NAPHTHALENE | . | 0.04 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64417 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72137 | 0.070329 | 0.69292 | 0.11631 | 0.086218
NAPHTHALENE | 1433 | 34443GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.69292 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 2.742 | NAPHTHALENE | . | 0.04 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69292 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72137 | 0.070329 | 0.69292 | 0.11631 | 0.086218
NAPHTHALENE | 1433 | 34443GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.6949 | Restek | A053259 | Restek A053259: 25 µl | 0.20435 | NAPHTHALENE | . | 0.1 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6949 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.6949 |  | 0.6949 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91892 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.185 | NAPHTHALENE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.91892 |  | 0.91892 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.86486 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.074 | NAPHTHALENE | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86486 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86486 |  | 0.86486 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.7973 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.074 | NAPHTHALENE | . | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7973 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7973 |  | 0.7973 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.15 | NAPHTHALENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.3 | NAPHTHALENE | . | 0.04 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86667 |  | 0.86667 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.15 | NAPHTHALENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.11547 | 0.86667 | 0.2 | 0.14826
NAPHTHALENE | 1433 | 34443GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1.5 | NAPHTHALENE | . | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.11547 | 0.86667 | 0.2 | 0.14826
NAPHTHALENE | 1433 | 34443GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.66667 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.75 | NAPHTHALENE | . | 0.04 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.11547 | 0.86667 | 0.2 | 0.14826
NAPHTHALENE | 1433 | 34443GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96667 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.3 | NAPHTHALENE | . | 0.04 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96667 |  | 0.96667 | 0 | 0
NAPHTHALENE | 1433 | 34443GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.86012 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.098824 | NAPHTHALENE | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86011 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.8068 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.099157 | NAPHTHALENE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8068 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.891 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.24691 | NAPHTHALENE | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.891 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.9274 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.39896 | NAPHTHALENE | . | 0.04 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9274 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.74918 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.40044 | NAPHTHALENE | . | 0.04 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74917 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.95 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.99 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87121 | 0.069091 | 0.87006 | 0.1003 | 0.074353
NAPHTHALENE | 1433 | 34443GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.62738 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.097229 | NAPHTHALENE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62738 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.66294 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.3922 | NAPHTHALENE | . | 0.04 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66294 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.86874 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1013 | NAPHTHALENE | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86874 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.95606 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25103 | NAPHTHALENE | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95606 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.80109 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.10111 | NAPHTHALENE | . | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80109 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.84 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | NAPHTHALENE | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.25 | NAPHTHALENE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.825 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | NAPHTHALENE | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.93 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.1 | NAPHTHALENE | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953
NAPHTHALENE | 1433 | 34443GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.4 | NAPHTHALENE | . | 0.04 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.81817 | 0.094834 | 0.825 | 0.068736 | 0.050953